## data
Release date: May 2016
Table E1. Major fuel consumption (Btu) by end use, 2012 - PUBLIC USE VERSION
Total major fuel consumption (trillion Btu)
| Total | Space heat- ing | Cool- ing | Venti- lation | Water heat- ing | Light- ing | Cook- ing | Refrig- eration | Office equip- ment | Com- puters | Other
All buildings | 6960 | 1755 | 656 | 668 | 506 | 723 | 516 | 670 | 172 | 405 | 857
Building floorspace (square feet)
1,001 to 5,000 | 723 | 155 | 50 | 45 | 57 | 59 | 105 | 131 | 21 | 33 | 56
5,001 to 10,000 | 646 | 157 | 45 | 48 | 42 | 58 | 82 | 93 | 17 | 33 | 62
10,001 to 25,000 | 876 | 243 | 67 | 79 | 56 | 92 | 60 | 92 | 28 | 50 | 103
25,001 to 50,000 | 822 | 223 | 79 | 84 | 60 | 97 | 33 | 68 | 21 | 46 | 108
50,001 to 100,000 | 1066 | 288 | 103 | 108 | 83 | 110 | 42 | 103 | 27 | 60 | 141
100,001 to 200,000 | 1034 | 243 | 95 | 116 | 77 | 119 | 54 | 92 | 21 | 73 | 144
200,001 to 500,000 | 1026 | 267 | 125 | 106 | 74 | 109 | 59 | 68 | 19 | 62 | 136
Over 500,000 | 767 | 178 | 92 | 82 | 57 | 80 | 81 | 23 | 19 | 48 | 106
Principal building activity
Education | 842 | 299 | 91 | 68 | 67 | 78 | 15 | 40 | 21 | 78 | 84
Food sales | 262 | 32 | 6 | 12 | 3 | 16 | 29 | 147 | 2 | 2 | 14
Food service | 514 | 46 | 30 | 31 | 43 | 19 | 199 | 113 | 7 | 4 | 21
Health care | 718 | 210 | 79 | 83 | 82 | 61 | 52 | 19 | 17 | 34 | 82
Inpatient | 549 | 164 | 67 | 46 | 78 | 40 | 47 | 14 | 12 | 21 | 59
Outpatient | 169 | 46 | 12 | 37 | 4 | 21 | 4 | 4 | 5 | 13 | 23
Lodging | 564 | 67 | 39 | 49 | 136 | 40 | 69 | 33 | 43 | 6 | 83
Mercantile | 1007 | 182 | 91 | 121 | 66 | 140 | 72 | 191 | 18 | 23 | 103
Retail (other than mall) | 364 | 76 | 40 | 46 | 5 | 72 | 8 | 53 | 7 | 11 | 46
Enclosed and strip malls | 644 | 106 | 52 | 75 | 61 | 68 | 64 | 139 | 11 | 12 | 57
Office | 1240 | 305 | 118 | 214 | 35 | 147 | Q | 28 | 37 | 167 | 153
Public assembly | 480 | 188 | 86 | 24 | 7 | 35 | 14 | 25 | 7 | 16 | 72
Public order and safety | 133 | 36 | 16 | 5 | 21 | 15 | 4 | 3 | 3 | 8 | 22
Religious worship | 173 | 74 | 15 | 13 | Q | 9 | 11 | 4 | 4 | 3 | 26
Service | 272 | 118 | 21 | 14 | 22 | 37 | 1 | 5 | 4 | 8 | 39
Warehouse and storage | 428 | 116 | 35 | 13 | 11 | 85 | Q | 47 | 6 | 16 | 73
Other | 285 | 69 | 26 | 16 | 2 | 37 | Q | 15 | 2 | 40 | 77
Vacant | 42 | 13 | 2 | 4 | Q | 5 | Q | 1 | (*) | 1 | 8
Year constructed
Before 1920 | 238 | 102 | 10 | 19 | 9 | 20 | 19 | 15 | 4 | 10 | 27
1920 to 1945 | 418 | 143 | 33 | 35 | 34 | 38 | 23 | 33 | 9 | 23 | 45
1946 to 1959 | 537 | 177 | 44 | 48 | 40 | 50 | 35 | 40 | 12 | 25 | 63
1960 to 1969 | 902 | 280 | 74 | 73 | 71 | 90 | 44 | 70 | 23 | 56 | 118
1970 to 1979 | 1011 | 251 | 87 | 100 | 97 | 98 | 89 | 90 | 25 | 58 | 113
1980 to 1989 | 1164 | 219 | 142 | 129 | 78 | 132 | 84 | 115 | 31 | 77 | 150
1990 to 1999 | 1102 | 227 | 113 | 108 | 70 | 121 | 101 | 129 | 27 | 65 | 135
2000 to 2003 | 578 | 139 | 57 | 61 | 30 | 67 | 33 | 57 | 14 | 40 | 78
2004 to 2007 | 528 | 104 | 50 | 47 | 41 | 57 | Q | 66 | 15 | 25 | 62
2008 to 2012 | 483 | 114 | 46 | 49 | 35 | 50 | 33 | 54 | 12 | 26 | 64
Census region and division
Northeast | 1458 | 503 | 89 | 134 | 100 | 134 | 91 | 120 | 27 | 81 | 176
New England | 367 | 159 | 15 | 27 | 15 | 29 | 17 | 34 | 7 | 16 | 46
Middle Atlantic | 1091 | 344 | 73 | 107 | 85 | 105 | 73 | 87 | 20 | 65 | 130
Midwest | 1565 | 573 | 98 | 141 | 94 | 155 | 82 | 127 | 33 | 79 | 176
East North Central | 1130 | 431 | 67 | 100 | 67 | 109 | 58 | 91 | 22 | 55 | 126
West North Central | 435 | 143 | 30 | 41 | 27 | 46 | 24 | 37 | 11 | 24 | 50
South | 2565 | 404 | 375 | 259 | 183 | 295 | 201 | 278 | 72 | 152 | 332
South Atlantic | 1358 | 203 | 199 | 140 | 92 | 154 | 104 | 154 | 42 | 89 | 174
East South Central | 369 | 73 | 39 | 37 | 35 | 40 | 30 | 42 | 11 | 18 | 42
West South Central | 838 | 128 | 138 | 82 | 56 | 101 | 67 | 82 | 19 | 45 | 116
West | 1372 | 275 | 94 | 134 | 130 | 139 | 143 | 144 | 40 | 93 | 173
Mountain | 418 | 108 | 30 | 39 | 35 | 38 | Q | 35 | 13 | 22 | 44
Pacific | 955 | 167 | 63 | 95 | 95 | 101 | 91 | 109 | 27 | 71 | 129
Number of floors
One | 2831 | 621 | 260 | 243 | 170 | 324 | 249 | 433 | 61 | 127 | 317
Two | 1459 | 382 | 125 | 139 | 102 | 154 | 104 | 132 | 36 | 101 | 180
Three | 667 | 223 | 59 | 64 | 47 | 63 | 28 | 38 | 18 | 43 | 83
Four to nine | 1432 | 411 | 145 | 154 | 136 | 127 | 76 | 50 | 38 | 94 | 199
Ten or more | 571 | 118 | 66 | 68 | 52 | 55 | Q | 16 | 19 | 41 | 77
Elevators and escalators (more than one may apply)
Any elevators | 3181 | 851 | 328 | 349 | 261 | 304 | 200 | 136 | 83 | 237 | 428
Number of elevators
One | 882 | 265 | 72 | 95 | 74 | 88 | 46 | 52 | 24 | 58 | 108
Two to five | 1241 | 327 | 124 | 140 | 86 | 122 | 52 | 51 | 32 | 120 | 185
Six or more | 1057 | 259 | 132 | 115 | 101 | 94 | 102 | 33 | 28 | 59 | 135
Any escalators | 377 | 74 | 45 | 43 | 25 | 42 | Q | 17 | 12 | 17 | 52
Number of workers (main shift)
Fewer than 5 | 756 | 228 | 55 | 45 | 52 | 78 | 41 | 93 | 22 | 24 | 91
5 to 9 | 598 | 142 | 51 | 50 | 40 | 61 | 60 | 79 | 17 | 24 | 72
10 to 19 | 772 | 184 | 57 | 60 | 65 | 71 | 102 | 99 | 22 | 32 | 79
20 to 49 | 1188 | 284 | 106 | 113 | 81 | 126 | 90 | 144 | 30 | 73 | 140
50 to 99 | 1148 | 290 | 118 | 118 | 82 | 128 | 50 | 118 | 27 | 74 | 143
100 to 249 | 1058 | 286 | 101 | 110 | 63 | 116 | 51 | 86 | 21 | 68 | 156
250 or more | 1441 | 342 | 168 | 172 | 123 | 143 | 123 | 50 | 34 | 109 | 177
Weekly operating hours
Fewer than 40 | 228 | 95 | 20 | 8 | 10 | 17 | 11 | 15 | 6 | 12 | 25
40 to 48 | 831 | 256 | 87 | 74 | 36 | 99 | 19 | 40 | 27 | 82 | 107
49 to 60 | 1258 | 371 | 127 | 138 | 48 | 150 | 33 | 64 | 33 | 121 | 168
61 to 84 | 1369 | 330 | 128 | 148 | 88 | 143 | 123 | 173 | 25 | 65 | 143
85 to 167 | 1098 | 252 | 89 | 92 | 59 | 106 | 130 | 212 | 13 | 27 | 112
Open continuously | 2176 | 450 | 204 | 209 | 265 | 209 | 200 | 167 | 67 | 97 | 302
Party responsible for operation and maintenance of energy systems
Building owner | 5805 | 1516 | 557 | 561 | 414 | 606 | 402 | 476 | 149 | 357 | 738
Business owner or tenant | 983 | 204 | 80 | 90 | 76 | 101 | 99 | 176 | 18 | 39 | 98
Property management | 96 | 17 | 10 | 12 | 11 | 9 | 8 | 8 | 3 | 7 | 12
Other | 76 | 19 | 8 | 5 | 6 | 7 | 8 | 10 | 2 | 2 | 9
Provider of direct input on energy- related equipment purchases
Building owner | 5980 | 1555 | 570 | 577 | 430 | 625 | 414 | 505 | 153 | 365 | 756
Business owner or tenant | 767 | 156 | 65 | 70 | 58 | 78 | 81 | 133 | 14 | 32 | 78
Property management | 61 | 12 | 6 | 8 | 5 | 7 | 4 | 5 | 2 | 3 | 8
Other | 153 | 31 | 14 | 14 | 14 | 14 | 17 | 26 | 3 | 5 | 15
Number of establishments
One | 4482 | 1153 | 407 | 387 | 356 | 455 | 368 | 405 | 120 | 248 | 556
2 to 5 | 1401 | 382 | 130 | 143 | 90 | 146 | 81 | 147 | 29 | 71 | 181
6 to 10 | 363 | 84 | 34 | 45 | 21 | 37 | 22 | 47 | 8 | 28 | 38
11 to 20 | 355 | 78 | 36 | 46 | 22 | 38 | 26 | 45 | 7 | 19 | 37
More than 20 | 346 | 51 | 48 | 47 | 17 | 48 | 19 | 26 | 7 | 39 | 44
Currently unoccupied | 13 | 6 | (*) | (*) | Q | (*) | Q | Q | Q | Q | Q
Predominant exterior wall material
Brick, stone, or stucco | 3456 | 917 | 319 | 335 | 284 | 330 | 262 | 292 | 92 | 207 | 408
Concrete (block or poured) | 1718 | 365 | 178 | 164 | 126 | 186 | 129 | 232 | 39 | 81 | 214
Concrete panels | 664 | 157 | 57 | 69 | 42 | 77 | Q | 47 | 18 | 50 | 91
Siding or shingles | 400 | 106 | 28 | 35 | 26 | 39 | 40 | 46 | 11 | 19 | 45
Metal panels | 427 | 137 | 43 | 32 | 13 | 64 | 9 | 31 | 7 | 22 | 61
Window glass | 170 | 46 | 17 | 22 | Q | 17 | 5 | 7 | 3 | 21 | 23
Other | 80 | 13 | 11 | 7 | 3 | 7 | Q | Q | 1 | 3 | 9
No one major type | 45 | 15 | 3 | 5 | 2 | 5 | Q | 4 | 1 | 2 | 6
Predominant roof material
Metal surfacing | 864 | 208 | 92 | 65 | 39 | 115 | 56 | 98 | 21 | 45 | 112
Synthetic or rubber | 2440 | 666 | 210 | 245 | 164 | 243 | 181 | 228 | 55 | 143 | 301
Built-up | 1862 | 436 | 194 | 199 | 145 | 198 | 131 | 163 | 42 | 119 | 232
Slate or tile shingles | 371 | 101 | 26 | 30 | 36 | 30 | 38 | 33 | 12 | 19 | 42
Wooden materials (including shingles) | 93 | 26 | 6 | 6 | 9 | 7 | 12 | 12 | 2 | 3 | 8
Asphalt, fiberglass, or other shingles | 1105 | 276 | 100 | 99 | 97 | 107 | 86 | 113 | 35 | 56 | 130
Concrete | 133 | 16 | 20 | 16 | 10 | 16 | 4 | 11 | 4 | 16 | 20
Other | 58 | 11 | 6 | 5 | 4 | 5 | 7 | 9 | 1 | 2 | 8
No one major type | 35 | 13 | 3 | 3 | Q | 4 | Q | Q | 1 | 2 | 5
Roof characteristics
Roof tilt
Flat | 4474 | 1102 | 446 | 464 | 348 | 472 | 314 | 382 | 102 | 276 | 560
Shallow pitch | 1596 | 382 | 138 | 136 | 85 | 177 | 131 | 212 | 41 | 87 | 193
Steeper pitch | 890 | 271 | 71 | 69 | 74 | 75 | 72 | 75 | 29 | 42 | 104
Cool roof | 1836 | 433 | 180 | 183 | 139 | 186 | 142 | 179 | 40 | 113 | 236
Renovations in buildings constructed before 2008 (more than one may apply)
Any type of renovation | 3760 | 992 | 352 | 368 | 277 | 367 | 291 | 320 | 89 | 229 | 468
Addition or annex | 1291 | 364 | 131 | 112 | 109 | 118 | 123 | 84 | 32 | 59 | 158
Reduction in floorspace | 225 | 49 | 20 | 23 | Q | 22 | Q | 19 | 4 | 9 | 23
Roof replacement | 1985 | 554 | 183 | 194 | 153 | 189 | 147 | 145 | 44 | 118 | 255
Exterior wall replacement | 398 | 89 | 41 | 38 | 28 | 37 | 45 | 35 | 8 | 28 | 49
Interior wall reconfiguration | 2055 | 539 | 201 | 219 | 140 | 199 | 155 | 143 | 48 | 155 | 254
Window replacement | 1089 | 303 | 98 | 100 | 88 | 97 | 96 | 64 | 30 | 73 | 137
HVAC equipment upgrade | 2543 | 650 | 252 | 252 | 197 | 245 | 210 | 198 | 59 | 157 | 322
Lighting upgrade | 2438 | 661 | 221 | 235 | 183 | 226 | 194 | 208 | 56 | 147 | 304
Electrical upgrade | 1607 | 421 | 150 | 149 | 122 | 144 | 149 | 121 | 37 | 100 | 212
Plumbing system upgrade | 1396 | 364 | 120 | 129 | 119 | 116 | 143 | 99 | 35 | 86 | 182
Insulation upgrade | 771 | 196 | 68 | 66 | 52 | 63 | 90 | 69 | 19 | 52 | 96
Fire, safety, or security upgrade | 1684 | 444 | 167 | 164 | 140 | 150 | 126 | 118 | 38 | 113 | 221
Structural upgrade | 423 | 83 | 42 | 35 | 30 | 35 | 68 | 30 | 11 | 29 | 59
Other | 69 | 19 | 9 | 9 | 3 | 8 | 1 | 3 | 2 | 6 | 9
No renovations | 2717 | 650 | 258 | 251 | 195 | 307 | 193 | 295 | 71 | 150 | 324
Buildings constructed 2008 or later | 483 | 114 | 46 | 49 | 35 | 50 | 33 | 54 | 12 | 26 | 64
Energy sources (more than one may apply)
Electricity | 6960 | 1755 | 656 | 668 | 506 | 723 | 516 | 670 | 172 | 405 | 857
Natural gas | 5541 | 1518 | 472 | 498 | 476 | 514 | 483 | 523 | 127 | 283 | 640
Fuel oil | 2231 | 587 | 243 | 226 | 161 | 222 | 151 | 116 | 51 | 157 | 313
District heat | 807 | 256 | 39 | 83 | 81 | 68 | 89 | 23 | 19 | 40 | 108
District chilled water | 664 | 206 | 18 | 68 | 68 | 58 | 78 | 18 | 16 | 40 | 94
Propane | 583 | 122 | 49 | 48 | 35 | 64 | Q | 78 | 17 | 23 | 93
Other | 301 | 85 | 27 | 31 | 15 | 30 | 15 | 26 | 5 | 16 | 51
Space-heating energy sources (more than one may apply)
Electricity | 3896 | 778 | 430 | 408 | 270 | 432 | 287 | 435 | 106 | 246 | 497
Natural gas | 4445 | 1395 | 361 | 393 | 336 | 414 | 312 | 419 | 95 | 226 | 487
Fuel oil | 360 | 146 | 29 | 28 | 18 | 34 | 12 | 19 | 7 | 17 | 48
District heat | 803 | 256 | 38 | 83 | 81 | 67 | 88 | 22 | 19 | 40 | 107
Propane | 151 | 27 | 12 | 14 | 5 | 19 | 10 | 26 | 5 | 7 | 26
Other | 48 | 13 | 2 | 5 | 2 | 7 | Q | 5 | 1 | 2 | 7
Primary space-heating energy source
Electricity | 1844 | 106 | 257 | 216 | 138 | 237 | 166 | 236 | 64 | 148 | 271
Natural gas | 3870 | 1296 | 309 | 339 | 268 | 360 | 242 | 361 | 78 | 197 | 414
Fuel oil | 187 | 92 | 10 | 12 | 4 | 17 | 5 | 9 | 4 | 8 | 27
District heat | 793 | 253 | 37 | 82 | 80 | 67 | 88 | 22 | 18 | 39 | 105
Propane | 63 | 4 | 5 | 6 | (*) | 9 | Q | 17 | 2 | 3 | 11
Other | 21 | 5 | 1 | 2 | Q | 4 | Q | 2 | Q | 1 | 4
Cooling energy sources (more than one may apply)
Electricity | 6319 | 1532 | 649 | 619 | 449 | 659 | 451 | 636 | 157 | 372 | 783
Natural gas | 98 | 37 | 15 | 9 | 9 | 7 | 3 | 2 | 2 | 4 | 11
District chilled water | 664 | 206 | 18 | 68 | 68 | 58 | 78 | 18 | 16 | 40 | 94
Water-heating energy sources (more than one may apply)
Electricity | 3100 | 649 | 347 | 339 | 95 | 380 | 207 | 378 | 74 | 221 | 405
Natural gas | 4027 | 1092 | 341 | 348 | 431 | 350 | 347 | 407 | 93 | 184 | 429
Fuel oil | 174 | 75 | 12 | 12 | 6 | 14 | 8 | 10 | 4 | 7 | 25
District heat | 652 | 188 | 33 | 67 | 74 | 56 | 80 | 17 | 16 | 32 | 89
Propane | 87 | 6 | 10 | 8 | (*) | 9 | 6 | 24 | 3 | 3 | 15
Cooking energy sources (more than one may apply)
Electricity | 2511 | 574 | 253 | 231 | 200 | 219 | 280 | 312 | 56 | 121 | 263
Natural gas | 3014 | 635 | 274 | 258 | 296 | 232 | 466 | 398 | 65 | 100 | 290
Propane | 167 | 34 | 16 | 14 | 8 | 14 | 10 | 33 | 5 | Q | 22
Energy end uses (more than one may apply)
Buildings with space heating | 6779 | 1755 | 619 | 657 | 491 | 693 | 505 | 646 | 168 | 397 | 831
Buildings with cooling | 6771 | 1677 | 656 | 665 | 493 | 699 | 511 | 650 | 169 | 401 | 838
Buildings with water heating | 6795 | 1706 | 641 | 658 | 506 | 695 | 516 | 664 | 168 | 396 | 832
Buildings with cooking | 4078 | 897 | 390 | 364 | 357 | 340 | 516 | 528 | 94 | 171 | 420
Buildings with manufacturing | 360 | 89 | 34 | 28 | 14 | 49 | 14 | 32 | 5 | 15 | 79
Buildings with electricity generation | 2802 | 687 | 292 | 287 | 206 | 274 | 183 | 211 | 65 | 195 | 401
Percent of floorspace heated
Not heated | 181 | N | 36 | 11 | 15 | 31 | 11 | 23 | 4 | 8 | 25
1 to 50 | 467 | 70 | 38 | 37 | 25 | 63 | 40 | 63 | 11 | 39 | 78
51 to 99 | 1298 | 304 | 129 | 129 | 91 | 131 | 114 | 158 | 29 | 60 | 152
100 | 5014 | 1380 | 453 | 491 | 376 | 499 | 351 | 426 | 127 | 298 | 602
Percent of floorspace cooled
Not cooled | 189 | 78 | N | 3 | 13 | 24 | 5 | 20 | 3 | 4 | 18
1 to 50 | 988 | 362 | 42 | 65 | 57 | 122 | 49 | 82 | 19 | 40 | 147
51 to 99 | 2143 | 553 | 192 | 214 | 153 | 206 | 156 | 231 | 48 | 138 | 247
100 | 3641 | 762 | 421 | 385 | 283 | 370 | 305 | 336 | 102 | 224 | 444
Percent lit when open
Zero | 4 | Q | Q | Q | Q | Q | Q | Q | Q | Q | Q
1 to 50 | 642 | 181 | 54 | 62 | 46 | 50 | 34 | 49 | 23 | 27 | 105
51 to 99 | 3047 | 827 | 274 | 295 | 230 | 284 | 204 | 307 | 71 | 175 | 375
100 | 3243 | 733 | 326 | 311 | 229 | 387 | 278 | 314 | 77 | 203 | 374
Building never open/electricity not used | 24 | 13 | 1 | (*) | Q | Q | Q | Q | Q | Q | Q
Percent lit during off hours
Zero | 1293 | 393 | 117 | 116 | 59 | 126 | 71 | 102 | 32 | 94 | 161
1 to 50 | 4345 | 1104 | 427 | 432 | 312 | 463 | 294 | 418 | 106 | 251 | 531
51 to 100 | 1016 | 208 | 80 | 88 | 108 | 98 | 133 | 105 | 23 | 47 | 123
Building always open with no "off hours" | 306 | 49 | 31 | 32 | 28 | 36 | 18 | 44 | 11 | 13 | 41
Electricity not used | N | N | N | N | N | N | N | N | N | N | N
Heating equipment (more than one may apply)
Heat pumps | 899 | 143 | 117 | 86 | 84 | 97 | 70 | 87 | 34 | 62 | 117
Furnaces | 616 | 179 | 48 | 53 | 37 | 58 | 55 | 68 | 18 | 32 | 67
Individual space heaters | 1571 | 470 | 129 | 148 | 114 | 166 | 80 | 132 | 42 | 84 | 201
District heat | 803 | 256 | 38 | 83 | 81 | 67 | 88 | 22 | 19 | 40 | 107
Boilers | 2262 | 740 | 217 | 210 | 198 | 197 | 106 | 123 | 52 | 137 | 279
Packaged heating units | 4081 | 925 | 411 | 419 | 260 | 431 | 345 | 492 | 91 | 222 | 478
Other | 191 | 33 | 9 | 18 | 12 | 15 | 21 | 62 | 2 | 3 | 16
Cooling equipment (more than one may apply)
Residential-type central air conditioners | 1086 | 281 | 93 | 75 | 81 | 108 | 98 | 144 | 29 | 48 | 128
Heat pumps | 939 | 154 | 115 | 93 | 85 | 104 | 66 | 96 | 34 | 66 | 123
Individual air conditioners | 1013 | 298 | 97 | 81 | 106 | 89 | 64 | 70 | 34 | 47 | 125
District chilled water | 664 | 206 | 18 | 68 | 68 | 58 | 78 | 18 | 16 | 40 | 94
Central chillers | 1852 | 480 | 234 | 210 | 143 | 179 | 85 | 80 | 43 | 147 | 249
Packaged air conditioning units | 3970 | 956 | 403 | 415 | 265 | 404 | 320 | 451 | 85 | 202 | 463
Swamp coolers | 175 | 45 | 14 | 14 | 16 | 16 | 21 | 23 | 3 | 6 | 17
Other | 45 | 9 | 4 | 5 | 2 | 5 | Q | 1 | (*) | Q | 7
Main equipment replaced since 1990 (more than one may apply)
Heating | 2164 | 550 | 199 | 202 | 170 | 215 | 160 | 222 | 58 | 135 | 249
Cooling | 2520 | 650 | 252 | 235 | 204 | 243 | 182 | 232 | 68 | 158 | 292
Water-heating equipment
Centralized system | 4208 | 1108 | 377 | 391 | 334 | 415 | 346 | 387 | 111 | 231 | 499
Distributed system | 832 | 192 | 82 | 83 | 43 | 105 | 46 | 75 | 19 | 55 | 130
Combination of centralized and distributed system | 1754 | 405 | 182 | 184 | 129 | 175 | 124 | 201 | 38 | 111 | 203
Lighting equipment types (more than one may apply)
Incandescent | 3539 | 877 | 353 | 336 | 287 | 340 | 321 | 344 | 86 | 184 | 403
Standard fluorescent | 6710 | 1696 | 632 | 650 | 490 | 693 | 491 | 649 | 166 | 394 | 830
Compact fluorescent | 5093 | 1264 | 496 | 507 | 407 | 493 | 426 | 451 | 129 | 305 | 610
High-intensity discharge (HID) | 2185 | 557 | 227 | 215 | 159 | 229 | 172 | 190 | 49 | 112 | 272
Halogen | 2694 | 636 | 275 | 271 | 206 | 266 | 240 | 272 | 64 | 138 | 323
LED | 2362 | 561 | 242 | 248 | 173 | 220 | 206 | 251 | 52 | 117 | 291
Other | 58 | 16 | 9 | 5 | 4 | 4 | 4 | 6 | 1 | 2 | 6
Refrigeration equipment (more than one may apply)
Any refrigeration | 6468 | 1599 | 610 | 623 | 485 | 646 | 516 | 670 | 159 | 365 | 788
Walk-in units | 3525 | 733 | 329 | 309 | 307 | 283 | 451 | 547 | 73 | 131 | 361
Cases or cabinets | 3315 | 697 | 291 | 307 | 273 | 282 | 399 | 523 | 70 | 126 | 346
Large cold storage areas | 530 | 102 | 40 | 37 | 32 | 42 | 61 | 145 | 7 | 13 | 53
Commercial ice makers | 3730 | 788 | 370 | 357 | 334 | 326 | 416 | 457 | 91 | 172 | 418
Residential-type or compact units | 5180 | 1382 | 499 | 513 | 387 | 537 | 332 | 413 | 131 | 324 | 657
Vending machines | 4176 | 1033 | 418 | 429 | 336 | 439 | 273 | 379 | 102 | 243 | 524
No refrigeration | 492 | 156 | 45 | 45 | 21 | 77 | Q | N | 13 | 40 | 69
Office equipment (more than one may apply)
Desktop computers | 6583 | 1656 | 629 | 647 | 482 | 687 | 472 | 620 | 163 | 399 | 828
With flat screen monitors | 6520 | 1643 | 624 | 641 | 477 | 678 | 465 | 614 | 162 | 398 | 817
With multiple monitors | 2941 | 744 | 296 | 321 | 195 | 298 | 215 | 212 | 69 | 233 | 358
Laptop computers | 5464 | 1410 | 545 | 556 | 403 | 570 | 354 | 427 | 136 | 362 | 700
Dedicated servers | 4782 | 1168 | 476 | 496 | 339 | 498 | 328 | 424 | 115 | 341 | 596
Laser printers | 4792 | 1238 | 451 | 488 | 346 | 495 | 315 | 428 | 126 | 315 | 590
Inkjet printers | 2903 | 707 | 298 | 273 | 199 | 305 | 228 | 280 | 66 | 161 | 384
FAX machines | 5703 | 1424 | 554 | 574 | 404 | 612 | 399 | 541 | 140 | 345 | 710
Photocopiers | 5107 | 1341 | 509 | 528 | 357 | 540 | 305 | 387 | 132 | 344 | 665
Number of desktop computers
None | 377 | 99 | 27 | 22 | 24 | 36 | 44 | 50 | 9 | Q | 29
1 to 4 | 1184 | 270 | 82 | 82 | 104 | 106 | 162 | 189 | 30 | 22 | 135
5 to 9 | 738 | 192 | 60 | 62 | 43 | 77 | 55 | 106 | 20 | 27 | 95
10 to 19 | 675 | 173 | 58 | 69 | 41 | 79 | 31 | 79 | 17 | 41 | 87
20 to 49 | 1120 | 269 | 118 | 118 | 86 | 130 | 52 | 117 | 29 | 55 | 146
50 to 99 | 646 | 166 | 69 | 73 | 44 | 77 | 36 | 45 | 16 | 41 | 80
100 to 249 | 960 | 248 | 82 | 99 | 75 | 101 | Q | 48 | 25 | 81 | 132
250 or more | 1261 | 339 | 160 | 144 | 89 | 116 | 67 | 35 | 27 | 132 | 152
Number of laptop computers
None | 1497 | 345 | 111 | 112 | 103 | 154 | 162 | 243 | 36 | 43 | 157
1 to 4 | 1515 | 393 | 137 | 125 | 101 | 165 | 120 | 181 | 40 | 60 | 192
5 to 9 | 698 | 157 | 65 | 73 | 59 | 81 | 58 | 70 | 16 | 32 | 85
10 to 19 | 719 | 169 | 82 | 79 | 66 | 75 | 42 | 63 | 16 | 38 | 88
20 to 49 | 906 | 244 | 73 | 96 | 68 | 91 | 70 | 56 | 26 | 74 | 111
50 to 99 | 506 | 149 | 55 | 53 | 31 | 51 | 14 | 22 | 11 | 37 | 83
100 to 249 | 525 | 152 | 51 | 58 | 38 | 50 | 21 | 17 | 12 | 61 | 66
250 or more | 595 | 147 | 83 | 72 | 40 | 57 | 29 | 18 | 15 | 60 | 74
Number of dedicated servers
None | 2178 | 587 | 180 | 172 | 167 | 225 | 188 | 245 | 57 | 64 | 261
1 to 4 | 2717 | 656 | 246 | 266 | 205 | 295 | 191 | 309 | 68 | 136 | 345
5 to 9 | 565 | 138 | 54 | 60 | 40 | 59 | 47 | 55 | 12 | 35 | 67
10 to 19 | 593 | 139 | 66 | 74 | 29 | 63 | Q | 34 | 16 | 51 | 77
20 to 49 | 396 | 113 | 51 | 45 | 26 | 39 | 16 | 13 | 9 | 36 | 48
50 or more | 512 | 122 | 59 | 52 | 39 | 42 | 32 | 14 | 10 | 83 | 60
Number of photocopiers
None | 1853 | 414 | 147 | 141 | 150 | 184 | 212 | 282 | 40 | 62 | 191
One | 1201 | 325 | 103 | 102 | 87 | 127 | 81 | 142 | 31 | 49 | 154
2 to 4 | 1596 | 428 | 156 | 167 | 102 | 178 | 68 | 137 | 45 | 105 | 210
5 to 9 | 783 | 187 | 76 | 84 | 50 | 92 | 56 | 58 | 17 | 66 | 97
10 or more | 1527 | 401 | 174 | 174 | 117 | 143 | 101 | 49 | 39 | 124 | 204
Number of TVs or video displays
None | 1213 | 348 | 89 | 97 | 53 | 145 | 72 | 139 | 14 | 73 | 152
One | 697 | 207 | 54 | 59 | 40 | 74 | 51 | 84 | 13 | 32 | 83
2 to 4 | 1310 | 352 | 123 | 125 | 64 | 146 | 85 | 136 | 27 | 67 | 186
5 to 9 | 777 | 178 | 79 | 80 | 45 | 78 | 64 | 91 | 17 | 58 | 87
10 to 19 | 809 | 185 | 81 | 91 | 57 | 84 | 76 | 76 | 16 | 54 | 89
20 to 49 | 716 | 153 | 81 | 86 | 50 | 80 | 43 | 73 | 21 | 46 | 84
50 to 99 | 431 | 105 | 39 | 43 | 44 | 43 | 18 | 29 | 19 | 38 | 52
100 or more | 1006 | 227 | 109 | 87 | 156 | 73 | 107 | 41 | 46 | 37 | 123
Food preparation or serving areas in non-food service buildings (more than one may apply)
Snack bar or concession stand | 1112 | 266 | 124 | 99 | 79 | 93 | 121 | 131 | 25 | 51 | 123
Fast food or small restaurant | 1206 | 217 | 120 | 122 | 92 | 113 | 141 | 201 | 29 | 43 | 127
Cafeteria or large restaurant | 1623 | 400 | 185 | 156 | 163 | 138 | 166 | 105 | 41 | 87 | 181
Commercial kitchen/ food preparation area | 1797 | 421 | 184 | 157 | 196 | 142 | 190 | 200 | 47 | 64 | 196
Small kitchen area | 1187 | 314 | 129 | 106 | 90 | 103 | 104 | 108 | 33 | 54 | 145
Separate computer areas (more than one may apply)
Data center or server farm | 1355 | 345 | 171 | 141 | 89 | 124 | 93 | 46 | 31 | 151 | 163
Computer-based training room | 1696 | 425 | 196 | 177 | 118 | 174 | 123 | 123 | 39 | 123 | 197
Student or public computer center | 1275 | 374 | 130 | 114 | 121 | 111 | 90 | 79 | 36 | 79 | 141
HVAC conservation features (more than one may apply)
Economizer cycle | 3140 | 823 | 295 | 342 | 221 | 312 | 236 | 237 | 66 | 200 | 406
Regular HVAC maintenance | 6201 | 1538 | 603 | 620 | 455 | 640 | 463 | 575 | 151 | 377 | 769
Building automation system (BAS)1 | 3708 | 895 | 388 | 403 | 262 | 379 | 243 | 311 | 81 | 253 | 488
Window and interior lighting features (more than one may apply)
Multipaned windows | 5248 | 1345 | 476 | 516 | 382 | 524 | 404 | 515 | 131 | 307 | 634
Tinted window glass | 3971 | 936 | 411 | 408 | 290 | 416 | 305 | 364 | 95 | 240 | 501
Reflective window glass | 1652 | 368 | 174 | 174 | 121 | 163 | 147 | 154 | 41 | 118 | 191
External overhangs or awnings | 3087 | 702 | 283 | 296 | 232 | 295 | 317 | 380 | 74 | 158 | 345
Skylights or atriums | 2009 | 533 | 187 | 205 | 146 | 197 | 177 | 142 | 45 | 105 | 268
Light scheduling | 2930 | 668 | 299 | 318 | 194 | 284 | 235 | 327 | 67 | 183 | 351
Occupancy sensors | 3432 | 879 | 343 | 362 | 225 | 330 | 224 | 310 | 77 | 224 | 452
Multi-level lighting or dimming | 1618 | 360 | 156 | 161 | 141 | 132 | 186 | 182 | 39 | 72 | 188
Daylight harvesting | 619 | 160 | 61 | 68 | 31 | 61 | 44 | 64 | 12 | 29 | 89
Demand responsive lighting | 410 | 77 | 42 | 45 | 32 | 45 | 33 | 65 | 9 | 16 | 44
Building automation system (BAS) for lighting1 | 1200 | 246 | 131 | 144 | 65 | 130 | 80 | 165 | 21 | 71 | 147
Equipment usage reduced when building not in full use (more than one may apply)
Heating | 5018 | 1323 | 484 | 502 | 327 | 509 | 364 | 480 | 118 | 296 | 603
Cooling | 5005 | 1267 | 516 | 507 | 336 | 510 | 367 | 475 | 119 | 297 | 602
Lighting | 6423 | 1657 | 606 | 620 | 460 | 664 | 478 | 595 | 156 | 376 | 791
1In earlier CBECS publications, BAS was referred to as Energy Management and Control System (EMCS). Q = Data withheld either because the Relative Standard Error (RSE) was greater than 50 percent or fewer than 20 buildings were sampled. N = No cases in reporting sample. (*) = Value rounds to zero in the units displayed. Notes: ● Because of rounding, data may not sum to totals. ● See the Guide to the 2012 CBECS Detailed Tables or CBECS Terminology for definitions of terms used in these tables and/or comparison of differences with prior CBECS tables. Both references can be accessed from http://www.eia.gov/consumption/commercial/data/2012/ ● Site electricity is the amount of electricity delivered to commercial builidngs. Primary electricity, which is not included in the Total of major fuelscategory, is site electricity plus the conversion losses in the generation, transmission, and distribution processes. ● Statistics for the Energy end uses category represent total consumption in buildings that have the end use, not consumption specifically for that particular end use. ● HVAC = Heating, ventilation, and air conditioning. Source: U.S. Energy Information Administration, Office of Energy Consumption and Efficiency Statistics, Forms EIA-871A, C, D, E, and F of the 2012 Commercial Buildings Energy Consumption Survey.