## data
Release date: May 2016 Revised date: May 2019 (*)
Table E1. Major fuel consumption (Btu) by end use, 2012
Total major fuel consumption (trillion Btu)
| Total | Space heat- ing | Cool- ing | Venti- lation | Water heat- ing | Light- ing | Cook- ing | Refrig- eration | Office equip- ment | Com- puting | Other
All buildings | 6963 | 1756 | 656 | 668 | 507 | 724 | 517 | 670 | 172 | 405 | 889
Building floorspace (square feet)
1,001 to 5,000 | 723 | 155 | 50 | 45 | 56 | 59 | 105 | 131 | 21 | 33 | 67
5,001 to 10,000 | 646 | 157 | 45 | 48 | 42 | 58 | 82 | 93 | 17 | 33 | 71
10,001 to 25,000 | 876 | 244 | 67 | 79 | 56 | 92 | 60 | 92 | 28 | 50 | 108
25,001 to 50,000 | 823 | 223 | 79 | 84 | 61 | 97 | 33 | 68 | 21 | 46 | 111
50,001 to 100,000 | 1067 | 288 | 103 | 108 | 83 | 110 | 42 | 103 | 27 | 60 | 143
100,001 to 200,000 | 1035 | 243 | 95 | 116 | 77 | 119 | 54 | 92 | 21 | 73 | 145
200,001 to 500,000 | 1026 | 267 | 125 | 106 | 74 | 109 | 59 | 68 | 19 | 62 | 138
Over 500,000 | 767 | 178 | 92 | 82 | 57 | 80 | 81 | 23 | 19 | 48 | 106
Principal building activity
Education | 842 | 299 | 91 | 68 | 68 | 78 | 15 | 40 | 21 | 78 | 84
Food sales | 262 | 31 | 6 | 12 | 3 | 16 | 29 | 147 | 2 | 2 | 14
Food service | 514 | 46 | 30 | 31 | 43 | 19 | 199 | 114 | 7 | 4 | 21
Health care | 718 | 210 | 79 | 82 | 82 | 61 | 52 | 19 | 17 | 34 | 82
Inpatient | 549 | 164 | 67 | 46 | 78 | 40 | 47 | 14 | 12 | 21 | 59
Outpatient | 169 | 46 | 12 | 37 | 4 | 21 | 4 | 4 | 5 | 13 | 23
Lodging | 564 | 67 | 39 | 49 | 136 | 40 | 69 | 33 | 43 | 6 | 84
Mercantile | 1008 | 181 | 91 | 121 | 66 | 140 | 72 | 191 | 18 | 23 | 103
Retail (other than mall) | 364 | 76 | 40 | 47 | 5 | 72 | 8 | 53 | 7 | 11 | 46
Enclosed and strip malls | 644 | 106 | 52 | 75 | 61 | 68 | 64 | 139 | 11 | 12 | 57
Office | 1241 | 305 | 118 | 214 | 35 | 148 | Q | 28 | 37 | 167 | 153
Public assembly | 480 | 189 | 86 | 24 | 7 | 35 | 14 | 25 | 7 | 16 | 77
Public order and safety | 133 | 36 | 16 | 5 | 21 | 15 | 4 | 3 | 3 | 8 | 22
Religious worship | 173 | 75 | 15 | 13 | Q | 9 | 11 | 4 | 3 | 3 | 29
Service | 272 | 118 | 21 | 14 | 22 | 37 | 1 | 5 | 4 | 8 | 42
Warehouse and storage | 429 | 116 | 35 | 13 | 11 | 85 | Q | 47 | 6 | 16 | 87
Other | 286 | 69 | 26 | 16 | 2 | 37 | Q | 15 | 2 | 40 | 78
Vacant | 41 | 13 | 2 | 4 | Q | 5 | Q | 1 | 0 | 1 | 13
Year constructed
Before 1920 | 238 | 102 | 10 | 19 | 9 | 20 | 19 | 15 | 4 | 10 | 30
1920 to 1945 | 418 | 143 | 34 | 35 | 34 | 38 | 23 | 33 | 9 | 23 | 47
1946 to 1959 | 537 | 177 | 44 | 48 | 40 | 50 | 35 | 41 | 12 | 25 | 65
1960 to 1969 | 902 | 280 | 74 | 73 | 71 | 90 | 44 | 70 | 23 | 56 | 120
1970 to 1979 | 1012 | 251 | 87 | 100 | 98 | 98 | 89 | 90 | 25 | 58 | 116
1980 to 1989 | 1164 | 219 | 142 | 130 | 78 | 132 | 84 | 115 | 31 | 77 | 156
1990 to 1999 | 1102 | 227 | 113 | 108 | 70 | 121 | 101 | 128 | 27 | 65 | 142
2000 to 2003 | 579 | 139 | 58 | 61 | 31 | 67 | 33 | 57 | 14 | 40 | 80
2004 to 2007 | 528 | 104 | 50 | 47 | 41 | 57 | Q | 66 | 15 | 25 | 67
2008 to 2012 | 484 | 114 | 46 | 49 | 35 | 50 | 33 | 54 | 12 | 26 | 66
Census region and division
Northeast | 1459 | 503 | 89 | 134 | 100 | 134 | 91 | 121 | 27 | 81 | 180
New England | 368 | 159 | 15 | 27 | 15 | 29 | 17 | 34 | 7 | 16 | 48
Middle Atlantic | 1092 | 344 | 73 | 107 | 85 | 105 | 74 | 87 | 21 | 65 | 131
Midwest | 1566 | 574 | 98 | 141 | 94 | 155 | 82 | 128 | 33 | 79 | 182
East North Central | 1131 | 431 | 67 | 100 | 67 | 109 | 58 | 91 | 22 | 55 | 130
West North Central | 435 | 143 | 30 | 41 | 27 | 46 | 24 | 37 | 11 | 24 | 53
South | 2566 | 405 | 376 | 259 | 183 | 295 | 201 | 278 | 72 | 152 | 345
South Atlantic | 1358 | 203 | 199 | 140 | 92 | 154 | 103 | 154 | 42 | 89 | 181
East South Central | 369 | 73 | 39 | 37 | 35 | 40 | 30 | 42 | 11 | 18 | 44
West South Central | 839 | 128 | 138 | 82 | 56 | 101 | 67 | 82 | 19 | 45 | 120
West | 1372 | 275 | 94 | 134 | 129 | 139 | 143 | 143 | 40 | 93 | 182
Mountain | 417 | 108 | 30 | 39 | 35 | 38 | Q | 35 | 13 | 22 | 46
Pacific | 954 | 167 | 64 | 95 | 95 | 101 | 91 | 109 | 27 | 71 | 135
Climate region1
Very cold/Cold | 2746 | 1011 | 135 | 246 | 165 | 257 | 170 | 237 | 58 | 138 | 328
Mixed-humid | 2270 | 522 | 228 | 221 | 182 | 243 | 179 | 217 | 61 | 138 | 279
Mixed-dry/Hot-dry | 804 | 114 | 79 | 76 | 83 | 87 | 83 | 88 | 23 | 60 | 112
Hot-humid | 947 | 63 | 207 | 103 | 60 | 117 | 72 | 109 | 25 | 53 | 139
Marine | 197 | 46 | 7 | 22 | 17 | 21 | 12 | 18 | 5 | 17 | 31
Number of floors
One | 2831 | 621 | 260 | 243 | 170 | 324 | 248 | 434 | 61 | 127 | 342
Two | 1460 | 383 | 125 | 139 | 103 | 154 | 104 | 132 | 36 | 101 | 184
Three | 668 | 223 | 59 | 64 | 47 | 63 | 28 | 38 | 18 | 43 | 85
Four to nine | 1432 | 411 | 145 | 154 | 136 | 127 | 76 | 50 | 38 | 94 | 201
Ten or more | 572 | 119 | 66 | 68 | 52 | 55 | Q | 16 | 19 | 41 | 77
Elevators and escalators (more than one may apply)
Any elevators | 3183 | 853 | 328 | 349 | 261 | 304 | 200 | 136 | 83 | 237 | 431
Number of elevators
One | 884 | 265 | 72 | 95 | 74 | 88 | 46 | 52 | 24 | 58 | 109
Two to five | 1242 | 328 | 125 | 140 | 86 | 122 | 52 | 51 | 32 | 120 | 187
Six or more | 1058 | 259 | 132 | 115 | 101 | 94 | 102 | 33 | 28 | 59 | 135
Any escalators | 377 | 73 | 45 | 43 | 25 | 42 | Q | 16 | 12 | 17 | 53
Number of workers (main shift)
Fewer than 5 | 756 | 229 | 55 | 45 | 52 | 78 | 41 | 93 | 22 | 24 | 118
5 to 9 | 598 | 142 | 51 | 49 | 40 | 61 | 60 | 79 | 17 | 24 | 74
10 to 19 | 772 | 184 | 57 | 60 | 65 | 71 | 102 | 99 | 22 | 32 | 81
20 to 49 | 1188 | 284 | 106 | 112 | 81 | 126 | 90 | 145 | 30 | 73 | 141
50 to 99 | 1150 | 290 | 118 | 119 | 83 | 128 | 50 | 118 | 27 | 75 | 143
100 to 249 | 1058 | 286 | 101 | 110 | 63 | 116 | 51 | 86 | 21 | 68 | 156
250 or more | 1441 | 341 | 168 | 172 | 123 | 143 | 124 | 50 | 34 | 109 | 177
Weekly operating hours
Fewer than 40 | 229 | 95 | 20 | 8 | 10 | 17 | 11 | 15 | 6 | 12 | 35
40 to 48 | 832 | 256 | 87 | 74 | 36 | 99 | 19 | 40 | 27 | 82 | 111
49 to 60 | 1258 | 371 | 127 | 138 | 49 | 150 | 33 | 64 | 33 | 121 | 172
61 to 84 | 1370 | 330 | 128 | 148 | 88 | 143 | 123 | 173 | 25 | 65 | 146
85 to 167 | 1098 | 253 | 89 | 92 | 59 | 106 | 130 | 212 | 13 | 27 | 117
Open continuously | 2177 | 450 | 204 | 209 | 265 | 209 | 201 | 166 | 67 | 97 | 308
Ownership and occupancy
Nongovernment owned | 5375 | 1236 | 485 | 530 | 385 | 571 | 448 | 602 | 136 | 293 | 690
Owner occupied | 2615 | 646 | 238 | 222 | 206 | 262 | 229 | 267 | 72 | 117 | 356
Leased to tenant(s) | 2041 | 410 | 180 | 230 | 136 | 229 | 180 | 268 | 48 | 122 | 238
Owner occupied and leased | 709 | 176 | 67 | 78 | 42 | 79 | 38 | 67 | 16 | 54 | 92
Unoccupied | 10 | 4 | 0 | 0 | Q | Q | Q | Q | Q | Q | 4
Government owned | 1588 | 520 | 171 | 139 | 122 | 153 | 69 | 68 | 36 | 112 | 198
Federal | 137 | 40 | 13 | 17 | 7 | 15 | 11 | 3 | 2 | 8 | 21
State | 555 | 191 | 36 | 55 | 55 | 50 | Q | 23 | 13 | 34 | 65
Local | 896 | 289 | 122 | 66 | 60 | 87 | 24 | 43 | 21 | 71 | 112
Party responsible for operation and maintenance of energy systems
Building owner | 5808 | 1517 | 557 | 561 | 415 | 606 | 403 | 476 | 149 | 357 | 768
Business owner or tenant | 983 | 204 | 80 | 90 | 76 | 101 | 99 | 176 | 18 | 39 | 100
Property management | 96 | 17 | 10 | 12 | 11 | 9 | 8 | 8 | 3 | 7 | 12
Other | 75 | 18 | 8 | 5 | 6 | 7 | 8 | 10 | 2 | 2 | 9
Provider of direct input on energy- related equipment purchases
Building owner | 5984 | 1557 | 571 | 577 | 430 | 625 | 414 | 505 | 153 | 365 | 787
Business owner or tenant | 766 | 156 | 65 | 70 | 58 | 78 | 81 | 133 | 14 | 32 | 79
Property management | 61 | 12 | 6 | 8 | 5 | 7 | 5 | 5 | 2 | 3 | 8
Other | 153 | 31 | 14 | 14 | 14 | 14 | 17 | 27 | 3 | 5 | 15
Number of establishments
One | 4485 | 1155 | 407 | 387 | 356 | 455 | 369 | 405 | 120 | 248 | 583
2 to 5 | 1400 | 382 | 130 | 143 | 90 | 145 | 81 | 147 | 29 | 71 | 183
6 to 10 | 364 | 85 | 34 | 45 | 21 | 37 | 22 | 47 | 8 | 28 | 38
11 to 20 | 355 | 78 | 36 | 46 | 22 | 38 | 26 | 45 | 7 | 19 | 37
More than 20 | 347 | 51 | 48 | 47 | 17 | 48 | 19 | 26 | 7 | 39 | 44
Currently unoccupied | 13 | 6 | 0 | 0 | Q | 0 | Q | Q | Q | Q | 5
Predominant exterior wall material
Brick, stone, or stucco | 3457 | 917 | 319 | 335 | 284 | 330 | 262 | 292 | 92 | 207 | 419
Concrete (block or poured) | 1720 | 366 | 178 | 163 | 127 | 186 | 130 | 232 | 39 | 81 | 218
Concrete panels | 664 | 157 | 57 | 69 | 42 | 77 | Q | 47 | 18 | 50 | 94
Siding or shingles | 400 | 106 | 28 | 35 | 26 | 39 | 40 | 46 | 11 | 19 | 50
Metal panels | 428 | 137 | 43 | 32 | 13 | 64 | 9 | 31 | 7 | 22 | 70
Window glass | 170 | 46 | 17 | 22 | Q | 17 | 5 | 7 | 3 | 21 | 23
Other | 79 | 13 | 11 | 7 | 3 | 7 | Q | Q | 1 | 3 | 10
No one major type | 45 | 15 | 3 | 5 | 2 | 5 | Q | 4 | 1 | 2 | 6
Predominant roof material
Metal surfacing | 865 | 209 | 92 | 65 | 39 | 115 | 56 | 98 | 21 | 45 | 125
Synthetic or rubber | 2442 | 667 | 210 | 245 | 164 | 243 | 181 | 228 | 55 | 144 | 305
Built-up | 1862 | 437 | 194 | 199 | 145 | 198 | 131 | 163 | 42 | 118 | 236
Slate or tile shingles | 371 | 101 | 26 | 30 | 36 | 30 | 38 | 34 | 12 | 19 | 45
Wooden materials (including shingles) | 92 | 26 | 6 | 6 | 9 | 7 | 12 | 12 | 2 | 3 | 9
Asphalt, fiberglass, or other shingles | 1105 | 276 | 100 | 99 | 97 | 107 | 86 | 113 | 35 | 56 | 136
Concrete | 132 | 16 | 20 | 16 | 10 | 16 | 4 | 11 | 4 | 16 | 20
Other | 58 | 11 | 6 | 5 | 4 | 5 | 7 | 9 | 1 | 2 | 8
No one major type | 35 | 13 | 3 | 3 | Q | 4 | Q | Q | 1 | 2 | 5
Roof characteristics
Roof tilt
Flat | 4476 | 1103 | 446 | 464 | 348 | 472 | 314 | 382 | 102 | 276 | 569
Shallow pitch | 1597 | 382 | 139 | 136 | 85 | 177 | 131 | 213 | 41 | 87 | 207
Steeper pitch | 890 | 271 | 71 | 69 | 74 | 75 | 72 | 75 | 29 | 42 | 112
Cool roof | 1837 | 434 | 180 | 183 | 139 | 186 | 143 | 179 | 40 | 113 | 240
Renovations in buildings constructed before 2008 (more than one may apply)
Any type of renovation | 3762 | 992 | 352 | 368 | 277 | 367 | 291 | 320 | 89 | 229 | 476
Addition or annex | 1292 | 365 | 131 | 113 | 109 | 118 | 123 | 84 | 32 | 59 | 159
Reduction in floorspace | 226 | 50 | 20 | 23 | Q | 22 | Q | 18 | 4 | 9 | 23
Roof replacement | 1986 | 554 | 183 | 194 | 153 | 189 | 147 | 145 | 44 | 118 | 258
Exterior wall replacement | 399 | 89 | 41 | 38 | 28 | 37 | 45 | 35 | 8 | 28 | 50
Interior wall reconfiguration | 2056 | 539 | 201 | 219 | 139 | 199 | 155 | 143 | 48 | 155 | 256
Window replacement | 1090 | 304 | 98 | 100 | 88 | 97 | 96 | 64 | 30 | 73 | 139
HVAC equipment upgrade | 2545 | 651 | 252 | 252 | 197 | 245 | 210 | 198 | 59 | 157 | 324
Lighting upgrade | 2440 | 662 | 221 | 235 | 183 | 227 | 195 | 208 | 56 | 147 | 307
Electrical upgrade | 1608 | 421 | 150 | 149 | 122 | 144 | 149 | 121 | 37 | 100 | 214
Plumbing system upgrade | 1397 | 365 | 120 | 129 | 119 | 116 | 143 | 99 | 35 | 86 | 184
Insulation upgrade | 771 | 196 | 68 | 66 | 52 | 63 | 90 | 69 | 19 | 52 | 97
Fire, safety, or security upgrade | 1685 | 445 | 167 | 164 | 140 | 150 | 126 | 118 | 38 | 113 | 223
Structural upgrade | 424 | 83 | 42 | 35 | 30 | 35 | 68 | 30 | 11 | 29 | 60
Other | 69 | 19 | 9 | 9 | 3 | 8 | 1 | 3 | 2 | 6 | 9
No renovations | 2718 | 650 | 258 | 251 | 195 | 307 | 193 | 295 | 71 | 150 | 347
Buildings constructed 2008 or later | 484 | 114 | 46 | 49 | 35 | 50 | 33 | 54 | 12 | 26 | 66
Energy sources (more than one may apply)
Electricity | 6963 | 1756 | 656 | 668 | 507 | 724 | 517 | 670 | 172 | 405 | 889
Natural gas | 5544 | 1520 | 472 | 498 | 476 | 514 | 483 | 523 | 127 | 283 | 648
Fuel oil | 2231 | 587 | 243 | 226 | 161 | 222 | 151 | 116 | 51 | 157 | 316
District heat | 808 | 256 | 39 | 83 | 82 | 68 | 90 | 23 | 19 | 40 | 109
District chilled water | 665 | 207 | 18 | 68 | 68 | 58 | 79 | 18 | 16 | 40 | 94
Propane | 583 | 122 | 49 | 47 | 35 | 64 | Q | 78 | 17 | 23 | 95
Other | 301 | 85 | 27 | 31 | 15 | 30 | 15 | 26 | 5 | 16 | 52
Space-heating energy sources (more than one may apply)
Electricity | 3898 | 779 | 430 | 408 | 271 | 432 | 286 | 435 | 106 | 246 | 505
Natural gas | 4446 | 1396 | 361 | 393 | 337 | 414 | 312 | 419 | 95 | 226 | 495
Fuel oil | 360 | 146 | 29 | 28 | 18 | 34 | 12 | 19 | 7 | 17 | 50
District heat | 804 | 256 | 38 | 83 | 81 | 67 | 89 | 22 | 19 | 40 | 108
Propane | 151 | 27 | 12 | 14 | 5 | 19 | 10 | 26 | 5 | 7 | 28
Other | 48 | 13 | 2 | 5 | 2 | 7 | Q | 5 | 1 | 2 | 8
Primary space-heating energy source
Electricity | 1846 | 106 | 258 | 216 | 139 | 237 | 166 | 236 | 64 | 149 | 276
Natural gas | 3871 | 1297 | 309 | 339 | 268 | 360 | 242 | 361 | 78 | 197 | 421
Fuel oil | 187 | 92 | 10 | 12 | 4 | 17 | 5 | 9 | 4 | 8 | 28
District heat | 794 | 253 | 37 | 82 | 80 | 67 | 89 | 22 | 18 | 39 | 106
Propane | 63 | 4 | 5 | 6 | 0 | 9 | Q | 17 | 2 | 3 | 13
Other | 21 | 5 | 1 | 2 | Q | 4 | Q | 2 | Q | 1 | 5
Cooling energy sources (more than one may apply)
Electricity | 6322 | 1533 | 649 | 619 | 450 | 659 | 451 | 637 | 157 | 373 | 794
Natural gas | 97 | 37 | 15 | 9 | 9 | 7 | 3 | 2 | 2 | 4 | 11
District chilled water | 665 | 207 | 18 | 68 | 68 | 58 | 79 | 18 | 16 | 40 | 94
Water-heating energy sources (more than one may apply)
Electricity | 3102 | 649 | 347 | 339 | 95 | 380 | 207 | 378 | 74 | 222 | 412
Natural gas | 4029 | 1093 | 341 | 348 | 432 | 350 | 347 | 407 | 93 | 184 | 434
Fuel oil | 174 | 75 | 12 | 12 | 6 | 14 | 8 | 10 | 4 | 7 | 25
District heat | 652 | 188 | 33 | 67 | 74 | 56 | 81 | 17 | 16 | 31 | 90
Propane | 87 | 6 | 10 | 8 | 0 | 9 | 6 | 24 | 3 | 3 | 15
Cooking energy sources (more than one may apply)
Electricity | 2511 | 574 | 253 | 231 | 200 | 219 | 280 | 312 | 56 | 121 | 265
Natural gas | 3015 | 635 | 274 | 258 | 296 | 232 | 466 | 398 | 65 | 100 | 290
Propane | 167 | 34 | 16 | 14 | 8 | 14 | 10 | 33 | 5 | Q | 23
Energy end uses (more than one may apply)
Buildings with space heating | 6782 | 1756 | 619 | 657 | 492 | 693 | 506 | 647 | 168 | 397 | 848
Buildings with cooling | 6774 | 1679 | 656 | 665 | 493 | 699 | 511 | 650 | 169 | 401 | 850
Buildings with water heating | 6798 | 1707 | 641 | 658 | 507 | 696 | 516 | 664 | 168 | 396 | 844
Buildings with cooking | 4079 | 897 | 390 | 364 | 357 | 340 | 517 | 528 | 94 | 171 | 422
Buildings with manufacturing | 360 | 89 | 34 | 28 | 14 | 49 | 14 | 32 | 5 | 15 | 80
Buildings with electricity generation | 2803 | 688 | 292 | 287 | 206 | 274 | 183 | 211 | 65 | 195 | 402
Percent of floorspace heated
Not heated | 181 | N | 36 | 11 | 15 | 31 | 11 | 23 | 4 | 8 | 41
1 to 50 | 468 | 71 | 38 | 38 | 25 | 63 | 40 | 63 | 11 | 39 | 81
51 to 99 | 1298 | 304 | 129 | 129 | 91 | 131 | 114 | 158 | 29 | 60 | 153
100 | 5016 | 1381 | 453 | 491 | 376 | 499 | 351 | 426 | 127 | 298 | 614
Percent of floorspace cooled
Not cooled | 189 | 78 | N | 3 | 13 | 24 | 5 | 20 | 3 | 4 | 39
1 to 50 | 989 | 363 | 42 | 65 | 57 | 122 | 49 | 82 | 19 | 40 | 149
51 to 99 | 2143 | 553 | 192 | 214 | 154 | 206 | 156 | 231 | 49 | 138 | 250
100 | 3642 | 763 | 421 | 385 | 283 | 370 | 306 | 336 | 102 | 224 | 451
Percent lit when open
Zero | 4 | Q | Q | Q | Q | Q | Q | Q | Q | Q | 3
1 to 50 | 642 | 182 | 54 | 61 | 47 | 50 | 34 | 49 | 23 | 27 | 116
51 to 99 | 3049 | 828 | 274 | 295 | 230 | 284 | 204 | 307 | 72 | 175 | 379
100 | 3244 | 733 | 326 | 311 | 229 | 387 | 278 | 314 | 77 | 203 | 385
Building never open/electricity not used | 24 | 13 | 1 | 0 | Q | Q | Q | Q | Q | Q | 7
Percent lit during off hours
Zero | 1293 | 394 | 117 | 116 | 59 | 126 | 71 | 102 | 32 | 94 | 182
1 to 50 | 4346 | 1105 | 427 | 432 | 312 | 463 | 294 | 418 | 106 | 251 | 539
51 to 100 | 1018 | 208 | 80 | 88 | 108 | 98 | 134 | 105 | 23 | 47 | 125
Building always open with no "off hours" | 306 | 49 | 31 | 32 | 28 | 36 | 18 | 44 | 11 | 13 | 43
Electricity not used | N | N | N | N | N | N | N | N | N | N | N
Heating equipment (more than one may apply)
Heat pumps | 899 | 143 | 117 | 86 | 84 | 97 | 70 | 87 | 34 | 62 | 119
Furnaces | 615 | 179 | 47 | 53 | 37 | 58 | 55 | 68 | 18 | 32 | 69
Individual space heaters | 1572 | 471 | 129 | 148 | 114 | 166 | 81 | 132 | 42 | 84 | 205
District heat | 804 | 256 | 38 | 83 | 81 | 67 | 89 | 22 | 19 | 40 | 108
Boilers | 2262 | 741 | 217 | 211 | 198 | 197 | 106 | 123 | 52 | 137 | 281
Packaged heating units | 4083 | 925 | 411 | 419 | 260 | 431 | 345 | 493 | 91 | 222 | 486
Other | 191 | 33 | 9 | 18 | 12 | 15 | 21 | 62 | 2 | 3 | 16
Cooling equipment (more than one may apply)
Residential-type central air conditioners | 1086 | 281 | 93 | 75 | 81 | 108 | 98 | 144 | 29 | 47 | 131
Heat pumps | 939 | 154 | 115 | 93 | 85 | 104 | 66 | 96 | 34 | 66 | 125
Individual air conditioners | 1013 | 298 | 97 | 81 | 106 | 89 | 64 | 70 | 34 | 47 | 126
District chilled water | 665 | 207 | 18 | 68 | 68 | 58 | 79 | 18 | 16 | 40 | 94
Central chillers | 1853 | 481 | 234 | 210 | 143 | 179 | 85 | 80 | 43 | 147 | 250
Packaged air conditioning units | 3972 | 957 | 403 | 415 | 265 | 404 | 320 | 452 | 85 | 202 | 468
Swamp coolers | 176 | 45 | 14 | 14 | 16 | 16 | 21 | 23 | 3 | 6 | 17
Other | 45 | 9 | 4 | 5 | 2 | 5 | Q | 1 | 0 | Q | 7
Main equipment replaced since 1990 (more than one may apply)
Heating | 2164 | 551 | 199 | 202 | 170 | 215 | 159 | 222 | 58 | 135 | 254
Cooling | 2521 | 650 | 252 | 235 | 204 | 243 | 182 | 233 | 68 | 158 | 296
Water-heating equipment
Centralized system | 4210 | 1109 | 377 | 391 | 335 | 415 | 347 | 387 | 111 | 230 | 508
Distributed system | 832 | 192 | 82 | 83 | 43 | 105 | 46 | 75 | 19 | 55 | 132
Combination of centralized and distributed system | 1756 | 406 | 182 | 185 | 129 | 176 | 124 | 202 | 38 | 111 | 204
Lighting equipment types (more than one may apply)
Incandescent | 3540 | 878 | 353 | 336 | 287 | 340 | 321 | 344 | 86 | 184 | 409
Standard fluorescent | 6714 | 1698 | 632 | 650 | 491 | 693 | 492 | 649 | 166 | 394 | 850
Compact fluorescent | 5094 | 1265 | 497 | 507 | 407 | 493 | 426 | 451 | 129 | 305 | 615
High-intensity discharge (HID) | 2187 | 557 | 227 | 215 | 159 | 229 | 173 | 190 | 49 | 112 | 275
Halogen | 2695 | 636 | 275 | 271 | 206 | 266 | 240 | 272 | 64 | 138 | 325
LED | 2363 | 561 | 242 | 248 | 174 | 220 | 206 | 251 | 52 | 117 | 293
Other | 59 | 16 | 9 | 5 | 4 | 4 | 4 | 6 | 1 | 2 | 6
Refrigeration equipment (more than one may apply)
Any refrigeration | 6471 | 1600 | 610 | 623 | 486 | 647 | 517 | 670 | 159 | 365 | 795
Walk-in units | 3525 | 733 | 329 | 309 | 307 | 283 | 451 | 547 | 73 | 130 | 361
Cases or cabinets | 3316 | 697 | 291 | 307 | 273 | 282 | 400 | 523 | 70 | 126 | 347
Large cold storage areas | 530 | 102 | 40 | 37 | 32 | 42 | 61 | 145 | 7 | 13 | 53
Commercial ice makers | 3731 | 789 | 370 | 357 | 335 | 326 | 416 | 457 | 91 | 172 | 419
Residential-type or compact units | 5183 | 1383 | 499 | 513 | 388 | 537 | 332 | 413 | 131 | 324 | 663
Vending machines | 4178 | 1034 | 418 | 430 | 337 | 439 | 273 | 379 | 102 | 243 | 525
No refrigeration | 492 | 156 | 45 | 46 | 21 | 77 | Q | N | 13 | 40 | 94
Office equipment (more than one may apply)
Desktop computers | 6586 | 1657 | 629 | 647 | 483 | 687 | 473 | 620 | 163 | 399 | 829
With flat screen monitors | 6523 | 1644 | 624 | 641 | 478 | 678 | 466 | 614 | 162 | 398 | 818
With multiple monitors | 2942 | 745 | 296 | 321 | 195 | 298 | 216 | 212 | 69 | 233 | 359
Laptop computers | 5466 | 1411 | 545 | 556 | 403 | 570 | 354 | 427 | 136 | 363 | 701
Dedicated servers | 4784 | 1169 | 476 | 496 | 340 | 498 | 328 | 425 | 115 | 341 | 597
Laser printers | 4795 | 1239 | 451 | 488 | 346 | 495 | 316 | 428 | 126 | 316 | 590
Inkjet printers | 2903 | 707 | 298 | 273 | 200 | 306 | 228 | 280 | 66 | 161 | 384
FAX machines | 5706 | 1425 | 554 | 574 | 404 | 612 | 399 | 541 | 140 | 345 | 710
Photocopiers | 5110 | 1342 | 509 | 528 | 357 | 540 | 305 | 387 | 132 | 344 | 666
Number of desktop computers
None | 377 | 99 | 27 | 22 | 24 | 36 | 44 | 50 | 9 | Q | 59
1 to 4 | 1184 | 270 | 82 | 82 | 104 | 106 | 162 | 189 | 30 | 22 | 136
5 to 9 | 738 | 192 | 60 | 62 | 44 | 77 | 55 | 106 | 20 | 27 | 96
10 to 19 | 676 | 173 | 58 | 69 | 41 | 79 | 31 | 79 | 17 | 41 | 87
20 to 49 | 1121 | 269 | 118 | 118 | 86 | 131 | 52 | 117 | 29 | 55 | 146
50 to 99 | 645 | 165 | 69 | 73 | 44 | 77 | 36 | 45 | 16 | 41 | 80
100 to 249 | 961 | 249 | 82 | 99 | 76 | 101 | Q | 48 | 25 | 81 | 132
250 or more | 1261 | 339 | 160 | 144 | 89 | 116 | 67 | 35 | 27 | 132 | 152
Number of laptop computers
None | 1497 | 345 | 111 | 112 | 103 | 154 | 162 | 243 | 36 | 43 | 187
1 to 4 | 1516 | 394 | 137 | 125 | 101 | 165 | 120 | 181 | 40 | 60 | 194
5 to 9 | 698 | 157 | 65 | 73 | 59 | 81 | 58 | 70 | 16 | 32 | 85
10 to 19 | 719 | 169 | 82 | 79 | 66 | 75 | 42 | 63 | 16 | 38 | 88
20 to 49 | 907 | 244 | 73 | 96 | 68 | 91 | 70 | 56 | 25 | 74 | 111
50 to 99 | 506 | 149 | 55 | 53 | 31 | 51 | 14 | 22 | 11 | 37 | 84
100 to 249 | 525 | 152 | 51 | 58 | 38 | 50 | 21 | 17 | 12 | 61 | 66
250 or more | 596 | 147 | 83 | 72 | 40 | 57 | 29 | 18 | 15 | 60 | 74
Number of dedicated servers
None | 2179 | 588 | 180 | 172 | 167 | 225 | 189 | 245 | 57 | 64 | 292
1 to 4 | 2718 | 657 | 246 | 266 | 206 | 295 | 191 | 309 | 68 | 136 | 345
5 to 9 | 565 | 138 | 54 | 60 | 40 | 59 | 47 | 55 | 12 | 35 | 67
10 to 19 | 593 | 140 | 66 | 74 | 29 | 63 | Q | 34 | 16 | 51 | 77
20 to 49 | 396 | 113 | 51 | 45 | 26 | 39 | 16 | 13 | 9 | 36 | 48
50 or more | 512 | 122 | 59 | 51 | 38 | 42 | 32 | 14 | 10 | 83 | 60
Number of photocopiers
None | 1854 | 414 | 147 | 141 | 150 | 184 | 212 | 282 | 40 | 62 | 223
One | 1202 | 325 | 103 | 102 | 88 | 127 | 80 | 143 | 31 | 49 | 154
2 to 4 | 1596 | 428 | 156 | 167 | 102 | 178 | 67 | 137 | 45 | 104 | 211
5 to 9 | 784 | 187 | 76 | 84 | 50 | 92 | 56 | 58 | 17 | 66 | 97
10 or more | 1527 | 401 | 174 | 174 | 117 | 143 | 101 | 49 | 39 | 124 | 204
Number of TVs or video displays
None | 1214 | 348 | 89 | 97 | 53 | 145 | 72 | 140 | 14 | 73 | 184
One | 697 | 207 | 54 | 59 | 40 | 74 | 52 | 84 | 13 | 32 | 83
2 to 4 | 1311 | 352 | 123 | 125 | 64 | 146 | 85 | 136 | 27 | 67 | 186
5 to 9 | 777 | 178 | 79 | 80 | 45 | 78 | 64 | 91 | 17 | 58 | 87
10 to 19 | 810 | 185 | 81 | 91 | 57 | 84 | 76 | 76 | 16 | 54 | 89
20 to 49 | 717 | 153 | 81 | 86 | 50 | 80 | 43 | 73 | 21 | 46 | 84
50 to 99 | 432 | 105 | 39 | 43 | 44 | 43 | 18 | 29 | 19 | 38 | 52
100 or more | 1006 | 227 | 109 | 87 | 156 | 73 | 107 | 41 | 46 | 37 | 123
Food preparation or serving areas in non-food service buildings (more than one may apply)
Snack bar or concession stand | 1112 | 266 | 124 | 99 | 79 | 93 | 121 | 131 | 25 | 51 | 123
Fast food or small restaurant | 1206 | 217 | 120 | 122 | 92 | 113 | 141 | 202 | 29 | 43 | 127
Cafeteria or large restaurant | 1624 | 400 | 185 | 156 | 163 | 138 | 167 | 105 | 41 | 87 | 181
Commercial kitchen/ food preparation area | 1798 | 421 | 184 | 157 | 196 | 142 | 190 | 200 | 47 | 64 | 197
Small kitchen area | 1187 | 314 | 129 | 106 | 90 | 103 | 104 | 108 | 33 | 54 | 147
Separate computer areas (more than one may apply)
Data center or server farm | 1356 | 345 | 171 | 141 | 89 | 124 | 93 | 46 | 31 | 151 | 163
Computer-based training room | 1696 | 426 | 196 | 177 | 118 | 174 | 124 | 123 | 39 | 123 | 197
Student or public computer center | 1275 | 374 | 130 | 114 | 121 | 111 | 90 | 79 | 36 | 78 | 141
HVAC conservation features (more than one may apply)
Economizer cycle | 3142 | 824 | 295 | 343 | 221 | 312 | 236 | 237 | 66 | 200 | 409
Regular HVAC maintenance | 6203 | 1538 | 604 | 620 | 455 | 640 | 463 | 576 | 151 | 377 | 780
Building automation system (BAS)2 | 3709 | 896 | 389 | 403 | 262 | 379 | 243 | 311 | 81 | 253 | 492
Window and interior lighting features (more than one may apply)
Multipaned windows | 5250 | 1346 | 476 | 516 | 382 | 524 | 405 | 515 | 131 | 307 | 647
Tinted window glass | 3973 | 937 | 411 | 408 | 290 | 416 | 305 | 364 | 95 | 240 | 506
Reflective window glass | 1652 | 368 | 174 | 174 | 121 | 163 | 147 | 154 | 41 | 118 | 192
External overhangs or awnings | 3089 | 702 | 283 | 296 | 233 | 295 | 317 | 381 | 74 | 158 | 351
Skylights or atriums | 2010 | 534 | 187 | 205 | 147 | 197 | 178 | 142 | 45 | 105 | 271
Light scheduling | 2930 | 668 | 299 | 318 | 194 | 284 | 235 | 327 | 67 | 183 | 354
Occupancy sensors | 3434 | 880 | 344 | 362 | 225 | 331 | 224 | 310 | 77 | 224 | 457
Multi-level lighting or dimming | 1618 | 360 | 156 | 161 | 141 | 132 | 186 | 182 | 39 | 72 | 189
Daylight harvesting | 619 | 160 | 61 | 68 | 31 | 61 | 44 | 64 | 12 | 29 | 90
Demand responsive lighting | 410 | 77 | 42 | 45 | 32 | 44 | 33 | 65 | 9 | 16 | 46
Building automation system (BAS) for lighting2 | 1201 | 246 | 131 | 144 | 65 | 130 | 80 | 165 | 21 | 71 | 148
Equipment usage reduced when building not in full use (more than one may apply)
Heating | 5022 | 1324 | 485 | 502 | 328 | 509 | 364 | 480 | 118 | 296 | 615
Cooling | 5008 | 1268 | 516 | 508 | 336 | 511 | 367 | 476 | 119 | 297 | 610
Lighting | 6426 | 1658 | 606 | 620 | 460 | 664 | 478 | 595 | 156 | 376 | 811
(*) May 2019 revision: there was a miscalculation in the Other column. For all buildings, Other changed from 857 to 889 trillion Btu. 1These climate regions were created by the Building America program, sponsored by the U.S. Department of Energy’s Office of Energy Efficiency and Renewable Energy (EERE). 2In earlier CBECS publications, BAS was referred to as Energy Management and Control System (EMCS). Q = Data withheld either because the Relative Standard Error (RSE) was greater than 50 percent or fewer than 20 buildings were sampled. N = No cases in reporting sample. (*) = Value rounds to zero in the units displayed. Notes: ● Because of rounding, data may not sum to totals. ● See the Guide to the 2012 CBECS Detailed Tables or CBECS Terminology for definitions of terms used in these tables and/or comparison of differences with prior CBECS tables. Both references can be accessed from http://www.eia.gov/consumption/commercial/data/2012/ ● Site electricity is the amount of electricity delivered to commercial builidngs. Primary electricity, which is not included in the Total of major fuelscategory, is site electricity plus the conversion losses in the generation, transmission, and distribution processes. ● Statistics for the Energy end uses category represent total consumption in buildings that have the end use, not consumption specifically for that particular end use. ● HVAC = Heating, ventilation, and air conditioning. Source: U.S. Energy Information Administration, Office of Energy Consumption and Efficiency Statistics, Forms EIA-871A, C, D, E, and F of the 2012 Commercial Buildings Energy Consumption Survey.