## ref2023.0206a
| ref2023.d020623a | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
|  | Report | Annual Energy Outlook 2023
|  | Scenario | ref2023 |  |  | Reference
|  | Datekey | d020623a
|  | Release Date |  | March 2023
Average
RST000 | 21. Residential Sector Equipment Stock and Efficiency, and Distributed Generation | [29 empty] | Annual
Change
2022–2050
| Equipment Stock Data | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2050
Equipment Stock (million units)
Main Space Heaters
RST000:ba_ElectricHeatP | Electric Heat Pumps | 13.3156 | 13.5707 | 13.8229 | 14.081 | 14.3385 | 14.5967 | 14.856 | 15.1132 | 15.3642 | 15.6108 | 15.8556 | 16.0955 | 16.3289 | 16.5605 | 16.7936 | 17.027 | 17.2586 | 17.4878 | 17.7188 | 17.9497 | 18.1783 | 18.4061 | 18.6332 | 18.86 | 19.0861 | 19.3127 | 19.5382 | 19.7624 | 19.9859 | 1.461%
RST000:ba_ElectricOther | Electric Other | 31.011 | 31.1912 | 31.367 | 31.5459 | 31.7281 | 31.9141 | 32.1033 | 32.2914 | 32.4729 | 32.6504 | 32.8281 | 33.0033 | 33.1729 | 33.3398 | 33.5085 | 33.6767 | 33.8448 | 34.0126 | 34.184 | 34.3558 | 34.5257 | 34.6942 | 34.8612 | 35.027 | 35.1912 | 35.3566 | 35.5211 | 35.685 | 35.8491 | 0.5191%
RST000:ba_NaturalGasHea | Natural Gas Heat Pumps | 1.3212 | 1.3192 | 1.3173 | 1.3154 | 1.3134 | 1.3115 | 1.3096 | 1.3077 | 1.3058 | 1.3039 | 1.302 | 1.3001 | 1.2983 | 1.2964 | 1.2945 | 1.2927 | 1.2908 | 1.289 | 1.2872 | 1.2853 | 1.2835 | 1.2817 | 1.2799 | 1.2781 | 1.2763 | 1.2745 | 1.2728 | 1.271 | 1.2692 | -0.1432%
RST000:ba_NaturalGasOth | Natural Gas Other | 62.0668 | 62.8687 | 63.6781 | 64.5033 | 65.3218 | 66.1369 | 66.9516 | 67.7562 | 68.5412 | 69.3104 | 70.0706 | 70.8125 | 71.5314 | 72.2394 | 72.9448 | 73.6432 | 74.3387 | 75.0292 | 75.7249 | 76.42 | 77.1067 | 77.7899 | 78.4698 | 79.1464 | 79.8164 | 80.4825 | 81.141 | 81.7903 | 82.4314 | 1.019%
RST000:ba_Distillate | Distillate Fuel Oil | 5.455 | 5.4058 | 5.3575 | 5.3095 | 5.2619 | 5.216 | 5.1721 | 5.1305 | 5.0912 | 5.0535 | 5.0174 | 4.9827 | 4.9491 | 4.9163 | 4.8843 | 4.8537 | 4.8241 | 4.7954 | 4.7674 | 4.7396 | 4.7103 | 4.6795 | 4.6474 | 4.6144 | 4.5805 | 4.5452 | 4.5088 | 4.4719 | 4.4347 | -0.7368%
RST000:ba_LiquefiedPetr | Propane | 5.2929 | 5.2831 | 5.2724 | 5.2618 | 5.2519 | 5.2451 | 5.2407 | 5.238 | 5.2355 | 5.2331 | 5.2313 | 5.2298 | 5.228 | 5.226 | 5.2241 | 5.2215 | 5.218 | 5.2139 | 5.2102 | 5.207 | 5.2025 | 5.197 | 5.1909 | 5.1846 | 5.178 | 5.1716 | 5.1654 | 5.1593 | 5.1538 | -0.0951%
RST000:ba_Kerosene | Kerosene | 0.003901 | 0.00709 | 0.009997 | 0.012783 | 0.015616 | 0.01846 | 0.021282 | 0.024013 | 0.026531 | 0.028897 | 0.031215 | 0.033522 | 0.035761 | 0.037892 | 0.039987 | 0.041972 | 0.043841 | 0.045631 | 0.047425 | 0.049189 | 0.050905 | 0.052555 | 0.05413 | 0.055631 | 0.057045 | 0.058409 | 0.059716 | 0.060958 | 0.062151 | 10.39%
RST000:ba_WoodStoves | Wood Stoves | 3.2972 | 3.2656 | 3.2378 | 3.2114 | 3.1869 | 3.1635 | 3.1407 | 3.1177 | 3.0948 | 3.0714 | 3.0475 | 3.0231 | 2.998 | 2.9722 | 2.9459 | 2.9204 | 2.8957 | 2.872 | 2.8483 | 2.8256 | 2.8042 | 2.7839 | 2.7651 | 2.7473 | 2.7304 | 2.7135 | 2.6966 | 2.6795 | 2.6623 | -0.761%
RST000:ba_GeothermalHea | Geothermal Heat Pumps | 0.71604 | 0.77876 | 0.84013 | 0.90151 | 0.96045 | 1.0182 | 1.0756 | 1.1328 | 1.1893 | 1.2455 | 1.3019 | 1.358 | 1.4136 | 1.4696 | 1.5259 | 1.5812 | 1.6356 | 1.6885 | 1.7417 | 1.794 | 1.8445 | 1.8936 | 1.9412 | 1.9876 | 2.0328 | 2.0778 | 2.1223 | 2.1665 | 2.2103 | 4.108%
RST000:ba_Total | Total | 122.4796 | 123.6903 | 124.903 | 126.1426 | 127.3786 | 128.6205 | 129.8708 | 131.1116 | 132.3212 | 133.5078 | 134.6858 | 135.8386 | 136.9558 | 138.0581 | 139.1618 | 140.2584 | 141.3502 | 142.4341 | 143.5299 | 144.6264 | 145.7066 | 146.7785 | 147.8428 | 148.901 | 149.9487 | 150.9928 | 152.0259 | 153.047 | 154.059 | 0.8226%
Space Cooling (million units)
RST000:ca_ElectricHeatP | Electric Heat Pumps | 13.3156 | 13.5707 | 13.8229 | 14.081 | 14.3385 | 14.5967 | 14.856 | 15.1132 | 15.3642 | 15.6108 | 15.8556 | 16.0955 | 16.3289 | 16.5605 | 16.7936 | 17.027 | 17.2586 | 17.4878 | 17.7188 | 17.9497 | 18.1783 | 18.4061 | 18.6332 | 18.86 | 19.0861 | 19.3127 | 19.5382 | 19.7624 | 19.9859 | 1.461%
RST000:ca_NaturalGasHea | Natural Gas Heat Pumps | 1.3212 | 1.3192 | 1.3173 | 1.3154 | 1.3134 | 1.3115 | 1.3096 | 1.3077 | 1.3058 | 1.3039 | 1.302 | 1.3001 | 1.2983 | 1.2964 | 1.2945 | 1.2927 | 1.2908 | 1.289 | 1.2872 | 1.2853 | 1.2835 | 1.2817 | 1.2799 | 1.2781 | 1.2763 | 1.2745 | 1.2728 | 1.271 | 1.2692 | -0.1432%
RST000:ca_GeothermalHea | Geothermal Heat Pumps | 0.71604 | 0.77876 | 0.84013 | 0.90151 | 0.96045 | 1.0182 | 1.0755 | 1.1328 | 1.1893 | 1.2455 | 1.3019 | 1.358 | 1.4136 | 1.4696 | 1.5259 | 1.5812 | 1.6356 | 1.6885 | 1.7417 | 1.794 | 1.8445 | 1.8936 | 1.9412 | 1.9876 | 2.0328 | 2.0778 | 2.1223 | 2.1665 | 2.2103 | 4.108%
RST000:ca_CentralAirCon | Central Air Conditioners | 65.9529 | 67.5315 | 69.1128 | 70.7101 | 72.3031 | 73.8979 | 75.4963 | 77.0872 | 78.6571 | 80.2107 | 81.7569 | 83.2853 | 84.7898 | 86.283 | 87.775 | 89.2605 | 90.741 | 92.2144 | 93.6936 | 95.1717 | 96.6377 | 98.0968 | 99.5497 | 100.997 | 102.4362 | 103.8711 | 105.2972 | 106.7138 | 108.1228 | 1.781%
RST000:ca_RoomAirCondit | Room Air Conditioners | 58.0862 | 58.0996 | 58.1132 | 58.1301 | 58.149 | 58.1703 | 58.1939 | 58.217 | 58.2358 | 58.2519 | 58.2679 | 58.2828 | 58.2945 | 58.3047 | 58.3159 | 58.3261 | 58.3355 | 58.3442 | 58.3554 | 58.3676 | 58.379 | 58.3901 | 58.4008 | 58.4112 | 58.4207 | 58.4303 | 58.4393 | 58.4474 | 58.4551 | 0.0226%
RST000:ca_Total | Total | 139.3919 | 141.2998 | 143.2064 | 145.1381 | 147.0645 | 148.9945 | 150.9313 | 152.8579 | 154.7522 | 156.6228 | 158.4843 | 160.3217 | 162.1251 | 163.9142 | 165.705 | 167.4875 | 169.2615 | 171.024 | 172.7966 | 174.5683 | 176.3231 | 178.0685 | 179.8049 | 181.5339 | 183.2522 | 184.9665 | 186.6699 | 188.3611 | 190.0433 | 1.113%
Water Heaters (million units)
RST000:da_Electric | Electric | 60.5807 | 60.9833 | 61.3376 | 61.676 | 61.9824 | 62.2862 | 62.5818 | 62.8616 | 63.1113 | 63.3678 | 63.6363 | 63.9852 | 64.382 | 64.8971 | 65.4002 | 65.9038 | 66.4073 | 66.8962 | 67.3818 | 67.8592 | 68.3232 | 68.7767 | 69.2208 | 69.6591 | 70.0996 | 70.5389 | 70.9729 | 71.4069 | 71.8426 | 0.6108%
RST000:da_NaturalGas | Natural Gas | 61.2524 | 61.8553 | 62.5017 | 63.184 | 63.881 | 64.5892 | 65.314 | 66.0415 | 66.7612 | 67.4556 | 68.1334 | 68.8035 | 69.4583 | 70.1207 | 70.7752 | 71.421 | 72.0602 | 72.7025 | 73.3558 | 74.0139 | 74.6655 | 75.316 | 75.9656 | 76.6118 | 77.2434 | 77.8706 | 78.4905 | 79.0975 | 79.6926 | 0.9443%
RST000:da_Distillate | Distillate Fuel Oil | 2.5425 | 2.4845 | 2.4319 | 2.3857 | 2.3436 | 2.3057 | 2.2721 | 2.2424 | 2.2167 | 2.1888 | 2.1593 | 2.1288 | 2.0981 | 2.0669 | 2.0362 | 2.0061 | 1.977 | 1.9489 | 1.922 | 1.8962 | 1.8715 | 1.8477 | 1.8247 | 1.8024 | 1.7806 | 1.7592 | 1.7384 | 1.7177 | 1.6973 | -1.433%
RST000:da_LiquefiedPetr | Propane | 3.944 | 3.8442 | 3.7543 | 3.6749 | 3.6056 | 3.5459 | 3.4958 | 3.4546 | 3.4217 | 3.3835 | 3.3414 | 3.2969 | 3.2506 | 3.2033 | 3.1567 | 3.1109 | 3.0665 | 3.0242 | 2.9849 | 2.9485 | 2.9145 | 2.8829 | 2.8535 | 2.8259 | 2.7997 | 2.775 | 2.7516 | 2.729 | 2.7075 | -1.335%
RST000:da_SolarThermal | Solar Thermal | 2.2328 | 2.5769 | 2.9125 | 3.2382 | 3.5636 | 3.8727 | 4.1679 | 4.4542 | 4.7348 | 5.0189 | 5.3041 | 5.4953 | 5.6204 | 5.6064 | 5.6124 | 5.6183 | 5.6239 | 5.6299 | 5.6362 | 5.6427 | 5.6493 | 5.656 | 5.6629 | 5.67 | 5.6776 | 5.6851 | 5.6926 | 5.7001 | 5.7074 | 3.409%
RST000:da_Total | Total | 130.5524 | 131.7441 | 132.938 | 134.1588 | 135.3762 | 136.5997 | 137.8316 | 139.0542 | 140.2458 | 141.4144 | 142.5746 | 143.7097 | 144.8095 | 145.8943 | 146.9807 | 148.06 | 149.1349 | 150.2018 | 151.2807 | 152.3604 | 153.424 | 154.4795 | 155.5275 | 156.5692 | 157.6009 | 158.6288 | 159.646 | 160.6512 | 161.6474 | 0.7659%
Cooking Equipment (million units) 1/
RST000:ea_Electric | Electric | 98.2687 | 98.9185 | 99.5547 | 100.1986 | 100.8286 | 101.4491 | 102.0602 | 102.6242 | 103.1235 | 103.556 | 103.9282 | 104.3122 | 104.7261 | 105.1879 | 105.7188 | 106.3178 | 106.9028 | 107.4709 | 108.0352 | 108.5867 | 109.1132 | 109.6195 | 110.1067 | 110.5774 | 111.0322 | 111.4795 | 111.9186 | 112.3544 | 112.7939 | 0.4936%
RST000:ea_NaturalGas | Natural Gas | 48.8835 | 49.4091 | 49.9527 | 50.5175 | 51.0952 | 51.6919 | 52.3096 | 52.9688 | 53.6662 | 54.4111 | 55.2099 | 55.9676 | 56.6564 | 57.2787 | 57.8288 | 58.3005 | 58.7845 | 59.2803 | 59.794 | 60.3237 | 60.8645 | 61.4186 | 61.9849 | 62.5611 | 63.1417 | 63.724 | 64.3015 | 64.8687 | 65.4225 | 1.046%
RST000:ea_LiquefiedPetr | Propane | 7.2516 | 7.2353 | 7.217 | 7.1969 | 7.1745 | 7.1489 | 7.1203 | 7.0881 | 7.0514 | 7.0114 | 6.9695 | 6.9318 | 6.898 | 6.8681 | 6.8427 | 6.8211 | 6.7967 | 6.7695 | 6.7403 | 6.709 | 6.6756 | 6.6409 | 6.6059 | 6.5714 | 6.5384 | 6.5076 | 6.4791 | 6.4523 | 6.4264 | -0.4305%
RST000:ea_Total | Total | 154.4039 | 155.5629 | 156.7244 | 157.913 | 159.0983 | 160.2899 | 161.4901 | 162.6811 | 163.8412 | 164.9785 | 166.1075 | 167.2116 | 168.2805 | 169.3347 | 170.3904 | 171.4394 | 172.4839 | 173.5207 | 174.5696 | 175.6194 | 176.6533 | 177.679 | 178.6975 | 179.7099 | 180.7122 | 181.7111 | 182.6991 | 183.6754 | 184.6428 | 0.6408%
Clothes Dryers (million units)
RST000:fa_Electric | Electric | 86.6647 | 88.2979 | 89.9283 | 91.593 | 93.2322 | 94.8671 | 96.5124 | 98.1515 | 99.7656 | 101.3616 | 102.9529 | 104.5269 | 106.1195 | 107.7114 | 109.3178 | 110.9041 | 112.4735 | 114.0278 | 115.5836 | 117.1327 | 118.6601 | 120.176 | 121.6825 | 123.1826 | 124.6744 | 126.163 | 127.6415 | 129.1088 | 130.5672 | 1.474%
RST000:fa_NaturalGas | Natural Gas | 20.0767 | 20.4168 | 20.7744 | 21.1506 | 21.5461 | 21.9645 | 22.3798 | 22.792 | 23.1988 | 23.6001 | 23.9958 | 24.3823 | 24.7554 | 25.1127 | 25.4543 | 25.8061 | 26.1676 | 26.5373 | 26.9158 | 27.3006 | 27.6873 | 28.0755 | 28.4638 | 28.8505 | 29.2331 | 29.6123 | 29.9875 | 30.3582 | 30.7253 | 1.531%
RST000:fa_Total | Total | 106.7414 | 108.7147 | 110.7028 | 112.7436 | 114.7783 | 116.8316 | 118.8922 | 120.9435 | 122.9644 | 124.9617 | 126.9488 | 128.9092 | 130.875 | 132.824 | 134.772 | 136.7102 | 138.6411 | 140.5651 | 142.4995 | 144.4332 | 146.3475 | 148.2515 | 150.1463 | 152.0331 | 153.9075 | 155.7752 | 157.629 | 159.4671 | 161.2925 | 1.485%
Other Appliances (million units)
RST000:ga_Refrigerators | Refrigerators | 172.8105 | 174.5304 | 176.2757 | 178.0653 | 179.8472 | 181.6357 | 183.4362 | 185.2249 | 186.9712 | 188.6854 | 190.3859 | 192.0501 | 193.6639 | 195.2565 | 196.8498 | 198.4312 | 200.004 | 201.5633 | 203.1388 | 204.7164 | 206.2702 | 207.8128 | 209.3455 | 210.8697 | 212.3798 | 213.8821 | 215.3678 | 216.8341 | 218.2855 | 0.8378%
RST000:ga_Freezers | Freezers | 45.4117 | 45.7972 | 46.1961 | 46.6065 | 47.0162 | 47.4279 | 47.843 | 48.2555 | 48.6568 | 49.0494 | 49.4386 | 49.8203 | 50.1906 | 50.5552 | 50.9194 | 51.2789 | 51.634 | 51.9846 | 52.339 | 52.6948 | 53.0453 | 53.3933 | 53.739 | 54.0827 | 54.4226 | 54.7598 | 55.0926 | 55.4199 | 55.7429 | 0.7348%
Stock Average Equipment Efficiency
Main Space Heaters
RST000:ha_ElectricHeatP | Electric Heat Pumps (HSPF) | 8.2106 | 8.3041 | 8.3883 | 8.4682 | 8.5434 | 8.6142 | 8.6806 | 8.7428 | 8.8006 | 8.8541 | 8.903 | 8.946 | 8.9838 | 9.0157 | 9.0407 | 9.0578 | 9.0734 | 9.0873 | 9.0992 | 9.109 | 9.117 | 9.1232 | 9.1279 | 9.1314 | 9.1338 | 9.1356 | 9.1368 | 9.1376 | 9.1383 | 0.383%
RST000:ha_NaturalGasHea | Natural Gas Heat Pumps (GCOP) | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 0%
RST000:ha_GeothermalHea | Geothermal Heat Pumps (COP) | 3.5046 | 3.5564 | 3.5984 | 3.6347 | 3.6663 | 3.6931 | 3.7163 | 3.7366 | 3.7546 | 3.7708 | 3.7854 | 3.7966 | 3.8055 | 3.796 | 3.7854 | 3.775 | 3.7645 | 3.7543 | 3.744 | 3.7339 | 3.7242 | 3.7146 | 3.7055 | 3.6969 | 3.6887 | 3.6816 | 3.6755 | 3.6704 | 3.6663 | 0.1612%
RST000:ha_NaturalGasFur | Natural Gas Furnace (AFUE) | 0.83251 | 0.83904 | 0.84528 | 0.85146 | 0.8576 | 0.86323 | 0.86842 | 0.87314 | 0.87741 | 0.8813 | 0.88478 | 0.8862 | 0.88727 | 0.88805 | 0.88851 | 0.88867 | 0.8885 | 0.88801 | 0.88717 | 0.88598 | 0.88472 | 0.88339 | 0.88197 | 0.8805 | 0.87901 | 0.8775 | 0.87601 | 0.87458 | 0.87323 | 0.1707%
RST000:ha_DistillateFur | Distillate Furnace (AFUE) | 0.83698 | 0.8393 | 0.84097 | 0.84251 | 0.84401 | 0.84555 | 0.84694 | 0.84823 | 0.84938 | 0.85042 | 0.85135 | 0.85188 | 0.85233 | 0.85272 | 0.85303 | 0.85327 | 0.85343 | 0.85351 | 0.8535 | 0.8534 | 0.85328 | 0.85311 | 0.8529 | 0.85263 | 0.8523 | 0.85191 | 0.85144 | 0.85091 | 0.85033 | 0.0565%
Space Cooling
RST000:ia_ElectricHeatP | Electric Heat Pumps (SEER) | 14.1184 | 14.3619 | 14.5816 | 14.7887 | 14.9816 | 15.1615 | 15.3281 | 15.4823 | 15.6235 | 15.752 | 15.8677 | 15.9676 | 16.0533 | 16.1234 | 16.1755 | 16.2075 | 16.2365 | 16.2621 | 16.2838 | 16.3017 | 16.3159 | 16.3268 | 16.3349 | 16.3406 | 16.3445 | 16.3471 | 16.3487 | 16.3498 | 16.3506 | 0.5256%
RST000:ia_NaturalGasHea | Natural Gas Heat Pumps (GCOP) | 0.61771 | 0.62424 | 0.63057 | 0.63671 | 0.64262 | 0.64837 | 0.65404 | 0.65978 | 0.66571 | 0.67193 | 0.67837 | 0.68473 | 0.69051 | 0.6951 | 0.69807 | 0.69929 | 0.69981 | 0.69997 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.4477%
RST000:ia_GeothermalHea | Geothermal Heat Pumps (EER) | 16.0469 | 16.4082 | 16.7049 | 16.9616 | 17.1857 | 17.3765 | 17.5416 | 17.6869 | 17.8153 | 17.9302 | 18.0341 | 18.1132 | 18.1755 | 18.1078 | 18.0279 | 17.9496 | 17.8725 | 17.7971 | 17.722 | 17.6487 | 17.5779 | 17.5093 | 17.444 | 17.3821 | 17.324 | 17.2733 | 17.2299 | 17.1936 | 17.1639 | 0.2406%
RST000:ia_Cent.AirCondi | Central Air Conditioners (SEER) | 13.652 | 13.9124 | 14.1542 | 14.3788 | 14.5849 | 14.7733 | 14.9443 | 15.1004 | 15.2408 | 15.3658 | 15.4766 | 15.5424 | 15.5942 | 15.6343 | 15.6616 | 15.6744 | 15.6852 | 15.6932 | 15.698 | 15.6994 | 15.6973 | 15.6919 | 15.6838 | 15.6735 | 15.6617 | 15.6492 | 15.6367 | 15.6249 | 15.6142 | 0.4808%
RST000:ia_RoomAirCondit | Room Air Conditioners (EER) | 11.2943 | 11.379 | 11.4708 | 11.5557 | 11.6308 | 11.6956 | 11.7514 | 11.797 | 11.8497 | 11.8867 | 11.9084 | 11.9301 | 11.9518 | 11.9729 | 11.9931 | 12.0116 | 12.0278 | 12.0411 | 12.0632 | 12.0821 | 12.0984 | 12.1127 | 12.1258 | 12.138 | 12.1494 | 12.1599 | 12.169 | 12.1765 | 12.1821 | 0.2706%
Water Heaters
RST000:ja_Electric(EF) | Electric (EF) | 0.93223 | 0.944 | 0.95498 | 0.96659 | 0.97865 | 0.99048 | 1.0019 | 1.013 | 1.0234 | 1.0336 | 1.0434 | 1.0433 | 1.0375 | 1.032 | 1.0267 | 1.0214 | 1.0161 | 1.0113 | 1.007 | 1.003 | 0.99956 | 0.99653 | 0.99392 | 0.99171 | 0.98985 | 0.98833 | 0.98708 | 0.98609 | 0.98531 | 0.198%
RST000:ja_NaturalGas(EF | Natural Gas (EF) | 0.61865 | 0.62223 | 0.62511 | 0.62732 | 0.62895 | 0.63006 | 0.63062 | 0.63069 | 0.63032 | 0.62994 | 0.62958 | 0.6287 | 0.62777 | 0.62686 | 0.62599 | 0.62519 | 0.62445 | 0.62378 | 0.62318 | 0.62266 | 0.62221 | 0.62182 | 0.6215 | 0.62123 | 0.62101 | 0.62084 | 0.62071 | 0.6206 | 0.62052 | 0.0108%
RST000:ja_Distillate(EF | Distillate Fuel Oil (EF) | 0.61203 | 0.62482 | 0.6361 | 0.64568 | 0.65361 | 0.6597 | 0.66388 | 0.66601 | 0.66605 | 0.66609 | 0.66613 | 0.66616 | 0.6662 | 0.66624 | 0.66627 | 0.6663 | 0.66632 | 0.66635 | 0.66637 | 0.66639 | 0.6664 | 0.66641 | 0.66643 | 0.66644 | 0.66645 | 0.66646 | 0.66647 | 0.66648 | 0.66649 | 0.305%
RST000:ja_LiquefiedPetr | Propane (EF) | 0.6075 | 0.61108 | 0.6143 | 0.6169 | 0.61894 | 0.62044 | 0.62142 | 0.62189 | 0.62184 | 0.62181 | 0.6218 | 0.62148 | 0.62113 | 0.62076 | 0.62038 | 0.62 | 0.61963 | 0.61926 | 0.61892 | 0.6186 | 0.61831 | 0.61806 | 0.61783 | 0.61764 | 0.61749 | 0.61736 | 0.61727 | 0.61719 | 0.61714 | 0.0562%
Other Appliances (kilowatthours per year) 2/
RST000:ka_Refrigerators | Refrigerators | 601.6227 | 591.7991 | 582.5169 | 573.7802 | 565.5865 | 557.9109 | 550.7345 | 544.0451 | 537.8704 | 532.2819 | 527.2419 | 522.7456 | 518.787 | 515.3367 | 512.387 | 509.9099 | 507.9258 | 506.409 | 505.382 | 504.8681 | 504.8542 | 504.8351 | 504.8117 | 504.7841 | 504.7542 | 504.7239 | 504.6935 | 504.6664 | 504.6433 | -0.6258%
RST000:ka_Freezers | Freezers | 448.4443 | 443.6604 | 438.7831 | 433.83 | 428.811 | 423.7628 | 418.9593 | 414.3986 | 410.0969 | 406.0328 | 402.1857 | 398.5771 | 395.2183 | 392.0905 | 389.2285 | 386.6086 | 384.2406 | 382.1092 | 380.1982 | 378.5528 | 377.1503 | 376.0249 | 375.1943 | 374.6591 | 374.4122 | 374.4071 | 374.401 | 374.3947 | 374.3882 | -0.6425%
Building Shell Efficiency Index 3/
Space Heating
RST000:la_Pre-1998Homes | Pre-2015 Homes | 0.94953 | 0.94127 | 0.93555 | 0.93102 | 0.92638 | 0.92129 | 0.91576 | 0.90954 | 0.90287 | 0.89592 | 0.8889 | 0.88168 | 0.87444 | 0.86731 | 0.86034 | 0.85336 | 0.84627 | 0.8393 | 0.83237 | 0.82544 | 0.81861 | 0.81192 | 0.80533 | 0.79866 | 0.79166 | 0.78482 | 0.7782 | 0.77168 | 0.76516 | -0.768%
RST000:la_NewConstructi | New Construction | 0.8386 | 0.785 | 0.77751 | 0.77489 | 0.77626 | 0.77675 | 0.77603 | 0.77386 | 0.77133 | 0.76938 | 0.76798 | 0.88259 | 0.88159 | 0.8826 | 0.88223 | 0.88223 | 0.88224 | 0.8823 | 0.88129 | 0.87936 | 0.87854 | 0.87742 | 0.87608 | 0.87482 | 0.87348 | 0.87382 | 0.87376 | 0.87425 | 0.87475 | 0.1508%
RST000:la_AllHomes | All Homes | 0.9417 | 0.93233 | 0.92535 | 0.91953 | 0.91376 | 0.90773 | 0.90144 | 0.89469 | 0.88772 | 0.88065 | 0.87368 | 0.86792 | 0.86223 | 0.85677 | 0.85152 | 0.84637 | 0.84123 | 0.83629 | 0.83146 | 0.82671 | 0.82211 | 0.81768 | 0.81339 | 0.80911 | 0.80466 | 0.8004 | 0.79636 | 0.79246 | 0.78863 | -0.6315%
Space Cooling
RST000:ma_Pre-1998Homes | Pre-2015 Homes | 0.98205 | 0.97907 | 0.97709 | 0.97557 | 0.97395 | 0.97213 | 0.97015 | 0.9679 | 0.96549 | 0.96299 | 0.96046 | 0.95787 | 0.95527 | 0.95271 | 0.95019 | 0.94767 | 0.94511 | 0.94258 | 0.94006 | 0.93752 | 0.93502 | 0.93257 | 0.93016 | 0.92771 | 0.92512 | 0.92259 | 0.92014 | 0.91773 | 0.91531 | -0.251%
RST000:ma_NewConstructi | New Construction | 0.9817 | 0.96699 | 0.96089 | 0.95875 | 0.9599 | 0.96077 | 0.96054 | 0.95956 | 0.95822 | 0.95741 | 0.95719 | 0.99906 | 0.99895 | 0.99954 | 0.99967 | 0.99982 | 0.99998 | 1.0003 | 1.0002 | 0.99957 | 0.9996 | 0.99928 | 0.99877 | 0.9983 | 0.99788 | 0.99847 | 0.99879 | 0.99943 | 1.0001 | 0.0664%
RST000:ma_AllHomes | All Homes | 0.98255 | 0.97963 | 0.97762 | 0.97603 | 0.9744 | 0.97263 | 0.97074 | 0.96865 | 0.96644 | 0.96418 | 0.96194 | 0.96004 | 0.95815 | 0.95632 | 0.95454 | 0.95278 | 0.951 | 0.94928 | 0.94758 | 0.94589 | 0.94423 | 0.94263 | 0.94107 | 0.93948 | 0.9378 | 0.93618 | 0.93463 | 0.93313 | 0.93164 | -0.1898%
Distributed Generation and
Combined Heat and Power
Generating Capacity (gigawatts) 4/
RST000:dgc_FuelsCells | Natural Gas Fuel Cells | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2e-06 | 5e-06 | 1.1e-05 | 2.2e-05 | 4.4e-05 | 8.3e-05 | 0.000155 | 0.000286 | 0.000417 | 0.00055 | 0.000682 | 0.000816 | 0.00095 | 0.001084 | 0.001219 | 0.001353 | 0.001488 | --
RST000:dgc_SolarPhoto | Solar Photovoltaic | 25.9408 | 28.4269 | 31.3175 | 34.2131 | 37.1024 | 40.088 | 43.1623 | 46.379 | 49.7151 | 53.2211 | 56.9742 | 60.7827 | 64.698 | 68.1137 | 71.7136 | 75.4685 | 79.5085 | 83.8461 | 88.4827 | 93.4066 | 98.6176 | 104.1529 | 109.9079 | 115.9762 | 122.2729 | 128.7965 | 135.6649 | 142.6944 | 149.9736 | 6.467%
RST000:dgc_WindHuffHuff | Wind | 0.063448 | 0.069112 | 0.075193 | 0.081515 | 0.087961 | 0.094482 | 0.10103 | 0.10757 | 0.11409 | 0.12059 | 0.12707 | 0.13331 | 0.13331 | 0.13332 | 0.13333 | 0.13335 | 0.1334 | 0.13347 | 0.13362 | 0.13388 | 0.13414 | 0.13441 | 0.13467 | 0.13494 | 0.13521 | 0.13548 | 0.13575 | 0.13601 | 0.13628 | 2.768%
RST000:dgc_TotalCap | Total | 26.0043 | 28.496 | 31.3927 | 34.2946 | 37.1904 | 40.1825 | 43.2633 | 46.4866 | 49.8292 | 53.3416 | 57.1012 | 60.916 | 64.8313 | 68.247 | 71.847 | 75.6019 | 79.642 | 83.9797 | 88.6165 | 93.5407 | 98.7521 | 104.2878 | 110.0432 | 116.1119 | 122.4091 | 128.933 | 135.8019 | 142.8317 | 150.1114 | 6.461%
Net Generation (billion kilowatthours)
RST000:dgg_FuelCells | Natural Gas Fuel Cells | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1e-06 | 6e-06 | 1.4e-05 | 3.1e-05 | 6.2e-05 | 0.000122 | 0.00023 | 0.000431 | 0.000798 | 0.001165 | 0.001534 | 0.001904 | 0.002276 | 0.002649 | 0.003024 | 0.0034 | 0.003776 | 0.004152 | --
RST000:dgg_SolarPhoto | Solar Photovoltaic | 38.8796 | 43.126 | 47.9726 | 52.8185 | 57.6476 | 62.6112 | 67.6968 | 72.9839 | 78.4361 | 84.1346 | 90.1847 | 96.3084 | 102.5744 | 108.0951 | 113.8832 | 119.8854 | 126.298 | 133.1367 | 140.4033 | 148.079 | 156.1626 | 164.7076 | 173.5613 | 182.8592 | 192.4769 | 202.4114 | 212.8324 | 223.473 | 234.4612 | 6.628%
RST000:dgg_WindHuffHuff | Wind | 0.069007 | 0.074813 | 0.081044 | 0.087524 | 0.094131 | 0.10081 | 0.10752 | 0.11423 | 0.12091 | 0.12757 | 0.13421 | 0.14061 | 0.14061 | 0.14062 | 0.14063 | 0.14065 | 0.1407 | 0.14078 | 0.14092 | 0.14119 | 0.14147 | 0.14174 | 0.14201 | 0.14228 | 0.14255 | 0.14283 | 0.1431 | 0.14338 | 0.14366 | 2.653%
RST000:dgg_TotalGen | Total | 38.9486 | 43.2008 | 48.0536 | 52.906 | 57.7417 | 62.712 | 67.8044 | 73.0981 | 78.5571 | 84.2621 | 90.3189 | 96.449 | 102.715 | 108.2357 | 114.0239 | 120.0261 | 126.4388 | 133.2777 | 140.5446 | 148.221 | 156.3052 | 164.8509 | 173.7052 | 183.0037 | 192.6221 | 202.5572 | 212.9789 | 223.6201 | 234.609 | 6.623%
Disposition
RST000:dgg_SalestoGrid | Sales to the Grid | 6.1164 | 7.0173 | 8.0392 | 9.009 | 9.9667 | 10.9579 | 11.9632 | 13.0321 | 14.1316 | 15.3155 | 16.6114 | 17.9211 | 19.2888 | 20.4648 | 21.7267 | 23.0248 | 24.4423 | 25.9544 | 27.5902 | 29.3144 | 31.1222 | 33.063 | 35.0561 | 37.1732 | 39.3405 | 41.5505 | 43.8857 | 46.2262 | 48.6405 | 7.686%
RST000:dgg_forOwnUse | Generation for Own Use | 32.8322 | 36.1835 | 40.0144 | 43.897 | 47.7751 | 51.754 | 55.8411 | 60.066 | 64.4254 | 68.9466 | 73.7075 | 78.5279 | 83.4262 | 87.7709 | 92.2972 | 97.0013 | 101.9965 | 107.3234 | 112.9544 | 118.9066 | 125.183 | 131.7879 | 138.6491 | 145.8305 | 153.2816 | 161.0067 | 169.0932 | 177.3939 | 185.9685 | 6.389%
Energy Input (trillion Btu)
RST000:dge_FuelCells | Natural Gas Fuel Cells | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3e-06 | 9e-06 | 4.3e-05 | 0.000108 | 0.000237 | 0.000474 | 0.000928 | 0.001755 | 0.003277 | 0.00605 | 0.008821 | 0.011598 | 0.014381 | 0.017171 | 0.019964 | 0.022764 | 0.025563 | 0.028357 | 0.031149 | --
RST000:dge_SolarPhoto | Solar Photovoltaic | 320.7421 | 353.1784 | 397.2516 | 434.4265 | 470.7333 | 509.7779 | 548.1725 | 589.558 | 635.0091 | 682.9519 | 733.3002 | 781.9298 | 835.9141 | 883.0222 | 929.2589 | 974.5706 | 1022.5746 | 1077.0762 | 1132.4678 | 1197.6093 | 1261.7703 | 1330.9084 | 1405.4312 | 1483.5311 | 1559.2985 | 1639.5164 | 1720.6675 | 1808.1606 | 1890.2471 | 6.54%
RST000:dge_WindHuffHuff | Wind | 0.5612 | 0.6034 | 0.65864 | 0.70473 | 0.74777 | 0.80075 | 0.85386 | 0.9066 | 0.96025 | 1.0169 | 1.0716 | 1.1217 | 1.1223 | 1.1268 | 1.1264 | 1.1278 | 1.1284 | 1.1305 | 1.1355 | 1.1436 | 1.1458 | 1.1542 | 1.1621 | 1.1704 | 1.1773 | 1.1831 | 1.1869 | 1.1939 | 1.1919 | 2.727%
RST000:dge_TotalGen | Total | 321.3033 | 353.7818 | 397.9102 | 435.1312 | 471.4811 | 510.5786 | 549.0264 | 590.4646 | 635.9694 | 683.9688 | 734.3718 | 783.0516 | 837.0364 | 884.1492 | 930.3855 | 975.6988 | 1023.7039 | 1078.2084 | 1133.6066 | 1198.759 | 1262.9249 | 1332.0742 | 1406.6077 | 1484.7188 | 1560.4959 | 1640.7222 | 1721.8799 | 1809.3829 | 1891.4701 | 6.536%
1/ Does not include microwave ovens, other small kitchen appliances, or outdoor grills.
2/ Kilowatthours per year to run the appliance under certain test conditions as specified by the U.S. Department of Energy.
3/ The building shell efficiency index sets the space heating and space cooling value at 1.00 for an average home in 2015
(by type) in each census division. The values listed for New Construction represent the change in heating and cooling load
based on the difference in physical size and shell attributes for a newly constructed home (by type and census division).
As an example, a value of 0.95 for cooling in the New Construction row equates to a cooling load 5% lower than the 2015
stock, after accounting for the physical size difference and efficiency gains from better insulation, window replacement,
or other building envelope improvements.
HSPF = Heating Seasonal Performance Factor: The total heating output of a heat pump in Btu during its normal annual usage
period for heating divided by total electric input in watt-hours during the same period.
COP = Coefficient of Performance: Energy efficiency rating measure determined, under specific testing conditions, by
dividing the energy output by the energy input.
GCOP = Gas Coefficient of Performance: Energy efficiency rating measure for natural gas heat pumps determined, under specific testing
conditions, by dividing the energy output by the energy input.
AFUE = Annual Fuel Utilization Efficiency: Efficiency rating based on average usage, including on and off cycling, as set
out in the standardized U.S. Department of Energy test procedures.
SEER = Seasonal Energy Efficiency Ratio: The total cooling of a central unitary air conditioner or a unitary heat pump in
Btu during its normal annual usage period for cooling divided by the total electric energy input in watt-hours during the same
period.
EER = Energy Efficiency Ratio: A ratio calculated by dividing the cooling capacity in Btu per hour by the power input in
watts at any given set of rating conditions, expressed in Btu per hour per watt.
EF = Efficiency Factor: Efficiency (measured in Btu out / Btu in) of water heaters under certain test conditions specified
by the U.S. Department of Energy.
4/ Solar photovoltaic capacity in gigawatts direct current; other technologies in gigawatts alternating current.
Btu = British thermal unit.
- - = Not applicable.
Note: Totals may not equal sum of components due to independent rounding.
Data source: 2022: U.S. Energy Information Administration (EIA), Short-Term Energy Outlook, November 2022 and EIA,
AEO2023 National Energy Modeling System run ref2023.d020623a. Projections: EIA, AEO2023 National Energy Modeling System run ref2023.d020623a.
Average