## epa_04_08_a
Table 4.08.A. Capacity Factors for Utility Scale Generators Primarily Using Fossil Fuels
| Coal |  | Natural Gas | [7 empty] | Petroleum
Year/Month |  |  | Combined Cycle |  | Gas Turbine |  | Steam Turbine |  | Internal Combustion |  | Steam Turbine |  | Gas Turbine |  | Internal Combustion
| Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor
Annual Data
2014 | 299064.7 | 60.5% | 224183.2 | 48.6% | 124736.9 | 8.3% | 75049.1 | 10.3% | 3026.7 | 10.8% | 18057 | 13% | 16791.5 | 1.2% | 5011.3 | 2.1%
2015 | 286082.7 | 54.3% | 231467.5 | 55.8% | 123444.3 | 9.8% | 80348 | 11.3% | 3507.8 | 11.9% | 14965.4 | 14% | 16122.8 | 1.3% | 5075.2 | 2.1%
2016 | 269477.1 | 52.8% | 236442.8 | 55.4% | 125148.4 | 11% | 81225.1 | 12.3% | 3684.3 | 11.5% | 13993.7 | 12.2% | 15114 | 1.3% | 5082.8 | 2.3%
2017 | 259930.2 | 53.1% | 242839.1 | 51.2% | 125806.6 | 9.6% | 79149.4 | 10.7% | 4225.5 | 11.6% | 13290.9 | 13.7% | 14275.3 | 1% | 5153.3 | 2.1%
2018 | 246866.8 | 53.6% | 254403.3 | 55.1% | 126763.4 | 11.9% | 76177.8 | 12.6% | 4446.6 | 13% | 13300.1 | 14.2% | 14234.9 | 1.3% | 5289.7 | 1.9%
2019 | 235089.3 | 47.5% | 266846.5 | 57.4% | 128832.5 | 11.4% | 72797.3 | 14.1% | 4848.3 | 15.3% | 11214.7 | 12.8% | 14009.7 | 1% | 5287.8 | 2%
2020 | 220623.2 | 40.5% | 274300.4 | 57.1% | 129085.6 | 11.6% | 75462.3 | 14.2% | 5123 | 15.1% | 8443.3 | 13.9% | 13875.8 | 1.2% | 5300.7 | 1.8%
2021 | 212587 | 49.1% | 277618.5 | 55% | 130103.4 | 11.7% | 74003.4 | 12.5% | 5171.8 | 18.2% | 8385.5 | 14.2% | 13729.8 | 1.6% | 5522.7 | 1.8%
2022 | 196396.3 | 48.4% | 286467.1 | 56.6% | 130170.6 | 12.9% | 77518.8 | 15.6% | 5526.9 | 18.1% | 9839 | 13.2% | 15005.7 | 1.6% | 5407 | 1.8%
2023 | 182767.5 | 42.4% | 291134.7 | 59.7% | 130736.5 | 12.9% | 76908.1 | 17.4% | 5802.9 | 20.1% | 8743.2 | 10.1% | 14386.8 | 1.3% | 5418.9 | 1.8%
2024 | 176028.6 | 42.6% | 292189.2 | 60.5% | 132099.1 | 13.9% | 75196.7 | 19.9% | 6044.6 | 18% | 8122.7 | 8.9% | 14167.2 | 1.9% | 5461.8 | 1.8%
Year 2022
January | 202043.3 | 57.4% | 284236.2 | 55.6% | 129881.8 | 11.3% | 78088 | 14.8% | 5454.3 | 16% | 9839 | 19.6% | 15279.8 | 1.4% | 5401.4 | 2.2%
February | 202013.8 | 52.2% | 284236.2 | 52.4% | 129967.8 | 9.6% | 78088 | 11.7% | 5454.3 | 14.8% | 9839 | 15.3% | 15279.8 | 0.9% | 5402 | 1.8%
March | 200821.8 | 41% | 284247.2 | 46.6% | 130009.3 | 8.2% | 77514 | 8.5% | 5484.9 | 13.6% | 9839 | 9.8% | 15245.8 | 1% | 5392.6 | 1.7%
April | 200376.8 | 38.5% | 284450.3 | 44.2% | 130070.8 | 9.6% | 77514 | 9.6% | 5486.4 | 13.5% | 9839 | 10.1% | 15119.1 | 0.9% | 5395.3 | 1.7%
May | 198851.8 | 42.1% | 283899.1 | 49.6% | 130070.8 | 12.5% | 77514 | 14.6% | 5544.4 | 14.7% | 9839 | 12% | 15119.1 | 1.4% | 5399.7 | 1.8%
June | 195863.8 | 52.5% | 286389 | 61.2% | 130127.6 | 16.9% | 77510 | 20.2% | 5546 | 18.8% | 9839 | 12.2% | 14947.1 | 1.8% | 5407 | 1.9%
July | 195881.8 | 59.6% | 287485 | 70.5% | 130274.1 | 20.1% | 77510 | 28.1% | 5549.7 | 23% | 9839 | 10.3% | 14947.1 | 2.5% | 5410.4 | 1.7%
August | 194856.8 | 59.2% | 288566.5 | 72.4% | 130035.1 | 18.5% | 77379 | 22.4% | 5563.9 | 25.1% | 9839 | 11.8% | 14947.1 | 2.2% | 5410.7 | 1.7%
September | 192425.8 | 47.3% | 288493.5 | 63.9% | 130259.8 | 13.8% | 77374 | 16.3% | 5559 | 21.7% | 9839 | 13.1% | 14858.1 | 1.7% | 5409.2 | 1.8%
October | 192425.8 | 38.7% | 288458.5 | 53% | 130348.7 | 10.2% | 77374 | 13.3% | 5558 | 17.9% | 9839 | 12.3% | 14817.2 | 1.4% | 5413.1 | 1.8%
November | 192271.3 | 40.9% | 288485.6 | 52% | 130380.6 | 11.2% | 77379.8 | 13.7% | 5555.9 | 17.9% | 9839 | 13.6% | 14789.6 | 1% | 5420.9 | 1.6%
December | 189316.3 | 51.4% | 288504.6 | 56.8% | 130606.5 | 12.5% | 77026.8 | 14.1% | 5560.7 | 19.3% | 9839 | 18.2% | 14735.6 | 2.8% | 5421.2 | 2.2%
Year 2023
January | 186822.6 | 44.6% | 287456.6 | 57.4% | 130416.1 | 9.3% | 78868.8 | 9.6% | 5738.6 | 18.7% | 8743.2 | 9.1% | 14494.8 | 1% | 5428.8 | 1.9%
February | 186812 | 37.3% | 287688.6 | 57.1% | 130416.1 | 9.2% | 78868.8 | 10.3% | 5742.7 | 18% | 8743.2 | 11.7% | 14494.8 | 1.4% | 5426.8 | 1.8%
March | 186007.1 | 36.2% | 288941.6 | 53.6% | 130356.1 | 10.5% | 78303.3 | 11.5% | 5744.2 | 19.5% | 8743.2 | 8.9% | 14494.8 | 1.1% | 5422.2 | 1.8%
April | 186007.1 | 30.6% | 289463.1 | 47.9% | 130356.1 | 11.2% | 77868.3 | 13.4% | 5746.9 | 16.2% | 8743.2 | 8.4% | 14494.8 | 1.2% | 5422.2 | 2%
May | 184515.1 | 32.6% | 291190.1 | 53% | 130248.2 | 12.4% | 77038.3 | 15.4% | 5745 | 16% | 8743.2 | 7.9% | 14463.5 | 1.2% | 5413.4 | 1.8%
June | 182361.9 | 44.5% | 291270.1 | 63.7% | 130403.5 | 15% | 76724.3 | 22.1% | 5752.6 | 21.4% | 8743.2 | 10.2% | 14315.1 | 1.3% | 5399.1 | 1.8%
July | 181713 | 58.3% | 292441.8 | 74% | 130558.5 | 19.4% | 76724.3 | 31.7% | 5752.6 | 26% | 8743.2 | 14.3% | 14315.1 | 1.6% | 5414.9 | 1.6%
August | 181099.7 | 58% | 292441.8 | 74.1% | 131221.5 | 19% | 76724.3 | 31% | 5884.2 | 26.7% | 8743.2 | 13.3% | 14315.1 | 1.9% | 5416.6 | 1.6%
September | 180234.7 | 46.4% | 292441.8 | 66.2% | 131221.5 | 13.6% | 75688.3 | 22.4% | 5878.3 | 22% | 8743.2 | 14.5% | 14315.1 | 1.3% | 5425.7 | 1.5%
October | 179749.7 | 38.6% | 293100.7 | 53.8% | 131221.5 | 12.6% | 75687.9 | 16.3% | 5879.5 | 18.9% | 8743.2 | 8.7% | 14315.1 | 1.3% | 5429.6 | 1.7%
November | 179749.7 | 39.7% | 293100.7 | 54.8% | 131217.5 | 11.5% | 75681.6 | 14.1% | 5880.7 | 18.8% | 8743.2 | 6.8% | 14315.1 | 1% | 5414.6 | 2.1%
December | 178441.7 | 42.3% | 293802.5 | 60% | 131178.5 | 10.1% | 74854.6 | 10.8% | 5885.5 | 18.6% | 8743.2 | 7.7% | 14315.1 | 1.2% | 5413.5 | 1.8%
Year 2024
January | 177497.2 | 56.8% | 293471.8 | 64.1% | 131958.7 | 12.9% | 75752.5 | 15.9% | 5899.4 | 18.5% | 8122.7 | 10.8% | 14230.3 | 2% | 5471.1 | 1.8%
February | 177497.2 | 36.2% | 293471.8 | 56.6% | 131611.5 | 10% | 75745.5 | 10.4% | 5901.6 | 16.4% | 8122.7 | 8.2% | 14230.3 | 1.3% | 5471.3 | 1.6%
March | 177323.7 | 29.8% | 293471.8 | 51.1% | 131662.7 | 10.6% | 75334.8 | 13% | 5898.6 | 16.1% | 8122.7 | 8% | 14230.3 | 1.3% | 5472.2 | 1.8%
April | 176697.6 | 29.9% | 292884.3 | 46.9% | 131662.7 | 13.1% | 75334.8 | 15.9% | 5901.7 | 14.8% | 8122.7 | 8% | 14230.3 | 1.6% | 5474.9 | 2.2%
May | 176201.6 | 35.6% | 292984.3 | 53.9% | 131655.7 | 13.4% | 75334.8 | 20.4% | 5951.9 | 16% | 8122.7 | 8.5% | 14230.3 | 1.8% | 5466.3 | 1.7%
June | 176021.6 | 49% | 291603 | 65.7% | 131565.2 | 15.1% | 75084.8 | 26.3% | 6000.8 | 19.5% | 8122.7 | 8.6% | 14122.3 | 2% | 5457.1 | 1.9%
July | 176021.6 | 55% | 291603 | 75.8% | 131960.2 | 20.9% | 75084.8 | 32% | 6007.2 | 22.5% | 8122.7 | 10.2% | 14122.3 | 3.3% | 5470.8 | 1.7%
August | 176021.6 | 53.2% | 291064.9 | 75.3% | 132555.6 | 19.2% | 75084.8 | 32.4% | 6181.5 | 22.3% | 8122.7 | 9.5% | 14122.3 | 2.7% | 5465.5 | 1.9%
September | 175762.6 | 43.7% | 291601.2 | 67.6% | 132555.6 | 14.7% | 75084.8 | 21.6% | 6182 | 19% | 8122.7 | 7.8% | 14122.3 | 1.7% | 5454.9 | 1.6%
October | 174584.6 | 37% | 291454.9 | 55.6% | 132524.6 | 13.1% | 74879 | 19.5% | 6183.8 | 16.3% | 8122.7 | 8.2% | 14122.3 | 1.8% | 5455.3 | 1.8%
November | 174597.6 | 35.9% | 291464.9 | 54.9% | 132706.8 | 12.3% | 74875.6 | 16.4% | 6183.8 | 18% | 8122.7 | 8.3% | 14122.3 | 1.7% | 5448.1 | 1.7%
December | 174177.6 | 48.7% | 291238.9 | 58.5% | 132741.8 | 11% | 74786.7 | 14.2% | 6236.6 | 16.7% | 8122.7 | 10.5% | 14122.3 | 1.5% | 5434.3 | 1.9%
Values are final. Time adjusted capacity for month rows is the summer capacity of generators in operation for the entire month; units that began operation during the month or that retired during the month are excluded. Time adjusted capacity for year rows is a time weighted average of the month rows. Capacity factors are a comparison of net generation with available capacity. See the technical note for an explanation of how capacity factors are calculated. Sources: U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report; U.S. Energy Information Administration, Form EIA-860, 'Annual Electric Generator Report' and Form EIA-860M, 'Monthly Update to the Annual Electric Generator Report.'