## epa_04_08_a
Table 4.08.A. Capacity Factors for Utility Scale Generators Primarily Using Fossil Fuels
| Coal |  | Natural Gas | [7 empty] | Petroleum
Year/Month |  |  | Combined Cycle |  | Gas Turbine |  | Steam Turbine |  | Internal Combustion |  | Steam Turbine |  | Gas Turbine |  | Internal Combustion
| Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor | Time Adjusted Capacity (MW) | Capacity Factor
Annual Data
2012 | 304974.9 | 56.2% | 217938.2 | 52.2% | 119319.4 | 8.9% | 74200.2 | 13.3% | 2988.8 | 7.3% | 22483.7 | 13.7% | 17773.5 | 1.3% | 4942.5 | 2%
2013 | 302604.4 | 59.4% | 219902.9 | 48.8% | 123025.6 | 8.3% | 75810.5 | 11.2% | 2996.2 | 8.8% | 20022.9 | 12.6% | 17224.1 | 0.9% | 4999.4 | 2.1%
2014 | 299064.7 | 60.5% | 224183.2 | 48.6% | 124736.9 | 8.3% | 75049.1 | 10.3% | 3026.7 | 10.8% | 18057 | 13% | 16791.5 | 1.2% | 5011.3 | 2.1%
2015 | 286082.7 | 54.3% | 231467.5 | 55.8% | 123444.3 | 9.8% | 80348 | 11.3% | 3507.8 | 11.9% | 14965.4 | 14% | 16122.8 | 1.3% | 5075.2 | 2.1%
2016 | 269477.1 | 52.8% | 236442.8 | 55.4% | 125148.4 | 11% | 81225.1 | 12.3% | 3684.3 | 11.5% | 13993.7 | 12.2% | 15114 | 1.3% | 5082.8 | 2.3%
2017 | 259930.2 | 53.1% | 242839.1 | 51.2% | 125806.6 | 9.6% | 79149.4 | 10.7% | 4225.5 | 11.6% | 13290.9 | 13.7% | 14275.3 | 1% | 5153.3 | 2.1%
2018 | 246866.8 | 53.6% | 254403.3 | 55.1% | 126763.4 | 11.9% | 76177.8 | 12.6% | 4446.6 | 13% | 13300.1 | 14.2% | 14234.9 | 1.3% | 5289.7 | 1.9%
2019 | 235089.3 | 47.5% | 266846.5 | 57.4% | 128832.5 | 11.4% | 72797.3 | 14.1% | 4848.3 | 15.3% | 11214.7 | 12.8% | 14009.7 | 1% | 5287.8 | 2%
2020 | 220623.2 | 40.5% | 274300.4 | 57.1% | 129085.6 | 11.6% | 75462.3 | 14.2% | 5123 | 15.1% | 8443.3 | 13.9% | 13875.8 | 1.2% | 5300.7 | 1.8%
2021 | 212587 | 49.1% | 277618.5 | 55% | 130103.4 | 11.7% | 74003.4 | 12.5% | 5171.8 | 18.2% | 8385.5 | 14.2% | 13729.8 | 1.6% | 5522.7 | 1.8%
2022 | 196396.3 | 48.4% | 286467.1 | 56.6% | 130170.6 | 12.9% | 77518.8 | 15.6% | 5526.9 | 18.1% | 9839 | 13.2% | 15005.7 | 1.6% | 5407 | 1.8%
Year 2020
January | 224000.9 | 39.4% | 270457.6 | 58.9% | 129134.8 | 10.8% | 75759.1 | 9.4% | 5022.2 | 14.8% | 8509.9 | 13.7% | 14106.6 | 1.3% | 5302.8 | 2.1%
February | 223958.4 | 36.8% | 270600.6 | 59.1% | 129212.5 | 11.1% | 75759.1 | 9.4% | 5021.6 | 14% | 8509.9 | 10.7% | 14082.6 | 1.1% | 5304.8 | 1.9%
March | 223101 | 31.2% | 271881.9 | 53% | 129140.8 | 10.8% | 75735.3 | 10.7% | 5024.6 | 14.9% | 8509.9 | 14.7% | 13850.6 | 1.1% | 5309.8 | 1.7%
April | 223121 | 25.8% | 272881.9 | 48% | 129138 | 9.4% | 75735.3 | 10.2% | 5122.3 | 12.9% | 8509.9 | 13.6% | 13850.6 | 0.8% | 5302.3 | 1.6%
May | 222401 | 28.8% | 274126.1 | 48.4% | 129126 | 9.9% | 75597.3 | 11.9% | 5160.7 | 12.3% | 8509.9 | 13% | 13850.6 | 1% | 5302.7 | 1.5%
June | 221034.1 | 41.8% | 275883.2 | 60% | 128925.2 | 12.7% | 75478.8 | 18.3% | 5153.4 | 14.9% | 8509.9 | 15.6% | 13850.6 | 1.2% | 5295.2 | 1.7%
July | 221034.1 | 55.3% | 275883.2 | 71.6% | 129015.4 | 16.8% | 75461 | 28.4% | 5155.8 | 18.3% | 8509.9 | 16.2% | 13850.6 | 1.7% | 5301.2 | 1.9%
August | 219894.1 | 56.5% | 275897.3 | 69.9% | 129136.8 | 14.5% | 75449 | 24.1% | 5157 | 18.7% | 8509.9 | 16.3% | 13850.6 | 1.4% | 5309.1 | 1.9%
September | 218736.1 | 44.1% | 275939.6 | 60.5% | 129076.1 | 11.4% | 75449 | 15.2% | 5158.2 | 16% | 8509.9 | 11.4% | 13850.6 | 1.1% | 5295 | 1.8%
October | 217597.1 | 37.7% | 275952.2 | 53.5% | 129035.1 | 11.4% | 75111 | 14.8% | 5161.4 | 15.8% | 8509.9 | 9.2% | 13826.6 | 1.1% | 5295 | 1.9%
November | 217184.1 | 39.6% | 275967.2 | 47.6% | 128966.1 | 9.4% | 75111 | 9% | 5163 | 14.5% | 8509.9 | 15% | 13826.6 | 1% | 5296.4 | 1.5%
December | 215554.2 | 49.1% | 276007.2 | 54.3% | 129120.9 | 10.3% | 74918 | 8.4% | 5172.7 | 13.9% | 7723.9 | 17.4% | 13721.9 | 1.2% | 5294.2 | 1.8%
Year 2021
January | 214601.5 | 51.5% | 275710.6 | 54.7% | 129543.1 | 8.2% | 74184.1 | 7.7% | 5121.3 | 15.1% | 8685.9 | 15.9% | 13743.2 | 1% | 5537.5 | 1.4%
February | 214601.5 | 61.1% | 276710.6 | 51.3% | 129522.1 | 10.3% | 74184.7 | 11.9% | 5119 | 17.1% | 8685.9 | 15% | 13743.2 | 2.2% | 5533.6 | 2%
March | 214052.7 | 39.5% | 276584 | 45.3% | 129522.1 | 8% | 74184.7 | 7.6% | 5120.3 | 15.9% | 8685.9 | 13.7% | 13743.2 | 1.3% | 5539 | 1.8%
April | 213710.7 | 35.7% | 276614 | 45.5% | 129755.4 | 10.4% | 74184.7 | 10% | 5120.3 | 16.8% | 8685.9 | 9% | 13743.2 | 1.4% | 5536.4 | 1.7%
May | 213152.2 | 40.9% | 276682 | 47.6% | 130036.3 | 9.7% | 74081.6 | 10.2% | 5180.3 | 14.4% | 8685.9 | 11.9% | 13743.2 | 1.3% | 5535.9 | 1.2%
June | 212180.1 | 58.1% | 277202 | 61.8% | 130036.3 | 15% | 74081.1 | 18% | 5171.9 | 20.1% | 8173.5 | 10.5% | 13734.1 | 2% | 5530.7 | 1.6%
July | 212180.1 | 65.4% | 277202 | 67.9% | 130070.3 | 16.4% | 73989.3 | 20% | 5169.6 | 22.6% | 8173.5 | 16.2% | 13734.1 | 1.8% | 5512.6 | 1.4%
August | 212180.1 | 65.6% | 277971.5 | 68.4% | 130410.4 | 17% | 73989.3 | 21.3% | 5194 | 23% | 8173.5 | 17.5% | 13734.1 | 2.3% | 5517.4 | 1.8%
September | 212180.1 | 52.8% | 278530.7 | 58.5% | 130499.4 | 11.1% | 73840.3 | 14.5% | 5199.4 | 20.3% | 8173.5 | 15.8% | 13734.1 | 1.5% | 5512 | 2.2%
October | 211277.1 | 40.7% | 278545.7 | 53.2% | 130499.4 | 12.4% | 73775.5 | 12.7% | 5212.2 | 18.3% | 8173.5 | 16% | 13717.5 | 1.6% | 5511.2 | 2.2%
November | 211264.5 | 39.2% | 279817.8 | 51.6% | 130663.1 | 11.6% | 73779.4 | 8.9% | 5221.7 | 17.3% | 8173.5 | 15.9% | 13700.1 | 1.5% | 5508.5 | 2%
December | 209825.7 | 39.6% | 279817.8 | 53.6% | 130644.1 | 9.6% | 73779.4 | 7.4% | 5227.7 | 17.1% | 8173.5 | 13.8% | 13689.1 | 1.2% | 5498.2 | 2%
Year 2022
January | 202043.3 | 57.4% | 284236.2 | 55.6% | 129881.8 | 11.3% | 78088 | 14.8% | 5454.3 | 16% | 9839 | 19.6% | 15279.8 | 1.4% | 5401.4 | 2.2%
February | 202013.8 | 52.2% | 284236.2 | 52.4% | 129967.8 | 9.6% | 78088 | 11.7% | 5454.3 | 14.8% | 9839 | 15.3% | 15279.8 | 0.9% | 5402 | 1.8%
March | 200821.8 | 41% | 284247.2 | 46.6% | 130009.3 | 8.3% | 77514 | 8.5% | 5484.9 | 13.6% | 9839 | 9.8% | 15245.8 | 1% | 5392.6 | 1.7%
April | 200376.8 | 38.5% | 284450.3 | 44.2% | 130070.8 | 9.6% | 77514 | 9.6% | 5486.4 | 13.5% | 9839 | 10.1% | 15119.1 | 0.9% | 5395.3 | 1.7%
May | 198851.8 | 42.1% | 283899.1 | 49.6% | 130070.8 | 12.5% | 77514 | 14.6% | 5544.4 | 14.7% | 9839 | 12% | 15119.1 | 1.4% | 5399.7 | 1.8%
June | 195863.8 | 52.5% | 286389 | 61.2% | 130127.6 | 16.9% | 77510 | 20.2% | 5546 | 18.8% | 9839 | 12.2% | 14947.1 | 1.8% | 5407 | 1.9%
July | 195881.8 | 59.6% | 287485 | 70.5% | 130274.1 | 20.2% | 77510 | 28.1% | 5549.7 | 23% | 9839 | 10.3% | 14947.1 | 2.5% | 5410.4 | 1.7%
August | 194856.8 | 59.2% | 288566.5 | 72.4% | 130035.1 | 18.6% | 77379 | 22.4% | 5563.9 | 25.1% | 9839 | 11.8% | 14947.1 | 2.2% | 5410.7 | 1.7%
September | 192425.8 | 47.3% | 288493.5 | 63.9% | 130259.8 | 13.9% | 77374 | 16.3% | 5559 | 21.7% | 9839 | 13.1% | 14858.1 | 1.7% | 5409.2 | 1.8%
October | 192425.8 | 38.7% | 288458.5 | 53% | 130348.7 | 10.3% | 77374 | 13.3% | 5558 | 17.9% | 9839 | 12.3% | 14817.2 | 1.4% | 5413.1 | 1.8%
November | 192271.3 | 40.9% | 288485.6 | 52% | 130380.6 | 11.3% | 77379.8 | 13.7% | 5555.9 | 17.9% | 9839 | 13.6% | 14789.6 | 1% | 5420.9 | 1.6%
December | 189316.3 | 51.4% | 288504.6 | 56.8% | 130606.5 | 12.5% | 77026.8 | 14.1% | 5560.7 | 19.3% | 9839 | 18.2% | 14735.6 | 2.8% | 5421.2 | 2.2%
Values are final. Time adjusted capacity for month rows is the summer capacity of generators in operation for the entire month; units that began operation during the month or that retired during the month are excluded. Time adjusted capacity for year rows is a time weighted average of the month rows. Capacity factors are a comparison of net generation with available capacity. See the technical note for an explanation of how capacity factors are calculated. Sources: U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report; U.S. Energy Information Administration, Form EIA-860, 'Annual Electric Generator Report' and Form EIA-860M, 'Monthly Update to the Annual Electric Generator Report.'