## F412_Schedule_11
UTILITY_ID | UTILITY_NAME | TRANSLINE_NO | TERMINAL_LOC_FROM | TERMINAL_LOC_TO | PERCENT_OWNED | LINE_LENGTH(MILES) | LINE_TYPE | VOLTAGE_TYPE | VOLTAGE_OPERATING(KV) | VOLTAGE_DESIGN(KV) | CONDUCTOR_SIZE(MCM) | CONDUCTOR_MAT_TYPE | CONDUCTOR_CONFIG | CIRCUIT_PERSTRUCT_PRES | CIRCUIT_PERSTRUCT_ULT | POLE_TOWER_TYPE | RATED_CAPACITY(MVA) | LAND_LAND RIGHT_COSTS(DOLLARS) | POLE_TOWER_FIXTURE_COSTS(DOLLARS) | CONDUCTOR_DEVICE_COSTS(DOLLARS) | CONSTRUCTION_OTHER_COSTS(DOLLARS) | TOTAL_LINE_COST(DOLLARS) | IN_SERVICE_DATE
807 | Arkansas Electric Corp | 11 | Fitzhugh | OG&E North | 100 | 0.67 | OH | AC | 69 | 161 | 954 | ACSR | Other | 1 | 1 | Wooden H-Frane | 300 | 1100 | 86600 | 46000 | 90000 | 223700 | 2001-10-01
807 | Arkansas Electric Corp | 12 | Fitzhugh | OG&E South | 100 | 0.67 | OH | AC | 69 | 161 | 954 | ACSR | Other | 1 | 1 | Wooden H-Frame | 300 | 1100 | 86600 | 46000 | 90000 | 223700 | 2001-10-01
1015 | Austin City of | 1 | Sand Hill | Decker | 100 | 7.04 | OH | AC | 138 | 138 | 795 | ACSR Drake | Other | 2 | 2 | Steel/Lattice | 480 | 0 | 153899 | 143359 | 345084 | 642342 | 2002-04-01
2172 | Brazos Electric Power Coop | 1 | Aubrey | Sanger | 100 | 11.3 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 1 | Concrete Single Pole | 215 | 0 | 1033587 | 376918.58 | 821991.3 | 2232496.88 | 2002-07-01
2172 | Brazos Electric Power Coop | 2 | Gibbons Creek | Roans Prairie | 100 | 10.96 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 1 | Concrete Single Pole | 215 | 326380 | 1242186 | 281880 | 583550.4 | 2433996.4 | 2002-01-01
2172 | Brazos Electric Power Coop | 3 | Hilltop | Reno | 100 | 26.8 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 1 | Concrete Single Pole | 215 | 48650 | 44173.26 | 42307 | 74357.29 | 209487.55 | 2002-01-01
2172 | Brazos Electric Power Coop | 4 | Iola | Roans Prairie | 100 | 12.5 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 1 | Steel Single Pole | 215 | 0 | 749746 | 356723.56 | 424688 | 1531157.56 | 2002-05-01
2172 | Brazos Electric Power Coop | 5 | Live Oak | No. Texas Steam Plant | 100 | 7.71 | OH | AC | 69 | 138 | 795 | ACSR | Single | 1 | 1 | Concrete Single Pole | 215 | 0 | 676949 | 261818.63 | 321760.85 | 1260528.48 | 2002-02-01
2172 | Brazos Electric Power Coop | 6 | Mountain Springs Tap | Mountain Springs Sub | 100 | 5.8 | OH | AC | 138 | 138 | 795 | ACSR | Single | 2 | 2 | Concrete Single Pole | 215 | 445000 | 1485427 | 409763.13 | 982593.63 | 3322783.76 | 2002-09-01
2172 | Brazos Electric Power Coop | 7 | Salem Sub | Hawkins Switch | 100 | 7.09 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 1 | Concrete Single Pole | 215 | 496074.53 | 707552.72 | 299657.59 | 614323.27 | 2117608.11 | 2002-06-01
5580 | East Kentucky Power Coop Inc | 1 | Smith | Lake Reba | 100 | 11.59 | OH | AC | 138 | 138 | 954 | ACSR | Single | 1 | 1 | TH-Wood Pole | 349 | 799444.55 | 1258482.89 | 847699.93 | 190045.24 | 3095672.61 | 2002-02-01
7197 | Georgia Transmission Corp | 1 | Raccoon Creek | Plant Mitchell | 100 | 6 | OH | AC | 230 | 230 | 1351 | ACSR | Single | 1 | 1 | Steel, H-Frame | 602 | 0 | 0 | 0 | 4148929 | 4148929 | 2002-05-01
7197 | Georgia Transmission Corp | 2 | Chattanoochee Energy | Yellow Dirt | 100 | 1 | OH | AC | 230 | 230 | 795 | ACSR | Double | 1 | 1 | Steel, H-Frame | 866 | 0 | 0 | 0 | 805591 | 805591 | 2002-09-01
7197 | Georgia Transmission Corp | 3 | South Hall | Spout Springs | 100 | 9 | OH | AC | 230 | 230 | 1351 | ACSR | Single | 1 | 1 | Contrete, Single Pole | 602 | 0 | 0 | 0 | 3006570.53 | 3006570.53 | 2002-06-01
7490 | Grand River Dam Authority | 27 | Skiatook Tap | Skiatook East | 100 | 2.7 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 1 | Wood pole | 193 | 193710 | 95035 | 168268 | 355266 | 812279 | 2002-07-01
7570 | Great River Energy | 1 | Pleasant Valley | Austin | 100 | 21.47 | OH | AC | 161 | 161 | 795 | ACSS | Single | 1 | 1 | Single Wood Pole | 442 | 1213727 | 2022532 | 758773 | 2999709 | 6994741 | 2001-12-01
9267 | Hoosier Energy R E C Inc | 20 | Present Line | Troy | 100 | 0.7 | OH | AC | 161 | 161 | 795 | ACSR | Double | 2 | 2 | Wood Laminate | 367 | 68000 | 150800 | 27500 | 202860 | 449160 | 2002-06-01
10393 | PUD No 1 of Klickitat County | 1 | EE Clouse | Harvalum(BPA) | 100 | 10 | OH | AC | 230 | 230 | 1272 | ACSR | Single | 1 | 1 | H Frame Pole | 500 | 472640 | 1027994 | 362554 | 2634833 | 4498021 | 2003-03-01
10623 | Lakeland City of | 1 | Eaton Park | Crews lake | 100 | 8.75 | OH | AC | 230 | 230 | 1590 | ACSS | Single | 1 | 2 | Concrete Pole | 817 | 6781 | 0 | 0 | 247964 | 254745 | 2002-04-01
10704 | Lansing City of | 2 | Erickson Park | Davis Substation | 100 | 1.16 | OH | AC | 138 | 138 | 1272 | ACSR | Single | 2 | 2 | Single Pole - Steel | 317 | 0 | 1116579 | 359959 | 23370 | 1499908 | 2002-04-01
10704 | Lansing City of | 3 | Erickson Park | Davis Hwy | 100 | 0.23 | OH | AC | 138 | 138 | 1272 | ACSR | Single | 2 | 2 | Single Pole - Steel | 317 | 0 | 218259 | 73727 | 15225 | 307211 | 2002-04-01
11208 | Los Angeles City of | 1 | Atwater | Airway | 100 | 4.05 | OH | AC | 230 | 230 | 2500 | SAC | Single | 2 | 2 | Steel Lattice | 708 | 0 | 0 | 0 | 0 | 0
11208 | Los Angeles City of | 2 | Toluca | Airway | 100 | 5.26 | OH | AC | 230 | 230 | 2500 | SAC | Single | 2 | 2 | Steel Lattice | 708 | 0 | 0 | 0 | 0 | 0
11208 | Los Angeles City of | 3 | Toluca | Hollywood | 100 | 9.38 | OH | AC | 230 | 230 | 2312 | ACSR | Single | 3 | 4 | Steel Lattice | 761 | 0 | 0 | 0 | 0 | 0
11208 | Los Angeles City of | 4 | Harbor Bank 10 | Tie Line | 100 | 0.16 | OH | AC | 138 | 138 | 500 | COPPER | Single | 1 | 1 | Steel Lattice | 182 | 0 | 0 | 0 | 0 | 0
11208 | Los Angeles City of | 5 | Harbor Bank 11/12 | Tie Line | 100 | 0.1 | OH | AC | 138 | 138 | 500 | COPPER | Single | 2 | 2 | Steel Lattice | 182 | 0 | 0 | 0 | 0 | 0
11208 | Los Angeles City of | 6 | Harbor Bank 13/14 | Tie Line | 100 | 0.1 | OH | AC | 138 | 138 | 500 | COPPER | Single | 2 | 2 | Steel Lattice | 182 | 0 | 0 | 0 | 0 | 0
11208 | Los Angeles City of | 7 | Valley Bank 5 | Tie Line | 100 | 0.1 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 1 | Steel Lattice | 248 | 0 | 0 | 0 | 0 | 0
11269 | Lower Colorado River Authority | 1 | SAN MARCOS | MCCARTY LANE EAST | 100 | 2.52 | OH | AC | 138 | 138 | 795 | ACSR | Double | 1 | 1 | Concrete H-Frame | 440 | 607697 | 19294297 | 0 | 20833758 | 40735752 | 2002-02-01
11269 | Lower Colorado River Authority | 2 | MCNEIL | TU ROUND ROCK | 100 | 0.33 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 1 | Steel H-Frame | 220 | 0 | 0 | 0 | 0 | 0 | 2002-03-01
11269 | Lower Colorado River Authority | 3 | HILLTOP | MCCARTY LANE | 100 | 6.43 | OH | AC | 138 | 138 | 795 | ACSR | Single | 1 | 2 | Steel Tower | 159 | 0 | 0 | 0 | 0 | 0 | 2002-03-01
11269 | Lower Colorado River Authority | 4 | AE GARFIELD | BASTROP CLEAN ENERGY SWITCHYAR | 100 | 0.4 | OH | AC | 345 | 345 | 795 | ACSR | Double | 1 | 1 | Steel Tower | 1100 | 0 | 0 | 0 | 0 | 0 | 2001-11-01
13100 | Municipal Electric Authority | 22 | LPM | Bay Creek | 100 | 17 | OH | AC | 230 | 230 | 795 | ACSR | Double | 2 | 2 | Steel Pole | 834 | 0 | 0 | 0 | 10726244 | 10726244 | 2002-11-01
13337 | Nebraska Public Power District | 1 | Kelly | Columbus East | 100 | 4.5 | OH | AC | 230 | 230 | 954 | ACSR | Single | 1 | 1 | WH | 240 | 117630 | 179439 | 150184 | 983148 | 1430401 | 2002-02-01
14127 | Omaha Public Power District | 1 | Sub. 3455 | Sub. 3740 | 100 | 3.95 | OH | AC | 345 | 345 | 954 | ACSR | DOUBLE | 1 | 1 | STEEL POLE | 1158 | 245615 | 700000 | 364600 | 98400 | 1408615 | 2002-08-01
14127 | Omaha Public Power District | 2 | Sub. 3740 | Sub. 3458 | 100 | 5.4 | OH | AC | 345 | 345 | 954 | ACSR | DOUBLE | 1 | 1 | STEEL POLE | 1158 | 339183 | 957000 | 498400 | 134500 | 1929083 | 2002-08-01
14324 | PUD No 2 of Pacific County | 1 | BPA WILLAPA RIVER TAP | BALEVILLE SUBSTATION | 100 | 4.75 | OH | AC | 115 | 138 | 795 | AAC | TRIPLE | 1 | 1 | WOOD POLE | 120 | 25000 | 200000 | 200000 | 300000 | 725000 | 2002-12-01
15989 | Richmond City of | 1 | Shawnee | East | 100 | 0.35 | OH | AC | 69 | 138 | 795 | ACSR | Single | 2 | 2 | STEEL | 108 | 0 | 41177.88 | 6556.1 | 723569.83 | 771303.81 | 2002-05-01
16572 | Salt River Proj Ag I & P Dist | 1 | Hassayampa | Palo Verde 2 | 18.8 | 3.1 | OH | AC | 525 | 525 | 1780 | ACSR | Triple | 1 | 1 | Steel/Tower | 2598 | 0 | 657070 | 398586 | 1833642 | 2889298 | 2001-10-01
16572 | Salt River Proj Ag I & P Dist | 2 | Browning | Santan | 100 | 10 | OH | AC | 230 | 230 | 1272 | ACSS | Single | 2 | 2 | Steel/Pole | 936.2 | 0 | 3259967 | 663255 | 2459980 | 6383202 | 2001-08-01
17583 | South Texas Electric Coop Inc | 1 | San Miguel Plant | Pawnee Switching Station | 100 | 30.66 | OH | AC | 345 | 362 | 1590 | ACSR | Double | 1 | 2 | Gavalized Steel Monopole | 1769 | 1066207.35 | 7846626.53 | 2059110.43 | 8910822.12 | 19882766.43 | 2002-05-01
18642 | Tennessee Valley Authority | 1 | Pickwick - South Jackson | Tap to Jacks Creek | 100 | 8.91 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 34387.09 | 1618764.97 | 1338544.88 | 0 | 2991696.94 | 2001-11-01
18642 | Tennessee Valley Authority | 2 | Jackson - Madison West | Loop to Moize Creek | 100 | 0.29 | OH | AC | 161 | 161 | 1590 | ACSR | Single | 1 | 1 | Steel Pole |  | 24044.94 | 225063.46 | 164447 | 0 | 413555.4 | 2001-12-01
18642 | Tennessee Valley Authority | 3 | South Jackson - Cordova | Tap to Longtown | 100 | 2.66 | OH | AC | 161 | 161 | 636 | ASCR | Single | 1 | 1 | Steel Pole |  | 258599.84 | 469170.75 | 358738.38 | 0 | 1086508.97 | 2002-01-01
18642 | Tennessee Valley Authority | 4 | Trinity | Decatur Energy Center # 1 & 2 | 100 | 0.52 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 22546.94 | 996027.3 | 1104490.43 | 0 | 2123064.67 | 2002-02-01
18642 | Tennessee Valley Authority | 5 | Kemper | DeKalb | 100 | 5.09 | OH | AC | 161 | 161 | 1351.5 | ACSR | Single | 1 | 1 | Steel Pole |  | 248561.54 | 1604739.84 | 869174.77 | 0 | 2722476.15 | 2002-07-01
18642 | Tennessee Valley Authority | 6 | Pickwik Hydro - NASA | Tap to Red Sulpher Springs | 100 | 0.87 | OH | AC | 161 | 161 | 636 | ACSR | Single | 1 | 1 | Steel Pole |  | 52367.39 | 224120.31 | 213082.85 | 0 | 489570.55 | 2002-04-01
18642 | Tennessee Valley Authority | 7 | La Fayette | South Scottsville Sw St | 100 | 13.18 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 28211.54 | 2253426.14 | 1331521.38 | 0 | 3613159.06 | 2002-04-01
18642 | Tennessee Valley Authority | 8 | Guntersville - Cullman No. 2 | East Point Loop | 100 | 9.36 | OH | AC | 161 | 161 | 1351.5 | ACSR | Single | 2 | 2 | Steel Pole |  | 574230.68 | 2755383.91 | 1428677.05 | 0 | 4758291.64 | 2002-05-01
18642 | Tennessee Valley Authority | 9 | Murphy Hill - Arkadelphia | East Point Loop | 100 | 0.22 | OH | AC | 500 | 500 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 0 | 985134.74 | 275907.13 | 0 | 1261041.87 | 2002-05-01
18642 | Tennessee Valley Authority | 10 | Olive Branch - Desoto Rd. | Tap to Mineral Wells | 100 | 3.63 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 1832351.76 | 510920.35 | 679263.49 | 0 | 3022535.6 | 2002-05-01
18642 | Tennessee Valley Authority | 11 | Gallatin Fossil Plant | Hoeganaes | 100 | 5 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 2 | Steel Pole |  | 201959.72 | 2375565.92 | 837347.97 | 0 | 3414873.61 | 2002-05-01
18642 | Tennessee Valley Authority | 12 | Tusculum - West Johnson City | Loop to Jonesboro SW Station | 100 | 0.31 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 0 | 56625.07 | 28824 | 0 | 85449.07 | 2002-05-01
18642 | Tennessee Valley Authority | 13 | Union City - Tiptonville SW | Loop to Troy | 100 | 1.66 | OH | AC | 161 | 161 | 954 | ACSR | Single | 2 | 2 | Steel Pole |  | 57258.8 | 455811.28 | 216852.79 | 0 | 729922.87 | 2002-07-01
18642 | Tennessee Valley Authority | 14 | Trinity | Decatur Energy Center | 100 | 3.26 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 2 | Steel Pole |  | 0 | 1343637.54 | 0 | 0 | 1343637.54 | 2002-06-01
18642 | Tennessee Valley Authority | 15 | Marshall | Duke Energy No. 1 and 2 | 100 | 0.82 | OH | AC | 161 | 161 | 1590 | ACSR | Single | 2 | 2 | Steel Pole |  | 0 | 501664.47 | 0 | 0 | 501664.47 | 2002-03-01
18642 | Tennessee Valley Authority | 16 | Colbert - Smithville | Loop to Stateline SW | 100 | 6.48 | OH | AC | 161 | 161 | 954 | ACSR | Single | 2 | 2 | Steel Pole |  | 100529.64 | 1069601.13 | 700118.44 | 0 | 1870249.21 | 2002-06-01
18642 | Tennessee Valley Authority | 17 | Clinton | Eagle Bend SW | 100 | 1.86 | OH | AC | 161 | 161 | 954 | ACSR | Single | 2 | 2 | Steel Pole |  | 52759.48 | 2666148.59 | 1312968.98 | 0 | 4031877.05 | 2002-06-01
18642 | Tennessee Valley Authority | 18 | Norris Hydro | Clinton | 100 | 0.26 | OH | AC | 161 | 161 | 954 | ACSR | Single | 2 | 2 | Steel Pole |  | 0 | 0 | 0 | 0 | 0 | 2002-06-01
18642 | Tennessee Valley Authority | 19 | Alcoa - Nixon Road No. 2 | Tap to Proffitt's Srping | 100 | 0.09 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 9167.41 | 149928.59 | 205528.77 | 0 | 364624.77 | 2002-07-01
18642 | Tennessee Valley Authority | 20 | Murfreesboro - Smyrna | Tap to Blackman | 100 | 2.26 | OH | AC | 161 | 161 | 636 | ACSR | Single | 1 | 1 | Steel Pole |  | 537998.7 | 581565.83 | 399459.16 | 0 | 1519023.69 | 2002-08-01
18642 | Tennessee Valley Authority | 21 | Madison - N. Huntsville No. 2 | Tap to Liberty Hill | 100 | 2.66 | OH | AC | 161 | 161 | 954 | ACSR | Single | 2 | 2 | Steel Pole |  | 204121.84 | 633041.54 | 528675.08 | 0 | 1365838.46 | 2002-08-01
18642 | Tennessee Valley Authority | 22 | Chase - N. Huntsville No. 2 | Tap to Liberty Hill | 100 | 1.67 | OH | AC | 161 | 161 | 954 | ACSR | Single | 2 | 2 | Steel Pole |  | 0 | 0 | 0 | 0 | 0 | 2002-08-01
18642 | Tennessee Valley Authority | 23 | Sturgis - Europa | Tap to Maben | 100 | 10.29 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 500455.92 | 1041732.08 | 2020032.73 | 0 | 3562220.73 | 2002-08-01
18642 | Tennessee Valley Authority | 24 | Hanceville SW Sta | Bremen | 100 | 12.5 | OH | AC | 161 | 161 | 954 | ACSR | Single | 1 | 1 | Steel Pole |  | 946249.81 | 2805051.17 | 1015748.64 | 0 | 4767049.62 | 2002-09-01
18715 | Texas Municipal Power Agency | 21 | Ben Davis | McCree | 100 | 6.9 | OH | AC | 138 | 138 | 1033 | ACSR | Single | 2 | 2 | Steel Towers | 1553 | 0 | 168089 | 759335 | 0 | 927424 | 2002-03-01
18715 | Texas Municipal Power Agency | 22 | McCree | Centerville/TXU | 100 | 1.3 | OH | AC | 345 | 345 | 1590 | ACSR | Single | 1 | 2 | Steel Poles | 1553 | 0 | 1836497 | 664740 | 0 | 2501237 | 2002-03-01
40211 | Wabash Valley Power Assn Inc | 1 | Meridian Station | East Whitley Station | 100 | 7.7 | OH | AC | 345 | 345 | 954 | ACSR | Double | 1 | 1 | Steel Pole | 300 | 827343 | 4446634 | 604880 | 60600 | 5939457 | 2002-03-01
40211 | Wabash Valley Power Assn Inc | 2 | Air West Jct | Air West Substation | 100 | 1 | OH | AC | 138 | 138 | 336 | ACSR | Single | 1 | 1 | Steel Pole | 50 | 28091 | 228847 | 0 | 17800 | 274738 | 2002-09-01
40211 | Wabash Valley Power Assn Inc | 3 | Raber Tap | Substation | 100 | 4.1 | OH | AC | 138 | 138 | 397 | ACSR | Single | 1 | 1 | Steel Pole | 40 | 19628 | 373649 | 220126 | 0 | 613403 | 2002-09-01
Legend:
Line Type: OH=Overhead, UG=Underground, SM=Submarine
Voltage Type: AC=Alternating Current, DC=Direct Current
Conductor Material Type: Aluminum, Aluminum Conductor Steel Reinforced (ACSR), Copper, or Other.
Conductor Configuration: The bundling arrangement/configuration of the line conductors as single, double, triple, quadruple, or other.
Pole/Tower Type: The predominant pole/tower material for the line as wood, concrete, steel, combination, composite material, or other. Also include the type of structure as single pole, H-frame structure, tower, underground, or other.