## Table_6_06
Table 6.6. Planned U.S. Electric Generating Unit Retirements
Year | Month | Entity ID | Entity Name | Plant Producer Type | Plant Name | Plant State | Plant ID | Generator ID | Net Summer Capacity (MW) | Technology | Energy Source Code | Prime Mover Code
2025 | 3 | 1058 | B Braun Medical Inc | Industrial | B Braun Medical | CA | 50200 | GEN1 | 2.7 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 3 | 1058 | B Braun Medical Inc | Industrial | B Braun Medical | CA | 50200 | GEN2 | 3 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 3 | 16604 | City of San Antonio - (TX) | Electric Utility | V H Braunig | TX | 3612 | 1 | 217 | Natural Gas Steam Turbine | NG | ST
2025 | 3 | 16604 | City of San Antonio - (TX) | Electric Utility | V H Braunig | TX | 3612 | 2 | 230 | Natural Gas Steam Turbine | NG | ST
2025 | 3 | 8453 | Hendricks Regional Health | Commercial | Hendricks Regional Health | IN | 54731 | GEO1 | 0.5 | Petroleum Liquids | DFO | IC
2025 | 3 | 8453 | Hendricks Regional Health | Commercial | Hendricks Regional Health | IN | 54731 | GEO2 | 0.5 | Petroleum Liquids | DFO | IC
2025 | 3 | 8453 | Hendricks Regional Health | Commercial | Hendricks Regional Health | IN | 54731 | GEO3 | 0.3 | Petroleum Liquids | DFO | IC
2025 | 3 | 18454 | Tampa Electric Co | Electric Utility | Polk | FL | 7242 | 1CA | 59 | Natural Gas Fired Combined Cycle | NG | CA
2025 | 4 | 803 | Arizona Public Service Co | Electric Utility | Cholla | AZ | 113 | 1 | 112 | Conventional Steam Coal | SUB | ST
2025 | 4 | 803 | Arizona Public Service Co | Electric Utility | Cholla | AZ | 113 | 3 | 271 | Conventional Steam Coal | SUB | ST
2025 | 4 | 7601 | Green Mountain Power Corp | Electric Utility | Rutland | VT | 3723 | GT5 | 8.4 | Petroleum Liquids | DFO | IC
2025 | 5 | 3179 | Caterpillar Inc | Industrial | Caterpillar | IN | 50935 | ET2 | 2 | Natural Gas Internal Combustion Engine | NG | IC
2025 | 5 | 4254 | Consumers Energy Co - (MI) | Electric Utility | J H Campbell | MI | 1710 | 1 | 260 | Conventional Steam Coal | SUB | ST
2025 | 5 | 4254 | Consumers Energy Co - (MI) | Electric Utility | J H Campbell | MI | 1710 | 2 | 279.8 | Conventional Steam Coal | SUB | ST
2025 | 5 | 4254 | Consumers Energy Co - (MI) | Electric Utility | J H Campbell | MI | 1710 | 3 | 790.7 | Conventional Steam Coal | SUB | ST
2025 | 5 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Blue Lake | MN | 8027 | 1 | 36 | Petroleum Liquids | DFO | GT
2025 | 5 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Blue Lake | MN | 8027 | 2 | 36 | Petroleum Liquids | DFO | GT
2025 | 5 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Blue Lake | MN | 8027 | 3 | 36 | Petroleum Liquids | DFO | GT
2025 | 5 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Blue Lake | MN | 8027 | 4 | 39 | Petroleum Liquids | DFO | GT
2025 | 5 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Wheaton | WI | 4014 | 1 | 44 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 5 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Wheaton | WI | 4014 | 2 | 51 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 5 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Wheaton | WI | 4014 | 3 | 44 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 5 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Wheaton | WI | 4014 | 4 | 47 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 60421 | Brandon Shores LLC | IPP | Brandon Shores | MD | 602 | 1 | 635 | Conventional Steam Coal | BIT | ST
2025 | 6 | 60421 | Brandon Shores LLC | IPP | Brandon Shores | MD | 602 | 2 | 638 | Conventional Steam Coal | BIT | ST
2025 | 6 | 6035 | Constellation Power, Inc | IPP | Eddystone Generating Station | PA | 3161 | 3 | 380 | Natural Gas Steam Turbine | NG | ST
2025 | 6 | 6035 | Constellation Power, Inc | IPP | Eddystone Generating Station | PA | 3161 | 4 | 380 | Natural Gas Steam Turbine | NG | ST
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT1 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT2 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT3 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT4 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT5 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT6 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT7 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT8 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 5259 | Elwood Energy LLC | IPP | Elwood Energy LLC | IL | 55199 | GT9 | 150 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 6 | 60422 | H.A. Wagner LLC | IPP | Herbert A Wagner | MD | 1554 | 1 | 126 | Petroleum Liquids | DFO | ST
2025 | 6 | 60422 | H.A. Wagner LLC | IPP | Herbert A Wagner | MD | 1554 | 3 | 305 | Petroleum Liquids | DFO | ST
2025 | 6 | 60422 | H.A. Wagner LLC | IPP | Herbert A Wagner | MD | 1554 | 4 | 397 | Petroleum Liquids | DFO | ST
2025 | 6 | 60422 | H.A. Wagner LLC | IPP | Herbert A Wagner | MD | 1554 | GT1 | 12.9 | Petroleum Liquids | DFO | GT
2025 | 6 | 59504 | Kirkwood Community College | IPP | Kirkwood Wind Turbine | IA | 59735 | KCC01 | 0.7 | Onshore Wind Turbine | WND | WT
2025 | 6 | 64429 | North Wales Diesel | Commercial | North Wales Diesel | PA | 64983 | GEN1 | 1.5 | Petroleum Liquids | DFO | IC
2025 | 6 | 64429 | North Wales Diesel | Commercial | North Wales Diesel | PA | 64983 | GEN2 | 1.5 | Petroleum Liquids | DFO | IC
2025 | 6 | 64429 | North Wales Diesel | Commercial | North Wales Diesel | PA | 64983 | GEN3 | 1.5 | Petroleum Liquids | DFO | IC
2025 | 6 | 64429 | North Wales Diesel | Commercial | North Wales Diesel | PA | 64983 | GEN4 | 1.5 | Petroleum Liquids | DFO | IC
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G10 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G11 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G12 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G13 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G14 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G15 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G16 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G17 | 46.4 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G18 | 46.4 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G19 | 46.4 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | G20 | 46.4 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT1 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT2 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT3 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT4 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT5 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT6 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 6 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT7 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 7 | 6452 | Florida Power & Light Co | Electric Utility | Pea Ridge | FL | 7715 | 1 | 4 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 6452 | Florida Power & Light Co | Electric Utility | Pea Ridge | FL | 7715 | 2 | 4 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 6452 | Florida Power & Light Co | Electric Utility | Pea Ridge | FL | 7715 | 3 | 4 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 11208 | Los Angeles Department of Water & Power | Electric Utility | Intermountain Power Project | UT | 6481 | 1 | 900 | Conventional Steam Coal | BIT | ST
2025 | 7 | 11208 | Los Angeles Department of Water & Power | Electric Utility | Intermountain Power Project | UT | 6481 | 2 | 900 | Conventional Steam Coal | BIT | ST
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | G10 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | G11 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | G12 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | G13 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | G14 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | G15 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | G16 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT1 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT2 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT3 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT4 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT5 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT6 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT7 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT8 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 7 | 18642 | Tennessee Valley Authority | Electric Utility | Johnsonville | TN | 3406 | GT9 | 47.1 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 8 | 13157 | City of Omaha | Commercial | Papillion Creek Wastewater | NE | 55027 | 951 | 0.5 | Other Waste Biomass | OBG | IC
2025 | 8 | 13157 | City of Omaha | Commercial | Papillion Creek Wastewater | NE | 55027 | 952 | 0.5 | Other Waste Biomass | OBG | IC
2025 | 8 | 13157 | City of Omaha | Commercial | Papillion Creek Wastewater | NE | 55027 | 953 | 0.5 | Other Waste Biomass | OBG | IC
2025 | 9 | 50158 | Innovative Energy Systems Inc | IPP | Hyland LFGTE Facility | NY | 56987 | GEN1 | 1.6 | Landfill Gas | LFG | IC
2025 | 9 | 50158 | Innovative Energy Systems Inc | IPP | Hyland LFGTE Facility | NY | 56987 | GEN2 | 1.6 | Landfill Gas | LFG | IC
2025 | 9 | 50158 | Innovative Energy Systems Inc | IPP | Hyland LFGTE Facility | NY | 56987 | GEN3 | 1.6 | Landfill Gas | LFG | IC
2025 | 9 | 60394 | Willey Battery Utility, LLC | IPP | Willey Battery Utility | OH | 60660 | WBU | 6 | Batteries | MWH | BA
2025 | 10 | 10769 | City of Laurens - (IA) | Electric Utility | Laurens | IA | 1157 | 3 | 0.7 | Petroleum Liquids | DFO | IC
2025 | 10 | 10769 | City of Laurens - (IA) | Electric Utility | Laurens | IA | 1157 | 4 | 0.7 | Petroleum Liquids | DFO | IC
2025 | 10 | 61402 | Hernando Energy | IPP | Hernando | FL | 61779 | ENG1 | 1.6 | Landfill Gas | LFG | IC
2025 | 10 | 14127 | Omaha Public Power District | Electric Utility | Elk City Station | NE | 7955 | 1 | 0.8 | Landfill Gas | LFG | IC
2025 | 10 | 14127 | Omaha Public Power District | Electric Utility | Elk City Station | NE | 7955 | 2 | 0.8 | Landfill Gas | LFG | IC
2025 | 10 | 14127 | Omaha Public Power District | Electric Utility | Elk City Station | NE | 7955 | 3 | 0.8 | Landfill Gas | LFG | IC
2025 | 10 | 14127 | Omaha Public Power District | Electric Utility | Elk City Station | NE | 7955 | 4 | 0.7 | Landfill Gas | LFG | IC
2025 | 10 | 14127 | Omaha Public Power District | Electric Utility | Elk City Station | NE | 7955 | 5 | 0.8 | Landfill Gas | LFG | IC
2025 | 10 | 14127 | Omaha Public Power District | Electric Utility | Elk City Station | NE | 7955 | 6 | 0 | Landfill Gas | LFG | IC
2025 | 10 | 14127 | Omaha Public Power District | Electric Utility | Elk City Station | NE | 7955 | 7 | 0.8 | Landfill Gas | LFG | IC
2025 | 10 | 14127 | Omaha Public Power District | Electric Utility | Elk City Station | NE | 7955 | 8 | 0.8 | Landfill Gas | LFG | IC
2025 | 10 | 16534 | Sacramento Municipal Util Dist | Electric Utility | White Rock/Slab Creek | CA | 435 | H4 | 0.5 | Conventional Hydroelectric | WAT | HY
2025 | 12 | 3249 | Central Hudson Gas & Elec Corp | Electric Utility | Coxsackie | NY | 2487 | GT1 | 20.2 | Natural Gas Fired Combustion Turbine | NG | GT
2025 | 12 | 17539 | Dominion Energy South Carolina, Inc | Electric Utility | Coit GT | SC | 3281 | 1 | 14 | Petroleum Liquids | DFO | GT
2025 | 12 | 17539 | Dominion Energy South Carolina, Inc | Electric Utility | Coit GT | SC | 3281 | 2 | 12 | Petroleum Liquids | DFO | GT
2025 | 12 | 9417 | Interstate Power and Light Co | Electric Utility | Prairie Creek | IA | 1073 | 1 | 3.6 | Conventional Steam Coal | SUB | ST
2025 | 12 | 13756 | Northern Indiana Pub Serv Co | Electric Utility | R M Schahfer | IN | 6085 | 17 | 361 | Conventional Steam Coal | BIT | ST
2025 | 12 | 13756 | Northern Indiana Pub Serv Co | Electric Utility | R M Schahfer | IN | 6085 | 18 | 361 | Conventional Steam Coal | BIT | ST
2025 | 12 | 14610 | Orlando Utilities Comm | Electric Utility | Stanton Energy Center | FL | 564 | 1 | 453.4 | Conventional Steam Coal | BIT | ST
2025 | 12 | 17470 | PUD No 1 of Snohomish County | Electric Utility | MESA 1 | WA | 60016 | A | 1 | Batteries | MWH | BA
2025 | 12 | 17470 | PUD No 1 of Snohomish County | Electric Utility | MESA 1 | WA | 60016 | B | 1 | Batteries | MWH | BA
2025 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Comanche (CO) | CO | 470 | 2 | 335 | Conventional Steam Coal | SUB | ST
2025 | 12 | 56128 | SAS Institute Inc | IPP | SAS Solar Farm | NC | 56915 | 1 | 0.5 | Solar Photovoltaic | SUN | PV
2025 | 12 | 56128 | SAS Institute Inc | IPP | SAS Solar Farm | NC | 56915 | 2 | 0.5 | Solar Photovoltaic | SUN | PV
2025 | 12 | 17633 | Southern Indiana Gas & Elec Co | Electric Utility | F B Culley | IN | 1012 | 2 | 90 | Conventional Steam Coal | BIT | ST
2025 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT8 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Allen | TN | 3393 | GT9 | 15.1 | Petroleum Liquids | DFO | GT
2025 | 12 | 19099 | TransAlta Centralia Gen LLC | IPP | Transalta Centralia Generation | WA | 3845 | 2 | 670 | Conventional Steam Coal | SUB | ST
2025 | 12 | 30151 | Tri-State G & T Assn, Inc | Electric Utility | Craig (CO) | CO | 6021 | 1 | 427 | Conventional Steam Coal | SUB | ST
2025 | 12 | 20847 | Wisconsin Electric Power Co | Electric Utility | South Oak Creek | WI | 4041 | 7 | 306.5 | Conventional Steam Coal | SUB | ST
2025 | 12 | 20847 | Wisconsin Electric Power Co | Electric Utility | South Oak Creek | WI | 4041 | 8 | 309.5 | Conventional Steam Coal | SUB | ST
2026 | 1 | 64954 | Contango Oil and Gas | Industrial | Elk Basin Gasoline Plant | WY | 52127 | GEN1 | 0.8 | Other Gases | OG | ST
2026 | 2 | 5860 | Empire District Electric Co | Electric Utility | Riverton | KS | 1239 | 10 | 13 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 2 | 5860 | Empire District Electric Co | Electric Utility | Riverton | KS | 1239 | 11 | 14 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 3 | 54878 | Oregon Environmental Industries LLC | Commercial | Dry Creek LFG to Energy Project | OR | 56461 | DC1 | 1.5 | Landfill Gas | LFG | IC
2026 | 3 | 54878 | Oregon Environmental Industries LLC | Commercial | Dry Creek LFG to Energy Project | OR | 56461 | DC2 | 1.5 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GE10 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GE11 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GE12 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GE13 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GE14 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GEN5 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GEN6 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GEN7 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GEN8 | 0.8 | Landfill Gas | LFG | IC
2026 | 3 | 17283 | Seneca Energy II | IPP | Seneca Energy | NY | 54782 | GEN9 | 0.8 | Landfill Gas | LFG | IC
2026 | 5 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 13WT | 0.1 | Onshore Wind Turbine | WND | WT
2026 | 5 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 14wt | 0.1 | Onshore Wind Turbine | WND | WT
2026 | 5 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 15WT | 0.1 | Onshore Wind Turbine | WND | WT
2026 | 5 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 16WT | 0.1 | Onshore Wind Turbine | WND | WT
2026 | 5 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 17WT | 0.1 | Onshore Wind Turbine | WND | WT
2026 | 5 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 1WT | 0.6 | Onshore Wind Turbine | WND | WT
2026 | 5 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 2WT | 0.1 | Onshore Wind Turbine | WND | WT
2026 | 5 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 3WT | 0.2 | Onshore Wind Turbine | WND | WT
2026 | 5 | 57015 | Third Taxing District of Norwalk | Electric Utility | Norden 1-3 | CT | 57689 | NORD1 | 2 | Petroleum Liquids | DFO | IC
2026 | 5 | 57015 | Third Taxing District of Norwalk | Electric Utility | Norden 1-3 | CT | 57689 | NORD2 | 2 | Petroleum Liquids | DFO | IC
2026 | 5 | 57015 | Third Taxing District of Norwalk | Electric Utility | Norden 1-3 | CT | 57689 | NORD3 | 2 | Petroleum Liquids | DFO | IC
2026 | 6 | 14605 | City of Peabody - (MA) | Electric Utility | Waters River | MA | 1678 | 1 | 16 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 6 | 11241 | Entergy Louisiana LLC | Electric Utility | Little Gypsy | LA | 1402 | 2 | 405.6 | Natural Gas Steam Turbine | NG | ST
2026 | 6 | 55937 | Entergy Texas Inc. | Electric Utility | Sabine | TX | 3459 | 3 | 369.3 | Natural Gas Steam Turbine | NG | ST
2026 | 6 | 55937 | Entergy Texas Inc. | Electric Utility | Sabine | TX | 3459 | 4 | 490.1 | Natural Gas Steam Turbine | NG | ST
2026 | 6 | 7490 | Grand River Dam Authority | Electric Utility | GREC | OK | 165 | 2 | 478.9 | Conventional Steam Coal | SUB | ST
2026 | 6 | 9332 | Indian River Operations Inc | IPP | Indian River Generating Station | DE | 594 | 10 | 16.1 | Petroleum Liquids | DFO | GT
2026 | 6 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | 11wt | 0.1 | Onshore Wind Turbine | WND | WT
2026 | 6 | 13902 | NorthWestern Energy (MT Hydro) | Electric Utility | Hauser | MT | 2185 | HAU3 | 2.8 | Conventional Hydroelectric | WAT | HY
2026 | 8 | 60474 | Vanguard Energy Partners, LLC | IPP | Bergenmand Solar Partners, LLC Mahwah | NJ | 63200 | SA1 | 0.5 | Solar Photovoltaic | SUN | PV
2026 | 10 | 60094 | Clinton Battery Utility, LLC | IPP | Clinton Battery | OH | 60297 | 1 | 5 | Batteries | MWH | BA
2026 | 10 | 55937 | Entergy Texas Inc. | Electric Utility | Sabine | TX | 3459 | 1 | 202.5 | Natural Gas Steam Turbine | NG | ST
2026 | 10 | 21048 | Wyandotte Municipal Serv Comm | Electric Utility | Wyandotte | MI | 1866 | 4 | 10.5 | Natural Gas Steam Turbine | NG | ST
2026 | 10 | 21048 | Wyandotte Municipal Serv Comm | Electric Utility | Wyandotte | MI | 1866 | 7 | 32 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 22148 | AES Alamitos LLC | IPP | AES Alamitos LLC | CA | 315 | 3 | 327 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 22148 | AES Alamitos LLC | IPP | AES Alamitos LLC | CA | 315 | 4 | 335 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 22148 | AES Alamitos LLC | IPP | AES Alamitos LLC | CA | 315 | 5 | 480 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 23693 | AES Huntington Beach LLC | IPP | AES Huntington Beach LLC | CA | 335 | 2 | 225.8 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 59673 | Choco Solar LLC | IPP | Choco Solar, LLC | NC | 59899 | CHOCO | 5 | Solar Photovoltaic | SUN | PV
2026 | 12 | 5701 | El Paso Electric Co | Electric Utility | Rio Grande | NM | 2444 | 6 | 45 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 61944 | MN8 Energy LLC | IPP | L'Oreal Piscataway | NJ | 57868 | UNIT1 | 0.5 | Solar Photovoltaic | SUN | PV
2026 | 12 | 61944 | MN8 Energy LLC | IPP | L'Oreal Piscataway | NJ | 57868 | UNIT2 | 0.3 | Solar Photovoltaic | SUN | PV
2026 | 12 | 61944 | MN8 Energy LLC | IPP | L'Oreal Piscataway | NJ | 57868 | UNIT3 | 0.3 | Solar Photovoltaic | SUN | PV
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Inver Hills | MN | 1913 | 1 | 47 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Inver Hills | MN | 1913 | 2 | 47 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Inver Hills | MN | 1913 | 3 | 47 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Inver Hills | MN | 1913 | 4 | 47 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Inver Hills | MN | 1913 | 5 | 47 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Inver Hills | MN | 1913 | 6 | 47 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Inver Hills | MN | 1913 | 7 | 1.8 | Petroleum Liquids | DFO | GT
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Inver Hills | MN | 1913 | 8 | 1.8 | Petroleum Liquids | DFO | GT
2026 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Sherburne County | MN | 6090 | 1 | 680 | Conventional Steam Coal | SUB | ST
2026 | 12 | 14127 | Omaha Public Power District | Electric Utility | North Omaha | NE | 2291 | 1 | 63 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 14127 | Omaha Public Power District | Electric Utility | North Omaha | NE | 2291 | 2 | 83.4 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 14127 | Omaha Public Power District | Electric Utility | North Omaha | NE | 2291 | 3 | 93.6 | Natural Gas Steam Turbine | NG | ST
2026 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Alamosa | CO | 464 | CT1 | 13 | Petroleum Liquids | DFO | GT
2026 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Alamosa | CO | 464 | CT2 | 14 | Petroleum Liquids | DFO | GT
2026 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Fort Lupton | CO | 8067 | 1 | 44 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Fort Lupton | CO | 8067 | 2 | 44 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Fruita | CO | 471 | 1 | 14 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Valmont | CO | 477 | 6 | 43 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Maddox | NM | 2446 | 2 | 61 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Maddox | NM | 2446 | 3 | 10 | Natural Gas Fired Combustion Turbine | NG | GT
2026 | 12 | 59672 | SunEnergy1-Scotland Neck, LLC | IPP | SunEnergy1-Scotland Neck, LLC | NC | 59898 | SE1SN | 3 | Solar Photovoltaic | SUN | PV
2026 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Cumberland (TN) | TN | 3399 | 2 | 1231 | Conventional Steam Coal | BIT | ST
2026 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 7 | 147 | Conventional Steam Coal | SUB | ST
2026 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 8 | 150 | Conventional Steam Coal | SUB | ST
2026 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 9 | 147 | Conventional Steam Coal | SUB | ST
2027 | 1 | 3476 | DTE San Diego COGEN Inc. | Commercial | Childrens Hospital | CA | 10175 | 0799 | 2 | Petroleum Liquids | DFO | IC
2027 | 1 | 63844 | Ellwood Power, LLC | IPP | Ellwood | CA | 8076 | 01 | 54 | Natural Gas Fired Combustion Turbine | NG | GT
2027 | 1 | 63843 | Ormond Beach Power, LLC | IPP | Ormond Beach | CA | 350 | 1 | 741 | Natural Gas Steam Turbine | NG | ST
2027 | 1 | 63843 | Ormond Beach Power, LLC | IPP | Ormond Beach | CA | 350 | 2 | 750 | Natural Gas Steam Turbine | NG | ST
2027 | 2 | 6667 | Ergon Refining Inc | Industrial | Ergon Refining Vicksburg | MS | 54918 | TMO1 | 4.5 | Natural Gas Fired Combustion Turbine | NG | GT
2027 | 2 | 56997 | Marina Energy LLC | IPP | Heller Industrial Parks | NJ | 57869 | HH | 0.5 | Solar Photovoltaic | SUN | PV
2027 | 2 | 56997 | Marina Energy LLC | IPP | Heller Industrial Parks | NJ | 57869 | HII | 0.4 | Solar Photovoltaic | SUN | PV
2027 | 2 | 56997 | Marina Energy LLC | IPP | Heller Industrial Parks | NJ | 57869 | HJC | 0.2 | Solar Photovoltaic | SUN | PV
2027 | 2 | 56997 | Marina Energy LLC | IPP | Heller Industrial Parks | NJ | 57869 | UNIT1 | 2.7 | Solar Photovoltaic | SUN | PV
2027 | 3 | 16604 | City of San Antonio - (TX) | Electric Utility | O W Sommers | TX | 3611 | 1 | 420 | Natural Gas Steam Turbine | NG | ST
2027 | 3 | 60538 | Vitro Architectural Glass | Industrial | Works 4 | TX | 54364 | L1G | 2 | Petroleum Liquids | DFO | IC
2027 | 4 | 5695 | Desert Star Energy Center SDG&E | Electric Utility | Desert Star Energy Center | NV | 55077 | ED01 | 140 | Natural Gas Fired Combined Cycle | NG | CT
2027 | 4 | 5695 | Desert Star Energy Center SDG&E | Electric Utility | Desert Star Energy Center | NV | 55077 | ED02 | 140 | Natural Gas Fired Combined Cycle | NG | CT
2027 | 4 | 5695 | Desert Star Energy Center SDG&E | Electric Utility | Desert Star Energy Center | NV | 55077 | ED03 | 170 | Natural Gas Fired Combined Cycle | NG | CA
2027 | 6 | 16612 | City & County of San Francisco | Commercial | SF Southeast Cogen Plant | CA | 57971 | COGEN | 1.5 | Other Waste Biomass | OBG | IC
2027 | 6 | 814 | Entergy Arkansas LLC | Electric Utility | Lake Catherine | AR | 170 | 4 | 522 | Natural Gas Steam Turbine | NG | ST
2027 | 6 | 11249 | Louisville Gas & Electric Co | Electric Utility | Mill Creek (KY) | KY | 1364 | 2 | 297 | Conventional Steam Coal | BIT | ST
2027 | 6 | 64726 | Rivers Electric, LLC | IPP | Mill Pond Hydro | NY | 65399 | U2 | 0.5 | Conventional Hydroelectric | WAT | HY
2027 | 6 | 18414 | TES Filer City Station LP | Electric CHP | TES Filer City Station | MI | 50835 | GEN1 | 60 | Conventional Steam Coal | BIT | ST
2027 | 8 | 58170 | Cargill Salt Hersey | Industrial | Cargill Salt Hersey | MI | 58196 | ST1 | 2.1 | Natural Gas Steam Turbine | NG | ST
2027 | 8 | 61364 | Lockheed Martin RMS Syracuse | Industrial | Lockheed Martin RMS Syracuse | NY | 61739 | SYR1 | 1 | Batteries | MWH | BA
2027 | 9 | 66075 | Old Gold Energy Center, LLC | IPP | Old Gold Energy Center, LLC | IA | 55804 | NM | 80 | Onshore Wind Turbine | WND | WT
2027 | 12 | 65384 | Cartier Energy, LLC | Commercial | Hartford Hospital Cogeneration | CT | 52061 | GEN3 | 6.2 | Natural Gas Fired Combined Cycle | NG | CT
2027 | 12 | 11626 | City of Marceline - (MO) | Electric Utility | Marceline | MO | 7470 | 1 | 1 | Petroleum Liquids | DFO | IC
2027 | 12 | 11626 | City of Marceline - (MO) | Electric Utility | Marceline | MO | 7470 | 2 | 3 | Petroleum Liquids | DFO | IC
2027 | 12 | 16868 | City of Seattle - (WA) | Electric Utility | Newhalem | WA | 9842 | 20 | 2.3 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 59918 | Dynegy Kincaid Generation | IPP | Kincaid Generation LLC | IL | 876 | 1 | 556 | Conventional Steam Coal | SUB | ST
2027 | 12 | 59918 | Dynegy Kincaid Generation | IPP | Kincaid Generation LLC | IL | 876 | 2 | 556 | Conventional Steam Coal | SUB | ST
2027 | 12 | 5517 | Dynegy Midwest Generation Inc | IPP | Baldwin Energy Complex | IL | 889 | 1 | 576 | Conventional Steam Coal | SUB | ST
2027 | 12 | 5517 | Dynegy Midwest Generation Inc | IPP | Baldwin Energy Complex | IL | 889 | 2 | 581 | Conventional Steam Coal | SUB | ST
2027 | 12 | 5701 | El Paso Electric Co | Electric Utility | Newman | TX | 3456 | 1 | 73 | Natural Gas Steam Turbine | NG | ST
2027 | 12 | 5701 | El Paso Electric Co | Electric Utility | Newman | TX | 3456 | 2 | 73 | Natural Gas Steam Turbine | NG | ST
2027 | 12 | 5701 | El Paso Electric Co | Electric Utility | Rio Grande | NM | 2444 | 7 | 46 | Natural Gas Steam Turbine | NG | ST
2027 | 12 | 40437 | Emerald People's Utility Dist | Electric Utility | Short Mountain | OR | 7413 | 1 | 0.8 | Landfill Gas | LFG | IC
2027 | 12 | 40437 | Emerald People's Utility Dist | Electric Utility | Short Mountain | OR | 7413 | 2 | 0.8 | Landfill Gas | LFG | IC
2027 | 12 | 40437 | Emerald People's Utility Dist | Electric Utility | Short Mountain | OR | 7413 | 3 | 0.8 | Landfill Gas | LFG | IC
2027 | 12 | 40437 | Emerald People's Utility Dist | Electric Utility | Short Mountain | OR | 7413 | 4 | 0.8 | Landfill Gas | LFG | IC
2027 | 12 | 6909 | Gainesville Regional Utilities | Electric Utility | Deerhaven Generating Station | FL | 663 | 1 | 76 | Natural Gas Steam Turbine | NG | ST
2027 | 12 | 520 | Illinois Power Generating Co | IPP | Newton | IL | 6017 | 1 | 595 | Conventional Steam Coal | SUB | ST
2027 | 12 | 59919 | Luminant Miami Fort | IPP | Miami Fort | OH | 2832 | 7 | 510 | Conventional Steam Coal | BIT | ST
2027 | 12 | 59919 | Luminant Miami Fort | IPP | Miami Fort | OH | 2832 | 8 | 510 | Conventional Steam Coal | BIT | ST
2027 | 12 | 12686 | Mississippi Power Co | Electric Utility | Victor J Daniel Jr | MS | 6073 | 1 | 502 | Conventional Steam Coal | SUB | ST
2027 | 12 | 12686 | Mississippi Power Co | Electric Utility | Victor J Daniel Jr | MS | 6073 | 2 | 502 | Conventional Steam Coal | SUB | ST
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Red Wing | MN | 1926 | 1 | 9 | Municipal Solid Waste | MSW | ST
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Red Wing | MN | 1926 | 2 | 9 | Municipal Solid Waste | MSW | ST
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | St Croix Falls | WI | 4011 | 1 | 1.8 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | St Croix Falls | WI | 4011 | 2 | 1.8 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | St Croix Falls | WI | 4011 | 3 | 1.9 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | St Croix Falls | WI | 4011 | 4 | 1.9 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | St Croix Falls | WI | 4011 | 5 | 2 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | St Croix Falls | WI | 4011 | 6 | 1.9 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | St Croix Falls | WI | 4011 | 7 | 2 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | St Croix Falls | WI | 4011 | 8 | 1.9 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Wilmarth | MN | 1934 | 1 | 9 | Municipal Solid Waste | MSW | ST
2027 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Wilmarth | MN | 1934 | 2 | 9 | Municipal Solid Waste | MSW | ST
2027 | 12 | 14354 | PacifiCorp | Electric Utility | Dave Johnston | WY | 4158 | 3 | 220 | Conventional Steam Coal | SUB | ST
2027 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Cherokee | CO | 469 | 4 | 310 | Natural Gas Steam Turbine | NG | ST
2027 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Hayden | CO | 525 | 2 | 262 | Conventional Steam Coal | BIT | ST
2027 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Salida | CO | 474 | 2 | 0.6 | Conventional Hydroelectric | WAT | HY
2027 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Cunningham | NM | 2454 | 2 | 183 | Natural Gas Steam Turbine | NG | ST
2027 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Nichols | TX | 3484 | 2 | 106 | Natural Gas Steam Turbine | NG | ST
2027 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Plant X | TX | 3485 | 4 | 190 | Natural Gas Steam Turbine | NG | ST
2027 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 1 | 104 | Conventional Steam Coal | SUB | ST
2027 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 2 | 105 | Conventional Steam Coal | SUB | ST
2027 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 3 | 105 | Conventional Steam Coal | SUB | ST
2027 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 4 | 99 | Conventional Steam Coal | SUB | ST
2027 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 5 | 150 | Conventional Steam Coal | SUB | ST
2027 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Kingston | TN | 3407 | 6 | 140 | Conventional Steam Coal | SUB | ST
2027 | 12 | 24211 | Tucson Electric Power Co | Electric Utility | Springerville | AZ | 8223 | 1 | 381 | Conventional Steam Coal | SUB | ST
2028 | 1 | 56997 | Marina Energy LLC | IPP | Freeze Solar | NJ | 60759 | PV1 | 1.5 | Solar Photovoltaic | SUN | PV
2028 | 1 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Allen S King | MN | 1915 | 1 | 511 | Conventional Steam Coal | SUB | ST
2028 | 3 | 16534 | Sacramento Municipal Util Dist | Electric Utility | Solano Wind | CA | 7526 | 2 | 24 | Onshore Wind Turbine | WND | WT
2028 | 3 | 16534 | Sacramento Municipal Util Dist | Electric Utility | Solano Wind | CA | 7526 | 2B | 63 | Onshore Wind Turbine | WND | WT
2028 | 5 | 56997 | Marina Energy LLC | IPP | Heller 400M | NJ | 62438 | A | 0.8 | Solar Photovoltaic | SUN | PV
2028 | 5 | 56997 | Marina Energy LLC | IPP | Heller 400M | NJ | 62438 | B | 0.2 | Solar Photovoltaic | SUN | PV
2028 | 5 | 56997 | Marina Energy LLC | IPP | Heller 400M | NJ | 62438 | C | 0.2 | Solar Photovoltaic | SUN | PV
2028 | 5 | 56997 | Marina Energy LLC | IPP | Heller Industrial Parks | NJ | 57869 | HM | 0.8 | Solar Photovoltaic | SUN | PV
2028 | 5 | 13756 | Northern Indiana Pub Serv Co | Electric Utility | Michigan City | IN | 997 | 12 | 455 | Conventional Steam Coal | SUB | ST
2028 | 6 | 11241 | Entergy Louisiana LLC | Electric Utility | Waterford 1 & 2 | LA | 8056 | 2 | 418.1 | Natural Gas Steam Turbine | NG | ST
2028 | 9 | 17166 | Sierra Pacific Power Co | Electric Utility | Brunswick | NV | 6510 | 1 | 2 | Petroleum Liquids | DFO | IC
2028 | 9 | 17166 | Sierra Pacific Power Co | Electric Utility | Brunswick | NV | 6510 | 2 | 2 | Petroleum Liquids | DFO | IC
2028 | 9 | 17166 | Sierra Pacific Power Co | Electric Utility | Brunswick | NV | 6510 | 3 | 2 | Petroleum Liquids | DFO | IC
2028 | 9 | 17166 | Sierra Pacific Power Co | Electric Utility | Fort Churchill | NV | 2330 | 1 | 113 | Natural Gas Steam Turbine | NG | ST
2028 | 9 | 17166 | Sierra Pacific Power Co | Electric Utility | Fort Churchill | NV | 2330 | 2 | 113 | Natural Gas Steam Turbine | NG | ST
2028 | 9 | 30151 | Tri-State G & T Assn, Inc | Electric Utility | Craig (CO) | CO | 6021 | 2 | 410 | Conventional Steam Coal | SUB | ST
2028 | 11 | 56898 | Sunnyvale City of WPCP | Electric Utility | Sunnyvale City of WPCP | CA | 57557 | S-14 | 0.8 | Natural Gas Internal Combustion Engine | NG | IC
2028 | 12 | 2138 | Brainerd Public Utilities | Electric Utility | Brainerd Public Utilities | MN | 50636 | 4 | 0.6 | Conventional Hydroelectric | WAT | HY
2028 | 12 | 61412 | Cardinal Operating Company | IPP | Cardinal | OH | 2828 | 3 | 620 | Conventional Steam Coal | BIT | ST
2028 | 12 | 16604 | City of San Antonio - (TX) | Electric Utility | J K Spruce | TX | 7097 | 1 | 560 | Conventional Steam Coal | SUB | ST
2028 | 12 | 5109 | DTE Electric Company | Electric Utility | Belle River | MI | 6034 | ST1 | 635 | Conventional Steam Coal | SUB | ST
2028 | 12 | 5109 | DTE Electric Company | Electric Utility | Belle River | MI | 6034 | ST2 | 635 | Conventional Steam Coal | SUB | ST
2028 | 12 | 5109 | DTE Electric Company | Electric Utility | Monroe (MI) | MI | 1733 | 3 | 773 | Conventional Steam Coal | SUB | ST
2028 | 12 | 5109 | DTE Electric Company | Electric Utility | Monroe (MI) | MI | 1733 | 4 | 762 | Conventional Steam Coal | SUB | ST
2028 | 12 | 9324 | Indiana Michigan Power Co | Electric Utility | Rockport | IN | 6166 | 1 | 1300 | Conventional Steam Coal | SUB | ST
2028 | 12 | 9324 | Indiana Michigan Power Co | Electric Utility | Rockport | IN | 6166 | 2 | 1300 | Conventional Steam Coal | SUB | ST
2028 | 12 | 61944 | MN8 Energy LLC | IPP | ACCC Mays Landing | NJ | 60802 | PV1 | 1.4 | Solar Photovoltaic | SUN | PV
2028 | 12 | 61944 | MN8 Energy LLC | IPP | IFF Hazlet | NJ | 60709 | GRND | 3 | Solar Photovoltaic | SUN | PV
2028 | 12 | 11843 | Maui Electric Co Ltd | Electric Utility | Kahului | HI | 6056 | 1 | 4.7 | Petroleum Liquids | RFO | ST
2028 | 12 | 11843 | Maui Electric Co Ltd | Electric Utility | Kahului | HI | 6056 | 2 | 4.8 | Petroleum Liquids | RFO | ST
2028 | 12 | 11843 | Maui Electric Co Ltd | Electric Utility | Kahului | HI | 6056 | 3 | 11 | Petroleum Liquids | RFO | ST
2028 | 12 | 11843 | Maui Electric Co Ltd | Electric Utility | Kahului | HI | 6056 | 4 | 11.9 | Petroleum Liquids | RFO | ST
2028 | 12 | 15466 | Public Service Co of Colorado | Electric Utility | Hayden | CO | 525 | 1 | 179 | Conventional Steam Coal | BIT | ST
2028 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Maddox | NM | 2446 | 1 | 117 | Natural Gas Steam Turbine | NG | ST
2028 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Tolk | TX | 6194 | 1 | 532 | Conventional Steam Coal | SUB | ST
2028 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Tolk | TX | 6194 | 2 | 535 | Conventional Steam Coal | SUB | ST
2028 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Cumberland (TN) | TN | 3399 | 1 | 1239 | Conventional Steam Coal | BIT | ST
2028 | 12 | 19436 | Union Electric Co - (MO) | Electric Utility | Sioux | MO | 2107 | 1 | 487 | Conventional Steam Coal | SUB | ST
2028 | 12 | 19436 | Union Electric Co - (MO) | Electric Utility | Sioux | MO | 2107 | 2 | 487 | Conventional Steam Coal | SUB | ST
2029 | 3 | 16604 | City of San Antonio - (TX) | Electric Utility | O W Sommers | TX | 3611 | 2 | 410 | Natural Gas Steam Turbine | NG | ST
2029 | 5 | 17698 | Southwestern Electric Power Co | Electric Utility | Arsenal Hill | LA | 1416 | 5 | 110 | Natural Gas Steam Turbine | NG | ST
2029 | 6 | 65384 | Cartier Energy, LLC | Commercial | Hartford Hospital Cogeneration | CT | 52061 | GEN4 | 1.4 | Other Natural Gas | NG | FC
2029 | 6 | 11241 | Entergy Louisiana LLC | Electric Utility | Little Gypsy | LA | 1402 | 3 | 493.7 | Natural Gas Steam Turbine | NG | ST
2029 | 9 | 10875 | Lee County Board-Commissioners | IPP | Lee County Solid Waste Energy | FL | 52010 | GEN1 | 39 | Municipal Solid Waste | MSW | ST
2029 | 11 | 60538 | Vitro Architectural Glass | Industrial | Works 4 | TX | 54364 | L2G | 2 | Petroleum Liquids | DFO | IC
2029 | 12 | 3989 | City of Colorado Springs - (CO) | Electric Utility | Ray D Nixon | CO | 8219 | 1 | 195 | Conventional Steam Coal | SUB | ST
2029 | 12 | 11208 | Los Angeles Department of Water & Power | Electric Utility | Scattergood | CA | 404 | 1 | 105 | Natural Gas Steam Turbine | NG | ST
2029 | 12 | 11208 | Los Angeles Department of Water & Power | Electric Utility | Scattergood | CA | 404 | 2 | 156.3 | Natural Gas Steam Turbine | NG | ST
2029 | 12 | 15143 | Platte River Power Authority | Electric Utility | Rawhide | CO | 6761 | 1 | 280 | Conventional Steam Coal | SUB | ST
2029 | 12 | 30151 | Tri-State G & T Assn, Inc | Electric Utility | Craig (CO) | CO | 6021 | 3 | 448 | Conventional Steam Coal | SUB | ST
2029 | 12 | 20856 | Wisconsin Power & Light Co | Electric Utility | Columbia (WI) | WI | 8023 | 1 | 563.9 | Conventional Steam Coal | SUB | ST
2029 | 12 | 20856 | Wisconsin Power & Light Co | Electric Utility | Columbia (WI) | WI | 8023 | 2 | 568 | Conventional Steam Coal | SUB | ST
2030 | 1 | 15474 | Public Service Co of Oklahoma | Electric Utility | Weleetka | OK | 2966 | 4 | 53 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 1 | 15474 | Public Service Co of Oklahoma | Electric Utility | Weleetka | OK | 2966 | 5 | 53 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 5 | 733 | Appalachian Power Co | Electric Utility | Clinch River | VA | 3775 | 1 | 230 | Natural Gas Steam Turbine | NG | ST
2030 | 5 | 733 | Appalachian Power Co | Electric Utility | Clinch River | VA | 3775 | 2 | 230 | Natural Gas Steam Turbine | NG | ST
2030 | 5 | 8973 | Town of Hudson - (MA) | Electric Utility | Cherry Street | MA | 9038 | 10 | 1.9 | Natural Gas Internal Combustion Engine | NG | IC
2030 | 5 | 8973 | Town of Hudson - (MA) | Electric Utility | Cherry Street | MA | 9038 | 11 | 1.9 | Natural Gas Internal Combustion Engine | NG | IC
2030 | 6 | 327 | Air Liquide Large Industries U S LP | Industrial | Geismar Cogen | LA | 56787 | GTG | 72.5 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 6 | 13781 | Northern States Power Co - Minnesota | Electric Utility | French Island | WI | 4005 | 1 | 9 | Wood/Wood Waste Biomass | WDS | ST
2030 | 6 | 13781 | Northern States Power Co - Minnesota | Electric Utility | French Island | WI | 4005 | 2 | 7 | Wood/Wood Waste Biomass | WDS | ST
2030 | 6 | 13781 | Northern States Power Co - Minnesota | Electric Utility | French Island | WI | 4005 | 3 | 61 | Petroleum Liquids | DFO | GT
2030 | 6 | 13781 | Northern States Power Co - Minnesota | Electric Utility | French Island | WI | 4005 | 4 | 58 | Petroleum Liquids | DFO | GT
2030 | 6 | 16732 | San Jose State University Fclts Dev &Ops | Commercial | San Jose Cogeneration | CA | 10548 | GEN1 | 5.6 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 10 | 6013 | Eugene Water & Electric Board | Electric Utility | Carmen Smith | OR | 3067 | 3 | 3.8 | Conventional Hydroelectric | WAT | HY
2030 | 10 | 13365 | Nevada Cogeneration Assoc # 2 | Electric CHP | Nevada Cogen Associates 2 Black Mountain | NV | 54349 | GTA | 21.7 | Natural Gas Fired Combined Cycle | NG | CT
2030 | 10 | 13365 | Nevada Cogeneration Assoc # 2 | Electric CHP | Nevada Cogen Associates 2 Black Mountain | NV | 54349 | GTB | 21.7 | Natural Gas Fired Combined Cycle | NG | CT
2030 | 10 | 13365 | Nevada Cogeneration Assoc # 2 | Electric CHP | Nevada Cogen Associates 2 Black Mountain | NV | 54349 | GTC | 21.7 | Natural Gas Fired Combined Cycle | NG | CT
2030 | 10 | 13365 | Nevada Cogeneration Assoc # 2 | Electric CHP | Nevada Cogen Associates 2 Black Mountain | NV | 54349 | STM | 28 | Natural Gas Fired Combined Cycle | NG | CA
2030 | 12 | 5701 | El Paso Electric Co | Electric Utility | Copper | TX | 9 | 1 | 63 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 12 | 12698 | Evergy Missouri West | Electric Utility | Lake Road (MO) | MO | 2098 | 4 | 94.6 | Natural Gas Steam Turbine | NG | ST
2030 | 12 | 9417 | Interstate Power and Light Co | Electric Utility | Burlington (IA) | IA | 1104 | GT1 | 9.1 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 12 | 9417 | Interstate Power and Light Co | Electric Utility | Burlington (IA) | IA | 1104 | GT2 | 9.7 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 12 | 9417 | Interstate Power and Light Co | Electric Utility | Burlington (IA) | IA | 1104 | GT3 | 13.2 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 12 | 9417 | Interstate Power and Light Co | Electric Utility | Burlington (IA) | IA | 1104 | GT4 | 2.9 | Natural Gas Fired Combustion Turbine | NG | GT
2030 | 12 | 56128 | SAS Institute Inc | IPP | SAS Solar Farm | NC | 56915 | 3 | 0.5 | Solar Photovoltaic | SUN | PV
2030 | 12 | 56128 | SAS Institute Inc | IPP | SAS Solar Farm | NC | 56915 | 4 | 0.5 | Solar Photovoltaic | SUN | PV
2030 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Winyah | SC | 6249 | 1 | 275 | Conventional Steam Coal | BIT | ST
2030 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Winyah | SC | 6249 | 2 | 285 | Conventional Steam Coal | BIT | ST
2030 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Winyah | SC | 6249 | 3 | 285 | Conventional Steam Coal | BIT | ST
2030 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Winyah | SC | 6249 | 4 | 285 | Conventional Steam Coal | BIT | ST
2030 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Nichols | TX | 3484 | 3 | 244 | Natural Gas Steam Turbine | NG | ST
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL00 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL01 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL02 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL03 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL04 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL05 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL06 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL07 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL08 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL09 | 0.1 | Other Natural Gas | NG | FC
2031 | 3 | 56778 | Bloom Energy 2009 PPA | IPP | Caltech Central | CA | 57460 | CL10 | 0.1 | Other Natural Gas | NG | FC
2031 | 6 | 11241 | Entergy Louisiana LLC | Electric Utility | Nine Mile Point | LA | 1403 | 6(4) | 741.2 | Natural Gas Steam Turbine | NG | ST
2031 | 6 | 9324 | Indiana Michigan Power Co | Electric Utility | Elkhart | IN | 986 | 1 | 0.6 | Conventional Hydroelectric | WAT | HY
2031 | 6 | 9324 | Indiana Michigan Power Co | Electric Utility | Elkhart | IN | 986 | 2 | 0.4 | Conventional Hydroelectric | WAT | HY
2031 | 6 | 9324 | Indiana Michigan Power Co | Electric Utility | Elkhart | IN | 986 | 3 | 0.4 | Conventional Hydroelectric | WAT | HY
2031 | 8 | 61944 | MN8 Energy LLC | IPP | L'Oreal Piscataway | NJ | 57868 | UNIT4 | 0.7 | Solar Photovoltaic | SUN | PV
2031 | 10 | 6909 | Gainesville Regional Utilities | Electric Utility | Deerhaven Generating Station | FL | 663 | GT1 | 17.5 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 10 | 6909 | Gainesville Regional Utilities | Electric Utility | Deerhaven Generating Station | FL | 663 | GT2 | 17.5 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 12 | 803 | Arizona Public Service Co | Electric Utility | Four Corners | NM | 2442 | 4 | 770 | Conventional Steam Coal | BIT | ST
2031 | 12 | 803 | Arizona Public Service Co | Electric Utility | Four Corners | NM | 2442 | 5 | 770 | Conventional Steam Coal | BIT | ST
2031 | 12 | 5701 | El Paso Electric Co | Electric Utility | Newman | TX | 3456 | 3 | 90 | Natural Gas Steam Turbine | NG | ST
2031 | 12 | 5701 | El Paso Electric Co | Electric Utility | Newman | TX | 3456 | 4 | 86 | Natural Gas Fired Combined Cycle | NG | CA
2031 | 12 | 5701 | El Paso Electric Co | Electric Utility | Newman | TX | 3456 | CT1 | 67 | Natural Gas Fired Combined Cycle | NG | CT
2031 | 12 | 5701 | El Paso Electric Co | Electric Utility | Newman | TX | 3456 | CT2 | 67 | Natural Gas Fired Combined Cycle | NG | CT
2031 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Black Dog | MN | 1904 | 2 | 117 | Natural Gas Fired Combined Cycle | NG | CA
2031 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Black Dog | MN | 1904 | 5 | 165 | Natural Gas Fired Combined Cycle | NG | CT
2031 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Jones | TX | 3482 | 1 | 243 | Natural Gas Steam Turbine | NG | ST
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | 1 | 225 | Conventional Steam Coal | BIT | ST
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | 2 | 225 | Conventional Steam Coal | SUB | ST
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | 3 | 263 | Conventional Steam Coal | SUB | ST
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | 4 | 263 | Conventional Steam Coal | SUB | ST
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | GT1 | 71.5 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | GT2 | 71.5 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | GT3 | 71.5 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | GT4 | 71.5 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | GT5 | 73.4 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | GT6 | 73.4 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | GT7 | 73.4 | Natural Gas Fired Combustion Turbine | NG | GT
2031 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Gallatin (TN) | TN | 3403 | GT8 | 73.4 | Natural Gas Fired Combustion Turbine | NG | GT
2032 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Zeeland | MI | 1867 | 7 | 2 | Natural Gas Internal Combustion Engine | NG | IC
2032 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Zeeland | MI | 1867 | 8 | 1.6 | Natural Gas Internal Combustion Engine | NG | IC
2032 | 8 | 64400 | Flower Valley | IPP | Flower Valley I | TX | 64915 | FLRV1 | 9.9 | Batteries | MWH | BA
2032 | 12 | 5109 | DTE Electric Company | Electric Utility | Monroe (MI) | MI | 1733 | 1 | 758 | Conventional Steam Coal | SUB | ST
2032 | 12 | 5109 | DTE Electric Company | Electric Utility | Monroe (MI) | MI | 1733 | 2 | 773 | Conventional Steam Coal | SUB | ST
2032 | 12 | 13399 | Nevada Cogeneration Assoc # 1 | Electric CHP | Nevada Cogen Assoc#1 GarnetVly | NV | 54350 | GTA | 20.5 | Natural Gas Fired Combined Cycle | NG | CT
2032 | 12 | 13399 | Nevada Cogeneration Assoc # 1 | Electric CHP | Nevada Cogen Assoc#1 GarnetVly | NV | 54350 | GTB | 20.5 | Natural Gas Fired Combined Cycle | NG | CT
2032 | 12 | 13399 | Nevada Cogeneration Assoc # 1 | Electric CHP | Nevada Cogen Assoc#1 GarnetVly | NV | 54350 | GTC | 20.5 | Natural Gas Fired Combined Cycle | NG | CT
2032 | 12 | 13399 | Nevada Cogeneration Assoc # 1 | Electric CHP | Nevada Cogen Assoc#1 GarnetVly | NV | 54350 | STM | 24 | Natural Gas Fired Combined Cycle | NG | CA
2032 | 12 | 14354 | PacifiCorp | Electric Utility | Gadsby | UT | 3648 | 1 | 64 | Natural Gas Steam Turbine | NG | ST
2032 | 12 | 14354 | PacifiCorp | Electric Utility | Gadsby | UT | 3648 | 2 | 69 | Natural Gas Steam Turbine | NG | ST
2032 | 12 | 14354 | PacifiCorp | Electric Utility | Gadsby | UT | 3648 | 3 | 104.5 | Natural Gas Steam Turbine | NG | ST
2032 | 12 | 14354 | PacifiCorp | Electric Utility | Gadsby | UT | 3648 | 4 | 39.6 | Natural Gas Fired Combustion Turbine | NG | GT
2032 | 12 | 14354 | PacifiCorp | Electric Utility | Gadsby | UT | 3648 | 5 | 39.6 | Natural Gas Fired Combustion Turbine | NG | GT
2032 | 12 | 14354 | PacifiCorp | Electric Utility | Gadsby | UT | 3648 | 6 | 36.9 | Natural Gas Fired Combustion Turbine | NG | GT
2032 | 12 | 16553 | Saguaro Power Co | Electric CHP | Saguaro Power | NV | 54271 | CTG1 | 36 | Natural Gas Fired Combined Cycle | NG | CT
2032 | 12 | 16553 | Saguaro Power Co | Electric CHP | Saguaro Power | NV | 54271 | CTG2 | 36 | Natural Gas Fired Combined Cycle | NG | CT
2032 | 12 | 16553 | Saguaro Power Co | Electric CHP | Saguaro Power | NV | 54271 | STG | 29 | Natural Gas Fired Combined Cycle | NG | CA
2032 | 12 | 16572 | Salt River Project | Electric Utility | Coronado | AZ | 6177 | CO1 | 380 | Conventional Steam Coal | SUB | ST
2032 | 12 | 16572 | Salt River Project | Electric Utility | Coronado | AZ | 6177 | CO2 | 382 | Conventional Steam Coal | SUB | ST
2032 | 12 | 24211 | Tucson Electric Power Co | Electric Utility | Springerville | AZ | 8223 | 2 | 406 | Conventional Steam Coal | SUB | ST
2033 | 6 | 11241 | Entergy Louisiana LLC | Electric Utility | Nine Mile Point | LA | 1403 | 5 | 738.3 | Natural Gas Steam Turbine | NG | ST
2033 | 8 | 59550 | Croda Inc. | Industrial | Croda Atlas Point CHP | DE | 59783 | 91197 | 1.1 | Landfill Gas | LFG | IC
2033 | 8 | 59550 | Croda Inc. | Industrial | Croda Atlas Point CHP | DE | 59783 | 91198 | 1.1 | Landfill Gas | LFG | IC
2033 | 8 | 59550 | Croda Inc. | Industrial | Croda Atlas Point CHP | DE | 59783 | 91199 | 2 | Landfill Gas | LFG | IC
2033 | 12 | 5701 | El Paso Electric Co | Electric Utility | Rio Grande | NM | 2444 | 8 | 139 | Natural Gas Steam Turbine | NG | ST
2033 | 12 | 9324 | Indiana Michigan Power Co | Electric Utility | Mottville | MI | 1761 | 1 | 0.1 | Conventional Hydroelectric | WAT | HY
2033 | 12 | 9324 | Indiana Michigan Power Co | Electric Utility | Mottville | MI | 1761 | 2 | 0.1 | Conventional Hydroelectric | WAT | HY
2033 | 12 | 9324 | Indiana Michigan Power Co | Electric Utility | Mottville | MI | 1761 | 3 | 0.1 | Conventional Hydroelectric | WAT | HY
2033 | 12 | 9324 | Indiana Michigan Power Co | Electric Utility | Mottville | MI | 1761 | 4 | 0.1 | Conventional Hydroelectric | WAT | HY
2033 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Hilton Head | SC | 3318 | 1 | 16 | Petroleum Liquids | DFO | GT
2033 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Hilton Head | SC | 3318 | 2 | 16 | Petroleum Liquids | DFO | GT
2033 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Hilton Head | SC | 3318 | 3 | 52 | Petroleum Liquids | DFO | GT
2033 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Myrtle Beach | SC | 3320 | 1 | 8 | Petroleum Liquids | DFO | GT
2033 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Myrtle Beach | SC | 3320 | 2 | 8 | Petroleum Liquids | DFO | GT
2033 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Myrtle Beach | SC | 3320 | 3 | 19 | Petroleum Liquids | DFO | GT
2033 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Myrtle Beach | SC | 3320 | 4 | 19 | Petroleum Liquids | DFO | GT
2033 | 12 | 17543 | South Carolina Public Service Authority | Electric Utility | Myrtle Beach | SC | 3320 | 5 | 19 | Petroleum Liquids | DFO | GT
2033 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Shawnee | KY | 1379 | 1 | 134 | Conventional Steam Coal | SUB | ST
2033 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Shawnee | KY | 1379 | 2 | 134 | Conventional Steam Coal | SUB | ST
2033 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Shawnee | KY | 1379 | 4 | 134 | Conventional Steam Coal | SUB | ST
2033 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Shawnee | KY | 1379 | 5 | 134 | Conventional Steam Coal | SUB | ST
2033 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Shawnee | KY | 1379 | 6 | 134 | Conventional Steam Coal | SUB | ST
2033 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Shawnee | KY | 1379 | 7 | 134 | Conventional Steam Coal | SUB | ST
2033 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Shawnee | KY | 1379 | 8 | 134 | Conventional Steam Coal | SUB | ST
2033 | 12 | 18642 | Tennessee Valley Authority | Electric Utility | Shawnee | KY | 1379 | 9 | 134 | Conventional Steam Coal | SUB | ST
2034 | 6 | 55937 | Entergy Texas Inc. | Electric Utility | Lewis Creek | TX | 3457 | 1 | 250 | Natural Gas Steam Turbine | NG | ST
2034 | 6 | 55937 | Entergy Texas Inc. | Electric Utility | Lewis Creek | TX | 3457 | 2 | 250 | Natural Gas Steam Turbine | NG | ST
2034 | 12 | 5416 | Duke Energy Carolinas, LLC | Electric Utility | Marshall (NC) | NC | 2727 | 1 | 370 | Natural Gas Steam Turbine | NG | ST
2034 | 12 | 5416 | Duke Energy Carolinas, LLC | Electric Utility | Marshall (NC) | NC | 2727 | 2 | 370 | Conventional Steam Coal | BIT | ST
2034 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Sherburne County | MN | 6090 | 3 | 876 | Conventional Steam Coal | SUB | ST
2034 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Jones | TX | 3482 | 2 | 243 | Natural Gas Steam Turbine | NG | ST
2034 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Quay County | NM | 58125 | 1 | 17 | Petroleum Liquids | DFO | GT
2035 | 6 | 12685 | Entergy Mississippi LLC | Electric Utility | Gerald Andrus | MS | 8054 | 1 | 706.5 | Natural Gas Steam Turbine | NG | ST
2035 | 7 | 59711 | Bakersfield 111 LLC | IPP | Bakersfield 111 | CA | 59948 | BF111 | 1.4 | Solar Photovoltaic | SUN | PV
2035 | 7 | 56742 | Notus Clean Energy LLC | IPP | Notus Wind 1 | MA | 57414 | 1 | 1.7 | Onshore Wind Turbine | WND | WT
2035 | 8 | 19497 | United Illuminating Co | Electric Utility | UI RCP New Haven Fuel Cell | CT | 60040 | NHFC | 2.5 | Other Natural Gas | NG | FC
2035 | 11 | 19497 | United Illuminating Co | Electric Utility | UI RCP Bridgeport Seaside | CT | 60054 | BPFC | 2.5 | Other Natural Gas | NG | FC
2035 | 12 | 20169 | Avista Corp | Electric Utility | Northeast (WA) | WA | 6210 | 1 | 45 | Natural Gas Fired Combustion Turbine | NG | GT
2035 | 12 | 59474 | BQ Energy LLC | IPP | Mount Kisco Landfill Solar & Storage CSG | NY | 63774 | KISCB | 0.5 | Batteries | MWH | BA
2035 | 12 | 5860 | Empire District Electric Co | Electric Utility | Empire Energy Center | MO | 6223 | 1 | 80 | Natural Gas Fired Combustion Turbine | NG | GT
2035 | 12 | 5860 | Empire District Electric Co | Electric Utility | Empire Energy Center | MO | 6223 | 2 | 82 | Natural Gas Fired Combustion Turbine | NG | GT
2035 | 12 | 56998 | Macys Corporate Services, Inc | Commercial | Macys Goodyear | AZ | 57673 | 1 | 3.1 | Solar Photovoltaic | SUN | PV
2036 | 2 | 59885 | UIL Distributed Resources, LLC | IPP | UDR Glastonbury Fuel Cell | CT | 60109 | UDRFC | 2.5 | Other Natural Gas | NG | FC
2036 | 4 | 19497 | United Illuminating Co | Electric Utility | UI RCP Bridgeport Seaside | CT | 60054 | BPPV | 2.2 | Solar Photovoltaic | SUN | PV
2036 | 12 | 6909 | Gainesville Regional Utilities | Electric Utility | Deerhaven Generating Station | FL | 663 | 2 | 232 | Natural Gas Steam Turbine | NG | ST
2036 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Harrington | TX | 6193 | 1 | 339 | Natural Gas Steam Turbine | NG | ST
2036 | 12 | 19497 | United Illuminating Co | Electric Utility | UI RCP Woodbridge FC | CT | 60593 | WBFC | 2.2 | Other Natural Gas | NG | FC
2038 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Harrington | TX | 6193 | 2 | 339 | Conventional Steam Coal | SUB | ST
2039 | 10 | 65384 | Cartier Energy, LLC | Commercial | HSCo CHP | CT | 57179 | 1 | 3.5 | Natural Gas Fired Combustion Turbine | NG | GT
2040 | 1 | 18454 | Tampa Electric Co | Electric Utility | Big Bend | FL | 645 | ST4 | 437 | Natural Gas Steam Turbine | NG | ST
2040 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Zeeland | MI | 1867 | 1 | 1.5 | Natural Gas Internal Combustion Engine | NG | IC
2040 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Zeeland | MI | 1867 | 2 | 1.2 | Natural Gas Internal Combustion Engine | NG | IC
2040 | 7 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | PV1 | 0.1 | Solar Photovoltaic | SUN | PV
2040 | 7 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | PV2 | 0.1 | Solar Photovoltaic | SUN | PV
2040 | 7 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | PV3 | 0.1 | Solar Photovoltaic | SUN | PV
2040 | 7 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | PV4 | 0.1 | Solar Photovoltaic | SUN | PV
2040 | 7 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | PV5 | 0.1 | Solar Photovoltaic | SUN | PV
2040 | 7 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | PV6 | 0.1 | Solar Photovoltaic | SUN | PV
2040 | 7 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | PV7 | 0.1 | Solar Photovoltaic | SUN | PV
2040 | 7 | 10451 | Kotzebue Electric Assn Inc | Electric Utility | Kotzebue Hybrid | AK | 6304 | PV8 | 0.1 | Solar Photovoltaic | SUN | PV
2040 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Angus Anson | SD | 7237 | 1 | 90 | Natural Gas Fired Combustion Turbine | NG | GT
2040 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Angus Anson | SD | 7237 | 2 | 90 | Natural Gas Fired Combustion Turbine | NG | GT
2040 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Cunningham | NM | 2454 | 3 | 106 | Natural Gas Fired Combustion Turbine | NG | GT
2040 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Cunningham | NM | 2454 | 4 | 101 | Natural Gas Fired Combustion Turbine | NG | GT
2040 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Harrington | TX | 6193 | 3 | 340 | Conventional Steam Coal | SUB | ST
2041 | 4 | 63424 | Silverstrand Grid, LLC | IPP | Silverstrand Grid Energy Storage System | CA | 63735 | SLV01 | 11 | Batteries | MWH | BA
2042 | 6 | 63723 | Ignacio Grid, LLC | IPP | Ignacio Grid Energy Storage System | TX | 64089 | IGN01 | 100 | Batteries | MWH | BA
2042 | 6 | 63451 | Madero Grid, LLC | IPP | Madero Grid | TX | 63757 | MAD01 | 100 | Batteries | MWH | BA
2043 | 12 | 57170 | EDF Renewable Asset Holdings, Inc. | IPP | Copenhagen Wind Farm | NY | 58979 | CPHGN | 79.9 | Onshore Wind Turbine | WND | WT
2043 | 12 | 14354 | PacifiCorp | Electric Utility | Chehalis Generating Facility | WA | 55662 | CA | 157 | Natural Gas Fired Combined Cycle | NG | CA
2043 | 12 | 14354 | PacifiCorp | Electric Utility | Chehalis Generating Facility | WA | 55662 | CT1 | 160 | Natural Gas Fired Combined Cycle | NG | CT
2043 | 12 | 14354 | PacifiCorp | Electric Utility | Chehalis Generating Facility | WA | 55662 | CT2 | 160 | Natural Gas Fired Combined Cycle | NG | CT
2044 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Apple River | WI | 6231 | 1 | 0.4 | Conventional Hydroelectric | WAT | HY
2044 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Apple River | WI | 6231 | 3 | 0.5 | Conventional Hydroelectric | WAT | HY
2044 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Apple River | WI | 6231 | 4 | 0.5 | Conventional Hydroelectric | WAT | HY
2045 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Zeeland | MI | 1867 | 10 | 6 | Natural Gas Internal Combustion Engine | NG | IC
2045 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Zeeland | MI | 1867 | 11 | 6.4 | Natural Gas Internal Combustion Engine | NG | IC
2045 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Zeeland | MI | 1867 | 9 | 5 | Natural Gas Internal Combustion Engine | NG | IC
2045 | 12 | 62915 | Madison Energy Holdings LLC | IPP | ESCA-LL-COLTON, LLC | CA | 64270 | COLT1 | 2.6 | Solar Photovoltaic | SUN | PV
2047 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Municipal Power Plant | MI | 56504 | 1 | 1 | Natural Gas Internal Combustion Engine | NG | IC
2047 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Municipal Power Plant | MI | 56504 | 2 | 1 | Natural Gas Internal Combustion Engine | NG | IC
2047 | 7 | 60455 | PVN Milliken, LLC | IPP | PVN Milliken, LLC | CA | 60790 | PV | 3 | Solar Photovoltaic | SUN | PV
2047 | 12 | 66130 | Dynamic Energy Holdings LLC | Commercial | Hobart & William Smith College Gates Rd. | NY | 63297 | GATES | 1.8 | Solar Photovoltaic | SUN | PV
2048 | 12 | 66130 | Dynamic Energy Holdings LLC | Industrial | Knaggs Brothers Farm | NY | 63230 | KNAGG | 3.9 | Solar Photovoltaic | SUN | PV
2049 | 4 | 66130 | Dynamic Energy Holdings LLC | Industrial | Barrette Outdoor Living, Inc. | NJ | 63298 | BARRE | 1.5 | Solar Photovoltaic | SUN | PV
2049 | 4 | 61612 | Panda Solar NC 1, LLC | IPP | Panda Solar NC 1, LLC | NC | 62089 | 20002 | 1 | Solar Photovoltaic | SUN | PV
2049 | 4 | 61655 | Panda Solar NC 2, LLC | IPP | Panda Solar NC 2, LLC | NC | 62120 | 20003 | 2 | Solar Photovoltaic | SUN | PV
2049 | 6 | 61663 | Panda Solar NC 10, LLC | IPP | Panda Solar NC 10, LLC | NC | 62128 | 20031 | 2 | Solar Photovoltaic | SUN | PV
2049 | 6 | 61664 | Panda Solar NC 11, LLC | IPP | Panda Solar NC 11, LLC | NC | 62129 | 20032 | 2 | Solar Photovoltaic | SUN | PV
2049 | 6 | 61656 | Panda Solar NC 3, LLC | IPP | Panda Solar NC 3, LLC | NC | 62121 | 20011 | 2 | Solar Photovoltaic | SUN | PV
2049 | 6 | 61658 | Panda Solar NC 5, LLC | IPP | Panda Solar NC 5, LLC | NC | 62123 | 20007 | 1 | Solar Photovoltaic | SUN | PV
2049 | 6 | 61660 | Panda Solar NC 6, LLC | IPP | Panda Solar NC 6, LLC | NC | 62124 | 20028 | 1 | Solar Photovoltaic | SUN | PV
2049 | 6 | 61662 | Panda Solar NC 9, LLC | IPP | Panda Solar NC 9, LLC | NC | 62127 | 20022 | 2 | Solar Photovoltaic | SUN | PV
2049 | 9 | 61661 | Panda Solar NC 8, LLC | IPP | Panda Solar NC 8, LLC | NC | 62126 | 20052 | 2 | Solar Photovoltaic | SUN | PV
2050 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Riley Generating Station | MI | 56503 | 1 | 2 | Natural Gas Internal Combustion Engine | NG | IC
2050 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Riley Generating Station | MI | 56503 | 2 | 2 | Natural Gas Internal Combustion Engine | NG | IC
2050 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Riley Generating Station | MI | 56503 | 3 | 2 | Natural Gas Internal Combustion Engine | NG | IC
2050 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Riley Generating Station | MI | 56503 | 4 | 2 | Natural Gas Internal Combustion Engine | NG | IC
2050 | 6 | 21158 | City of Zeeland - (MI) | Electric Utility | Riley Generating Station | MI | 56503 | 5 | 2 | Natural Gas Internal Combustion Engine | NG | IC
2050 | 12 | 56316 | Covanta Tulsa Renewable Energy LLC | Commercial | Covanta Tulsa Renewable Energy LLC | OK | 50660 | GEN1 | 15.6 | Municipal Solid Waste | MSW | ST
2052 | 1 | 64390 | Brighter Future Solar LLC | IPP | Brighter Future Solar | NC | 64910 | BFSNC | 11 | Solar Photovoltaic | SUN | PV
2056 | 11 | 64170 | Camden Solar LLC | IPP | Camden Solar LLC | NC | 64535 | KOV4A | 20 | Solar Photovoltaic | SUN | PV
2056 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Jones | TX | 3482 | 3 | 166 | Natural Gas Fired Combustion Turbine | NG | GT
2057 | 4 | 64393 | Tulare Solar Center, LLC | IPP | Luciana | CA | 64909 | TSC | 55.8 | Solar Photovoltaic | SUN | PV
2057 | 12 | 59474 | BQ Energy LLC | IPP | West Valley East | NY | 62738 | WVE | 5 | Solar Photovoltaic | SUN | PV
2057 | 12 | 59474 | BQ Energy LLC | IPP | West Valley West | NY | 62737 | WVW | 5 | Solar Photovoltaic | SUN | PV
2058 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Black Dog | MN | 1904 | 6-1 | 209 | Natural Gas Fired Combustion Turbine | NG | GT
2058 | 12 | 17718 | Southwestern Public Service Co | Electric Utility | Jones | TX | 3482 | 4 | 168 | Natural Gas Fired Combustion Turbine | NG | GT
2058 | 12 | 64783 | Spanish Peaks Solar LLC | IPP | Spanish Peaks Solar | CO | 62379 | 47301 | 140 | Solar Photovoltaic | SUN | PV
2059 | 12 | 65572 | Greene Community Solar LLC | IPP | Greene Community Solar | NY | 66524 | 20738 | 5 | Solar Photovoltaic | SUN | PV
2061 | 1 | 63631 | Capital V LLC | IPP | Hertford Solar Power, LLC | NC | 63024 | KEH | 10 | Solar Photovoltaic | SUN | PV
2063 | 12 | 62836 | Navisun LLC | IPP | Acushnet MA 1 | MA | 64706 | ACNT1 | 1 | Solar Photovoltaic | SUN | PV
2064 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Saxon Falls | WI | 1756 | 1 | 0.5 | Conventional Hydroelectric | WAT | HY
2064 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Saxon Falls | WI | 1756 | 2 | 0.5 | Conventional Hydroelectric | WAT | HY
2064 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Superior Falls | MI | 1757 | 1 | 0.5 | Conventional Hydroelectric | WAT | HY
2064 | 12 | 13781 | Northern States Power Co - Minnesota | Electric Utility | Superior Falls | MI | 1757 | 2 | 0.5 | Conventional Hydroelectric | WAT | HY
2072 | 8 | 10875 | Lee County Board-Commissioners | IPP | Lee County Solid Waste Energy | FL | 52010 | GEN2 | 16 | Municipal Solid Waste | MSW | ST
NOTES: Capacity from facilities with a total generator nameplate capacity less than 1 MW are excluded from this table. Entity ID and Plant ID are official, unique identification numbers assigned by EIA; Generator IDs are assigned by plant owners and/or operators. Descriptions for the Energy Source Codes and the Prime Mover Codes listed in the table can be found in the Technical Notes. Sources: U.S. Energy Information Administration, Form EIA-860, 'Annual Electric Generator Report' and Form EIA-860M, 'Monthly Update to the Annual Electric Generator Report.'