## 1. Summary
Table 1. 2022 Summary statistics
Montana
| Value | Rank
Primary energy source | Coal
Net summer capacity (megawatts) | 6439 | 41
..Electric utilities | 3447 | 38
..IPP and CHP | 2992 | 34
Net generation (megawatthours) | 27088740 | 40
..Electric utilities | 11422655 | 35
..IPP and CHP | 15666085 | 29
Emissions (thousand metric tons)
..Sulfur dioxide (short tons) | 8665 | 31
..Nitrogen oxide (short tons) | 12989 | 36
..Carbon dioxide (thousand metric tons) | 13656 | 35
..Sulfur dioxide (lbs/MWh) | 0.6 | 17
..Nitrogen oxide (lbs/MWh) | 1 | 14
..Carbon dioxide (lbs/MWh) | 1109 | 15
Total sales to ultimate customers (megawatthours) | 15583783 | 42
..Full service provider and facility direct sales (megawatthours) | 12589862 | 43
..Energy-only provider sales (megawatthours) | 2993921 | 19
Direct use (megawatthours) | 26647 | 50
Average price to ultimate customers (cents/kWh) | 9.97 | 40
Sources: U.S. Energy Information Administration, Form EIA-860, Annual Electric Generator Report. U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report. U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report and predecessor forms.

## 2A. Plants-Capacity
Table 2A. Ten largest plants by capacity, 2022
Montana
| Plant | Primary energy source | Operating company | Net summer capacity (MW)
1 | Colstrip | Coal | Talen Montana LLC | 1480
2 | Noxon Rapids | Hydroelectric | Avista Corp | 580.7
3 | Libby | Hydroelectric | USACE Northwestern Division | 525
4 | Hungry Horse | Hydroelectric | U S Bureau of Reclamation | 428
5 | Clearwater Wind I | Wind | Clearwater Energy Resources LLC | 365.5
6 | Yellowtail | Hydroelectric | U S Bureau of Reclamation | 287.5
7 | Pryor Mountain Wind | Wind | PacifiCorp | 239.8
8 | Selis Ksanka Qlispe | Hydroelectric | Energy Keepers Inc | 227.8
9 | Fort Peck | Hydroelectric | USACE-Omaha | 218
10 | NaturEner Rim Rock Energy | Wind | NaturEner Rim Rock Energy LLC | 184.6
Source: U.S. Energy Information Administration, Form EIA-860, Annual Electric Generator Report.

## 2B. Plants-Generation
Table 2B. Ten largest plants by generation, 2022
Montana
| Plant | Primary energy source | Operating company | Generation (MWh)
1 | Colstrip | Coal | Talen Montana LLC | 10865555
2 | Libby | Hydroelectric | USACE Northwestern Division | 2117883
3 | Noxon Rapids | Hydroelectric | Avista Corp | 1741340
4 | Hungry Horse | Hydroelectric | U S Bureau of Reclamation | 1008019
5 | Selis Ksanka Qlispe | Hydroelectric | Energy Keepers Inc | 997605
6 | Pryor Mountain Wind | Wind | PacifiCorp | 814117
7 | Fort Peck | Hydroelectric | USACE-Omaha | 756133
8 | Yellowtail | Hydroelectric | U S Bureau of Reclamation | 685935
9 | NaturEner Rim Rock Energy | Wind | NaturEner Rim Rock Energy LLC | 675505
10 | Judith Gap Wind Energy Center | Wind | Invenergy Services LLC | 503318
Source: U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report and predecessor forms.

## 3 Retailers
Table 3. Top five retailers of electricity, with end use sectors, 2022
Montana
megawatthours
| Entity | Type of provider | All sectors | Residential | Commercial | Industrial | Transportation
1 | NorthWestern Energy LLC - (MT) | Investor-owned | 6378578 | 2865830 | 3109006 | 403742 | 0
2 | Flathead Electric Coop Inc | Cooperative | 1588785 | 899004 | 480667 | 209114 | 0
3 | Montana-Dakota Utilities Co | Investor-owned | 760176 | 193296 | 269507 | 297373 | 0
4 | Talen Energy Marketing, LLC | Retail power marketer | 479320 | 0 | 13104 | 466216 | 0
5 | USBIA-Mission Valley Power | Federal | 422442 | 266491 | 137505 | 18446 | 0
| Total sales, top five providers |  | 9629301 | 4224621 | 4009789 | 1394891 | 0
| Percent of total state sales |  | 61.79 | 71.67 | 79.88 | 29.87 | 0
Source: U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report.

## 4. Capacity
Table 4. Electric power industry capacity by primary energy source, 1990 through 2022
Montana
megawatts
| Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010 | Year 2009 | Year 2008 | Year 2007 | Year 2006 | Year 2005 | Year 2004 | Year 2003 | Year 2002 | Year 2001 | Year 2000 | Year 1999 | Year 1998 | Year 1997 | Year 1996 | Year 1995 | Year 1994 | Year 1993 | Year 1992 | Year 1991 | Year 1990 | Percent share 2000 | Percent share 2010 | Percent share 2020 | Percent share 2022
Electric utilities | 3447.2 | 3441.4 | 3240.6 | 3215.3 | 3206.1 | 3176.5 | 3176.5 | 3168.1 | 3208.6 | 2568.1 | 2570.1 | 2483.1 | 2340.1 | 2232.4 | 2190 | 2179 | 2163 | 2186 | 2189 | 2274 | 2237 | 2235 | 2265 | 2257 | 4945 | 4943 | 4943 | 4943 | 4907 | 4871 | 4871 | 4829 | 4912 | 38.7 | 39.9 | 55.2 | 53.5
Coal | . | . | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 52.3 | 52.3 | 52.3 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 2300 | 2294 | 2260 | 2260 | 2260 | 2260 | 2260 | 2260 | 2260 | 0.9 | 0.9 | 0.9 | .
Hydroelectric | 2792.1 | 2786.3 | 2772.2 | 2748.5 | 2733.5 | 2713.6 | 2713.6 | 2723.4 | 2723.4 | 2082.9 | 2082.9 | 2076.4 | 2070.1 | 2056.4 | 2030.2 | 2025 | 2009 | 2032 | 2040 | 2124 | 2122 | 2122 | 2150 | 2147 | 2587 | 2591 | 2546 | 2551 | 2514 | 2479 | 2479 | 2436 | 2520 | 36.7 | 35.3 | 47.3 | 43.4
Natural gas | 334 | 334 | 334 | 334 | 339.8 | 339.8 | 339.8 | 321.6 | 362.1 | 362.1 | 362.1 | 321.6 | 185.7 | 102.2 | 99.7 | 100 | 100 | 100 | 98 | 97 | 58 | 58 | 58 | 53 | 52 | 53 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 1 | 3.2 | 5.7 | 5.2
..Natural gas - GT | 315.8 | 315.8 | 315.8 | 315.8 | 321.6 | 321.6 | 321.6 | 321.6 | 362.1 | 362.1 | 362.1 | 321.6 | 185.7 | 102.2 | 99.7 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 3.2 | 5.4 | 4.9
..Natural gas - IC | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.3 | 0.3
Other biomass | 1.6 | 1.6 | 1.6 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0
Petroleum | . | . | . | . | . | . | . | . | . | . | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | . | . | 5 | 3 | 5 | 5 | 5 | 5 | 5 | . | . | . | . | . | . | 0.1 | 0 | . | .
..Petroleum - IC | . | . | . | . | . | . | . | . | . | . | 2 | 2 | 2 | 2 | 2 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | . | .
Wind | 319.5 | 319.5 | 79.7 | 79.7 | 79.7 | 70 | 70 | 70 | 70 | 70 | 70 | 30 | 30 | 19.5 | 5.8 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | . | 0.5 | 1.4 | 5
..Wind - Onshore | 319.5 | 319.5 | 79.7 | 79.7 | 79.7 | 70 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.4 | 5
Wood | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 13 | 13 | 13 | 13 | 13 | 13 | 13 | . | . | . | .
IPP, commercial and industrial | 2991.6 | 2625.4 | 2625.4 | 3157.8 | 3150 | 3054.2 | 3037.2 | 3012.2 | 3121.4 | 3761.1 | 3747 | 3536.9 | 3525.9 | 3546.2 | 3424 | 3301 | 3274 | 3082 | 2943 | 2937 | 2939 | 2907 | 3589 | 3615 | 121 | 121 | 121 | 121 | 60 | 60 | 60 | 60 | 60 | 61.3 | 60.1 | 44.8 | 46.5
Coal | 1630.5 | 1630.5 | 1630.5 | 2244.5 | 2244.5 | 2240 | 2240 | 2240 | 2366 | 2389 | 2389 | 2389 | 2390 | 2390 | 2390 | 2406 | 2408 | 2287 | 2283 | 2248 | 2244 | 2283 | 2934 | 2961 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 50.1 | 40.7 | 27.8 | 25.3
Geothermal | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 22 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
Hydroelectric | 34.2 | 34.2 | 34.2 | 34.2 | 34.2 | 34.2 | 34.2 | 34.2 | 34.2 | 675.2 | 648.7 | 648.2 | 635.2 | 635.2 | 629.5 | 595 | 595 | 588 | 588 | 588 | 595 | 558 | 584 | 583 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 10 | 10.8 | 0.6 | 0.5
Natural gas | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9 | 0.9 | 0.8
..Natural gas - IC | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9 | 0.9 | 0.8
Other | 40 | 40 | 40 | 40 | 40 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 27.5 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.8 | 0.7 | 0.6
Other gas | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | 0
Petroleum | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 55 | 55 | 57 | 55 | 55 | 55 | 90 | 90 | 55 | 61 | 61 | 61 | 61 | 61 | 61 | . | . | . | . | . | 1 | 0.9 | 0.9 | 0.8
..Petroleum - ST | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 55 | 55 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9 | 0.9 | 0.8
Solar | 17 | 17 | 17 | 17 | 17 | 17 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.3 | 0.3
..Solar- PV | 17 | 17 | 17 | 17 | 17 | 17 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.3 | 0.3
Wind | 1159.4 | 793.2 | 793.2 | 711.6 | 703.8 | 608.5 | 608.5 | 583.5 | 566.7 | 542.4 | 557.8 | 348.2 | 349.2 | 349.2 | 249.2 | 149 | 145 | 135 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 6 | 13.5 | 18
..Wind - Onshore | 1159.4 | 793.2 | 793.2 | 711.6 | 703.8 | 608.5 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 13.5 | 18
Wood | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | . | . | . | 17.3 | 17.3 | 17 | 17 | 17 | 17 | 11 | 11 | 11 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.2 | . | 0.1 | 0
Total electric industry | 6438.8 | 6066.8 | 5866 | 6373.1 | 6356.1 | 6230.7 | 6213.7 | 6180.3 | 6330 | 6329.2 | 6317.1 | 6020 | 5866 | 5778.6 | 5614 | 5479 | 5437 | 5268 | 5132 | 5210 | 5176 | 5142 | 5854 | 5872 | 5066 | 5064 | 5065 | 5064 | 4967 | 4931 | 4931 | 4889 | 4973 | 100 | 100 | 100 | 100
Coal | 1630.5 | 1630.5 | 1683.6 | 2297.6 | 2297.6 | 2293.1 | 2293.1 | 2293.1 | 2419.1 | 2442.1 | 2442.1 | 2442.1 | 2442.3 | 2442.3 | 2442.3 | 2458 | 2460 | 2339 | 2335 | 2300 | 2296 | 2335 | 2987 | 3013 | 2339 | 2333 | 2299 | 2299 | 2299 | 2299 | 2299 | 2299 | 2299 | 51 | 41.6 | 28.7 | 25.3
Geothermal | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 22 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
Hydroelectric | 2826.3 | 2820.5 | 2806.4 | 2782.7 | 2767.7 | 2747.8 | 2747.8 | 2757.6 | 2757.6 | 2758.1 | 2731.6 | 2724.6 | 2705.3 | 2691.6 | 2659.7 | 2620 | 2604 | 2619 | 2627 | 2712 | 2717 | 2680 | 2734 | 2730 | 2598 | 2602 | 2557 | 2562 | 2526 | 2490 | 2490 | 2448 | 2531 | 46.7 | 46.1 | 47.8 | 43.9
Natural gas | 388 | 388 | 388 | 388 | 393.8 | 393.8 | 393.8 | 375.6 | 416.1 | 416.1 | 416.1 | 375.6 | 239.7 | 156.2 | 153.7 | 154 | 154 | 100 | 98 | 97 | 58 | 58 | 58 | 53 | 52 | 53 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 1 | 4.1 | 6.6 | 6
..Natural gas - GT | 315.8 | 315.8 | 315.8 | 315.8 | 321.6 | 321.6 | 321.6 | 321.6 | 362.1 | 362.1 | 362.1 | 321.6 | 185.7 | 102.2 | 99.7 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 3.2 | 5.4 | 4.9
..Natural gas - IC | 72.2 | 72.2 | 72.2 | 72.2 | 72.2 | 72.2 | 72.2 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9 | 1.2 | 1.1
Other | 40 | 40 | 40 | 40 | 40 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 27.5 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.8 | 0.7 | 0.6
Other biomass | 1.6 | 1.6 | 1.6 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0
Other gas | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | 0
Petroleum | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 54 | 54 | 54 | 57 | 57 | 59 | 57 | 57 | 55 | 90 | 95 | 58 | 65 | 66 | 66 | 66 | 66 | 61 | . | . | . | . | . | 1.1 | 0.9 | 0.9 | 0.8
..Petroleum - IC | . | . | . | . | . | . | . | . | . | . | 2 | 2 | 2 | 2 | 2 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | . | .
..Petroleum - ST | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 55 | 55 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9 | 0.9 | 0.8
Solar | 17 | 17 | 17 | 17 | 17 | 17 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.3 | 0.3
..Solar- PV | 17 | 17 | 17 | 17 | 17 | 17 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.3 | 0.3
Wind | 1478.9 | 1112.7 | 872.9 | 791.3 | 783.5 | 678.5 | 678.5 | 653.5 | 636.7 | 612.4 | 627.8 | 378.2 | 379.2 | 368.7 | 255 | 149 | 145 | 135 | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | . | 6.5 | 14.9 | 23
..Wind - Onshore | 1478.9 | 1112.7 | 872.9 | 791.3 | 783.5 | 678.5 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 14.9 | 23
Wood | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | . | . | . | 17.3 | 17.3 | 17 | 17 | 17 | 17 | 11 | 11 | 11 | 10 | 10 | 10 | 10 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 0.2 | . | 0.1 | 0
Other biomass includes agricultural byproducts, landfill gas, biogenic municipal solid waste, other biomass (solid, liquid and gas) and sludge waste. Other gases includes blast furnace gas, and other manufactured and waste gases derived from fossil fuels. Other includes non-biogenic municipal solid waste, batteries, chemicals, hydrogen, pitch, purchased steam, sulfur, tire-derived fuels, waste heat and miscellaneous technologies. Source: U.S. Energy Information Administration, Form EIA-860, Annual Electric Generator Report.

## 5. Generation
Table 5. Electric power industry generation by primary energy source, 1990 through 2022
Montana
megawatthours
| Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010 | Year 2009 | Year 2008 | Year 2007 | Year 2006 | Year 2005 | Year 2004 | Year 2003 | Year 2002 | Year 2001 | Year 2000 | Year 1999 | Year 1998 | Year 1997 | Year 1996 | Year 1995 | Year 1994 | Year 1993 | Year 1992 | Year 1991 | Year 1990 | Percent share 2000 | Percent share 2010 | Percent share 2020 | Percent share 2022
Electric utilities | 11422655 | 10545266 | 11347263 | 10707880 | 12087481 | 11544986 | 10810501 | 10717102 | 12329411 | 7361898 | 8486141 | 9547800 | 6271180 | 6275963 | 6902037 | 6342288 | 6956390 | 6587015 | 6066404 | 6020681 | 6726239 | 4415943 | 6627410 | 27596974 | 27616913 | 27807273 | 26039141 | 25411151 | 24705228 | 23447322 | 25467703 | 28157328 | 25718975 | 25.1 | 21.1 | 48.6 | 42.2
Coal | 0 | 63885 | 231981 | 260915 | 234233 | 225155 | 260272 | 221173 | 288606 | 298319 | 253208 | 300186 | 314795 | 315884 | 330634 | 313689 | 336324 | 283468 | 347287 | 322205 | 285747 | 311207 | 323757 | 15981559 | 16507968 | 14409921 | 12242093 | 14655727 | 16487675 | 13774690 | 17126218 | 16131955 | 14902659 | 1.2 | 1.1 | 1 | 0
Hydroelectric | 9761889 | 9148594 | 10590604 | 9849907 | 11269050 | 10791354 | 9940847 | 9744636 | 11327600 | 6247244 | 7692976 | 8740211 | 5855389 | 5889817 | 6566946 | 6012303 | 6611293 | 6292487 | 5705581 | 5678997 | 6433025 | 4093903 | 6289728 | 11580716 | 11053648 | 13348499 | 13740575 | 10698465 | 8096388 | 9549364 | 8223420 | 11921069 | 10672287 | 23.8 | 19.7 | 45.3 | 36
Natural gas | 581992 | 401689 | 227838 | 345769 | 341570 | 303401 | 378184 | 534279 | 471363 | 576718 | 439163 | 406442 | 32703 | 2268 | 3430 | 15007 | 8347 | 10602 | 12532 | 17997 | 6747 | 9979 | 13438 | 20167 | 40953 | 31625 | 38217 | 31908 | 60784 | 24159 | 23338 | 24370 | 41173 | 0.1 | 0.1 | 1 | 2.1
..Natural gas - GT | 582016 | 398643 | 227533 | 343225 | 332995 | 298266 | 365478 | 533261 | 469776 | 576066 | 438362 | 405836 | 32126 | 1619 | 2560 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 1 | 2.1
..Natural gas - IC | -24 | 2198 | -148 | 2003 | 6926 | 4304 | 11918 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0
..Natural gas - ST | . | 848 | 452 | 541 | 1649 | 831 | 787 | 1018 | 1587 | 652 | 801 | 606 | 576 | 650 | 870 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | .
Other biomass | 8911 | 11557 | 11994 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 0
Petroleum | 4578 | 310 | -20 | 1568 | 380 | 392 | 419 | 244 | 8950 | 2332 | 73 | 2094 | 392 | 302 | 1027 | 1289 | 426 | 458 | 1004 | 1482 | 720 | 854 | 487 | 14532 | 14344 | 17228 | 18256 | 25051 | 18421 | 20885 | 15607 | 17598 | 27369 | 0 | 0 | 0 | 0
..Petroleum - GT | 4578 | 310 | -20 | 1568 | 380 | 392 | 419 | 244 | 8950 | 2332 | 73 | 2094 | 390 | 299 | 1025 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | 0
..Petroleum - IC | . | . | . | . | . | . | . | . | . | 0 | 0 | 0 | 2 | 3 | 2 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | . | .
Wind | 1065285 | 919231 | 284867 | 249721 | 242248 | 224684 | 230780 | 216770 | 232892 | 237285 | 100721 | 98867 | 67902 | 67691 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 50 | 0 | 0 | . | 0.2 | 1.2 | 3.9
..Wind - Onshore | 1065285 | 919231 | 284867 | 249721 | 242248 | 224684 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.2 | 3.9
Wood | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | 41960 | 78224 | 79070 | 62336 | 75487 | . | . | . | .
IPP, commercial and industrial | 15666085 | 14402657 | 12006027 | 17089199 | 16125350 | 16675960 | 16973028 | 18585299 | 17928205 | 20325428 | 19318641 | 20580743 | 23520001 | 20436772 | 22735100 | 22589205 | 21287146 | 21351763 | 20722364 | 20248045 | 18747467 | 19816540 | 19824416 | 3822361 | 843603 | 779673 | 798284 | 550162 | 447621 | 425533 | 431942 | 395819 | 310796 | 74.9 | 78.9 | 51.4 | 57.8
Coal | 11651073 | 10812569 | 8258303 | 13839747 | 13125793 | 13638945 | 14008950 | 15792032 | 15290809 | 14581977 | 13734184 | 14755536 | 18285840 | 15295395 | 18000899 | 18043086 | 16748756 | 17539871 | 17032941 | 16726430 | 15052082 | 16724676 | 15877082 | 1011597 | 276818 | 206099 | 220413 | 278420 | 321714 | 308168 | 327615 | 300565 | 216960 | 60 | 61.4 | 35.4 | 43
Hydroelectric | 124040 | 109779 | 156931 | 154616 | 135559 | 155107 | 141682 | 143093 | 155151 | 3391016 | 3590489 | 3855670 | 3559273 | 3616123 | 3432611 | 3352033 | 3518868 | 3294862 | 3150450 | 3022775 | 3133884 | 2519569 | 3333529 | 2241346 | 64292 | 57995 | 54356 | 47388 | 53119 | 64724 | 47418 | 48938 | 44530 | 12.6 | 11.9 | 0.7 | 0.5
Natural gas | 146765 | 126616 | 62958 | 161444 | 134800 | 113120 | 97877 | 64927 | 44091 | 37513 | 24835 | 11751 | 24409 | 75494 | 62228 | 90966 | 59233 | 16336 | 15421 | 7471 | 9931 | 10110 | 13169 | 16439 | 14823 | 16985 | 17032 | 16830 | 12442 | 10761 | 11231 | 7974 | 14082 | 0 | 0.1 | 0.3 | 0.5
..Natural gas - GT | . | . | . | . | . | . | . | . | . | . | 445 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
..Natural gas - IC | 140930 | 119812 | 57048 | 156356 | 129765 | 108306 | 92242 | 62797 | 41212 | 33915 | 23438 | 10305 | 18760 | 66127 | 49108 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 0.2 | 0.5
..Natural gas - ST | 5835 | 6804 | 5910 | 5088 | 5035 | 4814 | 5635 | 2130 | 2879 | 3598 | 952 | 1446 | 5649 | 9367 | 13120 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | 0
Other | 272422 | 282678 | 231202 | 287160 | 304672 | 331834 | 326868 | 302772 | 264814 | 332460 | 341190 | 332933 | 281214 | 110308 | 111371 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9 | 1 | 1
Other gas | 4257 | 13018 | 11679 | 10028 | 12415 | 13740 | 8586 | 17055 | 10 | 16 | 14 | 20 | 1899 | 1447 | 5772 | 19011 | 11207 | 14665 | 16784 | 14212 | 13398 | . | 17095 | 30553 | 31131 | 30805 | 27066 | 8678 | . | . | . | . | . | 0.1 | 0 | 0.1 | 0
Petroleum | 460301 | 450421 | 457231 | 463036 | 445624 | 458261 | 459504 | 496182 | 419419 | 459970 | 466900 | 458532 | 408110 | 490131 | 418124 | 477388 | 418698 | 414418 | 444322 | 405990 | 474701 | 496760 | 536619 | 472480 | 412391 | 419459 | 426693 | 143002 | 1702 | 1184 | 1349 | 2056 | 1613 | 2 | 1.4 | 2 | 1.7
..Petroleum - ST | 460301 | 450421 | 457231 | 463036 | 445624 | 458261 | 459504 | 496182 | 419419 | 459970 | 466900 | 458532 | 408110 | 490131 | 418124 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.4 | 2 | 1.7
Solar | 31611 | 33436 | 32701 | 29393 | 34012 | 13633 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 0.1
..Solar- PV | 31611 | 33436 | 32701 | 29393 | 34012 | 13633 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 0.1
Wind | 2956575 | 2553415 | 2773713 | 2123635 | 1911144 | 1930139 | 1909411 | 1747956 | 1740902 | 1517360 | 1161030 | 1166301 | 862331 | 753233 | 593138 | 495776 | 435970 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 2.9 | 11.9 | 10.9
..Wind - Onshore | 2956575 | 2553415 | 2773713 | 2123635 | 1911144 | 1930139 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 11.9 | 10.9
Wood | 19041 | 20725 | 21309 | 20140 | 21331 | 21182 | 20150 | 21281 | 13009 | 5117 | . | . | 96924 | 94642 | 110958 | 110945 | 94415 | 71612 | 62446 | 71168 | 63470 | 65425 | 46923 | 49946 | 44149 | 48329 | 52725 | 55844 | 58645 | 40695 | 44329 | 36287 | 33612 | 0.2 | 0.3 | 0.1 | 0.1
Total electric industry | 27088740 | 24947923 | 23353290 | 27797079 | 28212831 | 28220946 | 27783529 | 29302401 | 30257616 | 27687326 | 27804782 | 30128543 | 29791181 | 26712735 | 29637137 | 28931493 | 28243536 | 27938778 | 26788768 | 26268726 | 25473706 | 24232483 | 26451826 | 31419335 | 28460516 | 28586946 | 26837425 | 25961313 | 25152849 | 23872855 | 25899645 | 28553147 | 26029771 | 100 | 100 | 100 | 100
Coal | 11651073 | 10876454 | 8490284 | 14100662 | 13360026 | 13864099 | 14269222 | 16013206 | 15579415 | 14880295 | 13987392 | 15055722 | 18600634 | 15611279 | 18331532 | 18356775 | 17085080 | 17823339 | 17380228 | 17048635 | 15337829 | 17035883 | 16200839 | 16993156 | 16784786 | 14616020 | 12462506 | 14934147 | 16809389 | 14082858 | 17453833 | 16432520 | 15119619 | 61.2 | 62.4 | 36.4 | 43
Hydroelectric | 9885929 | 9258373 | 10747535 | 10004523 | 11404609 | 10946461 | 10082529 | 9887729 | 11482751 | 9638260 | 11283465 | 12595881 | 9414662 | 9505940 | 9999557 | 9364336 | 10130161 | 9587349 | 8856031 | 8701772 | 9566909 | 6613472 | 9623257 | 13822062 | 11117940 | 13406494 | 13794931 | 10745853 | 8149507 | 9614088 | 8270838 | 11970007 | 10716817 | 36.4 | 31.6 | 46 | 36.5
Natural gas | 728758 | 528305 | 290796 | 507213 | 476370 | 416521 | 476061 | 599206 | 515454 | 614231 | 463998 | 418193 | 57112 | 77762 | 65659 | 105974 | 67580 | 26938 | 27953 | 25468 | 16678 | 20089 | 26607 | 36606 | 55776 | 48610 | 55249 | 48738 | 73226 | 34920 | 34569 | 32344 | 55255 | 0.1 | 0.2 | 1.2 | 2.7
..Natural gas - GT | 582016 | 398643 | 227533 | 343225 | 332995 | 298266 | 365478 | 533261 | 469776 | 576066 | 438807 | 405836 | 32126 | 1619 | 2560 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 1 | 2.1
..Natural gas - IC | 140906 | 122010 | 56900 | 158359 | 136691 | 112610 | 104160 | 62797 | 41212 | 33915 | 23438 | 10305 | 18760 | 66127 | 49108 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 0.2 | 0.5
..Natural gas - ST | 5835 | 7652 | 6363 | 5629 | 6684 | 5645 | 6422 | 3148 | 4466 | 4250 | 1753 | 2052 | 6226 | 10016 | 13991 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | 0
Other | 272422 | 282678 | 231202 | 287160 | 304672 | 331834 | 326868 | 302772 | 264814 | 332460 | 341190 | 332933 | 281214 | 110308 | 111371 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.9 | 1 | 1
Other biomass | 8911 | 11557 | 11994 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 0
Other gas | 4257 | 13018 | 11679 | 10028 | 12415 | 13740 | 8586 | 17055 | 10 | 16 | 14 | 20 | 1899 | 1447 | 5772 | 19011 | 11207 | 14665 | 16784 | 14212 | 13398 | . | 17095 | 30553 | 31131 | 30805 | 27066 | 8678 | . | . | . | . | . | 0.1 | 0 | 0.1 | 0
Petroleum | 464879 | 450731 | 457211 | 464604 | 446004 | 458653 | 459923 | 496426 | 428369 | 462302 | 466973 | 460626 | 408501 | 490433 | 419150 | 478677 | 419124 | 414876 | 445326 | 407472 | 475421 | 497614 | 537106 | 487012 | 426735 | 436687 | 444949 | 168053 | 20123 | 22069 | 16956 | 19654 | 28982 | 2 | 1.4 | 2 | 1.7
..Petroleum - GT | 4578 | 310 | -20 | 1568 | 380 | 392 | 419 | 244 | 8950 | 2332 | 73 | 2094 | 390 | 299 | 1025 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | 0
..Petroleum - IC | . | . | . | . | . | . | . | . | . | 0 | 0 | 0 | 2 | 3 | 2 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | . | .
..Petroleum - ST | 460301 | 450421 | 457231 | 463036 | 445624 | 458261 | 459504 | 496182 | 419419 | 459970 | 466900 | 458532 | 408110 | 490131 | 418124 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 1.4 | 2 | 1.7
Solar | 31611 | 33436 | 32701 | 29393 | 34012 | 13633 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 0.1
..Solar- PV | 31611 | 33436 | 32701 | 29393 | 34012 | 13633 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0.1 | 0.1
Wind | 4021860 | 3472646 | 3058580 | 2373356 | 2153392 | 2154823 | 2140191 | 1964726 | 1973794 | 1754645 | 1261751 | 1265168 | 930233 | 820924 | 593138 | 495776 | 435970 | . | . | . | . | . | . | . | . | . | . | . | . | . | 50 | 0 | 0 | . | 3.1 | 13.1 | 14.8
..Wind - Onshore | 4021860 | 3472646 | 3058580 | 2373356 | 2153392 | 2154823 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 13.1 | 14.8
Wood | 19041 | 20725 | 21309 | 20140 | 21331 | 21182 | 20150 | 21281 | 13009 | 5117 | . | . | 96924 | 94642 | 110958 | 110945 | 94415 | 71612 | 62446 | 71168 | 63470 | 65425 | 46923 | 49946 | 44149 | 48329 | 52725 | 55844 | 100605 | 118919 | 123399 | 98623 | 109099 | 0.2 | 0.3 | 0.1 | 0.1
Other biomass includes agricultural byproducts, landfill gas, biogenic municipal solid waste, other biomass (solid, liquid and gas) and sludge waste. Other gases includes blast furnace gas, and other manufactured and waste gases derived from fossil fuels. Other includes non-biogenic municipal solid waste, batteries, chemicals, hydrogen, pitch, purchased steam, sulfur, tire-derived fuels, waste heat and miscellaneous technologies. Note: Totals may not equal sum of components because of independent rounding. Source: U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report and predecessor forms.

## 6. Fuel
Table 6. Electric power delivered fuel prices and quality for coal, petroleum, natural gas, 1990 through 2022
Montana
| Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010 | Year 2009 | Year 2008 | Year 2007 | Year 2006 | Year 2005 | Year 2004 | Year 2003 | Year 2002 | Year 2001 | Year 2000 | Year 1999 | Year 1998 | Year 1997 | Year 1996 | Year 1995 | Year 1994 | Year 1993 | Year 1992 | Year 1991 | Year 1990
Coal (dollars per million Btu) | 1.78 | 1.63 | 1.57 | 1.39 | 1.35 | 1.49 | 1.5 | 1.38 | 1.42 | 1.57 | 1.38 | 1.33 | 1.11 | 1.07 | 1.02 | 0.93 | 0.85 | 0.71 | 0.64 | 0.62 | 0.61 | 0.95 | 0.92 | 0.73 | 0.67 | 0.68 | 0.71 | 0.67 | 0.69 | 0.69 | 0.71 | 0.67 | 0.67
Average heat value (Btu per pound) | 8592 | 8596 | 8483 | 8392 | 8465 | 8473 | 8437 | 8449 | 8397 | 8461 | 8447 | 8369 | 8375 | 8409 | 8347 | 8426 | 8428 | 8447 | 8504 | 8515 | 8482 | 8380 | 6618 | 8435 | 8433 | 8426 | 8439 | 8520 | 8500 | 8496 | 8576 | 8522 | 8564
Average sulfur content (percent) | 0.7 | 0.65 | 0.69 | 0.69 | 0.69 | 0.68 | 0.69 | 0.7 | 0.67 | 0.65 | 0.67 | 0.67 | 0.68 | 0.67 | 0.69 | 0.61 | 0.66 | 0.66 | 0.63 | 0.62 | 0.64 | 0.53 | 0.52 | 0.73 | 0.72 | 0.72 | 0.68 | 0.68 | 0.66 | 0.65 | 0.66 | 0.65 | 0.63
Petroleum (dollars per million Btu) | 26.57 | 17.47 | 11.71 | 15.73 | 18.01 | 14.16 | 11.53 | 13.19 | 22.3 | 22.19 | 0.74 | 1.02 | 0.73 | 0.83 | 1.35 | 0.9 | 1.73 | 12.74 | 9.48 | 7.46 | 2.19 |  |  | 4.91 | 4.66 | 5.29 | 5.65 | 4.91 | 4.63 | 5.26 | 5.09 | 4.72 | 5.43
Average heat value (Btu per gallon) | 139805 | 140789 | 140952 | 140952 | 140952 | 140952 | 140952 | 140952 | 140952 | 140952 | 137805 | 138081 | 138571 | 139021 | 136819 | 137343 | 130833 | 126095 | 137064 | 136574 | 137148 |  |  | 140100 | 141000 | 141000 | 141000 | 141000 | 141000 | 141000 | 141000 | 141000 | 141000
Average sulfur content (percent) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.75 | 5.48 | 5.45 | 5.73 | 5.93 | 6.04 | 5.57 | 0.35 | 0.46 | 0.45 | 3.66 |  |  | 0.24
Natural gas (dollars per million Btu) | 4.17 | 3.33 | 1.76 | 1.66 | 1.32 | 1.81 | 1.79 | 2.27 | 5.91 | 5.17 | 4.06 | 4.15 | 5.29 | 4.5 | 8.11 | 6.34 | 6.57 | 7.1 | 5.73 | 5.2 | 3.58 | 6.66 | 5.1 | 1.85 | 1.92 | 13.49 | 2.69 | 3.58 | 1.15 | 2.68 | 3.42 | 3.93 | 1.45
Average heat value (Btu per cubic foot) | 1043 | 1039 | 1037 | 1039 | 1046 | 1036 | 1032 | 1021 | 1108 | 1040 | 1121 | 1016 | 1018 | 1021 | 1025 | 1013 | 1093 | 1106 | 1095 | 1123 | 1104 | 1020 | 1139 | 1092 | 1072 | 1071 | 1075 | 1073 | 1055 | 1165 | 1206 | 1194 | 1218
Petroleum includes petroleum liquids and petroleum coke. Note: Due to different reporting requirements between the Form EIA-923 and historical FERC Form 423, the receipts data from 2008 and on are not directly comparable to prior years. There may be a notable increase in fuel receipts beginning with 2008. For more information, please see the Technical Notes in the Electric Power Annual. Source: U.S. Energy Information Administration, Forms EIA-423, Monthly Cost and Quality of Fuels for Electric Plants Report. and EIA-923, Power Plant Operations Report. Federal Energy Regulatory Commission, FERC Form 423, Monthly Cost and Quality of Fuels for Electric Plants.

## 7. Emissions
Table 7. Electric power industry emissions estimates, 1990 through 2022
Montana
Emission type | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010 | Year 2009 | Year 2008 | Year 2007 | Year 2006 | Year 2005 | Year 2004 | Year 2003 | Year 2002 | Year 2001 | Year 2000 | Year 1999 | Year 1998 | Year 1997 | Year 1996 | Year 1995 | Year 1994 | Year 1993 | Year 1992 | Year 1991 | Year 1990
Sulfur dioxide (short tons)
Coal | 5717 | 5346 | 4222 | 9736 | 9020 | 9609 | 9401 | 11517 | 14254 | 16726 | 13490 | 16901 | 20467 | 20711 | 19988 | 22596 | 19849 | 19767 | 20971 | 17185 | 19797 | 30725 | 23733 | 25315 | 24694 | 22706 | 20068 | 36432 | 20996 | 20385 | 22070 | 20386 | 17702
Natural gas | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1
Other | 9 | 9 | 9 | 9 | 9 | 10 | 9 | 9 | 7 | 2 | 0 | 0 | 1333 | 1302 | 1643 | 1776 | 1638 | 1721 | 1755 | 5389 | 1668 | 1646 | 2305 | 2346 | 2209 | 2335 | 2301 | 2471 | 1056 | 985 | 1055 | 2363 | 888
Petroleum | 2939 | 3074 | 3225 | 2993 | 2884 | 3273 | 3049 | 3072 | 165 | 136 | 3019 | 2919 | 2485 | 3112 | 2834 | 2450 | 2515 | 2545 | 2653 | 2303 | 3159 | 28631 | 26044 | 2754 | 2355 | 2259 | 20990 | 2621 | 36 | 26 | 24 | 78 | 511
Total | 8665 | 8430 | 7457 | 12738 | 11914 | 12893 | 12460 | 14599 | 14426 | 16865 | 16510 | 19821 | 24285 | 25125 | 24465 | 26824 | 24004 | 24035 | 25381 | 24878 | 24625 | 61002 | 52083 | 30415 | 29259 | 27301 | 43359 | 41527 | 22088 | 21396 | 23150 | 22828 | 19104
Nitrogen oxide (short tons)
Coal | 9865 | 9011 | 7688 | 15211 | 14702 | 13425 | 14918 | 17873 | 19125 | 19768 | 16855 | 18498 | 22028 | 20641 | 28262 | 41065 | 39300 | 39641 | 36899 | 34944 | 34496 | 39961 | 35618 | 41379 | 40546 | 35579 | 26314 | 31313 | 90251 | 74874 | 92518 | 103006 | 94066
Natural gas | 1909 | 1659 | 818 | 2092 | 1822 | 1498 | 1380 | 884 | 640 | 1330 | 375 | 211 | 311 | 910 | 1132 | 1150 | 635 | 127 | 151 | 122 | 123 | 121 | 434 | 507 | 521 | 563 | 516 | 514 | 228 | 203 | 200 | 395 | 437
Other | 569 | 1253 | 1188 | 900 | 1000 | 1081 | 765 | 1233 | 152 | 21 | 1 | 1 | 656 | 644 | 777 | 1499 | 1440 | 1486 | 1581 | 3062 | 1327 | 1387 | 843 | 832 | 801 | 847 | 856 | 931 | 346 | 305 | 323 | 791 | 457
Petroleum | 646 | 673 | 667 | 648 | 628 | 701 | 691 | 736 | 621 | 670 | 438 | 434 | 372 | 442 | 384 | 405 | 403 | 409 | 430 | 432 | 1142 | 2197 | 2767 | 2818 | 2501 | 2471 | 2420 | 2622 | 19 | 17 | 14 | 36 | 75
Total | 12989 | 12596 | 10361 | 18851 | 18152 | 16705 | 17754 | 20726 | 20538 | 21789 | 17669 | 19144 | 23367 | 22637 | 30555 | 44118 | 41780 | 41663 | 39059 | 38562 | 37088 | 43667 | 39666 | 45536 | 44371 | 39462 | 30106 | 35382 | 90844 | 75399 | 93054 | 104229 | 95035
Carbon dioxide (thousand metric tons)
Coal | 12442 | 11652 | 9409 | 15255 | 14552 | 14797 | 15334 | 16906 | 16617 | 15763 | 14921 | 15976 | 19615 | 16668 | 19574 | 19497 | 18493 | 18986 | 18669 | 18211 | 16016 | 17643 | 16900 | 17833 | 17806 | 15455 | 13232 | 15905 | 17778 | 15034 | 18348 | 17317 | 15900
Natural gas | 454 | 343 | 213 | 325 | 317 | 285 | 320 | 356 | 322 | 395 | 292 | 253 | 64 | 62 | 75 | 101 | 118 | 102 | 125 | 58 | 69 | 75 | 167 | 198 | 209 | 224 | 209 | 206 | 94 | 82 | 80 | 157 | 175
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 4 | 4 | 0 | 41 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Petroleum | 759 | 782 | 793 | 767 | 745 | 830 | 817 | 874 | 739 | 793 | 811 | 800 | 691 | 818 | 706 | 749 | 793 | 786 | 827 | 707 | 746 | 808 | 788 | 790 | 696 | 691 | 686 | 742 | 24 | 25 | 22 | 30 | 55
Total | 13656 | 12777 | 10415 | 16348 | 15614 | 15911 | 16470 | 18136 | 17678 | 16951 | 16024 | 17029 | 20370 | 17548 | 20355 | 20347 | 19404 | 19875 | 19625 | 18980 | 16835 | 18526 | 17896 | 18822 | 18711 | 16371 | 14128 | 16853 | 17896 | 15142 | 18450 | 17504 | 16129
Total emission rate (lbs/MWh)
Sulfur dioxide | 0.6 | 0.7 | 0.6 | 0.9 | 0.8 | 0.9 | 0.9 | 1 | 1 | 1.2 | 1.2 | 1.3 | 1.6 | 1.9 | 1.7 | 1.9 | 1.7 | 1.7 | 1.9 | 1.9 | 1.9 | 5 | 3.9 | 1.9 | 2.1 | 1.9 | 3.2 | 3.2 | 1.8 | 1.8 | 1.8 | 1.6 | 1.5
Nitrogen oxide | 1 | 1 | 0.9 | 1.4 | 1.3 | 1.2 | 1.3 | 1.4 | 1.4 | 1.6 | 1.3 | 1.3 | 1.6 | 1.7 | 2.1 | 3 | 3 | 3 | 2.9 | 2.9 | 2.9 | 3.6 | 3 | 2.9 | 3.1 | 2.8 | 2.2 | 2.7 | 7.2 | 6.3 | 7.2 | 7.3 | 7.3
Carbon dioxide | 1109 | 1127 | 981 | 1294 | 1218 | 1240 | 1304 | 1362 | 1285 | 1347 | 1268 | 1243 | 1504 | 1445 | 1511 | 1547 | 1511 | 1565 | 1612 | 1590 | 1454 | 1682 | 1488 | 1318 | 1446 | 1260 | 1158 | 1428 | 1565 | 1395 | 1567 | 1349 | 1363
Source: Calculations made by the Electric Power Systems and Reliability Team; Office of Electricity, Renewables, and Uranium Statistics; U.S. Energy Information Administration.

## 8. Sales
Table 8. Sales to ultimate customers, revenue, and average price by sector, 1990 through 2022
Montana
Sector | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010 | Year 2009 | Year 2008 | Year 2007 | Year 2006 | Year 2005 | Year 2004 | Year 2003 | Year 2002 | Year 2001 | Year 2000 | Year 1999 | Year 1998 | Year 1997 | Year 1996 | Year 1995 | Year 1994 | Year 1993 | Year 1992 | Year 1991 | Year 1990 | Percent share 2000 | Percent share 2010 | Percent share 2020 | Percent share 2022
Sales (megawatthours)
Residential | 5894499 | 5559446 | 5379965 | 5308103 | 5197686 | 5224588 | 4852547 | 4825213 | 4969243 | 4926471 | 4778365 | 4913110 | 4742794 | 4790401 | 4669467 | 4541544 | 4393973 | 4221448 | 4052761 | 4120150 | 4030664 | 3886224 | 3907754 | 3664414 | 3722471 | 3803973 | 3910516 | 3639879 | 3566917 | 3597987 | 3286365 | 3458893 | 3358385 | 26.8 | 34.4 | 36.9 | 37.8
Commercial | 5019659 | 4906132 | 4702353 | 4956080 | 4921231 | 4970119 | 4831636 | 4894095 | 4903160 | 4889642 | 4917509 | 4892271 | 4789182 | 4790862 | 4825520 | 4827724 | 4685992 | 4473394 | 4330178 | 4437530 | 4003108 | 3865679 | 3791861 | 3025111 | 3313181 | 3292924 | 3298600 | 3133252 | 3096032 | 3026077 | 2859488 | 2818850 | 2737526 | 26 | 34.8 | 32.2 | 32.2
Industrial | 4669625 | 4495983 | 4501861 | 5057088 | 4719928 | 4514949 | 4416418 | 4487603 | 4229989 | 4229061 | 4167509 | 3982700 | 4239477 | 4772512 | 5831413 | 6162717 | 4735015 | 4783996 | 4573843 | 4266980 | 4462794 | 3370259 | 6567934 | 6257748 | 6773787 | 4536674 | 6305683 | 6367702 | 5960540 | 5836579 | 6414379 | 6622098 | 6529326 | 45 | 30.8 | 30.9 | 30
Other | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 334822 | 324496 | 312433 | 334326 | 335393 | 283918 | 304757 | 277690 | 560645 | 468584 | 536150 | 506759 | 499346 | 2.1 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | 0 | 0
Total | 15583783 | 14961561 | 14584179 | 15321271 | 14838845 | 14709656 | 14100601 | 14206911 | 14102392 | 14045174 | 13863383 | 13788081 | 13771453 | 14353775 | 15326400 | 15531985 | 13814980 | 13478838 | 12956782 | 12824660 | 12831388 | 11446658 | 14579982 | 13281599 | 14144832 | 11917489 | 13819556 | 13418523 | 13184134 | 12929227 | 13096382 | 13406600 | 13124583 | 100 | 100 | 100 | 100
Revenue (thousand dollars)
Residential | 667967.8 | 623923.2 | 604843.7 | 590943 | 569768.4 | 572286.8 | 530661.2 | 525004.4 | 505961.8 | 508873.2 | 481814.4 | 479165.5 | 434419.6 | 428139.8 | 426217.7 | 398441 | 363945 | 342060 | 318546 | 311334 | 291404 | 267229 | 253609.53 | 248557 | 241910 | 243551 | 243341 | 221648 | 212594 | 207658 | 191815 | 199215 | 183018 | 34.8 | 40.3 | 45.4 | 43
Commercial | 535936.1 | 517064.8 | 494420.8 | 515875.4 | 497389.8 | 502970.3 | 492348.2 | 500513.5 | 472749.7 | 466259.1 | 448886.4 | 445957 | 409363 | 398707.4 | 412238.6 | 391258 | 348776 | 332244 | 321219 | 303797 | 251251 | 228375 | 212508.7 | 192204 | 194599 | 190854 | 181896 | 166394 | 160068 | 154222 | 147731 | 140943 | 128107 | 29.2 | 37.9 | 37.1 | 34.5
Industrial | 349565.8 | 280443.8 | 232985.3 | 275675.1 | 245120.3 | 236952 | 223302.3 | 238768.7 | 232313.7 | 229519.9 | 212719.8 | 210061.2 | 235469 | 260504.2 | 344344.7 | 317808 | 242239 | 231235 | 189813 | 172081 | 165441 | 221988 | 260566.61 | 171175 | 221052.8 | 165875 | 207819 | 218776 | 196466 | 181215 | 185561 | 193273 | 187148 | 35.8 | 21.8 | 17.5 | 22.5
Other | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 23563 | 24228 | 2127 | 21212 | 20354 | 18961 | 19553 | 17235 | 25152 | 21132 | 24072 | 22015 | 21271 | 0.3 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | 0 | 0
Total | 1553469.8 | 1421431.9 | 1332249.8 | 1382493.5 | 1312278.5 | 1312209.1 | 1246311.7 | 1264286.5 | 1211025.3 | 1204652.2 | 1143420.6 | 1135183.8 | 1079251.6 | 1087351.4 | 1182801 | 1107507 | 954960 | 905539 | 829578 | 787212 | 731659 | 741820 | 728812.94 | 633148 | 677915.8 | 619241 | 652609 | 624053 | 594280 | 564227 | 549179 | 555446 | 519544 | 100 | 100 | 100 | 100
Customers
Residential | 540745 | 531398 | 522382 | 516052 | 509526 | 503313 | 497170 | 491422 | 485041 | 477266 | 473033 | 469963 | 467878 | 466160 | 461600 | 459379 | 449308 | 439314 | 430282 | 421938 | 413252 | 411070 | 401982 | 393329 | 418542 | 385186 | 379121 | 373192 | 364098 | 355175 | 348640 | 345713 | 342822 | 81.4 | 81.5 | 81 | 81
Commercial | 114645 | 112777 | 110977 | 109459 | 108695 | 107147 | 105934 | 104325 | 103132 | 101216 | 101530 | 101512 | 101129 | 100501 | 100371 | 98720 | 96617 | 95433 | 93109 | 95098 | 80895 | 77868 | 75861 | 69060 | 74175 | 66730 | 65243 | 63402 | 61720 | 59850 | 58574 | 57292 | 56633 | 15.4 | 17.6 | 17.2 | 17.2
Industrial | 11917 | 11670 | 11414 | 11286 | 9915 | 9893 | 9814 | 9710 | 9597 | 8692 | 7268 | 5877 | 5218 | 5225 | 4879 | 4490 | 4734 | 4547 | 4619 | 1344 | 698 | 3947 | 1362 | 4259 | 4717 | 4275 | 4082 | 3963 | 4067 | 4079 | 4374 | 4624 | 3215 | 0.3 | 0.9 | 1.8 | 1.8
Other | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 15851 | 16755 | 14793 | 13985 | 13197 | 11408 | 11609 | 11783 | 12547 | 12690 | 13222 | 11900 | 10174 | 3 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | 0 | 0
Total | 667307 | 655845 | 644773 | 636797 | 628136 | 620353 | 612918 | 605457 | 597770 | 587174 | 581831 | 577352 | 574225 | 571886 | 566850 | 562589 | 550659 | 539294 | 528010 | 518380 | 510696 | 509640 | 493998 | 480633 | 510631 | 467599 | 460055 | 452340 | 442432 | 431794 | 424810 | 419529 | 412844 | 100 | 100 | 100 | 100
Average price to ultimate customers (cents/kWh)
Residential | 11.33 | 11.22 | 11.24 | 11.13 | 10.96 | 10.95 | 10.94 | 10.88 | 10.18 | 10.33 | 10.08 | 9.75 | 9.16 | 8.94 | 9.13 | 8.77 | 8.28 | 8.1 | 7.86 | 7.56 | 7.23 | 6.88 | 6.49 | 6.78 | 6.5 | 6.4 | 6.22 | 6.09 | 5.96 | 5.77 | 5.84 | 5.76 | 5.45
Commercial | 10.68 | 10.54 | 10.51 | 10.41 | 10.11 | 10.12 | 10.19 | 10.23 | 9.64 | 9.54 | 9.13 | 9.12 | 8.55 | 8.32 | 8.54 | 8.1 | 7.44 | 7.43 | 7.42 | 6.85 | 6.28 | 5.91 | 5.6 | 6.35 | 5.87 | 5.8 | 5.51 | 5.31 | 5.17 | 5.1 | 5.17 | 5 | 4.68
Industrial | 7.49 | 6.24 | 5.18 | 5.45 | 5.19 | 5.25 | 5.06 | 5.32 | 5.49 | 5.43 | 5.1 | 5.27 | 5.55 | 5.46 | 5.91 | 5.16 | 5.12 | 4.83 | 4.15 | 4.03 | 3.71 | 6.59 | 3.97 | 2.74 | 3.19 | 3.66 | 3.3 | 3.44 | 3.3 | 3.1 | 2.89 | 2.92 | 2.87
Other | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 7.04 | 7.47 | 0.68 | 6.34 | 6.07 | 6.68 | 6.42 | 6.21 | 4.49 | 4.51 | 4.49 | 4.34 | 4.26
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | . | . | . | . | . | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Total | 9.97 | 9.5 | 9.13 | 9.02 | 8.84 | 8.92 | 8.84 | 8.9 | 8.59 | 8.58 | 8.25 | 8.23 | 7.84 | 7.58 | 7.72 | 7.13 | 6.91 | 6.72 | 6.4 | 6.14 | 5.7 | 6.48 | 5 | 4.77 | 4.8 | 5.2 | 4.72 | 4.65 | 4.51 | 4.36 | 4.19 | 4.14 | 3.96
U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report.

## 9. Ownership
Table 9. Sales to ultimate customers statistics, 2022
Montana
| Full service providers |  |  |  |  | Other providers
Item | Investor owned | Public | Federal | Cooperative | Non-utility | Energy | Delivery | Total
Number of entities | 4 | 1 | 2 | 29 | NA | 2 | 1
Number of customers | 420676 | 1042 | 22546 | 222629 | NA | 414 | NA | 667307
Retail (megawatthours) | 7293514 | 17215 | 579522 | 4699611 | NA | 2993921 | NA | 15583783
Percentage of sales | 46.8 | 0.11 | 3.72 | 30.16 | NA | 19.21 | NA | 100
Revenue from sales (thousand dollars) | 845715.8 | 1334.9 | 31422.7 | 461945.9 | NA | 194991.2 | 18059.3 | 1553469.8
Percentage of revenue | 54.44 | 0.09 | 2.02 | 29.74 | NA | 12.55 | 1.16 | 100
Average price to ultimate customers (cents/kWh) | 11.6 | 7.75 | 5.42 | 9.83 | NA | 6.51 | 0.6 | 9.97
Notes: Data are shown for All Sectors. Full Service Providers sell bundled electricity services (e.g., both energy and delivery) to end users. Full Service Providers may purchase electricity from others (such as independent Power Producers or other full service providers) prior to delivery. Other Providers sell either the energy or the delivery services, but not both. Sales volumes and customer counts shown for Other Providers refer to delivered electricity, which is a joint activity of both energy and delivery providers; for clarity, they are reported only in the Energy column in this table.The revenue shown under Other Providers represents the revenue realized from the sale of the energy and the delivery services distinctly. "Public" entities include municipalities, State power agencies, and municipal marketing authorities. Federal entities are either owned or financed by the Federal Government. "Cooperatives" are electric utilities legally established to be owned by and operated for the benefit of those using its services. The cooperative will generate, transmit and/or distribute supplies of electric energy to a specified area not being serviced by another utility. "Non-utility" sales represent direct electricity transactions from independent generators to end use consumers. Totals may not equal sum of components because of independent rounding. Total number of entities are not summed for the state to prevent possible duplication. Source: U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report.

## 10. Source-Disposition
Table 10. Supply and disposition of electricity, 1990 through 2022
Montana
megawatthours
Category | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010 | Year 2009 | Year 2008 | Year 2007 | Year 2006 | Year 2005 | Year 2004 | Year 2003 | Year 2002 | Year 2001 | Year 2000 | Year 1999 | Year 1998 | Year 1997 | Year 1996 | Year 1995 | Year 1994 | Year 1993 | Year 1992 | Year 1991 | Year 1990
Supply
Generation
..Electric utilities | 11422655 | 10545266 | 11347263 | 10707880 | 12087481 | 11544986 | 10810501 | 10717102 | 12329411 | 7361898 | 8486141 | 9547800 | 6271180 | 6275963 | 6902037 | 6342288 | 6956390 | 6587015 | 6066404 | 6020681 | 6726239 | 4415943 | 6627410 | 27596974 | 27616913 | 27807273 | 26039141 | 25411151 | 24705228 | 23447322 | 25467703 | 28157328 | 25718975
..Independent power producers | 15176788 | 13913126 | 11510631 | 16597066 | 15646764 | 16185282 | 16490981 | 18057431 | 17501724 | 19861783 | 18855195 | 20127870 | 23019307 | 19852665 | 22201776 | 21986435 | 20763611 | 20851215 | 20210314 | 19792034 | 18327237 | 19315866 | 19275321 | 3266045 | 341443 | 264886 | 275636 | 327109 | 375784 | 373618 | 375561 | 351137 | 261490
..Combined heat and power, electric | 459078 | 454274 | 459339 | 459719 | 442910 | 459443 | 452014 | 500087 | 404660 | 448668 | 454794 | 444292 | 397527 | 479335 | 404942 | 481724 | 408031 | 412466 | 433670 | 378065 | 348123 | 425959 | 486436 | 489744 | 442824 | 448963 | 452364 | 149726 | 0 | 0 | 0 | 0 | 0
Electric power sector generation subtotal | 27058521 | 24912666 | 23317233 | 27764665 | 28177155 | 28189711 | 27753496 | 29274620 | 30235795 | 27672349 | 27796130 | 30119962 | 29688014 | 26607963 | 29508755 | 28810447 | 28128032 | 27850696 | 26710388 | 26190780 | 25401599 | 24157768 | 26389166 | 31352763 | 28401180 | 28521123 | 26767141 | 25887986 | 25081012 | 23820940 | 25843264 | 28508465 | 25980465
..Combined heat and power, commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
..Combined heat and power, industrial | 30219 | 35257 | 36057 | 32414 | 35676 | 31235 | 30033 | 27781 | 21821 | 14977 | 8652 | 8581 | 103166 | 104773 | 128382 | 121046 | 115505 | 88082 | 78380 | 77947 | 72107 | 74715 | 62660 | 66572 | 59336 | 65823 | 70284 | 73326 | 71837 | 51914 | 56380 | 44682 | 49306
Industrial and commercial generation subtotal | 30219 | 35257 | 36057 | 32414 | 35676 | 31235 | 30033 | 27781 | 21821 | 14977 | 8652 | 8581 | 103166 | 104773 | 128382 | 121046 | 115505 | 88082 | 78380 | 77947 | 72107 | 74715 | 62660 | 66572 | 59336 | 65823 | 70284 | 73326 | 71837 | 51914 | 56380 | 44682 | 49306
Total net generation | 27088740 | 24947923 | 23353290 | 27797079 | 28212831 | 28220946 | 27783529 | 29302401 | 30257616 | 27687326 | 27804782 | 30128543 | 29791181 | 26712735 | 29637137 | 28931493 | 28243536 | 27938778 | 26788768 | 26268726 | 25473706 | 24232483 | 26451826 | 31419335 | 28460516 | 28586946 | 26837425 | 25961313 | 25152849 | 23872855 | 25899645 | 28553147 | 26029771
Total international imports | 142154 | 53636 | 16233 | 70018 | 55597 | 262928 | 167205 | 136441 | 82559 | 58392 | 168522 | 41278 | 250017 | 215729 | 241397 | 94523 | 85520 | 109021 | 40136 | 11070 | 52103 | 0 | 257 | 18826 | 26840 | 14176 | 38140 | 0 | 0 | 3040 | 17091 | 25432 | 47054
Net interstate imports | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total supply | 27230894 | 25001559 | 23369523 | 27867097 | 28268428 | 28483874 | 27950734 | 29438842 | 30340175 | 27745718 | 27973304 | 30169821 | 30041198 | 26928464 | 29878534 | 29026016 | 28329056 | 28047799 | 26828904 | 26279796 | 25525809 | 24232483 | 26452083 | 31438161 | 28487356 | 28601122 | 26875565 | 25961313 | 25152849 | 23875895 | 25916736 | 28578579 | 26076825
Disposition
Sales to ultimate customers
..Full service providers | 12589862 | 12115692 | 11664564 | 11930006 | 11802663 | 11929206 | 11365708 | 11485015 | 11492057 | 11348089 | 11167951 | 11131135 | 11151737 | 11304274 | 12491979 | 12831967 | 10820511 | 10642433 | 10084134 | 10282211 | 10323186 | 9599172 | 12488983 | 12131855 | 13773564 | 11917489 | 13819556 | 13418523 | 13184134 | 12929227 | 13096382 | 13406600 | 13124583
..Energy-only providers | 2993921 | 2845869 | 2919615 | 3391265 | 3036182 | 2780450 | 2734893 | 2721896 | 2610335 | 2697085 | 2695432 | 2656946 | 2619716 | 3049501 | 2834421 | 2700018 | 2994469 | 2836405 | 2872648 | 2542449 | 2508202 | 1847486 | 2090999 | 1149744 | 371268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
..Facility direct sales | . | . | . | . | . | . | . | . | . | . | . | . | . | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total electric industry sales | 15583783 | 14961561 | 14584179 | 15321271 | 14838845 | 14709656 | 14100601 | 14206911 | 14102392 | 14045174 | 13863383 | 13788081 | 13771453 | 14353775 | 15326400 | 15531985 | 13814980 | 13478838 | 12956782 | 12824660 | 12831388 | 11446658 | 14579982 | 13281599 | 14144832 | 11917489 | 13819556 | 13418523 | 13184134 | 12929227 | 13096382 | 13406600 | 13124583
Direct use | 26647 | 28838 | 28108 | 101248 | 98302 | 101243 | 97427 | 101634 | 94123 | 15777 | 9553 | 9516 | 70512 | 192482 | 237895 | 121053 | 120358 | 93256 | 155392 | 155230 | 153283 | 150022 | 223007 | 131849 | 109500 | 124649 | 134102 | 100422 | 89462 | 65601 | 75355 | 63225 | 70005
Total international exports | 1282079 | 1251237 | 1169954 | 863251 | 548897 | 71574 | 42794 | 310843 | 1061102 | 405966 | 343536 | 410037 | 625508 | 503871 | 489023 | 148774 | 299130 | 99607 | 76247 | 1001 | 0 | 55 | 3191 | 35360 | 4153 | 3186 | 205 | 397 | 181 | 329 | 229 | 196 | 168
Estimated losses | 842950 | 703889 | 812255 | 830779 | 765353 | 800182 | 735926 | 708721 | 734311 | 754502 | 750757 | 852016 | 850770 | 913724 | 976299 | 983058 | 895748 | 900868 | 949421 | 941691 | 962478 | 895168 | 1134078 | 1041970 | 1005806 | 898542 | 1072698 | 1024172 | 1001550 | 1034773 | 1035318 | 1029423 | 996429
Unaccounted | -28159 | 95555 | -21909 | 38250 | 92767 | 102512 | 174966 | 221423 | 182340 | 211875 | 237069 | 87348 | 120841 | 129392 | 200152 | 247543 | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | .
Net interstate exports | 9523594 | 7960479 | 6796936 | 10712298 | 11924265 | 12698707 | 12799021 | 13889309 | 14165907 | 12312424 | 12769007 | 15022823 | 14602114 | 10835220 | 12648765 | 11993603 | 12658405 | 12925428 | 12206457 | 11999804 | 11243329 | 11564270 | 10102981 | 16469590 | 12684082 | 15240973 | 11352244 | 10856760 | 10365981 | 9308690 | 11179025 | 13562541 | 11373538
Total disposition | 27230894 | 25001559 | 23369523 | 27867097 | 28268428 | 28483874 | 27950734 | 29438842 | 30340175 | 27745718 | 27973304 | 30169821 | 30041198 | 26928464 | 29878534 | 29026016 | 28329056 | 28047799 | 26828904 | 26279796 | 25525809 | 24232483 | 26452083 | 31438161 | 28487356 | 28601122 | 26875565 | 25961313 | 25152849 | 23875895 | 25916736 | 28578579 | 26076825
Net interstate trade | 9523594 | 7960479 | 6796936 | 10712298 | 11924265 | 12698707 | 12799021 | 13889309 | 14165907 | 12312424 | 12769007 | 15022823 | 14602114 | 10835220 | 12648765 | 11993603 | 12658405 | 12925428 | 12206457 | 11999804 | 11243329 | 11564270 | 10102981 | 16469590 | 12684082 | 15240973 | 11352244 | 10856760 | 10365981 | 9308690 | 11179025 | 13562541 | 11373538
Net trade index (ratio) | 1.54 | 1.47 | 1.41 | 1.62 | 1.73 | 1.8 | 1.84 | 1.89 | 1.88 | 1.8 | 1.84 | 1.99 | 1.95 | 1.67 | 1.73 | 1.7 | 1.81 | 1.85 | 1.83 | 1.84 | 1.79 | 1.91 | 1.62 | 2.1 | 1.8 | 2.14 | 1.73 | 1.72 | 1.7 | 1.64 | 1.76 | 1.9 | 1.77
Facility Direct Sales are electricity sales from non utility power producers which reported electricity sales to an ultimate customer. Net Interstate Trade = Total Supply - (Total Electric Industry Sales + Direct Use + Total International Exports (if applies) + Estimated Losses). Net Trade Index is the sum of Total Supply / (Total Disposition - Net Interstate Trade). A negative Net Interstate Trade value indicates a net import of electric power. Notes: Totals may not equal sum of components because of independent rounding. Estimated Losses are reported at the utility level, and then allocated to States based on the utility`s salesto ultimate customers by State. Reported losses may include electricity unaccounted for by the utility. Direct use is commercial or industrial use of electricity that (1) is self-generated (2) is produced by either the same entity that consumes the power or an affiliate,and (3) is used in direct support of a service or industrial process located within the same facility or group of facilities that houses the generating equipment. Direct use is exclusive of station use. Beginning with publication year 2010, Total disposition has been reorganized to include Net Interstate Trade. Therefore, Total Disposition equals Total Supply. Sources: U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report and predecessor forms. U.S. Energy Information Administration,Form EIA-860, Annual Electric Generator Report. U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report. Form EIA-111, Quarterly Imports and Exports Report.

## 11. Net Metering
Table 11. Net metering, 2010 through 2022
Montana
Technology by sector | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010
Photovoltaic
Capacity (MW) | 38.371 | 28.016 | 23.033 | 20.242 | 15.735 | 10.907 | 9.488 | 7.358 | 5.634 | 7.52 | 3.57 | 2.29 | 2.18
Residential | 29.293 | 20.02 | 16.133 | 14.721 | 11.226 | 7.855 | 6.638 | 5.08 | 3.822 | 5.939 | 2.303 | 1.37 | 1.337
Commercial | 9.078 | 7.996 | 6.9 | 5.521 | 4.509 | 3.052 | 2.85 | 2.278 | 1.812 | 1.581 | 1.268 | 0.917 | 0.833
Industrial | . | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | .
Transportation | . | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | .
Customers | 4923 | 3877 | 3339 | 3150 | 2647 | 2313 | 1909 | 1607 | 1383 | 1174 | 1010 | 676 | 664
Residential | 4315 | 3309 | 2813 | 2667 | 2206 | 1917 | 1562 | 1297 | 1109 | 930 | 795 | 508 | 497
Commercial | 608 | 568 | 526 | 483 | 441 | 396 | 347 | 310 | 274 | 244 | 215 | 168 | 167
Industrial | . | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | .
Transportation | . | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | .
Storage
Capacity (MW) | 0.718 | 0.396 | 0.058 | 0.039 | 0.039 | 0.039 | 0 | . | . | . | . | . | .
Residential | 0.66 | 0.338 | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Commercial | 0.058 | 0.058 | 0.058 | 0.039 | 0.039 | 0.039 | 0 | . | . | . | . | . | .
Industrial | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Transportation | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Customers | 53 | 32 | 3 | 2 | 2 | 2 | 0 | . | . | . | . | . | .
Residential | 50 | 29 | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Commercial | 3 | 3 | 3 | 2 | 2 | 2 | 0 | . | . | . | . | . | .
Industrial | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Transportation | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Virtual PV (1MW and over)
Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | . | . | . | . | . | .
Residential | . | . | . | . | . | 0 | 0 | . | . | . | . | . | .
Commercial | . | . | . | . | . | 0 | 0 | . | . | . | . | . | .
Industrial | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Transportation | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Customers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | . | . | . | . | . | .
Residential | . | . | . | . | . | 0 | 0 | . | . | . | . | . | .
Commercial | . | . | . | . | . | 0 | 0 | . | . | . | . | . | .
Industrial | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Transportation | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Virtual PV (under 1MW)
Capacity (MW) | 0.3 | 0.3 | 0.3 | 0.377 | 0.323 | 0.252 | 0.252 | . | . | . | . | . | .
Residential | 0.252 | 0.252 | 0.252 | 0.325 | 0.275 | 0.216 | 0.216 | . | . | . | . | . | .
Commercial | 0.048 | 0.048 | 0.048 | 0.052 | 0.048 | 0.036 | 0.036 | . | . | . | . | . | .
Industrial | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Transportation | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Customers | 501 | 498 | 497 | 590 | 495 | 443 | 449 | . | . | . | . | . | .
Residential | 491 | 488 | 487 | 579 | 486 | 436 | 442 | . | . | . | . | . | .
Commercial | 10 | 10 | 10 | 11 | 9 | 7 | 7 | . | . | . | . | . | .
Industrial | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Transportation | . | . | . | . | 0 | 0 | 0 | . | . | . | . | . | .
Wind
Capacity (MW) | 0.928 | 0.939 | 0.939 | 1.016 | 1.041 | 1.036 | 1.015 | 1.007 | 1.008 | 0.99 | 0.947 | 0.828 | 1.169
Residential | 0.45 | 0.461 | 0.461 | 0.517 | 0.542 | 0.542 | 0.521 | 0.517 | 0.522 | 0.518 | 0.5 | 0.481 | 0.819
Commercial | 0.478 | 0.478 | 0.478 | 0.499 | 0.499 | 0.494 | 0.494 | 0.49 | 0.486 | 0.472 | 0.447 | 0.347 | 0.35
Industrial | . | . | 0 | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | .
Transportation | . | . | 0 | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | .
Customers | 128 | 129 | 130 | 145 | 146 | 141 | 139 | 138 | 135 | 151 | 122 | 115 | 113
Residential | 90 | 91 | 92 | 106 | 107 | 104 | 102 | 101 | 100 | 118 | 93 | 88 | 86
Commercial | 38 | 38 | 38 | 39 | 39 | 37 | 37 | 37 | 35 | 33 | 29 | 27 | 27
Industrial | . | . | 0 | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | .
Transportation | . | . | 0 | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | .
Other
Capacity (MW) | 0.088 | 0.088 | 0.088 | 0.104 | 0.104 | 0.104 | 0.101 | 0.108 | 0.106 | 0.106 | 0.106 | 0.103 | 0.103
Residential | 0.018 | 0.018 | 0.018 | 0.034 | 0.034 | 0.034 | 0.031 | 0.038 | 0.036 | 0.036 | 0.036 | 0.033 | 0.033
Commercial | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
Industrial | . | . | 0 | . | . | . | 0 | . | . | . | . | 0 | .
Transportation | . | . | 0 | . | . | . | 0 | . | . | . | . | 0 | .
Customers | 5 | 5 | 5 | 7 | 7 | 7 | 6 | 8 | 8 | 8 | 8 | 7 | 5
Residential | 3 | 3 | 3 | 5 | 5 | 5 | 4 | 6 | 6 | 6 | 6 | 5 | 3
Commercial | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Industrial | . | . | 0 | . | . | . | 0 | . | . | . | . | 0 | .
Transportation | . | . | 0 | . | . | . | 0 | . | . | . | . | 0 | .
All technologies
Capacity (MW) | 39.687 | 29.343 | 24.36 | 21.739 | 17.203 | 12.299 | 10.856 | 8.473 | 6.748 | 8.616 | 4.624 | 3.218 | 3.442
Residential | 30.013 | 20.751 | 16.864 | 15.597 | 12.077 | 8.647 | 7.406 | 5.635 | 4.38 | 6.493 | 2.839 | 1.884 | 2.189
Commercial | 9.674 | 8.592 | 7.496 | 6.142 | 5.126 | 3.652 | 3.45 | 2.838 | 2.368 | 2.123 | 1.785 | 1.334 | 1.253
Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Customers | 5557 | 4509 | 3971 | 3892 | 3295 | 2904 | 2503 | 1753 | 1526 | 1333 | 1140 | 798 | 782
Residential | 4899 | 3891 | 3395 | 3357 | 2804 | 2462 | 2110 | 1404 | 1215 | 1054 | 894 | 601 | 586
Commercial | 658 | 618 | 576 | 535 | 491 | 442 | 393 | 349 | 311 | 279 | 246 | 197 | 196
Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Source: U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report.

## 12. AMR-AMI
Table 12. Advanced metering, 2007 through 2022
Montana
Technology by sector | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010 | Year 2009 | Year 2008 | Year 2007
AMR meters | 460271 | 451579 | 446155 | 441664 | 440828 | 441791 | 447504 | 463209 | 467870 | 520018 | 495676 | 489407 | 482732 | 481682 | 397693 | 347611
Residential | 383922 | 382801 | 381430 | 378015 | 378157 | 379273 | 386692 | 401231 | 405276 | 448313 | 430824 | 429479 | 423471 | 417166 | 345119 | 304959
Commercial | 72009 | 64626 | 60533 | 59602 | 58657 | 58446 | 56688 | 57015 | 58023 | 67155 | 61129 | 57161 | 56837 | 62129 | 51022 | 41698
Industrial | 4340 | 4152 | 4192 | 4047 | 4014 | 4072 | 4124 | 4963 | 4539 | 4550 | 3723 | 2767 | 2424 | 2387 | 1552 | 954
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AMI meters | 181271 | 167441 | 158774 | 155426 | 145151 | 136874 | 122888 | 100231 | 80864 | 18851 | 18830 | 17593 | 11991 | 6459 | 3532 | 212
Residential | 153304 | 142113 | 134456 | 131060 | 123097 | 115938 | 104057 | 83750 | 67096 | 15101 | 15174 | 14546 | 10026 | 6108 | 3168 | 0
Commercial | 22836 | 19829 | 19186 | 19227 | 18245 | 17170 | 15568 | 14108 | 12725 | 2818 | 2754 | 2180 | 1418 | 278 | 291 | 124
Industrial | 5131 | 5499 | 5132 | 5139 | 3809 | 3766 | 3263 | 2373 | 1043 | 932 | 902 | 867 | 547 | 73 | 73 | 88
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Standard meters | 28980 | 38790 | 41863 | 39464 | 38890 | 38412 | 40120 | 39781 | 41972 | 38688
Residential | 6404 | 9107 | 9491 | 7815 | 7470 | 7402 | 7697 | 7641 | 10205 | 9261
Commercial | 19784 | 27296 | 29910 | 29404 | 29293 | 28862 | 31217 | 31000 | 30625 | 27706
Industrial | 2792 | 2387 | 2462 | 2245 | 2127 | 2148 | 1206 | 1140 | 1142 | 1721
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All meters | 670522 | 657810 | 646792 | 636554 | 624869 | 617077 | 610512 | 603221 | 590706 | 577557
Residential | 543630 | 534021 | 525377 | 516890 | 508724 | 502613 | 498446 | 492622 | 482577 | 472675
Commercial | 114629 | 111751 | 109629 | 108233 | 106195 | 104478 | 103473 | 102123 | 101373 | 97679
Industrial | 12263 | 12038 | 11786 | 11431 | 9950 | 9986 | 8593 | 8476 | 6724 | 7203
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 0
AMR- Automatic Meter Reading. AMI- Advanced Meter Infrastructure. Prior to 2010, the count was the number of customers, not number of meters. Starting in 2013 Standard (Non-AMR/AMI) meter data was collected on the EIA-861. This data is not collected on the EIA-861S. Source: U.S. Energy Information Administration, Form EIA-861 & EIA-861S, Annual Electric Power Industry Report.

## 13. Energy Efficiency
Table 13. Energy efficiency, 2013 through 2022
Montana
Technology by sector | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013
Reporting year incremental
Savings - energy (MWh) | 79549 | 81334 | 74464 | 88029 | 92718 | 78781 | 58191 | 60993 | 69563 | 75642
Residential | 21707 | 30760 | 20348 | 29265 | 30524 | 31743 | 24398 | 32561 | 33993 | 41673
Commercial | 56621 | 49954 | 53261 | 56940 | 61170 | 45694 | 32106 | 26263 | 31831 | 29702
Industrial | 1222 | 619 | 854 | 1824 | 1024 | 1344 | 1687 | 2169 | 3739 | 4267
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Savings - peak demand (MW) | 1.6 | 1.4 | 16.9 | 5.7 | 5.2 | 1.3 | 1.5 | 25.3 | 36.7 | 50
Residential | 1.1 | 1.1 | 15.7 | 5.4 | 4.5 | 1.1 | 1.5 | 23.3 | 32.9 | 45.7
Commercial | 0.5 | 0.3 | 1.2 | 0.3 | 0.7 | 0.2 | 0 | 2 | 3.8 | 4.3
Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs - customer incentive (thousand dollars) | 5776 | 6064 | 5654 | 6913 | 7202 | 7158 | 5318 | 6136 | 5200 | 6406
Residential | 1658 | 2070 | 782 | 1717 | 1224 | 1670 | 1453 | 2619 | 1360 | 1866
Commercial | 3885 | 3966 | 4694 | 4874 | 5654 | 5196 | 3465 | 2921 | 2977 | 3696
Industrial | 234 | 28 | 178 | 322 | 324 | 291 | 400 | 596 | 863 | 844
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs - all other costs (thousand dollars) | 9001 | 6126 | 5258 | 8031 | 8125 | 7153 | 8497 | 6533 | 7292 | 9131
Residential | 4013 | 2421 | 1608 | 4101 | 4537 | 4229 | 5665 | 4254 | 3702 | 4982
Commercial | 4982 | 3705 | 3650 | 3930 | 3587 | 2908 | 2829 | 2279 | 3587 | 4145
Industrial | 7 | 1 | 0 | 0 | 0 | 15 | 3 | 0 | 3 | 4
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental life cycle
Savings - energy (MWh) | 1135522 | 1158408 | 1051950 | 1281976 | 1346462 | 1134796 | 824579 | 1852963 | 1848504 | 2739552
Residential | 312917 | 422325 | 290857 | 419073 | 450769 | 468534 | 323664 | 1044271 | 1006799 | 1522878
Commercial | 809759 | 692636 | 750928 | 783472 | 864589 | 653190 | 474966 | 760520 | 790788 | 1170294
Industrial | 12846 | 43447 | 10166 | 79431 | 31104 | 13072 | 25949 | 48172 | 50917 | 46380
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Savings - peak demand (MW) | 1.5 | 1.4 | 5.8 | 5.7 | 5.1 | 1.3 | 7.5 | 609.3 | 564.9 | 926.4
Residential | 1.1 | 1.1 | 5.3 | 5.4 | 4.4 | 1.1 | 7.5 | 480.7 | 440 | 731.8
Commercial | 0.4 | 0.3 | 0.5 | 0.3 | 0.7 | 0.2 | 0 | 128.6 | 124.9 | 194.6
Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs - customer incentive (thousand dollars) | 5073 | 6056 | 5650 | 7605 | 11289 | 8272 | 7800 | 70548 | 62196 | 63748
Residential | 1425 | 2062 | 778 | 2370 | 5068 | 2740 | 2600 | 21503 | 18412 | 20102
Commercial | 3643 | 3966 | 4694 | 4913 | 5898 | 5241 | 4800 | 48449 | 42921 | 42679
Industrial | 5 | 28 | 178 | 322 | 324 | 291 | 400 | 596 | 863 | 967
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs - all other costs (thousand dollars) | 9143 | 6141 | 5270 | 8255 | 8294 | 7268 | 8562 | 162240 | 146371 | 147292
Residential | 4132 | 2436 | 1620 | 4319 | 4706 | 4344 | 5730 | 90730 | 80444 | 81934
Commercial | 5004 | 3705 | 3650 | 3936 | 3587 | 2908 | 2829 | 71510 | 65924 | 65314
Industrial | 8 | 1 | 0 | 0 | 0 | 15 | 3 | 0 | 3 | 44
Transportation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOTE 1- Data withheld pending EIA review. Source: U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report.

## 14 Capacity Factors Monthly
Table 14. Capacity and usage factors by month, 2022
Montana
Technology | Year end capacity (MW) | Time adjusted capacity (MW) | Annual | January | February | March | April | May | June | July | August | September | October | November | December
Capacity Factors
Petroleum - ST | 52 | 52 | 100.8 | 114.3 | 113.8 | 111.7 | 113.7 | 113.8 | 86.7 | 15 | 109.3 | 110.5 | 102 | 106.8 | 113.6
Coal | 1630.5 | 1630.5 | 81.7 | 96.2 | 88.9 | 95.5 | 48.6 | 57.1 | 63.8 | 85.7 | 95.5 | 81.3 | 92.8 | 88.4 | 85.2
Other, not Biomass or Gas | 40 | 40 | 77.7 | 85.1 | 94.8 | 92.4 | 72.1 | 74.9 | 79.3 | 75.8 | 72.6 | 77.9 | 73.1 | 69.6 | 66.5
Wood | 3 | 3 | 72.5 | 52.2 | 61.5 | 64.3 | 62.3 | 60.3 | 84.2 | 84.7 | 82.1 | 84.3 | 75 | 79 | 79.2
Other, Biomass | 1.6 | 1.6 | 63.6 | 65.2 | 65.8 | 65.3 | 63.5 | 62 | 64.7 | 64.4 | 63.3 | 61.6 | 62 | 62.5 | 62.7
Hydroelectric | 2826.3 | 2817.7 | 40 | 41 | 39.3 | 47.2 | 46.1 | 50.3 | 46.3 | 47.5 | 39.4 | 33 | 26 | 35.6 | 28.7
Wind - Onshore | 1478.9 | 1144.3 | 39.2 | 58.9 | 55.6 | 46.9 | 41.7 | 37.9 | 28.8 | 21.8 | 22.4 | 25.5 | 34.2 | 54.9 | 42.4
Natural Gas - IC | 72.2 | 72.2 | 22.4 | 16.2 | 11.2 | 3.5 | 0.3 | 4.6 | 3.8 | 27.5 | 55.2 | 55 | 22.8 | 5.2 | 61.6
Natural Gas - GT | 315.8 | 315.8 | 21.2 | 14.2 | 12.7 | 11.8 | 14 | 11.2 | 12.5 | 15.9 | 23.8 | 24.7 | 31 | 33.5 | 48.4
Solar - PV | 17 | 17 | 21.2 | 8 | 13.6 | 20.8 | 25.1 | 29 | 32.7 | 36.5 | 33.2 | 24.2 | 18.2 | 7.8 | 5
Other, Gas | 1.5 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Usage Factors
All Sources | 6438.8 | 6095.6
Time adjusted capacity for the month is the summer capacity of generators in operation for the entire month; units that began operation during the month or that retired during the month are excluded. Time adjusted capacity is the capacity of all the generators that were included in the time period covered by the capacity factor calculation. Sources: U.S. Energy Information Administration, Form EIA-860, Annual Electric Generator Report. and U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report

## 15 Capacity Factors Annual
Table 15. Capacity and usage factors, 2008 through 2022
Montana
Generation technology | 2022 Time adjusted capacity (MW) | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013 | Year 2012 | Year 2011 | Year 2010 | Year 2009 | Year 2008
Capacity Factors
Petroleum - ST | 52 | 100.8 | 99.7 | 100.6 | 100.9 | 97.2 | 100.9 | 99 | 109.8 | 88.8 | 98.5 | 99.6 | 97.5 | 87.3 | 99.5 | 83.8
Coal | 1630.5 | 81.7 | 75.7 | 57.4 | 70.2 | 66.5 | 69.1 | 71 | 79.1 | 73.6 | 69.6 | 64.8 | 70.2 | 86.7 | 72.7 | 85.4
Other, not Biomass or Gas | 40 | 77.7 | 80.7 | 65.8 | 82 | 87 | 86.1 | 84.6 | 78.6 | 68.7 | 44.9
Wood | 3 | 72.5 | 78.9 | 80.9 | 76.6 | 81.2 | 80.6 | 76.5 | 81 | 45.6 | 73.2 |  |  |  | 65.7 | 80.1
Other, Biomass | 1.6 | 63.6 | 82.5 | 85.3
Hydroelectric | 2817.7 | 40 | 37.5 | 43.6 | 41.1 | 47 | 45.4 | 41.8 | 40.9 | 47.5 | 39.9 | 46.4 | 52.3 | 39.1 | 39.6 | 42.2
Wind - Onshore | 1144.3 | 39.2 | 36.3 | 40.8 | 34.2 | 34.2 | 36.3
Natural Gas - IC | 72.2 | 22.4 | 19.4 | 9.1 | 25.1 | 21.6 | 17.8 | 17.7 | 13.3 | 8.7 | 7.2 | 4.9 | 2.2 | 4 | 14 | 10.4
Natural Gas - GT | 315.8 | 21.2 | 14.4 | 8.2 | 12.5 | 11.8 | 10.6 | 13 | 17.6 | 15.1 | 18.2 | 13.9 | 14.9 | 0.9 | 0.2 | 0.4
Solar - PV | 17 | 21.2 | 22.5 | 21.9 | 19.7 | 22.8 | 17.1
Other, Gas | 1.5 | 0 | 10.8 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 39.6 | 50.3
Petroleum - IC | [11 empty] | 0 | 0 | 0 | 0 | 0
Wind | [7 empty] | 37 | 34.3 | 35.8 | 32.7 | 35 | 38.2 | 28 | 32.5 | 40.2
Usage Factors
All Sources | 6095.6
Note: Time adjusted capacity for the year is the capacity of all the generators that were included in the capacity factor calculation. Sources: U.S. Energy Information Administration, Form EIA-860, Annual Electric Generator Report. and U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report

## 16. Distributed
Table 16. Distributed generators, capacity, 2016 through 2022
Montana
megawatts
Technology by sector | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016
Photoelectric | 0.33 | 0.33 | 0.33 | 0.555 | 0.655 | 0.655 | 0.455
Residential |  |  |  | 0.083 | 0.125 | 0.125 | 0.125
Commercial |  |  |  | 0.15 | 0.15 | 0.15
Industrial
Transportation
Direct Connected | 0.33 | 0.33 | 0.33 | 0.322 | 0.38 | 0.38 | 0.33
Storage | 0 | 0 | 0 | 0
Residential
Commercial
Industrial
Transportation
Direct Connected
Wind | 2.175 | 2.175 | 2.175 | 2.275 | 2.275 | 2.275 | 2.275
Residential |  |  |  | 0.1 | 0.1 | 0.1 | 0.1
Commercial
Industrial
Transportation
Direct Connected | 2.175 | 2.175 | 2.175 | 2.175 | 2.175 | 2.175 | 2.175
Hydroelectric | 3.878 | 3.878 | 3.878 | 3.653 | 3.653 | 3.653 | 3.653
Residential
Commercial | 0.455 | 0.455 | 0.455 | 0.23 | 0.23 | 0.23 | 0.23
Industrial
Transportation
Direct Connected | 3.423 | 3.423 | 3.423 | 3.423 | 3.423 | 3.423 | 3.423
Fuel Cell | 0 | 0 | 0 | 0
Residential
Commercial
Industrial
Transportation
Direct Connected
Internal Combustion | 0 | 0 | 0 | 0
Residential
Commercial
Industrial
Transportation
Direct Connected
Gas Turbine | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06
Residential
Commercial | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06
Industrial
Transportation
Direct Connected
Steam | 0 | 0 | 0 | 0
Residential
Commercial
Industrial
Transportation
Direct Connected
Other | 0 | 0 | 0 | 0
Residential
Commercial
Industrial
Transportation
Direct Connected
Total | 6.443 | 6.443 | 6.443 | 6.543 | 6.643 | 6.643 | 6.443
Residential | 0 | 0 | 0 | 0.183 | 0.225 | 0.225 | 0.225
Commercial | 0.515 | 0.515 | 0.515 | 0.44 | 0.44 | 0.44 | 0.29
Industrial | 0 | 0 | 0 | 0
Transportation | 0 | 0 | 0 | 0
Direct Connected | 5.928 | 5.928 | 5.928 | 5.92 | 5.978 | 5.978 | 5.928
Source: U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report.

## 17. Reliability
Table 17. Reliability, 2013 through 2022
Montana
Metric | Year 2022 | Year 2021 | Year 2020 | Year 2019 | Year 2018 | Year 2017 | Year 2016 | Year 2015 | Year 2014 | Year 2013
IEEE only
Reporting statistics
Total utilities | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 38 | 38 | 38
Utilities reported | 5 | 7 | 7 | 7 | 8 | 7 | 7 | 7 | 5 | 5
Percent reporting | 67.9205 | 69.3925 | 71.3484 | 72.6682 | 73.6759 | 73.7029 | 77.8729 | 74.379 | 73.3953 | 74.4875
All events
SAIDI | 224.7 | 251.7 | 275.3 | 165.8 | 135.4 | 218.9 | 155.7 | 295.4 | 144.9 | 172
SAIFI | 1.398 | 1.621 | 1.343 | 1.345 | 1.192 | 1.551 | 1.259 | 1.694 | 1.188 | 1.433
CAIDI | 160.7 | 155.3 | 204.9 | 123.3 | 113.5 | 141.1 | 123.6 | 174.4 | 122 | 120
Without major event days
SAIDI | 139.6 | 142.6 | 136 | 121.7 | 118.3 | 160.8 | 128.8 | 143.5 | 123.8 | 141.4
SAIFI | 1.214 | 1.348 | 1.055 | 1.237 | 1.182 | 1.361 | 1.136 | 1.446 | 1.128 | 1.274
CAIDI | 115 | 105.8 | 129 | 98.4 | 100.1 | 118.1 | 113.4 | 99.2 | 109.8 | 111
Loss of supply removed
SAIDI | 187.7 | 211.2 | 240.7 | 138.9 | 107.4 | 209.1 | 110.7 | 284.7 | 137.3 | 167.5
SAIFI | 1.059 | 1.133 | 1.143 | 1.022 | 0.802 | 1.528 | 0.944 | 1.574 | 1.104 | 1.375
CAIDI | 177.2 | 186.4 | 210.6 | 135.9 | 134 | 136.8 | 117.3 | 180.9 | 124.3 | 121.8
Any method
Reporting statistics
Total utilities | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 38 | 38 | 38
Utilities reported | 9 | 14 | 14 | 14 | 13 | 10 | 10 | 10 | 8 | 8
Percent reporting | 74.6457 | 76.206 | 78.2528 | 81.7994 | 81.5827 | 80.2034 | 84.2964 | 80.5618 | 79.6612 | 80.774
All events
SAIDI | 225.6 | 309.9 | 271.3 | 169.3 | 142.7 | 215.4 | 160.7 | 287.9 | 138.8 | 161.7
SAIFI | 1.376 | 1.706 | 1.364 | 1.327 | 1.278 | 1.575 | 1.262 | 1.752 | 1.134 | 1.363
CAIDI | 163.9 | 181.7 | 199 | 127.6 | 111.7 | 136.8 | 127.4 | 164.3 | 122.4 | 118.6
Without major events
SAIDI | 146.1 | 146 | 140.9 | 127 | 118 | 161.4 | 129.9 | 142.3 | 123.5 | 139.4
SAIFI | 1.203 | 1.341 | 1.057 | 1.243 | 1.183 | 1.361 | 1.136 | 1.446 | 1.128 | 1.274
CAIDI | 121.5 | 108.9 | 133.4 | 102.2 | 99.7 | 118.6 | 114.4 | 98.4 | 109.6 | 109.4
Source: U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report. Any method equals IEEE plus Other. Percent Reporting is an approximate estimate of how many customers are covered by these metrics. The numerator is reported number of meters used on the reliability schedule, while the denominator is the number of customers reported on the sales to ultimate customers schedule.