## Slide 1
Buildings

## Slide 2: Buildings sector delivered energy consumption
Chart: 
| 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Commercial delivered energy consumption | 8.1328 | 8.0402 | 8.1425 | 8.2939 | 8.3134 | 8.2897 | 8.0999 | 8.3932 | 8.557 | 8.4163 | 8.4608 | 8.4942 | 8.1558 | 8.62 | 8.8901 | 8.9747 | 8.8779 | 8.8648 | 9.3553 | 9.2539 | 8.6027 | 8.8123 | 8.8928 | 9.0755 | 9.2206 | 9.3585 | 9.3754 | 9.3874 | 9.4 | 9.4109 | 9.4084 | 9.4217 | 9.4495 | 9.4732 | 9.5038 | 9.5351 | 9.5713 | 9.6116 | 9.6533 | 9.697 | 9.7383 | 9.7857 | 9.8347 | 9.8955 | 9.9556 | 10.0184 | 10.0831 | 10.1491 | 10.2193 | 10.296 | 10.3769
Residential delivered energy consumption | 11.1586 | 10.8997 | 11.1608 | 11.5214 | 11.3304 | 11.473 | 10.6956 | 11.2627 | 11.5154 | 11.2013 | 11.4718 | 11.2173 | 10.2557 | 11.3169 | 11.6587 | 11.0876 | 10.6409 | 10.5641 | 11.7252 | 11.6161 | 11.3641 | 11.3103 | 11.4368 | 11.427 | 11.4312 | 11.4294 | 11.425 | 11.4182 | 11.4183 | 11.4207 | 11.4193 | 11.4254 | 11.4388 | 11.4506 | 11.4674 | 11.489 | 11.5153 | 11.5451 | 11.5769 | 11.6087 | 11.6397 | 11.6708 | 11.7036 | 11.7417 | 11.7812 | 11.8201 | 11.8623 | 11.9023 | 11.9431 | 11.9853 | 12.031
Total buildings delivered energy consumption | 19.2915 | 18.9399 | 19.3032 | 19.8152 | 19.6438 | 19.7627 | 18.7955 | 19.6559 | 20.0723 | 19.6176 | 19.9326 | 19.7115 | 18.4114 | 19.9368 | 20.5487 | 20.0623 | 19.5188 | 19.4289 | 21.0805 | 20.87 | 19.9667 | 20.1226 | 20.3297 | 20.5024 | 20.6518 | 20.7879 | 20.8004 | 20.8056 | 20.8183 | 20.8316 | 20.8277 | 20.8472 | 20.8883 | 20.9238 | 20.9712 | 21.0241 | 21.0865 | 21.1567 | 21.2302 | 21.3057 | 21.378 | 21.4565 | 21.5383 | 21.6372 | 21.7368 | 21.8386 | 21.9454 | 22.0514 | 22.1624 | 22.2813 | 22.4078
Buildings delivered energy consumption
AEO2021 Reference case
quadrillion British thermal units
total buildings sector delivered energy consumption
residential buildings
commercial buildings

## Slide 3: Residential and commercial buildings energy consumption
Chart: 
| 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
other | 0.43136 | 0.38197 | 0.39225 | 0.41225 | 0.42143 | 0.43844 | 0.38641 | 0.42778 | 0.47 | 0.504 | 0.54053 | 0.52426 | 0.4381 | 0.57166 | 0.57854 | 0.51274 | 0.4422 | 0.42518 | 0.51734 | 0.5288 | 0.45751 | 0.45434 | 0.44391 | 0.44891 | 0.45433 | 0.45632 | 0.45534 | 0.45182 | 0.44889 | 0.4448 | 0.4404 | 0.4351 | 0.42979 | 0.42365 | 0.41696 | 0.40979 | 0.40251 | 0.39616 | 0.3906 | 0.38445 | 0.37942 | 0.37479 | 0.37021 | 0.36616 | 0.36159 | 0.35715 | 0.35383 | 0.35059 | 0.34657 | 0.34247 | 0.33811
petroleum and other liquids | 1.5541 | 1.5288 | 1.4567 | 1.5466 | 1.5198 | 1.4505 | 1.2219 | 1.2492 | 1.3245 | 1.1577 | 1.1204 | 1.0338 | 0.88562 | 0.96318 | 1.0363 | 1.0072 | 0.87828 | 0.87149 | 1.0224 | 1.0069 | 0.88445 | 0.92901 | 0.92316 | 0.90564 | 0.8888 | 0.87362 | 0.85976 | 0.84782 | 0.83669 | 0.82672 | 0.81719 | 0.80829 | 0.79964 | 0.79156 | 0.78393 | 0.77695 | 0.77015 | 0.76346 | 0.75688 | 0.75076 | 0.74467 | 0.73867 | 0.73283 | 0.72705 | 0.72166 | 0.71662 | 0.71143 | 0.70611 | 0.70104 | 0.69617 | 0.69153
natural gas | 5.1046 | 4.889 | 4.995 | 5.2094 | 4.9808 | 4.9464 | 4.4759 | 4.8354 | 5.0101 | 4.8831 | 4.8781 | 4.8046 | 4.2421 | 5.0229 | 5.2425 | 4.7769 | 4.5058 | 4.5635 | 5.173 | 5.1837 | 4.9694 | 4.8414 | 4.9784 | 4.9707 | 4.9724 | 4.968 | 4.9562 | 4.9428 | 4.9313 | 4.9201 | 4.9038 | 4.8919 | 4.8831 | 4.8745 | 4.8661 | 4.8602 | 4.8556 | 4.8511 | 4.8469 | 4.843 | 4.841 | 4.8389 | 4.8372 | 4.8358 | 4.8353 | 4.8343 | 4.8337 | 4.8321 | 4.83 | 4.8268 | 4.8234
electricity | 4.0686 | 4.0999 | 4.3168 | 4.3531 | 4.4082 | 4.6377 | 4.6114 | 4.7503 | 4.7108 | 4.6566 | 4.9328 | 4.8546 | 4.6898 | 4.7591 | 4.8014 | 4.7908 | 4.8145 | 4.7039 | 5.0125 | 4.8967 | 5.0527 | 5.0855 | 5.0913 | 5.1017 | 5.1157 | 5.1314 | 5.1537 | 5.1758 | 5.2015 | 5.229 | 5.2579 | 5.2901 | 5.3263 | 5.3608 | 5.4005 | 5.4421 | 5.487 | 5.5344 | 5.5825 | 5.6305 | 5.6747 | 5.7185 | 5.7634 | 5.8128 | 5.8626 | 5.912 | 5.9634 | 6.0136 | 6.0655 | 6.1199 | 6.1779
Chart: 
| 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
other | 0.1191 | 0.091661 | 0.094994 | 0.10128 | 0.10532 | 0.10512 | 0.10267 | 0.10272 | 0.10925 | 0.11177 | 0.11088 | 0.1146 | 0.10848 | 0.11991 | 0.12688 | 0.15191 | 0.15767 | 0.15639 | 0.15647 | 0.14637 | 0.14845 | 0.14686 | 0.14525 | 0.14663 | 0.14633 | 0.14621 | 0.14614 | 0.14612 | 0.14604 | 0.14591 | 0.14578 | 0.14564 | 0.14549 | 0.14535 | 0.14522 | 0.14506 | 0.14488 | 0.14478 | 0.1447 | 0.14465 | 0.14455 | 0.14447 | 0.14439 | 0.14429 | 0.14421 | 0.14416 | 0.14407 | 0.144 | 0.14395 | 0.14385 | 0.14375
petroleum and other liquids | 0.80652 | 0.78918 | 0.72516 | 0.8416 | 0.80894 | 0.76082 | 0.66087 | 0.64595 | 0.66039 | 0.65892 | 0.64657 | 0.63222 | 0.55969 | 0.55814 | 0.5777 | 0.86429 | 0.83188 | 0.81951 | 0.84474 | 0.83554 | 0.80576 | 0.84775 | 0.8635 | 0.86719 | 0.87225 | 0.87871 | 0.87962 | 0.88015 | 0.87849 | 0.87746 | 0.87505 | 0.87442 | 0.87354 | 0.8736 | 0.87382 | 0.87428 | 0.87463 | 0.87463 | 0.87429 | 0.87469 | 0.87411 | 0.87388 | 0.874 | 0.87407 | 0.87476 | 0.87568 | 0.87591 | 0.87629 | 0.87711 | 0.87806 | 0.87912
natural gas | 3.2515 | 3.0973 | 3.2125 | 3.2609 | 3.201 | 3.0732 | 2.9017 | 3.0851 | 3.2284 | 3.1866 | 3.1647 | 3.2161 | 2.9595 | 3.3798 | 3.5719 | 3.3156 | 3.2235 | 3.2729 | 3.6395 | 3.6503 | 3.313 | 3.4221 | 3.3935 | 3.5037 | 3.5693 | 3.6281 | 3.6347 | 3.6368 | 3.638 | 3.6366 | 3.6282 | 3.6293 | 3.6345 | 3.6393 | 3.6436 | 3.6501 | 3.658 | 3.665 | 3.671 | 3.6764 | 3.6827 | 3.6899 | 3.6975 | 3.7045 | 3.712 | 3.7176 | 3.7229 | 3.7266 | 3.729 | 3.7296 | 3.7292
electricity | 3.9557 | 4.062 | 4.1099 | 4.0901 | 4.1982 | 4.3506 | 4.4347 | 4.5595 | 4.5589 | 4.459 | 4.5386 | 4.5313 | 4.5281 | 4.5621 | 4.6136 | 4.6429 | 4.6649 | 4.6161 | 4.7145 | 4.6217 | 4.3354 | 4.3956 | 4.4906 | 4.558 | 4.6327 | 4.7055 | 4.7149 | 4.7244 | 4.7375 | 4.7509 | 4.7594 | 4.7724 | 4.7961 | 4.8149 | 4.8411 | 4.8657 | 4.8938 | 4.9272 | 4.9633 | 5.0012 | 5.037 | 5.0774 | 5.1188 | 5.1726 | 5.2247 | 5.281 | 5.3402 | 5.4022 | 5.4693 | 5.5445 | 5.6248
electricity
natural gas
petroleum and other liquids
other

## Slide 4: Change in population and residential housing stocks
Chart: 
| 2020 | 2050 | 2020 | 2050 | 2020 | 2050 | 2020 | 2050 | 2020 | 2050 | 2020 | 2050 | 2020 | 2050 | 2020 | 2050 | 2020 | 2050
Single-family | 12.193 | 14.6892 | 6.4638 | 9.1468 | 6.517 | 7.8417 | 10.4504 | 15.1322 | 13.513 | 15.1638 | 5.4651 | 6.9166 | 17.1416 | 23.2231 | 9.3925 | 10.4426 | 3.6141 | 4.1904
Multifamily | 5.5045 | 6.2245 | 2.0096 | 3.0485 | 1.7491 | 2.1066 | 3.3067 | 4.6818 | 4.381 | 4.676 | 1.2987 | 1.7217 | 5.7032 | 7.4141 | 5.9443 | 6.256 | 2.0715 | 2.3147
Mobile | 0.75108 | 0.6267 | 0.62636 | 0.55654 | 0.34218 | 0.30866 | 1.1087 | 1.3065 | 0.60619 | 0.49882 | 0.77299 | 0.66757 | 1.9777 | 2.0314 | 0.35052 | 0.29838 | 0.1277 | 0.12252
Population (Millions) | 54.5044 | 65.5297 | 25.0034 | 35.1453 | 21.4606 | 23.4949 | 41.2332 | 54.6286 | 46.6655 | 46.9394 | 19.1367 | 20.9205 | 66.199 | 84.1952 | 41.4179 | 40.3442 | 14.7875 | 14.9608
population
millions, U.S. population
Census divisions
New
England
Middle Atlantic
South
Atlantic
East
South
Central
West
South
Central
East
North
Central
West
North
Central
Mountain
Pacific
population
mobile
multifamily
single-family
Residential housing unit and population changes by region and type in 2020 and 2050
AEO2021 Reference case
millions, residential housing units

## Slide 5: Commercial buildings floorspace growth
Chart: 
| health care | food sales/service | lodging | other | assembly | education | warehouse | mercantile/service | office
2020 | 2.6233 | 3.2302 | 6.4306 | 7.329 | 10.401 | 13.3645 | 14.4459 | 17.1706 | 18.5873
CAGR | 0.011362 | 0.0088871 | 0.010781 | 0.012944 | 0.0058887 | 0.0093865 | 0.01177 | 0.0090797 | 0.0080867
billion square feet
Commercial floorspace in 2020 and growth in floorspace from 2020 to 2050
AEO2021 Reference case
percentage growth
compound annual growth rate (CAGR) (2020 to 2050)
total floorspace in 2020
(billion square feet)
CAGR

## Slide 6: Population-weighted heating and cooling degree days
Chart: 
| HDD - Pacific | HDD - Mountain | HDD - West North Central | HDD - West South Central | HDD - East North Central | HDD - East South Central | HDD - South Atlantic | HDD - Middle Atlantic | HDD - New England
2020 | 3.335 | 4.81 | 6.41 | 1.829 | 6 | 3.119 | 2.335 | 5.371 | 5.958
2050 | 2.95 | 4.423 | 6.42 | 1.873 | 6.055 | 3.191 | 2.301 | 5.285 | 5.869
Chart: 
| CDD - Pacific | CDD - Mountain | CDD - West North Central | CDD - West South Central | CDD - East North Central | CDD - East South Central | CDD - South Atlantic | CDD - Middle Atlantic | CDD - New England
2020 | 1.012 | 1.639 | 0.975 | 2.73 | 0.831 | 1.623 | 2.274 | 0.84 | 0.652
2050 | 1.143 | 1.82 | 1.195 | 3.261 | 1.033 | 2.092 | 2.763 | 1.054 | 0.747

## Slide 7: Residential and commercial electricity and natural gas prices
Chart: 
Chart: 

## Slide 8: Residential and commercial energy intensity
Chart: 
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
electricity | 1.0042 | 1.0035 | 0.97448 | 1.0303 | 1 | 1.0248 | 1.0246 | 1.0188 | 1.0141 | 1.0103 | 1.0066 | 1.0043 | 1.0023 | 1.0011 | 1.0006 | 1.0004 | 1.001 | 1.0024 | 1.0037 | 1.0061 | 1.0089 | 1.0124 | 1.0164 | 1.0206 | 1.0248 | 1.0283 | 1.0319 | 1.0356 | 1.04 | 1.0444 | 1.0488 | 1.0535 | 1.0581 | 1.063 | 1.0684 | 1.0743
natural gas | 0.95208 | 0.89131 | 0.89688 | 1.0069 | 1 | 0.94542 | 0.91302 | 0.93076 | 0.92159 | 0.91435 | 0.9059 | 0.89625 | 0.88673 | 0.87787 | 0.86934 | 0.8601 | 0.85188 | 0.84433 | 0.8371 | 0.83012 | 0.82367 | 0.81763 | 0.81176 | 0.80605 | 0.8005 | 0.79531 | 0.7902 | 0.78523 | 0.78029 | 0.77552 | 0.77071 | 0.76603 | 0.76129 | 0.75655 | 0.75166 | 0.74681
delivered energy | 0.98556 | 0.93859 | 0.92497 | 1.0176 | 1 | 0.96634 | 0.95336 | 0.95571 | 0.94695 | 0.93954 | 0.93152 | 0.92345 | 0.91557 | 0.90854 | 0.90194 | 0.89522 | 0.8893 | 0.88405 | 0.87892 | 0.87439 | 0.87028 | 0.86669 | 0.8635 | 0.86053 | 0.85765 | 0.85473 | 0.85188 | 0.84918 | 0.84684 | 0.84457 | 0.84228 | 0.84027 | 0.83817 | 0.83616 | 0.83426 | 0.83261
Chart: 
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
electricity | 1.0494 | 1.044 | 1.0222 | 1.0323 | 1 | 0.93046 | 0.93412 | 0.94611 | 0.95106 | 0.95694 | 0.9622 | 0.95457 | 0.94709 | 0.94052 | 0.9342 | 0.92693 | 0.92045 | 0.91592 | 0.91042 | 0.90631 | 0.90204 | 0.89863 | 0.8964 | 0.89475 | 0.89344 | 0.89165 | 0.89065 | 0.88973 | 0.89089 | 0.89162 | 0.89298 | 0.89474 | 0.89687 | 0.89973 | 0.90379 | 0.90854
natural gas | 0.9522 | 0.91679 | 0.9229 | 1.0138 | 1 | 0.90043 | 0.92095 | 0.90542 | 0.92579 | 0.93365 | 0.93951 | 0.93188 | 0.92326 | 0.91462 | 0.90555 | 0.89483 | 0.88642 | 0.87897 | 0.87143 | 0.86382 | 0.85693 | 0.85062 | 0.84439 | 0.83807 | 0.83171 | 0.82556 | 0.81968 | 0.81388 | 0.80797 | 0.80221 | 0.79606 | 0.7899 | 0.78348 | 0.77684 | 0.76988 | 0.76279
delivered energy | 1.0149 | 0.99333 | 0.98187 | 1.0239 | 1 | 0.91948 | 0.93265 | 0.93309 | 0.94307 | 0.94853 | 0.95304 | 0.94529 | 0.93721 | 0.92938 | 0.92158 | 0.91255 | 0.90498 | 0.89873 | 0.89206 | 0.88607 | 0.88034 | 0.87528 | 0.87085 | 0.86667 | 0.86271 | 0.85852 | 0.85487 | 0.85132 | 0.84877 | 0.84612 | 0.84366 | 0.84134 | 0.83913 | 0.83724 | 0.83582 | 0.83472
Indexed commercial delivered energy intensity
AEO2021 Reference case
indexed annual energy use per square foot
2019 = 1.0
Indexed residential delivered energy intensity
AEO2021 Reference case
indexed annual energy use per household
2019 = 1.0
purchased electricity
total delivered energy
natural gas
purchased electricity
total delivered energy
natural gas
2020
history projections

## Slide 9: Residential and commercial overall energy intensity by end use
Chart: 
| cooking | lighting | televisions, computers | laundry and dishwashing | refrigeration and freezing | space cooling | water heating | other uses | space heating
2050 | 1.2871 | 1.2351 | 2.1153 | 3.0784 | 2.6192 | 9.7509 | 12.5932 | 18.6603 | 30.8597
2020 | 1.4226 | 1.7121 | 2.3974 | 2.5874 | 2.9725 | 7.0027 | 14.0128 | 16.9828 | 43.6477
Chart: 
| cooking | lighting | computers, office equipment | ventilation | refrigeration | space cooling | water heating | other uses | space heating
2050 | 4.4099 | 2.7713 | 10.0988 | 3.2463 | 5.6424 | 5.7859 | 5.8928 | 31.9035 | 15.8667
2020 | 4.5861 | 5.7146 | 8.1773 | 5.4053 | 6.9744 | 5.9638 | 6.8845 | 26.7018 | 22.4669
Residential energy intensity by end use
AEO2021 Reference case
Commercial energy intensity by end use
AEO2021 Reference case
Note: Intensities reflect all energy sources consumed, including both purchased electricity and electricity produced onsite for own use.
million British thermal units per household
thousand British thermal units per square foot

## Slide 10: Residential and commercial electricity intensity by end use
Chart: 
| cooking | lighting | televisions, computers | laundry and dishwashing | refrigeration and freezing | space cooling | water heating | other uses | space heating
2050 | 117.7167 | 361.9944 | 619.9667 | 788.3249 | 767.6515 | 2742.7553 | 1288.9761 | 4788.7176 | 1300.2253
2020 | 130.6637 | 501.7964 | 702.6366 | 664.6777 | 871.1832 | 1913.1317 | 1443.1728 | 4233.4784 | 1727.3064
Chart: 
| cooking | lighting | computers, office equipment | ventilation | refrigeration | space cooling | water heating | other uses | space heating
2050 | 0.18102 | 0.8122 | 2.9597 | 0.95139 | 1.6536 | 1.6406 | 0.043646 | 5.4565 | 0.19309
2020 | 0.26546 | 1.6748 | 2.3965 | 1.5841 | 2.044 | 1.6613 | 0.079103 | 3.7956 | 0.35422
Residential electricity intensity by end use
AEO2021 Reference case
Commercial electricity intensity by end use
AEO2021 Reference case
Note: Intensities reflect both purchased electricity and electricity produced onsite for own use.
kilowatthours per household
kilowatthours per square foot

## Slide 11: Commercial building end-use intensities
Chart: 
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
space heating | 1 | 0.98951 | 0.98016 | 0.97014 | 0.95973 | 0.94919 | 0.93858 | 0.9279 | 0.91707 | 0.90613 | 0.89501 | 0.88492 | 0.87461 | 0.86419 | 0.85362 | 0.843 | 0.83238 | 0.82175 | 0.81107 | 0.80032 | 0.78947 | 0.77912 | 0.76867 | 0.7582 | 0.74766 | 0.73709 | 0.72649 | 0.71586 | 0.70521 | 0.69452 | 0.68378
space cooling | 1 | 0.99519 | 0.99077 | 0.98659 | 0.98227 | 0.97778 | 0.97321 | 0.96859 | 0.96396 | 0.95926 | 0.95458 | 0.95116 | 0.9478 | 0.94443 | 0.94109 | 0.93774 | 0.93447 | 0.93124 | 0.92807 | 0.925 | 0.92201 | 0.91974 | 0.91758 | 0.91549 | 0.91352 | 0.91163 | 0.90987 | 0.90821 | 0.90668 | 0.90527 | 0.90391
lighting | 1 | 0.9965 | 0.99262 | 0.9891 | 0.98547 | 0.98173 | 0.97788 | 0.97406 | 0.97011 | 0.96597 | 0.96175 | 0.95915 | 0.95646 | 0.9537 | 0.95087 | 0.94791 | 0.94485 | 0.94178 | 0.93857 | 0.93525 | 0.93193 | 0.92973 | 0.92748 | 0.92517 | 0.92282 | 0.92048 | 0.91803 | 0.91558 | 0.91303 | 0.91049 | 0.90786
cooking | 1 | 0.99407 | 0.99127 | 0.98916 | 0.98745 | 0.98587 | 0.98447 | 0.98286 | 0.98107 | 0.9791 | 0.9768 | 0.97521 | 0.97371 | 0.97199 | 0.97026 | 0.96824 | 0.96599 | 0.96348 | 0.96068 | 0.95775 | 0.95486 | 0.95267 | 0.95043 | 0.94823 | 0.94593 | 0.94356 | 0.94115 | 0.9386 | 0.93591 | 0.93322 | 0.93031
ventilation | 1 | 0.99666 | 0.99479 | 0.99294 | 0.99088 | 0.98898 | 0.98726 | 0.98544 | 0.98368 | 0.98195 | 0.98008 | 0.97945 | 0.97879 | 0.97821 | 0.97767 | 0.97721 | 0.97679 | 0.97642 | 0.97621 | 0.97606 | 0.97609 | 0.97676 | 0.97769 | 0.97856 | 0.97962 | 0.98092 | 0.98228 | 0.98382 | 0.98546 | 0.98727 | 0.98917
Indexed commercial service provided per square foot of floorspace
AEO2021 Reference case
2020 = 1.0
ventilation
cooking
lighting
space cooling
space heating

## Slide 12: Residential and commercial onsite generation versus purchased electricity
Chart: 
| 2020 | 2030 | 2040 | 2050
purchased electricity | 5.0528 | 5.2581 | 5.675 | 6.1783
onsite generation for own use | 0.078131 | 0.17486 | 0.2873 | 0.43064
Chart: 
| 2020 | 2030 | 2040 | 2050
purchased electricity | 4.3354 | 4.7594 | 5.037 | 5.6248
onsite generation for own use | 0.088754 | 0.15565 | 0.21357 | 0.26919
Commercial sector electricity consumption
AEO2021 Reference case
quadrillion British thermal units
onsite generation for own use
purchased electricity
Residential sector electricity consumption
AEO2021 Reference case
quadrillion British thermal units
onsite generation for own use
purchased electricity

## Slide 13: Residential consumption of onsite generation versus purchased electricity
Chart: 
| 2020 | 2030 | 2040 | 2050
all other uses | 1.7822 | 1.8856 | 2.1584 | 2.4771
space cooling | 0.80539 | 0.97419 | 1.1715 | 1.4188
water heating | 0.60755 | 0.61545 | 0.63505 | 0.66677
space heating | 0.72716 | 0.75859 | 0.71243 | 0.67259
laundry and dishwashing | 0.27982 | 0.31939 | 0.36257 | 0.40779
refrigeration and freezing | 0.36675 | 0.3518 | 0.3638 | 0.39709
TVs and PCs | 0.2958 | 0.27309 | 0.30501 | 0.3207
lighting | 0.21125 | 0.19742 | 0.1944 | 0.18725
cooking | 0.055007 | 0.057396 | 0.059105 | 0.060893
Note: Onsite generation projections are not attributed to any particular end use.
cooking
lighting
televisions and
computers
refrigeration
and freezing
laundry and dishwashing
space heating
water heating
space cooling
all other uses
Chart: 
| 2020 | 2030 | 2040 | 2050
purchased electricity | 5.0528 | 5.2581 | 5.675 | 6.1783
onsite generation for own use | 0.078131 | 0.17486 | 0.2873 | 0.43064
onsite generation for own use
purchased electricity

## Slide 14: Commercial consumption of onsite generation versus purchased electricity
Chart: 
| 2020 | 2030 | 2040 | 2050
all other uses | 1.4351 | 1.9002 | 2.1195 | 2.4923
computers/office equip. | 0.76525 | 0.9208 | 1.0735 | 1.2557
refrigeration | 0.65268 | 0.64298 | 0.66385 | 0.70159
space cooling | 0.53049 | 0.56655 | 0.6194 | 0.69609
ventilation | 0.50584 | 0.45086 | 0.41025 | 0.40366
lighting | 0.53478 | 0.43364 | 0.36408 | 0.3446
Chart: 
| 2020 | 2030 | 2040 | 2050
purchased electricity | 4.3354 | 4.7594 | 5.037 | 5.6248
onsite generation for own use | 0.088754 | 0.15565 | 0.21357 | 0.26919
Note: Onsite generation projections are not attributed to any particular end use.
onsite generation for own use
purchased electricity
lighting
ventilation
space cooling
refrigeration
computers and office equipment
all other uses

## Slide 15: Residential and commercial solar photovoltaic generation capacity
Chart: 
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Residential - Reference | 5.6263 | 8.2487 | 10.4601 | 12.8297 | 15.6362 | 18.3175 | 21.0843 | 23.5165 | 25.8947 | 28.2337 | 30.6029 | 33.044 | 35.5007 | 37.9894 | 40.4968 | 43.0664 | 45.7097 | 48.4181 | 51.1783 | 54.0111 | 56.8928 | 59.8391 | 62.8296 | 65.8797 | 68.975 | 72.1483 | 75.3819 | 78.6975 | 82.1092 | 85.6032 | 89.2155 | 92.9237 | 96.7178 | 100.6356 | 104.6464 | 108.7479
Residential - Low oil and gas supply | 5.6263 | 8.2487 | 10.4601 | 12.8297 | 15.6362 | 18.3185 | 21.0935 | 23.5398 | 25.9453 | 28.3177 | 30.727 | 33.2235 | 35.7464 | 38.3067 | 40.89 | 43.5242 | 46.2378 | 49.0527 | 51.9279 | 54.8792 | 57.8878 | 60.9673 | 64.0979 | 67.3133 | 70.5918 | 73.9626 | 77.4078 | 80.943 | 84.5858 | 88.3194 | 92.1627 | 96.0829 | 100.096 | 104.246 | 108.4887 | 112.8195
Residential - High oil and gas supply | 5.6263 | 8.2487 | 10.4601 | 12.8297 | 15.6362 | 18.3182 | 21.089 | 23.5192 | 25.8914 | 28.221 | 30.5709 | 32.9756 | 35.3873 | 37.8229 | 40.2711 | 42.7753 | 45.3354 | 47.9521 | 50.6098 | 53.3243 | 56.0723 | 58.8729 | 61.7153 | 64.6199 | 67.5725 | 70.5957 | 73.6784 | 76.83 | 80.069 | 83.3855 | 86.8083 | 90.3078 | 93.8831 | 97.5687 | 101.3386 | 105.1951
Residential - Low Renewables Cost | 5.6263 | 8.2487 | 10.4601 | 12.8297 | 15.6362 | 18.3175 | 21.0847 | 23.5173 | 25.895 | 28.2343 | 30.5992 | 33.0338 | 35.4825 | 37.9629 | 40.474 | 43.0963 | 45.8171 | 48.6413 | 51.5545 | 54.5773 | 57.6857 | 60.9052 | 64.2175 | 67.6492 | 71.1786 | 74.8282 | 78.582 | 82.4489 | 86.4583 | 90.5864 | 94.8855 | 99.3196 | 103.8846 | 108.6357 | 113.5395 | 118.5899
Residential - High Renewables Cost | 5.6263 | 8.2487 | 10.4601 | 12.8297 | 15.6362 | 18.3183 | 21.0865 | 23.52 | 25.9012 | 28.2451 | 30.6171 | 33.0594 | 35.5229 | 38.0239 | 40.5465 | 43.1309 | 45.7807 | 48.4991 | 51.2755 | 54.1289 | 57.0298 | 59.9997 | 63.0169 | 66.0968 | 69.2208 | 72.42 | 75.6832 | 79.0251 | 82.4608 | 85.9841 | 89.6314 | 93.3701 | 97.2047 | 101.1712 | 105.2332 | 109.3885
Chart: 
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Commercial - Reference | 6.0517 | 7.7478 | 9.9915 | 12.1397 | 14.1806 | 15.8554 | 18.6011 | 20.461 | 21.4835 | 22.5227 | 24.3038 | 25.693 | 27.7273 | 28.9705 | 30.419 | 31.2114 | 32.6703 | 33.1512 | 34.8315 | 35.6199 | 37.3942 | 39.2209 | 40.4262 | 41.6785 | 42.9611 | 44.4947 | 46.0943 | 47.9548 | 48.4566 | 49.9907 | 51.293 | 52.8851 | 54.6169 | 55.9125 | 56.5715 | 57.2918
Commercial - Low oil and gas supply | 6.0517 | 7.7478 | 9.9915 | 12.1397 | 14.1806 | 15.8554 | 18.6011 | 20.461 | 21.4835 | 22.6544 | 24.3912 | 26.8668 | 29.2319 | 30.9296 | 32.645 | 33.9927 | 35.8498 | 37.6493 | 39.1286 | 40.0691 | 40.4941 | 42.3975 | 44.0422 | 46.0621 | 48.0674 | 50.0987 | 51.9319 | 53.4591 | 54.8318 | 56.4641 | 57.6379 | 59.6604 | 60.8564 | 62.0885 | 63.3031 | 64.3541
Commercial - High oil and gas supply | 6.0517 | 7.7478 | 9.9915 | 12.1397 | 14.1806 | 15.8554 | 18.6011 | 20.461 | 21.4835 | 22.3331 | 23.841 | 24.713 | 26.4142 | 27.5072 | 28.5655 | 29.5002 | 30.9192 | 31.5847 | 32.6863 | 33.7268 | 34.8705 | 36.5693 | 37.6587 | 38.984 | 40.2816 | 41.6645 | 42.937 | 44.2176 | 45.527 | 46.6246 | 47.9128 | 49.7247 | 50.6158 | 51.3809 | 51.8719 | 52.6038
Commercial - Low Renewables Cost | 6.0517 | 7.7478 | 9.9915 | 12.1397 | 14.1806 | 15.8554 | 18.6011 | 20.461 | 21.4835 | 22.5482 | 24.2591 | 25.7069 | 28.4826 | 30.9086 | 33.433 | 36.6685 | 40.2217 | 43.1064 | 46.7045 | 49.8039 | 52.7823 | 56.8418 | 60.2302 | 64.9033 | 68.0515 | 71.6673 | 75.1861 | 78.7853 | 82.3805 | 87.1364 | 91.2962 | 95.0836 | 100.0596 | 104.4628 | 108.6952 | 113.0472
Commercial - High Renewables Cost | 6.0517 | 7.7478 | 9.9915 | 12.1397 | 14.1806 | 15.8554 | 18.6011 | 20.461 | 21.4835 | 22.6031 | 24.3062 | 25.74 | 27.6053 | 28.9405 | 29.4536 | 30.4298 | 31.9832 | 32.6528 | 34.0517 | 34.6761 | 35.7967 | 36.4265 | 36.7958 | 37.25 | 37.7802 | 38.8747 | 39.481 | 40.7262 | 41.2837 | 42.1829 | 43.1222 | 43.9515 | 44.5096 | 45.2036 | 45.5412 | 45.9532
Low Renewables Cost
Low Oil and Gas Supply
Reference
High Oil and Gas Supply
High Renewables Cost
2020 2030 2040 2050
Residential solar distributed generation capacity
AEO2021 Reference case
gigawatts direct current
Commercial solar distributed generation capacity
AEO2021 Reference case
gigawatts direct current
2020 2030 2040 2050

## Slide 16: Commercial distributed generation capacity
Chart: 
| 2020 | 2030 | 2040 | 2050
solar | 15.8554 | 31.2114 | 44.4947 | 57.2918
wind | 0.55488 | 0.56376 | 0.56852 | 0.57106
municipal solid waste/other | 0.53917 | 0.53917 | 0.53917 | 0.53917
natural gas-fired CHP | 1.3772 | 1.5458 | 1.6978 | 1.8521
Chart: 
| 2020 | 2030 | 2040 | 2050
wind | 0.55488 | 0.56376 | 0.56852 | 0.57106
municipal solid waste/other | 0.53917 | 0.53917 | 0.53917 | 0.53917
gas turbines | 1.0653 | 1.1835 | 1.3087 | 1.438
fuel cells | 0.16482 | 0.19138 | 0.20226 | 0.21335
gas engines | 0.057709 | 0.071345 | 0.083057 | 0.093168
microturbines | 0.089336 | 0.099614 | 0.10376 | 0.10765
Commercial distributed generation capacity
AEO2021 Reference case
gigawatts direct current
Commercial non-solar distributed generation capacity
AEO2021 Reference case
gigawatts direct current
natural gas-fired combined heat and power
municipal solid waste/other
wind
solar
microturbines
natural gas-fired engines
fuel cells
natural gas-fired turbines
municipal solid waste/other
wind

## Slide 17: Residential and commercial lighting consumption and lighting shares
Chart: 
| 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
residential | 0.44267 | 0.21125 | 0.19997 | 0.19742 | 0.19514 | 0.1944 | 0.18824 | 0.18725
commercial | 0.5879 | 0.53478 | 0.47629 | 0.43364 | 0.38767 | 0.36408 | 0.34824 | 0.3446
other linear fluorescent
incandescent/halogen light-emitting diode (LED) A-line/reflector
compact fluorescent lamp (CFL) LED integrated luminaire
Chart: 
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CFL | 95.27 | 84.191 | 74.388 | 65.699 | 58.138 | 51.435 | 45.557 | 40.336 | 35.727 | 31.636 | 28.008 | 24.805 | 21.959 | 19.435 | 17.203 | 15.221 | 13.492 | 11.95 | 10.596 | 9.391 | 8.315 | 7.371 | 6.53 | 5.783 | 5.117 | 4.54 | 4.027 | 3.568 | 3.168 | 2.806 | 2.491 | 2.209 | 1.959 | 1.733 | 1.534 | 1.365
Incandescent/Halogen | 68.063 | 64.834 | 62.276 | 55.136 | 46.843 | 39.549 | 33.434 | 28.353 | 24.168 | 20.724 | 17.812 | 15.333 | 13.214 | 11.399 | 9.854 | 8.473 | 7.294 | 6.292 | 5.418 | 4.681 | 4.035 | 3.484 | 3.012 | 2.598 | 2.254 | 1.945 | 1.683 | 1.453 | 1.261 | 1.092 | 0.948 | 0.817 | 0.713 | 0.616 | 0.536 | 0.462
Other | 27.105 | 23.941 | 21.498 | 19.451 | 16.982 | 15.615 | 14.412 | 13.433 | 12.615 | 11.947 | 11.391 | 10.909 | 10.485 | 10.091 | 9.597 | 9.189 | 8.397 | 7.51 | 6.87 | 6.41 | 6.053 | 5.816 | 5.608 | 5.455 | 5.328 | 5.122 | 4.975 | 4.875 | 4.818 | 4.784 | 4.74 | 4.733 | 4.733 | 4.79 | 4.828 | 4.883
LED Integrated Luminaire | 13.653 | 16.182 | 18.314 | 20.56 | 29.013 | 86.233 | 144.457 | 192.762 | 244.604 | 295.975 | 343.183 | 385.319 | 423.155 | 474.292 | 524.65 | 571.467 | 615.382 | 655.234 | 691.571 | 724.516 | 754.159 | 780.786 | 804.981 | 826.956 | 847.301 | 866.641 | 885.341 | 902.487 | 918.272 | 932.895 | 946.576 | 959.271 | 971.22 | 982.392 | 992.928 | 1002.861
LED A-Line/Reflector | 77.702 | 93.096 | 106.753 | 123.997 | 141.79 | 156.48 | 169.785 | 181.262 | 191.63 | 200.821 | 209.038 | 216.314 | 222.861 | 228.723 | 233.921 | 238.719 | 243.48 | 247.917 | 252.047 | 255.854 | 259.404 | 262.616 | 265.598 | 268.293 | 270.828 | 273.281 | 275.927 | 278.498 | 280.945 | 283.344 | 285.695 | 287.994 | 290.164 | 292.321 | 294.486 | 296.505
Linear Fluorescent | 888.642 | 892.743 | 897.188 | 901.832 | 903.028 | 850.33 | 799.638 | 756.853 | 711.72 | 667.216 | 626.646 | 590.891 | 559.319 | 514.152 | 469.564 | 428.327 | 392.337 | 360.555 | 332.108 | 306.837 | 284.47 | 264.711 | 247.055 | 231.356 | 217.068 | 192.133 | 170.466 | 151.462 | 134.79 | 120.177 | 107.39 | 96.132 | 86.305 | 77.616 | 70.083 | 63.453
Chart: Lighting shares by type AEO2021 Reference case
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CFL | 1759487517 | 1753478684 | 1680199511 | 1591963938 | 1511193005 | 1433401000 | 1350343339 | 1277575931 | 1207901543 | 1137844700 | 1066941913 | 995773398 | 941802912 | 898412995 | 855965390 | 813291209 | 776498256 | 743455724 | 710487467 | 683594326 | 663333492 | 643993275 | 624995405 | 606320878 | 587664766 | 569346597 | 550973409 | 532509371 | 514091635 | 495686283 | 477347273 | 459090570 | 440865176 | 422693957 | 404548644 | 386400011
incandescent/halogen | 2980879406 | 2380307171 | 1802376751 | 1216594583 | 752277711 | 421696491 | 288612617 | 209154793 | 158818512 | 128272201 | 111328500 | 102086186 | 95603672 | 91811360 | 89973792 | 82542430 | 77586412 | 74811896 | 73444025 | 72596746 | 72236152 | 72585786 | 73382233 | 74368156 | 75465474 | 71455258 | 69042836 | 67925712 | 67960822 | 68650396 | 69749013 | 70986772 | 72231935 | 73458040 | 74757900 | 76159259
other | 0 | 73925 | 94583 | 97378 | 95549 | 137009 | 166413 | 192957 | 218911 | 244920 | 284522 | 323171 | 351915 | 370787 | 387966 | 389934 | 391543 | 392882 | 393625 | 393949 | 393949 | 393751 | 393350 | 392739 | 391935 | 373368 | 354731 | 335993 | 317308 | 300294 | 284724 | 269377 | 254022 | 239698 | 226798 | 214920
LED | 325819807 | 995025351 | 1711013240 | 2451807405 | 3064226696 | 3545156430 | 3836953125 | 4065611382 | 4261262467 | 4437370233 | 4604990471 | 4765252433 | 4904320332 | 5029328635 | 5150788603 | 5289650609 | 5419808721 | 5543876547 | 5665466723 | 5779355430 | 5886156901 | 5990377042 | 6093090767 | 6194968151 | 6296283515 | 6405087776 | 6508445483 | 6610419777 | 6711611273 | 6812645855 | 6913439584 | 7013895420 | 7113878227 | 7213524875 | 7313059187 | 7409636394
linear fluorescent | 416335198 | 421497993 | 426858115 | 432311126 | 437765854 | 437885214 | 438017244 | 438111121 | 438102631 | 438036577 | 435303134 | 432467764 | 429469172 | 426338274 | 423077585 | 407790538 | 392454311 | 377066922 | 361585642 | 346025900 | 330407792 | 314727599 | 298985246 | 283188211 | 267330236 | 248827733 | 233969093 | 219257876 | 204550218 | 189839740 | 175126272 | 160410806 | 145728278 | 131134765 | 116537697 | 104909684
residential sector
percentage
commercial sector
percentage
Note: Includes both purchased electricity and onsite generation for own use