## Slide 1
Annual Energy Outlook 2022 with projections to 2050
March 3, 2022
www.eia.gov/aeo
#AEO2022
Narrative Figures

## Slide 2: You can access chart data by right-clicking the chart.

## Slide 3
Electricity

## Slide 4: Figure 10
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022)
Chart: 

## Slide 5: Figure 11
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Note: Onsite generation is electricity produced onsite for own use.
Chart: 
| 1990 | 2021 | 2050 | 1990 | 2021 | 2050 | 1990 | 2021 | 2050 | 1990 | 2021 | 2050
Electric Sales | 924.0187 | 1490.3607 | 1814.8611 | 838.2631 | 1318.7407 | 1537.9532 | 945.5217 | 981.1542 | 1217.496 | 4.7512 | 12.9488 | 145.6831
Direct Use | 0.011772 | 28.4271 | 155.9852 | 2.5751 | 28.0249 | 94.2712 | 57.7159 | 114.0024 | 157.3836 | 0 | 0 | 0

## Slide 6: Figure 12
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Note: Solar includes both utility-scale and end-use photovoltaic electricity generation.
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
coal | 1847.2903 | 1733.43 | 1514.0429 | 1581.1147 | 1581.7104 | 1352.3982 | 1239.1487 | 1205.8353 | 1149.4873 | 964.9568 | 773.8053 | 954.0652 | 910.0402 | 889.2256 | 759.2833 | 738.0865 | 729.9785 | 724.8306 | 717.0047 | 695.2988 | 684.3961 | 675.6702 | 661.8643 | 668.4832 | 631.0241 | 612.9448 | 590.3401 | 579.7266 | 577.52 | 575.0085 | 564.3532 | 559.2745 | 553.7539 | 545.9753 | 537.7507 | 531.2852 | 528.7425 | 524.9899 | 523.2586 | 522.9271 | 523.6989
nuclear | 806.968 | 790.204 | 769.331 | 789.016 | 797.166 | 797.178 | 805.694 | 804.95 | 807.084 | 809.409 | 789.919 | 777.6822 | 783.6156 | 785.4799 | 788.9731 | 781.7759 | 773.3351 | 759.4032 | 721.8088 | 715.1594 | 707.0017 | 708.095 | 708.8534 | 668.1328 | 668.8273 | 670.2323 | 671.2769 | 665.0948 | 665.3054 | 664.8966 | 665.356 | 666.5413 | 667.8084 | 668.6749 | 669.4373 | 670.2554 | 670.6824 | 671.1079 | 661.6078 | 661.929 | 662.3925
natural gas | 987.6972 | 1013.6889 | 1225.8942 | 1124.8356 | 1126.609 | 1333.4821 | 1378.3069 | 1296.4425 | 1469.1327 | 1585.8142 | 1616.748 | 1564.1349 | 1539.557 | 1570.1195 | 1587.4219 | 1554.3707 | 1550.9579 | 1561.1512 | 1582.0199 | 1563.2073 | 1541.635 | 1541.7028 | 1550.7772 | 1562.2382 | 1563.9312 | 1554.2781 | 1562.4941 | 1583.4559 | 1603.2281 | 1617.2731 | 1638.6067 | 1666.3652 | 1689.4192 | 1706.2039 | 1739.0846 | 1763.2244 | 1780.978 | 1799.0813 | 1820.2979 | 1835.5157 | 1855.9246
hydroelectric | 260.2031 | 319.3549 | 276.2402 | 268.5654 | 259.3666 | 249.0801 | 267.8122 | 300.3329 | 292.524 | 287.8737 | 291.1108 | 259.7296 | 271.3385 | 286.7379 | 300.6847 | 300.9504 | 300.869 | 300.8654 | 300.6857 | 300.7665 | 300.1929 | 299.4545 | 299.3445 | 299.0614 | 298.7615 | 298.8623 | 298.4616 | 298.3417 | 297.8172 | 296.8436 | 297.2078 | 297.7209 | 296.6051 | 295.3538 | 295.6725 | 295.7352 | 295.5706 | 295.187 | 291.1796 | 289.4344 | 289.4466
wind | 94.6522 | 120.1766 | 140.8217 | 167.8397 | 181.6553 | 190.7185 | 226.9926 | 254.3027 | 272.6675 | 295.8825 | 337.5098 | 377.6656 | 422.3198 | 439.5988 | 464.2495 | 519.0156 | 541.3367 | 547.8514 | 556.3535 | 566.9195 | 593.5239 | 600.5453 | 602.2605 | 603.9323 | 621.0452 | 648.707 | 661.3048 | 669.7364 | 672.265 | 673.7101 | 677.934 | 682.1479 | 689.5551 | 700.8303 | 700.5721 | 704.1688 | 713.7246 | 719.2849 | 722.0703 | 727.196 | 737.0348
solar | 3.6228 | 5.643 | 10.4777 | 17.1672 | 28.9237 | 39.0322 | 54.8665 | 77.2771 | 93.3646 | 106.8943 | 132.6308 | 164.277 | 204.0604 | 256.6856 | 356.3361 | 396.2419 | 420.4366 | 442.3903 | 479.2888 | 540.0472 | 574.9891 | 603.4877 | 632.4786 | 681.1967 | 728.3248 | 762.2565 | 802.8669 | 833.587 | 858.1519 | 889.6899 | 914.2574 | 932.579 | 957.0016 | 987.343 | 1011.5642 | 1042.386 | 1069.7925 | 1102.479 | 1144.9359 | 1183.11 | 1215.9583

## Slide 7: Figure 13
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
advanced combined cycle | 0.59498 | 0.65619 | 0.73626 | 0.72984 | 0.77867 | 0.77365 | 0.79086 | 0.79052 | 0.77728 | 0.7659 | 0.76229 | 0.76103 | 0.76186 | 0.76002 | 0.75259 | 0.73866 | 0.73133 | 0.72735 | 0.7249 | 0.71971 | 0.71824 | 0.72038 | 0.71443 | 0.7109 | 0.70688 | 0.69656 | 0.68898
conventional combined cycle | 0.42923 | 0.42733 | 0.5124 | 0.47173 | 0.46207 | 0.54039 | 0.53931 | 0.49898 | 0.52568 | 0.56157 | 0.56889 | 0.57696 | 0.54565 | 0.54827 | 0.53944 | 0.49392 | 0.47005 | 0.43293 | 0.41818 | 0.38264 | 0.35999 | 0.34738 | 0.33483 | 0.31886 | 0.30017 | 0.27979 | 0.26821 | 0.26709 | 0.26591 | 0.26337 | 0.26381 | 0.26635 | 0.26833 | 0.26728 | 0.26773 | 0.26819 | 0.26837 | 0.2703 | 0.27147 | 0.26992 | 0.26804
combustion turbine | 0.053044 | 0.049814 | 0.058462 | 0.046474 | 0.048687 | 0.063161 | 0.072988 | 0.063687 | 0.081778 | 0.077096 | 0.078587 | 0.040802 | 0.04024 | 0.039412 | 0.040467 | 0.037018 | 0.034382 | 0.031111 | 0.030128 | 0.02928 | 0.028487 | 0.027097 | 0.02616 | 0.025408 | 0.024695 | 0.024144 | 0.024164 | 0.023142 | 0.022795 | 0.023075 | 0.022507 | 0.021977 | 0.022067 | 0.022364 | 0.022057 | 0.022557 | 0.022596 | 0.02281 | 0.023249 | 0.02261 | 0.022819
oil and natural gas steam | 0.1086 | 0.10771 | 0.11114 | 0.096746 | 0.090638 | 0.10607 | 0.11452 | 0.096776 | 0.12474 | 0.13027 | 0.13167 | 0.051939 | 0.060565 | 0.072752 | 0.067274 | 0.042289 | 0.038251 | 0.025374 | 0.029579 | 0.022977 | 0.022366 | 0.023116 | 0.023434 | 0.022866 | 0.024491 | 0.022969 | 0.021606 | 0.023429 | 0.02238 | 0.022587 | 0.023267 | 0.022552 | 0.023573 | 0.023201 | 0.021099 | 0.021501 | 0.02176 | 0.020689 | 0.022195 | 0.022918 | 0.020857
coal | 0.70279 | 0.65707 | 0.58683 | 0.623 | 0.63224 | 0.57478 | 0.54884 | 0.54704 | 0.55666 | 0.49209 | 0.41793 | 0.51999 | 0.52027 | 0.53231 | 0.47115 | 0.51403 | 0.53032 | 0.54925 | 0.58701 | 0.61821 | 0.63305 | 0.62914 | 0.62927 | 0.63965 | 0.63153 | 0.62218 | 0.60444 | 0.59738 | 0.601 | 0.60025 | 0.59874 | 0.59521 | 0.58931 | 0.58101 | 0.57226 | 0.579 | 0.57624 | 0.57215 | 0.57029 | 0.56996 | 0.57084
Capacity factor for U.S. fossil fuel-fired plants
AEO2022 Reference case
percentage

## Slide 8: Figure 14
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022)
Note: Negative generation represents charging of energy storage technologies such as pumped hydro and battery storage. Hourly dispatch estimates are illustrative and are developed to determine curtailment and storage operations; final dispatch estimates are developed separately and may differ from total utilization as this figure shows. Solar includes both utility-scale and end-use photovoltaic electricity generation.
Hourly U.S. electricity generation and load by fuel for selected cases and representative years
billion kilowatthours
AEO2022 Reference case, 2021 AEO2022 Reference case, 2050 AEO2022 Low Renewables Cost case, 2050
curtailment battery storage pumped storage solar wind hydroelectric natural gas combined-cycle natural gas and oil peakers nuclear coal
hour of the day
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Coal | 26.8982 | 26.6615 | 25.8916 | 25.8716 | 27.2938 | 30.6331 | 35.2277 | 38.1864 | 39.6289 | 40.4584 | 40.8877 | 41.1943 | 41.2916 | 41.3534 | 41.3893 | 41.8287 | 42.7118 | 43.76 | 43.8305 | 43.252 | 42.404 | 40.2987 | 36.9423 | 33.1163
Nuclear | 32.8337 | 32.8462 | 32.8117 | 32.8033 | 32.8245 | 32.9011 | 33.0205 | 33.0962 | 33.1336 | 33.1671 | 33.1914 | 33.2066 | 33.2146 | 33.2172 | 33.2118 | 33.211 | 33.2163 | 33.2387 | 33.2427 | 33.2418 | 33.2151 | 33.1715 | 33.0777 | 32.982
Oil and Gas Peakers | 1.9477 | 1.8108 | 1.6048 | 1.5617 | 1.7219 | 2.16 | 3.1979 | 4.1589 | 4.587 | 4.8533 | 5.1019 | 5.3651 | 5.5524 | 5.6566 | 5.9046 | 5.8944 | 6.0922 | 6.3414 | 6.2645 | 5.9162 | 5.4847 | 4.9506 | 4.1483 | 3.1729
Gas Combined-Cycle | 50.2029 | 49.824 | 48.8565 | 48.595 | 49.1342 | 51.1224 | 54.5737 | 56.939 | 57.4444 | 58.4769 | 59.5428 | 60.459 | 61.1662 | 61.6824 | 62.2566 | 63.6236 | 65.4219 | 66.8531 | 66.968 | 66.0502 | 64.7874 | 62.4427 | 58.7694 | 55.0716
Hydro | 7.0108 | 7.3153 | 6.8196 | 6.9654 | 7.574 | 9.421 | 11.9648 | 12.3018 | 11.0916 | 10.4996 | 10.236 | 10.3937 | 10.549 | 10.6484 | 10.6845 | 11.2883 | 12.7323 | 14.8587 | 15.3579 | 15.2058 | 14.3329 | 12.2211 | 9.7695 | 7.7486
Wind | 18.2969 | 18.1704 | 17.9439 | 17.6658 | 17.3636 | 17.0167 | 16.0386 | 14.2916 | 12.5981 | 11.1846 | 10.5648 | 10.5047 | 10.7274 | 11.1579 | 11.6406 | 12.1226 | 12.6879 | 13.5062 | 14.7315 | 16.3357 | 17.5748 | 18.1925 | 18.4075 | 18.395
Solar Hybrid | 0.00022681 | 0.00048718 | 0.00029628 | 0.00021602 | 0.00044661 | 0.0324 | 0.12412 | 0.2249 | 0.29764 | 0.29557 | 0.29374 | 0.30431 | 0.32513 | 0.34131 | 0.35113 | 0.3584 | 0.33171 | 0.28193 | 0.18082 | 0.10776 | 0.043759 | 0.0044883 | 0.001161 | 0.00041043
Solar | 0.0030551 | 0.16216 | 1.3162 | 5.3923 | 10.8895 | 15.3556 | 17.5714 | 18.3197 | 18.3211 | 17.6746 | 15.6938 | 11.6773 | 6.4839 | 2.0205 | 0.31446 | 0.014665 | 3.728e-05
Curtailment | 0.018485 | 0.030084 | 0.13048 | 0.15797 | 0.16463 | 0.15136 | 0.077744 | 0.021202
Pumped Hydro discharge | 0.015058 | 0.07351 | 0.050288 | 0.054627 | 0.111 | 0.24274 | 0.43211 | 0.35629 | 0.32739 | 0.36014 | 0.3847 | 0.3739 | 0.3893 | 0.48776 | 0.57712 | 0.78555 | 1.1526 | 1.797 | 1.899 | 1.861 | 1.7356 | 1.0454 | 0.37491 | 0.10083
Battery Storage discharge | 0.021695 | 0.01274 | 0.005814 | 0.01477 | 0.054284 | 0.12388 | 0.14183 | 0.045208 | 0.023304 | 0.051655 | 0.035288 | 0.028834 | 0.035124 | 0.029743 | 0.048087 | 0.044202 | 0.14014 | 0.29454 | 0.29146 | 0.28791 | 0.23059 | 0.2083 | 0.087977 | 0.043688
Pumped Hydro charge | -1.4329 | -1.4673 | -1.8289 | -1.9342 | -1.7813 | -1.2334 | -0.60752 | -0.46063 | -0.64665 | -0.81294 | -0.82917 | -0.83736 | -0.85479 | -0.83121 | -0.69129 | -0.40812 | -0.03828 | -0.0071821 | -0.011825 | -0.02573 | -0.028966 | -0.054051 | -0.27972 | -0.9543
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Coal | 25.7696 | 25.8709 | 25.4072 | 25.0853 | 24.8419 | 25.3585 | 25.5766 | 24.856 | 23.3611 | 21.1848 | 19.4756 | 18.6306 | 18.5382 | 19.2424 | 20.8645 | 23.1049 | 25.3716 | 27.5463 | 28.4738 | 28.6935 | 28.4766 | 27.7914 | 27.2888 | 26.8272
Nuclear | 27.1592 | 27.1794 | 27.1126 | 27.0674 | 27.0033 | 27.0399 | 27.1352 | 27.1933 | 26.8007 | 25.5657 | 23.8888 | 22.615 | 22.5248 | 23.5379 | 25.0026 | 26.2204 | 27.0443 | 27.4264 | 27.4951 | 27.4665 | 27.4293 | 27.3629 | 27.317 | 27.2792
Oil and Gas Peakers | 0.42964 | 0.33395 | 0.25358 | 0.20962 | 0.18844 | 0.21558 | 0.26741 | 0.25768 | 0.22353 | 0.15305 | 0.13321 | 0.12971 | 0.14688 | 0.16885 | 0.32198 | 0.8182 | 1.603 | 3.8595 | 5.7254 | 5.1128 | 4.0335 | 2.7212 | 1.7255 | 0.94345
Gas Combined-Cycle | 77.4797 | 76.4758 | 72.1682 | 69.4077 | 67.0148 | 68.3765 | 69.3505 | 61.8394 | 46.1217 | 34.3417 | 30.5698 | 30.7713 | 32.5422 | 34.9846 | 40.707 | 53.2412 | 73.6702 | 96.7591 | 104.4745 | 103.2293 | 100.824 | 96.192 | 92.1022 | 88.5743
Hydro | 15.3396 | 16.0088 | 14.7851 | 13.9824 | 12.8262 | 14.4953 | 14.9235 | 10.9603 | 8.4802 | 6.7127 | 5.9644 | 5.8513 | 5.7672 | 5.9482 | 6.4483 | 8.2676 | 11.625 | 16.0966 | 17.3313 | 16.9819 | 16.6619 | 15.8352 | 15.2947 | 14.4623
Wind | 36.6422 | 36.3125 | 35.8646 | 35.3248 | 34.7711 | 34.1574 | 32.298 | 29.0388 | 25.7407 | 22.0628 | 20.4645 | 20.8277 | 21.5243 | 22.2992 | 23.1127 | 25.0092 | 27.763 | 29.768 | 31.7042 | 34.1878 | 36.0416 | 36.865 | 37.0687 | 36.9165
Solar Hybrid | 0.010979 | 0.0088286 | 0.0064163 | 0.0038042 | 0.010327 | 0.83957 | 4.4197 | 10.1186 | 14.9519 | 16.0148 | 15.1078 | 14.8073 | 15.2499 | 16.235 | 17.3558 | 18.7747 | 18.2028 | 15.7019 | 10.1047 | 5.6586 | 2.5988 | 0.27304 | 0.074011 | 0.023085
Solar | 0.010888 | 0.84257 | 7.474 | 32.9051 | 70.4674 | 101.228 | 121.0012 | 129.6751 | 130.6287 | 126.1232 | 113.366 | 87.0931 | 51.1969 | 17.2201 | 2.669 | 0.13698 | 0.00021537
Curtailment | 0.027833 | 0.0018711 | 0.0058653 | 0.010304 | 0.0040905 | 0.062191 | 0.90952 | 2.9098 | 6.7524 | 7.7077 | 6.3116 | 5.9911 | 5.9802 | 5.2862 | 2.6567 | 0.58836 | 0.0045349
Pumped Hydro discharge | 1.707 | 1.4232 | 0.54336 | 0.56012 | 0.36971 | 0.5777 | 0.80849 | 0.59684 | 0.15404 | 0.035782 | 0.0084935 | 0.0092473 | 0.16783 | 1.5306 | 4.2729 | 4.8735 | 4.9143 | 4.6069 | 3.328 | 2.1715 | 1.3687
Battery Storage discharge | 1.9816 | 1.855 | 0.88309 | 0.25506 | 0.15735 | 0.21682 | 0.7356 | 0.73464 | 0.10876 | 0.022778 | 0.010366 | 0.032271 | 0.0088542 | 0.0087662 | 0.047889 | 0.12525 | 1.2266 | 5.4403 | 6.8774 | 6.042 | 4.8976 | 2.6262 | 1.4515 | 1.2895
Pumped Hydro charge | -0.22214 | -0.14551 | -0.28015 | -0.42354 | -0.62387 | -0.34711 | -0.60412 | -1.9281 | -2.924 | -4.4877 | -5.1457 | -5.259 | -5.2423 | -4.8373 | -4.2988 | -2.7542 | -1.0015 | -0.11889 | -0.018488 | -0.0099686 | -0.035719 | -0.081187 | -0.20863
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Coal | 18.7322 | 18.8095 | 18.5261 | 18.3527 | 18.1945 | 18.4034 | 17.9494 | 16.6743 | 14.984 | 13.4685 | 12.62 | 12.1815 | 12.0248 | 12.2842 | 13.2809 | 15.0334 | 17.1072 | 19.4197 | 20.6077 | 20.9549 | 20.9237 | 20.4489 | 20.0479 | 19.7561
Nuclear | 14.6669 | 14.6612 | 14.6376 | 14.6236 | 14.608 | 14.6217 | 14.6066 | 14.3027 | 13.277 | 12.0208 | 10.7614 | 9.8953 | 9.9436 | 10.646 | 11.8021 | 13.0261 | 14.0585 | 14.7062 | 14.8234 | 14.8195 | 14.8023 | 14.7576 | 14.7254 | 14.7047
Oil and Gas Peakers | 0.45039 | 0.40568 | 0.3465 | 0.2597 | 0.21791 | 0.25907 | 0.25778 | 0.17199 | 0.1547 | 0.043916 | 0.029459 | 0.019336 | 0.016736 | 0.015879 | 0.019822 | 0.21199 | 0.60131 | 1.69 | 2.1657 | 2.0349 | 1.9208 | 1.7186 | 1.3036 | 0.95169
Gas Combined-Cycle | 68.0408 | 67.706 | 65.4583 | 63.6572 | 61.7635 | 62.3392 | 60.1205 | 46.508 | 29.3364 | 22.6576 | 21.1988 | 21.0532 | 21.3999 | 22.1227 | 24.6367 | 33.721 | 54.8392 | 76.3163 | 84.0407 | 83.9499 | 83.0354 | 81.0815 | 78.6758 | 76.4137
Hydro | 16.1205 | 16.9988 | 16.2736 | 15.7037 | 14.9488 | 16.2203 | 15.6895 | 10.9689 | 7.4893 | 5.6322 | 4.9919 | 4.8886 | 5.1121 | 5.3797 | 5.8136 | 6.9615 | 10.4839 | 13.9933 | 15.5844 | 15.561 | 16.0893 | 16.4469 | 16.5453 | 16.2408
Wind | 58.5606 | 57.8597 | 57.0615 | 56.151 | 55.2102 | 54.1839 | 50.9248 | 45.2569 | 39.6364 | 33.773 | 31.7175 | 32.7127 | 34.5093 | 36.0006 | 37.7607 | 40.4795 | 43.4211 | 46.5644 | 50.0698 | 54.3893 | 57.6014 | 59.0021 | 59.3711 | 59.0725
Solar Hybrid | 0.020344 | 0.015501 | 0.0106 | 0.0068151 | 0.018282 | 1.5036 | 8.0101 | 18.1205 | 26.1714 | 28.219 | 26.9236 | 27.0819 | 27.9116 | 29.6513 | 31.6342 | 33.0081 | 31.2164 | 26.6495 | 17.0131 | 9.4231 | 4.2796 | 0.48177 | 0.13664 | 0.049992
Solar | 0.01281 | 1.1259 | 9.9277 | 43.0776 | 90.5096 | 127.3668 | 154.5008 | 167.9149 | 169.3085 | 163.7165 | 147.0102 | 112.1691 | 65.3812 | 21.5966 | 3.339 | 0.16297 | 0.0002629
Curtailment | 0.00051663 | 0.28257 | 2.1143 | 6.5236 | 14.8078 | 14.39 | 9.7711 | 8.602 | 7.4651 | 4.8219 | 2.1674 | 0.80363 | 0.11273
Pumped Hydro discharge | 2.089 | 2.3649 | 1.5752 | 1.2985 | 1.045 | 1.32 | 0.86432 | 0.58499 | 0.050406 | 0.00057125 | 0.039452 | 1.482 | 4.0221 | 4.455 | 4.5937 | 4.3443 | 3.5961 | 3.3556 | 2.8644
Battery Storage discharge | 8.3952 | 6.6767 | 3.6345 | 2.5633 | 1.8021 | 2.5236 | 4.5572 | 3.1244 | 0.36315 | 0.048673 | 0.071758 | 0.082065 | 0.034814 | 0.022477 | 0.015581 | 0.28989 | 4.0638 | 20.8094 | 29.3072 | 28.1967 | 23.922 | 17.1104 | 11.4752 | 8.3932
Pumped Hydro charge | -0.079679 | -0.073189 | -0.12661 | -0.17244 | -0.23995 | -0.1314 | -0.48356 | -2.0538 | -4.2575 | -5.8684 | -6.1258 | -6.0453 | -5.9722 | -5.6149 | -5.327 | -4.1282 | -1.2283 | -0.085115 | -0.0069012 | -0.008014 | -0.0054132 | -0.023389 | -0.070318

## Slide 9: Figure 15
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Note: Negative generation represents charging of energy storage technologies such as pumped hydro and battery storage. Hourly dispatch estimates are illustrative and are developed to determine curtailment and storage operations; final dispatch estimates are developed separately and may differ from total utilization in Figure 15. Solar includes both utility-scale and end-use photovoltaic electricity generation.
Hourly U.S. electricity generation and load by fuel type and season in 2050
AEO2022 Reference case
billion kilowatthours
winter summer spring and fall
hour of the day
curtailment battery storage pumped storage solar wind hydroelectric natural gas combined-cycle natural gas and oil peakers nuclear coal
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 9.7656 | 9.6752 | 9.4749 | 9.3562 | 9.2464 | 9.468 | 9.4854 | 9.0382 | 8.0671 | 6.8042 | 5.7061 | 4.932 | 4.6733 | 4.861 | 5.5009 | 6.6709 | 7.9887 | 9.4094 | 10.2006 | 10.5417 | 10.5261 | 10.2664 | 10.0937 | 9.9587
 | 9.4593 | 9.4483 | 9.4289 | 9.4167 | 9.3951 | 9.4068 | 9.4329 | 9.4566 | 9.2526 | 8.6121 | 7.7911 | 6.9687 | 6.5329 | 6.9477 | 7.7717 | 8.5866 | 9.171 | 9.4469 | 9.5328 | 9.5287 | 9.5155 | 9.4921 | 9.4787 | 9.4732
 | 0.017653 | 0.0097932 | 0.0056388 | 0.0042539 | 0.0033098 | 0.006239 | 0.010608 | 0.023244 | 0.026414 | 0.025438 | 0.015161 | 0.0058691 | 0.0037096 | 0.0037136 | 0.0051009 | 0.014682 | 0.026078 | 0.077412 | 0.061771 | 0.070946 | 0.056577 | 0.037169 | 0.029959 | 0.030939
 | 21.2085 | 20.7739 | 19.7099 | 19.1099 | 18.396 | 18.9618 | 19.955 | 19.7188 | 13.3708 | 8.1374 | 6.4606 | 5.9357 | 5.8116 | 5.8936 | 6.396 | 8.6822 | 15.3713 | 24.9858 | 28.5879 | 28.4985 | 27.8164 | 26.1153 | 24.6072 | 24.1742
 | 5.347 | 5.4783 | 5.0608 | 4.8236 | 4.3021 | 5.0127 | 5.6028 | 4.6734 | 3.4126 | 2.5478 | 2.0415 | 1.9215 | 1.8904 | 2.0305 | 2.1764 | 2.9188 | 3.8929 | 5.4175 | 5.8443 | 5.5665 | 5.491 | 5.3087 | 5.0863 | 4.9003
 | 13.165 | 13.1081 | 13.0185 | 12.9098 | 12.7994 | 12.7449 | 12.6619 | 12.3193 | 11.3703 | 9.3933 | 8.0447 | 7.8403 | 8.0891 | 8.2369 | 8.1131 | 8.6963 | 10.1485 | 11.2715 | 12.0968 | 12.7262 | 13.0398 | 13.1912 | 13.216 | 13.1808
 | 0.16313 | 1.418 | 3.9265 | 4.6125 | 3.9799 | 3.3058 | 3.1869 | 3.5805 | 4.0931 | 5.0006 | 4.8295 | 4.0048 | 2.3027 | 1.6805 | 0.65059 | 0.018261
 | 5.3103e-05 | 0.26392 | 5.0761 | 17.6739 | 28.5656 | 36.3511 | 40.7172 | 41.5468 | 39.9023 | 35.7722 | 27.177 | 14.848 | 3.6512 | 0.096313
 | 0.11887 | 0.6458 | 2.374 | 3.5708 | 3.3467 | 3.0101 | 2.9234 | 2.8625 | 1.6481 | 0.41057
 | 0.714 | 0.53105 | 0.15058 | 0.20421 | 0.10341 | 0.19337 | 0.40901 | 0.4281 | 0.11287 | 0.035782 | 0.0084935 | 0.0065626 | 0.015615 | 0.34224 | 1.4205 | 1.6653 | 1.6017 | 1.3731 | 0.80758 | 0.54568 | 0.50725
 | 1.0732 | 0.30641 | 0.1655 | 0.022174 | 0.013098 | 0.068221 | 0.36412 | 0.51595 | 0.044049 | 0.010789 | 7.5e-05 | 0.016643 | 0.0012356 | 0.0010109 | 0.027393 | 0.028939 | 0.36298 | 1.8315 | 2.1919 | 1.9827 | 1.4173 | 0.898 | 0.39108 | 0.33891
 | -0.040362 | -0.051948 | -0.085927 | -0.11753 | -0.17408 | -0.11237 | -0.077084 | -0.33031 | -0.6807 | -1.2774 | -1.6223 | -1.7221 | -1.7789 | -1.7467 | -1.6341 | -1.264 | -0.57325 | -0.014198 | -0.0068109 | -0.025845 | -0.050782 | -0.078879
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 9.4821 | 9.515 | 9.3375 | 9.2083 | 9.1169 | 9.2807 | 9.5426 | 9.7393 | 9.8769 | 9.781 | 9.7078 | 9.8419 | 10.0905 | 10.3428 | 10.6707 | 10.9486 | 11.0536 | 11.1134 | 10.9419 | 10.7485 | 10.5949 | 10.3498 | 10.1387 | 9.9049
 | 9.2831 | 9.2804 | 9.2539 | 9.2361 | 9.2128 | 9.2243 | 9.2661 | 9.3054 | 9.3429 | 9.3514 | 9.3077 | 9.3755 | 9.4149 | 9.4327 | 9.4433 | 9.4494 | 9.4478 | 9.4442 | 9.4252 | 9.4044 | 9.3905 | 9.3687 | 9.349 | 9.3293
 | 0.37475 | 0.27166 | 0.19178 | 0.14956 | 0.12855 | 0.14691 | 0.19346 | 0.18245 | 0.1663 | 0.10773 | 0.10105 | 0.10977 | 0.13174 | 0.15457 | 0.30244 | 0.78246 | 1.5441 | 3.5956 | 5.5032 | 4.8974 | 3.8547 | 2.6081 | 1.6347 | 0.8529
 | 35.6023 | 34.5978 | 32.5001 | 31.1238 | 30.1493 | 30.5895 | 30.5876 | 27.9128 | 23.6805 | 20.0024 | 18.7696 | 19.6018 | 21.4019 | 23.4932 | 27.2486 | 33.2619 | 39.7063 | 44.8209 | 46.2392 | 45.4897 | 44.492 | 43.1572 | 41.6336 | 39.7058
 | 5.0474 | 5.046 | 4.4131 | 4.1419 | 3.8746 | 4.1565 | 3.9668 | 3.1284 | 2.5841 | 2.1777 | 2.1642 | 2.1475 | 2.1558 | 2.1892 | 2.2872 | 2.9074 | 4.2506 | 5.6846 | 6.0395 | 5.8901 | 5.7815 | 5.4152 | 5.2513 | 4.7422
 | 10.4101 | 10.2192 | 9.9905 | 9.7371 | 9.4753 | 9.0932 | 7.91 | 6.1104 | 5.2499 | 4.9511 | 5.0207 | 5.1577 | 5.4557 | 5.8907 | 6.4162 | 6.9722 | 7.3565 | 7.6884 | 8.22 | 9.2331 | 10.1774 | 10.5576 | 10.646 | 10.5625
 | 0.0031337 | 0.0035266 | 0.002563 | 0.00076937 | 0.0077309 | 0.51578 | 2.4641 | 4.5723 | 5.4683 | 6.1226 | 6.4663 | 6.8154 | 7.1015 | 7.3836 | 7.5157 | 7.562 | 7.3603 | 6.8783 | 4.721 | 2.3474 | 1.1393 | 0.13976 | 0.015213
 | 0.008985 | 0.56721 | 4.367 | 14.8399 | 27.0933 | 37.2562 | 43.0504 | 45.0697 | 45.1732 | 43.8885 | 40.0164 | 31.5634 | 20.4018 | 8.6778 | 1.823 | 0.11952 | 0.00021537
 | 0.21096 | 0.66672 | 0.93773 | 0.65284 | 0.45301 | 0.42108 | 0.38057 | 0.30331 | 0.043125 | 0.021206
 | 0.38135 | 0.20504 | 0.085698 | 0.10297 | 0.063938 | 0.076801 | 0.08826 | 0.071561 | 0.01807 | 0.13436 | 0.73807 | 1.484 | 1.6683 | 1.74 | 1.6446 | 1.3973 | 0.86883 | 0.42599
 | 0.37783 | 0.51726 | 0.19032 | 0.081853 | 0.084424 | 0.080591 | 0.10388 | 0.11499 | 0.037553 | 0.0060171 | 0.0042996 | 0.0079248 | 0.0051776 | 0.0074022 | 0.0036082 | 0.053655 | 0.37346 | 1.8455 | 2.5566 | 2.2037 | 1.9572 | 0.91715 | 0.49161 | 0.39593
 | -0.084388 | -0.061555 | -0.14884 | -0.25115 | -0.40191 | -0.20835 | -0.35665 | -1.0972 | -1.2829 | -1.5857 | -1.6894 | -1.609 | -1.5324 | -1.3166 | -1.1228 | -0.50128 | -0.079536 | -0.0272 | -0.002987 | -0.0031578 | -0.0083751 | -0.015454 | -0.1013
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 6.5219 | 6.6806 | 6.5947 | 6.5208 | 6.4785 | 6.6099 | 6.5486 | 6.0784 | 5.4171 | 4.5997 | 4.0616 | 3.8568 | 3.7745 | 4.0386 | 4.6929 | 5.4855 | 6.3292 | 7.0235 | 7.3313 | 7.4033 | 7.3556 | 7.1751 | 7.0564 | 6.9636
 | 8.4167 | 8.4506 | 8.4298 | 8.4146 | 8.3955 | 8.4088 | 8.4361 | 8.4313 | 8.2051 | 7.6022 | 6.79 | 6.2708 | 6.577 | 7.1575 | 7.7877 | 8.1844 | 8.4255 | 8.5353 | 8.5371 | 8.5335 | 8.5234 | 8.5021 | 8.4893 | 8.4767
 | 0.037233 | 0.052496 | 0.05616 | 0.055813 | 0.05658 | 0.062438 | 0.063342 | 0.05199 | 0.030816 | 0.019884 | 0.016999 | 0.014079 | 0.01143 | 0.010563 | 0.01444 | 0.021066 | 0.03276 | 0.18647 | 0.16044 | 0.14441 | 0.12221 | 0.075956 | 0.060887 | 0.059614
 | 20.6689 | 21.1041 | 19.9582 | 19.1739 | 18.4694 | 18.8253 | 18.8079 | 14.2077 | 9.0704 | 6.2019 | 5.3395 | 5.2337 | 5.3287 | 5.5978 | 7.0624 | 11.2971 | 18.5925 | 26.9524 | 29.6473 | 29.2411 | 28.5156 | 26.9195 | 25.8614 | 24.6943
 | 4.9452 | 5.4845 | 5.3112 | 5.0169 | 4.6495 | 5.3261 | 5.3539 | 3.1586 | 2.4836 | 1.9872 | 1.7587 | 1.7823 | 1.721 | 1.7286 | 1.9847 | 2.4415 | 3.4815 | 4.9946 | 5.4475 | 5.5253 | 5.3893 | 5.1112 | 4.9572 | 4.8198
 | 13.0671 | 12.9852 | 12.8556 | 12.678 | 12.4963 | 12.3193 | 11.726 | 10.609 | 9.1205 | 7.7185 | 7.399 | 7.8297 | 7.9795 | 8.1716 | 8.5834 | 9.3408 | 10.2579 | 10.8082 | 11.3874 | 12.2284 | 12.8244 | 13.1162 | 13.2066 | 13.1732
 | 0.0078457 | 0.005302 | 0.0038534 | 0.0030348 | 0.0025964 | 0.32378 | 1.7924 | 4.1283 | 5.5571 | 5.2798 | 4.6616 | 4.6861 | 4.9616 | 5.2709 | 5.747 | 6.2121 | 6.0129 | 4.8188 | 3.0811 | 1.6307 | 0.80895 | 0.11502 | 0.058798 | 0.023085
 | 0.0019034 | 0.2753 | 2.8431 | 12.9892 | 25.7002 | 35.4062 | 41.5997 | 43.8882 | 43.9086 | 42.3325 | 37.5775 | 28.3527 | 15.947 | 4.8911 | 0.74966 | 0.017453
 | 0.027833 | 0.0018711 | 0.0058653 | 0.010304 | 0.0040905 | 0.062191 | 0.57969 | 1.5972 | 3.4407 | 3.4841 | 2.5119 | 2.5599 | 2.6762 | 2.1204 | 0.96542 | 0.15658 | 0.0045349
 | 0.61164 | 0.68713 | 0.30708 | 0.25295 | 0.20237 | 0.30753 | 0.31123 | 0.097176 | 0.023098 | 0.0026847 | 0.01785 | 0.4503 | 1.3683 | 1.5399 | 1.5726 | 1.5892 | 1.1232 | 0.757 | 0.43547
 | 0.5306 | 1.0314 | 0.52726 | 0.15103 | 0.059831 | 0.068012 | 0.2676 | 0.1037 | 0.027163 | 0.0059712 | 0.0059919 | 0.0077032 | 0.0024409 | 0.0003531 | 0.016888 | 0.042659 | 0.49013 | 1.7633 | 2.1288 | 1.8556 | 1.5231 | 0.81107 | 0.56883 | 0.55465
 | -0.097388 | -0.03201 | -0.045382 | -0.05485 | -0.047882 | -0.026392 | -0.17038 | -0.50058 | -0.9604 | -1.6246 | -1.834 | -1.9279 | -1.931 | -1.7741 | -1.5418 | -0.98894 | -0.34871 | -0.077493 | -0.015501 | -0.0014988 | -0.014951 | -0.028455
load
load

## Slide 10: Figure 16a
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Note: Negative generation represents charging of energy storage technologies such as pumped hydro and battery storage. Hourly dispatch estimates are illustrative and are developed to determine curtailment and storage operations; final dispatch estimates are developed separately and may differ from total utilization in Figure 16. Solar includes both utility-scale and end-use photovoltaic electricity generation.
Hourly U.S. electricity generation and load by fuel type and region in 2050
AEO2022 Reference case
billion kilowatthours
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24


 | 0.059443 | 0.072812 | 0.091063 | 0.091063 | 0.091063 | 0.091063 | 0.091063 | 0.075061
 | 2.2215 | 2.3361 | 2.1971 | 2.0909 | 1.9403 | 1.8541 | 1.1569 | 0.44548 | 0.1003 | 0.0055121 | 0.0055121 | 0.0055121 | 0.0055121 | 0.0055121 | 0.020727 | 0.3219 | 1.655 | 3.0913 | 3.5072 | 3.4963 | 3.4812 | 3.327 | 3.2521 | 3.1992
 | 1.6548 | 1.7798 | 1.6888 | 1.5541 | 1.3529 | 1.4222 | 1.1572 | 0.62401 | 0.21051 | 0.16746 | 0.1624 | 0.14463 | 0.13079 | 0.18405 | 0.19479 | 0.33397 | 1.0029 | 1.5149 | 1.7242 | 1.7809 | 1.8291 | 1.7456 | 1.7408 | 1.7799
 | 0.89255 | 0.83799 | 0.7832 | 0.73061 | 0.68674 | 0.64582 | 0.54535 | 0.26841 | 0.14014 | 0.07268 | 0.091481 | 0.093685 | 0.092761 | 0.13837 | 0.16895 | 0.35554 | 0.61139 | 0.78841 | 0.90953 | 0.9858 | 1.0227 | 1.0214 | 0.99699 | 0.95051
 | 0.0019226 | 0.00096765 | 0.00096765 | 0.0013559 | 0.20452 | 0.7392 | 1.1202 | 1.1572 | 1.146 | 1.2048 | 1.0857 | 1.1516 | 1.4174 | 1.4785 | 1.7521 | 1.5473 | 1.2688 | 0.80269 | 0.5182 | 0.20631 | 0.034648 | 0.015213
 | 0.1979 | 1.6465 | 6.0443 | 10.498 | 13.2056 | 15.3755 | 16.7627 | 17.0725 | 16.6362 | 15.1998 | 11.3555 | 5.7399 | 1.372 | 0.1719
 | 0.055646 | 0.88506 | 2.4686 | 4.2271 | 3.3888 | 2.4368 | 2.2101 | 1.9052 | 1.4502 | 0.45991 | 0.086217
 | 0.40243 | 0.47915 | 0.18038 | 0.23704 | 0.13306 | 0.098189 | 0.0049778 | 0.58664 | 0.99223 | 1.113 | 1.2494 | 1.2371 | 1.0652 | 0.83421 | 0.69308
 | 1.2305 | 1.3058 | 0.6886 | 0.17586 | 0.11502 | 0.081081 | 0.0092463 | 0.0041378 | 0.66813 | 2.7166 | 3.3398 | 3.1438 | 2.661 | 1.3482 | 0.86702 | 0.99967
 | -0.0087646 | -0.0038479 | -0.0091852 | -0.012593 | -0.014479 | -0.21598 | -0.96379 | -1.1029 | -1.2612 | -1.2787 | -1.2787 | -1.3194 | -1.2639 | -1.2789 | -0.90202 | -0.26615 | -0.024606 | -0.0071742
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 2.1861 | 2.1429 | 2.0963 | 2.0655 | 2.0319 | 2.0289 | 1.9813 | 1.7856 | 1.4799 | 1.1762 | 1.019 | 1.0142 | 1.0395 | 1.0535 | 1.1108 | 1.2403 | 1.4901 | 1.8216 | 2.0889 | 2.2566 | 2.308 | 2.2946 | 2.2898 | 2.2517
 | 1.7324 | 1.7289 | 1.7252 | 1.7227 | 1.7199 | 1.7198 | 1.7229 | 1.7211 | 1.5885 | 1.3717 | 1.1205 | 0.90275 | 0.85944 | 0.85507 | 1.0111 | 1.2298 | 1.4491 | 1.6676 | 1.7462 | 1.7442 | 1.7423 | 1.7412 | 1.7409 | 1.7378
 | 0.13858 | 0.5964 | 0.68142 | 0.38591 | 0.3406 | 0.21483 | 0.025181
 | 9.9251 | 9.0416 | 7.984 | 7.3322 | 6.8133 | 6.8395 | 7.2494 | 7.163 | 4.1221 | 1.9059 | 1.4476 | 1.6671 | 2.103 | 2.4425 | 2.9513 | 4.2451 | 6.4852 | 10.0033 | 12.2454 | 12.3313 | 12.2677 | 12.3285 | 12.2599 | 11.6364
 | 0.085074 | 0.033512 | 0.023021 | 0.023444 | 0.023021 | 0.028882 | 0.045191 | 0.049587 | 0.023021 | 0.017058 | 0.011326 | 0.010721 | 0.011746 | 0.011326 | 0.011746 | 0.012339 | 0.018984 | 0.073433 | 0.096204 | 0.079065 | 0.073424 | 0.10782 | 0.11252 | 0.061726
 | 6.1165 | 6.1655 | 6.1357 | 6.0646 | 5.9589 | 5.8463 | 5.6509 | 5.0509 | 4.2925 | 3.1225 | 2.017 | 1.9429 | 1.9957 | 1.8694 | 1.6988 | 2.296 | 3.0416 | 3.3822 | 3.8858 | 4.5547 | 5.1759 | 5.61 | 5.8703 | 6.0254
 | 0.25357 | 1.5271 | 3.1143 | 3.5684 | 3.3898 | 3.6326 | 3.9092 | 4.1723 | 4.3482 | 4.5665 | 4.7437 | 4.7212 | 3.19 | 1.9245 | 0.89096 | 0.0010972
 | 0.00044703 | 0.25506 | 2.0944 | 6.4236 | 10.4856 | 13.5971 | 14.5912 | 14.6169 | 14.6165 | 14.3045 | 11.8274 | 7.8865 | 3.2776 | 0.48301 | 0.019808
 | 0.43598 | 1.0753 | 0.93644 | 0.77984 | 0.91599 | 1.2764 | 0.69814 | 0.089103

 | 0.17719 | 0.15146 | 0.17754 | 0.021064 | 0.010199 | 0.022586 | 0.0092877 | 0.028441 | 0.30013 | 0.4811 | 0.32932 | 0.31675 | 0.39164 | 0.22842 | 0.033366

Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 10.301 | 10.4515 | 10.3041 | 10.2144 | 10.1868 | 10.4826 | 10.7479 | 10.7745 | 10.6536 | 10.1674 | 9.6692 | 9.266 | 9.135 | 9.2571 | 9.7185 | 10.4187 | 11.0281 | 11.5655 | 11.7129 | 11.6715 | 11.5598 | 11.3102 | 11.0882 | 10.8996
 | 1.1482 | 1.1702 | 1.1686 | 1.1676 | 1.167 | 1.1693 | 1.1727 | 1.1755 | 1.1789 | 1.1802 | 1.1806 | 1.179 | 1.1811 | 1.1811 | 1.1809 | 1.1806 | 1.1807 | 1.183 | 1.1813 | 1.18 | 1.1789 | 1.176 | 1.1739 | 1.1728
 | 0.24118 | 0.19129 | 0.16452 | 0.1561 | 0.15453 | 0.17277 | 0.22194 | 0.22613 | 0.19198 | 0.1215 | 0.096108 | 0.07961 | 0.074909 | 0.079219 | 0.14662 | 0.38451 | 0.45801 | 1.4031 | 1.8066 | 1.5889 | 1.3106 | 0.95184 | 0.64126 | 0.41768
 | 15.1568 | 15.5833 | 14.8386 | 14.4139 | 14.0865 | 14.6765 | 15.2537 | 13.2973 | 10.1752 | 7.4399 | 6.048 | 5.7934 | 5.9551 | 6.3806 | 7.6914 | 10.3483 | 14.2566 | 19.1038 | 20.6737 | 20.2255 | 19.7569 | 18.8445 | 17.9754 | 17.3499
 | 1.182 | 1.3091 | 1.103 | 1.0261 | 0.8893 | 1.2173 | 1.4516 | 1.2688 | 1.0276 | 0.84968 | 0.72558 | 0.63751 | 0.56637 | 0.56873 | 0.66604 | 0.82622 | 1.1265 | 1.5954 | 1.6541 | 1.5368 | 1.4574 | 1.3965 | 1.3152 | 1.0923
 | 12.3034 | 12.1814 | 12.0107 | 11.8185 | 11.6151 | 11.3902 | 10.6496 | 9.3495 | 7.7996 | 6.0018 | 5.6219 | 5.6847 | 5.883 | 6.1258 | 6.4585 | 6.9564 | 8.2563 | 9.2898 | 10.139 | 11.3026 | 12.145 | 12.4833 | 12.5266 | 12.4246
 | 0.0065168 | 0.001649 | 0.00076663 | 0.001649 | 0.00072428 | 0.086576 | 0.78425 | 1.876 | 2.812 | 2.9899 | 2.6531 | 2.4486 | 2.5157 | 2.7069 | 3.1149 | 3.4962 | 3.485 | 3.0301 | 2.0372 | 1.1428 | 0.57762 | 0.10137 | 0.031015 | 0.015258
 | 0.0010478 | 0.12297 | 1.2396 | 5.9856 | 13.5777 | 20.2202 | 24.4377 | 26.5382 | 26.8552 | 26.2078 | 23.6578 | 18.499 | 11.2964 | 4.0136 | 0.69939 | 0.066257 | 0.00021537
 | 0.018653 | 6.4953e-05 | 0.39387 | 1.6968 | 2.2863 | 2.285 | 2.4058 | 2.4922 | 2.2315 | 1.468 | 0.41304
 | 0.25618 | 0.26198 | 0.11211 | 0.085995 | 0.094291 | 0.20765 | 0.29599 | 0.28063 | 0.14906 | 0.035782 | 0.0084935 | 0.024402 | 0.14006 | 0.49108 | 0.64963 | 0.66924 | 0.62129 | 0.41853 | 0.27354 | 0.2227
 | 0.086049 | 0.060969 | 0.010179 | 0.0047842 | 0.0057898 | 0.040144 | 0.28471 | 0.41544 | 0.075232 | 0.0097794 | 0.00054725 | 0.0008539 | 0.00080884 | 0.0031753 | 0.00098471 | 0.023699 | 0.13106 | 0.70707 | 1.1086 | 0.99724 | 0.74323 | 0.41336 | 0.10625 | 0.013588
 | -0.14971 | -0.11257 | -0.15656 | -0.18613 | -0.19991 | -0.12292 | -0.059699 | -0.058917 | -0.20963 | -0.38633 | -0.60824 | -0.70802 | -0.77424 | -0.79403 | -0.71355 | -0.55245 | -0.26494 | -0.084555 | -0.011314 | -0.0099686 | -0.035719 | -0.073136 | -0.11139
hour of the day
curtailment battery storage pumped storage solar wind hydroelectric natural gas combined-cycle natural gas and oil peakers nuclear coal

## Slide 11: Figure 16b
Hourly U.S. electricity generation and load by fuel type and region in 2050
AEO2022 Reference case
billion kilowatthours
Northeast PJM Southeast West
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 0.07743 | 0.076155 | 0.074171 | 0.072419 | 0.070807 | 0.070287 | 0.0707 | 0.069623 | 0.069267 | 0.068057 | 0.067849 | 0.068863 | 0.069687 | 0.069847 | 0.071802 | 0.074091 | 0.079238 | 0.084433 | 0.086539 | 0.087621 | 0.086183 | 0.084432 | 0.082859 | 0.081674
 | 2.2382 | 2.2392 | 2.235 | 2.2317 | 2.2281 | 2.2307 | 2.2344 | 2.2214 | 2.1776 | 2.0994 | 2.034 | 1.997 | 2.0098 | 2.0749 | 2.1438 | 2.206 | 2.2545 | 2.2687 | 2.2675 | 2.2636 | 2.2601 | 2.2537 | 2.2488 | 2.2452
 | 0.054279 | 0.0477 | 0.040166 | 0.032583 | 0.031548 | 0.031548 | 0.031548 | 0.031548 | 0.031548 | 0.031548 | 0.031548 | 0.031548 | 0.031548 | 0.031548 | 0.052169 | 0.12729 | 0.21042 | 0.24154 | 0.26194 | 0.24296 | 0.24181 | 0.22499 | 0.19275 | 0.14119
 | 2.3995 | 2.3926 | 2.2147 | 2.0412 | 1.898 | 1.8975 | 1.893 | 1.7896 | 1.3473 | 1.1751 | 1.1703 | 1.203 | 1.2775 | 1.3532 | 1.5787 | 2.287 | 3.481 | 4.159 | 4.278 | 4.1908 | 4.0748 | 3.8315 | 3.622 | 3.4933
 | 1.698 | 1.7864 | 1.6665 | 1.562 | 1.3938 | 1.4945 | 1.5434 | 1.4706 | 1.3586 | 1.161 | 1.1251 | 1.1618 | 1.2018 | 1.3428 | 1.4359 | 1.6389 | 1.7688 | 1.8399 | 1.8749 | 1.8733 | 1.8704 | 1.8075 | 1.6654 | 1.6019
 | 3.2848 | 3.2362 | 3.1916 | 3.147 | 3.1042 | 3.0574 | 2.9313 | 2.7725 | 2.6391 | 2.5241 | 2.5169 | 2.5975 | 2.6929 | 2.7922 | 2.9323 | 3.0445 | 3.1561 | 3.2723 | 3.41 | 3.5132 | 3.5246 | 3.4819 | 3.4219 | 3.3513
 | 0.0027915 | 0.10111 | 0.44958 | 0.9003 | 1.271 | 1.4433 | 1.412 | 1.3908 | 1.3554 | 1.4019 | 1.4632 | 1.3975 | 1.1838 | 0.90422 | 0.49518 | 0.22639 | 0.071905 | 0.019722 | 0.01977 | 0.0078269
 | 0.0062515 | 0.12499 | 0.68746 | 2.1462 | 3.9769 | 5.4496 | 6.2965 | 6.5687 | 6.4534 | 5.986 | 5.0028 | 3.4792 | 1.7116 | 0.50699 | 0.09176 | 0.0013545
 | 0.00059912 | 0.0018711 | 0.0058653 | 0.010304 | 0.0040905 | 0.0065454 | 0.024395 | 0.039289 | 0.064659 | 0.061261 | 0.028212 | 0.024014 | 0.034613 | 0.010943
 | 0.27236 | 0.20644 | 0.12238 | 0.10347 | 0.032021 | 0.051657 | 0.062985 | 0.010935 | 0.044284 | 0.099808 | 0.34837 | 0.46355 | 0.42765 | 0.39454 | 0.37941 | 0.28163 | 0.15083
 | 0.2595 | 0.29969 | 0.14068 | 0.05975 | 0.035765 | 0.0053316 | 0.063998 | 0.057347 | 0.0043709 | 0.017504 | 0.2373 | 0.79786 | 0.86116 | 0.64571 | 0.47735 | 0.081767 | 0.10001 | 0.12334
 | -0.018868 | -0.011642 | -0.022071 | -0.036388 | -0.062501 | -0.056209 | -0.11678 | -0.21443 | -0.32858 | -0.49912 | -0.53648 | -0.53914 | -0.53064 | -0.43474 | -0.3716 | -0.2695 | -0.11074
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 4.397 | 4.4201 | 4.2776 | 4.1451 | 4.0304 | 4.1476 | 4.2876 | 4.3891 | 4.3664 | 4.2379 | 4.0647 | 3.9126 | 3.8792 | 3.9594 | 4.1232 | 4.4172 | 4.6738 | 4.9676 | 5.0248 | 5.0125 | 4.9533 | 4.824 | 4.7572 | 4.6645
 | 9.7841 | 9.7907 | 9.7503 | 9.72 | 9.6714 | 9.6865 | 9.7461 | 9.8084 | 9.8386 | 9.8453 | 9.8542 | 9.8627 | 9.8687 | 9.8735 | 9.8808 | 9.8816 | 9.8845 | 9.9011 | 9.8907 | 9.8797 | 9.8716 | 9.8574 | 9.8482 | 9.837
 | 0.12955 | 0.094957 | 0.048894 | 0.020944 | 0.002361 | 0.011265 | 0.013926 | 0.0055545 | 0.018555 | 0.040425 | 0.058081 | 0.12319 | 0.28694 | 0.5532 | 0.82291 | 0.96904 | 0.76464 | 0.65709 | 0.49426 | 0.36507 | 0.23907
 | 20.9018 | 20.9032 | 19.8383 | 19.1893 | 18.6574 | 18.9447 | 19.6435 | 19.7778 | 18.4889 | 17.0945 | 16.4767 | 16.3697 | 16.3938 | 16.5235 | 17.0983 | 18.6236 | 21.4956 | 24.626 | 25.2714 | 25.0439 | 24.6609 | 23.6085 | 22.9811 | 22.4604
 | 0.6479 | 0.57009 | 0.52203 | 0.51417 | 0.3001 | 0.50777 | 0.59921 | 0.51594 | 0.40201 | 0.32547 | 0.28036 | 0.29484 | 0.26178 | 0.26811 | 0.30955 | 0.3243 | 0.43933 | 0.66017 | 0.74241 | 0.758 | 0.73296 | 0.68127 | 0.66642 | 0.47754
 | 5.207 | 5.0964 | 5.0045 | 4.9136 | 4.8235 | 4.7443 | 4.5314 | 4.1624 | 3.7978 | 3.5064 | 3.4131 | 3.4617 | 3.5894 | 3.7503 | 3.9351 | 4.1024 | 4.2687 | 4.487 | 4.7588 | 5.0519 | 5.2524 | 5.3223 | 5.331 | 5.2875
 | 0.00013767 | 0.00013767 | 0.00013767 | 6.045e-05 | 5.445e-05 | 0.077723 | 0.48623 | 1.1679 | 1.6578 | 1.6932 | 1.6602 | 1.5582 | 1.6393 | 1.9817 | 2.2485 | 2.4755 | 2.3103 | 1.9116 | 1.1325 | 0.4686 | 0.15249 | 0.0025171
 | 6.792e-05 | 0.091397 | 0.7153 | 3.1466 | 6.8798 | 10.0852 | 12.2468 | 13.3545 | 13.4808 | 12.7753 | 11.0882 | 8.3282 | 4.8686 | 1.6539 | 0.3023 | 0.016597

 | 0.053971 | 0.038242 | 0.020069 | 0.012218 | 0.005657 | 0.019713 | 0.021879 | 0.0049742 | 0.014634 | 0.13768 | 0.32342 | 0.32072 | 0.2982 | 0.35472 | 0.26898 | 0.1908 | 0.060607
 | 0.14864 | 0.13909 | 0.042025 | 0.012458 | 0.080019 | 0.20092 | 0.079084 | 0.0083307 | 0.0027995 | 0.0054033 | 0.0083267 | 0.0051776 | 0.0042268 | 0.0026235 | 0.012011 | 0.059995 | 0.6498 | 0.77087 | 0.66343 | 0.45328 | 0.32869 | 0.14937 | 0.097186
 | -0.015827 | -0.013708 | -0.052446 | -0.10003 | -0.18979 | -0.098418 | -0.084687 | -0.18338 | -0.21988 | -0.26759 | -0.30817 | -0.29423 | -0.25508 | -0.16709 | -0.15269 | -0.053378 | -0.072476 | -0.0097288 | -0.0080512 | -0.039471
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 5.9111 | 5.8591 | 5.7668 | 5.7217 | 5.675 | 5.7473 | 5.6299 | 5.0843 | 4.2613 | 3.339 | 2.6922 | 2.5324 | 2.617 | 2.995 | 3.665 | 4.4842 | 5.3279 | 6.0795 | 6.4325 | 6.5292 | 6.4697 | 6.2679 | 6.1084 | 6.016
 | 10.5937 | 10.5875 | 10.5725 | 10.5658 | 10.5589 | 10.5741 | 10.5971 | 10.6185 | 10.4805 | 9.7053 | 8.5194 | 7.6574 | 7.6083 | 8.453 | 9.5138 | 10.2778 | 10.6792 | 10.7274 | 10.7226 | 10.7094 | 10.6899 | 10.653 | 10.6274 | 10.6119
 | 0.019462 | 0.14148 | 0.82333 | 1.5796 | 1.4231 | 1.113 | 0.4957 | 0.17548 | 0.034858
 | 19.9402 | 19.1361 | 18.1607 | 17.506 | 16.8752 | 17.392 | 17.4334 | 13.4057 | 7.5284 | 3.5885 | 2.2912 | 2.4578 | 3.2957 | 4.4935 | 6.8785 | 11.7414 | 18.8201 | 26.2102 | 28.5281 | 28.1969 | 27.2729 | 25.4877 | 23.607 | 22.44
 | 1.8267 | 1.8925 | 1.5634 | 1.4488 | 1.3603 | 1.694 | 1.6695 | 1.0553 | 0.78041 | 0.65225 | 0.52288 | 0.59714 | 0.58083 | 0.55003 | 0.59506 | 0.78756 | 1.137 | 2.2382 | 2.4838 | 2.4661 | 2.2567 | 1.9771 | 1.8037 | 1.6034
 | 0.32392 | 0.31674 | 0.31149 | 0.30872 | 0.30336 | 0.29672 | 0.27701 | 0.2481 | 0.22141 | 0.20225 | 0.14305 | 0.21964 | 0.20681 | 0.24581 | 0.25734 | 0.27645 | 0.28204 | 0.30163 | 0.32427 | 0.3524 | 0.36001 | 0.35312 | 0.34204 | 0.33227
 | 0.00095826 | 0.00096696 | 0.00096696 | 0.00041817 | 0.097628 | 0.72449 | 1.7139 | 2.5318 | 2.7334 | 2.4209 | 2.328 | 2.3468 | 2.3959 | 2.5078 | 2.8136 | 2.9007 | 2.2873 | 1.5203 | 0.93974 | 0.49904 | 0.087441
 | 0.16255 | 1.8998 | 9.286 | 20.4533 | 29.4369 | 35.1656 | 37.5903 | 37.9039 | 36.0494 | 31.7403 | 24.41 | 14.5727 | 4.7638 | 0.65711 | 0.0093901
 | 0.25225 | 0.80258 | 0.53202 | 0.43629 | 0.49983 | 0.1914 | 0.0013074
 | 0.65 | 0.36368 | 0.092048 | 0.1214 | 0.10872 | 0.19825 | 0.39503 | 0.26629 | 0.053952 | 0.43012 | 1.8657 | 2.0723 | 2.0458 | 1.8125 | 1.0963 | 0.51716 | 0.20156
 | 0.043293 | 0.0024134 | 0.00088535 | 0.0022027 | 0.00077601 | 0.0013827 | 0.015179 | 0.005109 | 4.5e-05 | 0.0012356 | 0.0010109 | 0.0034371 | 0.004441 | 0.0070512 | 0.15214 | 0.17653 | 0.16662 | 0.15166 | 0.023281 | 0.0002728 | 0.0052704
 | -0.0044837 | -0.029108 | -0.067129 | -0.10414 | -0.038646 | -0.11707 | -0.45906 | -0.94744 | -1.8338 | -2.1776 | -2.1905 | -2.1263 | -1.9612 | -1.6058 | -0.87848 | -0.25889 | -0.0084224
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 2.897 | 2.9211 | 2.8883 | 2.8663 | 2.847 | 2.8819 | 2.8592 | 2.7528 | 2.5306 | 2.1962 | 1.9626 | 1.8367 | 1.7979 | 1.9074 | 2.1751 | 2.4704 | 2.7724 | 3.0277 | 3.1282 | 3.1361 | 3.0996 | 3.0102 | 2.9623 | 2.9138
 | 1.6624 | 1.6628 | 1.661 | 1.6596 | 1.658 | 1.6596 | 1.662 | 1.6484 | 1.5366 | 1.3638 | 1.1801 | 1.0162 | 0.99755 | 1.1003 | 1.2723 | 1.4445 | 1.5963 | 1.6786 | 1.6868 | 1.6897 | 1.6866 | 1.6815 | 1.6779 | 1.6746
 | 0.0046316 | 0.18039 | 0.35727 | 0.42076 | 0.32066 | 0.23398 | 0.12278 | 0.04507 | 0.010411
 | 6.9347 | 7.0829 | 6.9348 | 6.8342 | 6.7442 | 6.7722 | 6.7206 | 5.9605 | 4.3594 | 3.1323 | 3.1305 | 3.2748 | 3.5115 | 3.7858 | 4.4881 | 5.6739 | 7.4767 | 9.5654 | 9.9706 | 9.7446 | 9.3097 | 8.7643 | 8.4047 | 7.9951
 | 8.2452 | 8.6374 | 8.2184 | 7.8539 | 7.5068 | 8.1306 | 8.4576 | 5.9761 | 4.6782 | 3.5398 | 3.1368 | 3.0046 | 3.0139 | 3.0232 | 3.2352 | 4.3443 | 6.1314 | 8.1747 | 8.7557 | 8.4878 | 8.4418 | 8.1194 | 7.9907 | 7.8454
 | 8.5139 | 8.4782 | 8.4273 | 8.3417 | 8.2794 | 8.1766 | 7.7123 | 7.187 | 6.8502 | 6.6331 | 6.6612 | 6.8275 | 7.0636 | 7.3772 | 7.6617 | 7.978 | 8.1469 | 8.2467 | 8.2769 | 8.4273 | 8.561 | 8.593 | 8.5799 | 8.5449
 | 0.0033667 | 0.0041525 | 0.0035774 | 0.00070891 | 0.0054012 | 0.27201 | 0.98236 | 1.8133 | 2.4078 | 2.4406 | 2.367 | 2.3634 | 2.332 | 2.1589 | 2.1947 | 2.2733 | 2.032 | 1.5786 | 0.92687 | 0.43844 | 0.20048 | 0.026244 | 0.0080137
 | 0.0035212 | 0.14231 | 1.0303 | 4.2021 | 8.6581 | 12.3449 | 13.8821 | 14.2695 | 14.2459 | 13.8521 | 12.3725 | 9.1938 | 5.1212 | 1.6322 | 0.26352 | 0.023568
 | 0.0085806 | 0.0080041 | 0.0756 | 0.093487 | 0.093121 | 0.13507 | 0.13238 | 0.1257 | 0.029354 | 0.0045349
 | 0.072049 | 0.07372 | 0.016365 | 0.0016158 | 0.0163 | 0.0298 | 0.017105 | 0.0092473 | 0.030555 | 0.13631 | 0.2521 | 0.25429 | 0.22401 | 0.18676 | 0.099556 | 0.074175 | 0.039931
 | 0.03647 | 0.047022 | 0.00071927 | 0.0088662 | 0.010089 | 0.000124 | 0.00050452 | 0.0016321 | 0.0003531 | 0.031556 | 0.067598 | 0.0946 | 0.1167 | 0.13927 | 0.095903 | 0.094307 | 0.0393 | 0.000172 | 0.017068
 | -0.028969 | -0.0031128 | -0.016116 | -0.024674 | -0.054933 | -0.016443 | -0.0098992 | -0.04848 | -0.1156 | -0.23964 | -0.23652 | -0.2484 | -0.23668 | -0.21637 | -0.17619 | -0.098376 | -0.028315 | -0.04935
hour of the day
curtailment battery storage pumped storage solar wind hydroelectric natural gas combined-cycle natural gas and oil peakers nuclear coal
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Note: Negative generation represents charging of energy storage technologies such as pumped hydro and battery storage. Hourly dispatch estimates are illustrative and are developed to determine curtailment and storage operations; final dispatch estimates are developed separately and may differ from total utilization in Figure 16. Solar includes both utility-scale and end-use photovoltaic electricity generation.

## Slide 12: Figure 17a
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Low Renewables Cost case
Note: Negative generation represents charging of energy storage technologies such as pumped hydro and battery storage. Hourly dispatch estimates are illustrative and are developed to determine curtailment and storage operations; final dispatch estimates are developed separately and may differ from total utilization in Figure 17. Solar includes both utility-scale and end-use photovoltaic electricity generation.
Hourly U.S. electricity generation and load by fuel type and region in 2050
AEO2022 Low Renewables Cost case
billion kilowatthours
CAISO ERCOT Mid-Continent
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24



 | 1.8522 | 1.8841 | 1.8268 | 1.8013 | 1.7787 | 1.6213 | 1.0225 | 0.35675 | 0.085067 | 0.0506 | 1.0576 | 2.2499 | 2.4855 | 2.4949 | 2.4804 | 2.4362 | 2.4175 | 2.4039
 | 1.7916 | 1.9415 | 1.8648 | 1.7715 | 1.6141 | 1.6581 | 1.3634 | 0.52604 | 0.23099 | 0.20968 | 0.20026 | 0.20968 | 0.20968 | 0.23012 | 0.24087 | 0.2584 | 0.81608 | 1.2414 | 1.4911 | 1.5464 | 1.6974 | 1.7796 | 1.8394 | 1.9211
 | 1.418 | 1.3323 | 1.2456 | 1.1616 | 1.0916 | 1.0263 | 0.77967 | 0.25185 | 0.13512 | 0.09103 | 0.12771 | 0.1214 | 0.12829 | 0.22959 | 0.25734 | 0.33949 | 0.88124 | 1.2221 | 1.441 | 1.5635 | 1.6241 | 1.6226 | 1.584 | 1.5097
 | 0.0051711 | 0.0026005 | 0.0026005 | 0.0036483 | 0.44338 | 1.5304 | 2.2696 | 2.4168 | 2.2329 | 2.3796 | 2.4828 | 2.8053 | 3.0828 | 3.2592 | 3.5302 | 3.055 | 2.482 | 1.5538 | 1.0014 | 0.33954 | 0.047004 | 0.020638
 | 0.21475 | 1.7007 | 5.8069 | 10.1227 | 13.1667 | 15.9774 | 18.2621 | 18.5497 | 18.0982 | 16.4406 | 12.0917 | 6.0098 | 1.397 | 0.17246
 | 0.27122 | 2.0502 | 4.2685 | 6.0457 | 4.5877 | 2.5633 | 2.219 | 1.9716 | 1.4555 | 0.75935 | 0.22674 | 0.027794
 | 0.49651 | 0.46759 | 0.51175 | 0.39363 | 0.2398 | 0.25613 | 0.031077 | 0.47982 | 0.80455 | 1.0032 | 0.98993 | 1.0247 | 0.872 | 0.80551 | 0.69012
 | 2.0698 | 2.0263 | 1.0868 | 0.72538 | 0.55383 | 0.35519 | 0.014798 | 0.0006421 | 0.6355 | 3.4337 | 4.2997 | 4.4879 | 4.1724 | 2.869 | 2.0453 | 2.1158
 | -0.0013388 | -0.0039846 | -0.25 | -0.83908 | -1.0746 | -1.1989 | -1.2498 | -1.2439 | -1.2504 | -1.1819 | -1.1507 | -1.0594 | -0.35542 | -0.057012 | -0.0069012
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 1.1912 | 1.1678 | 1.1427 | 1.1261 | 1.106 | 1.0679 | 0.94881 | 0.78335 | 0.61981 | 0.53186 | 0.53495 | 0.54829 | 0.55776 | 0.56453 | 0.58256 | 0.61776 | 0.72357 | 0.87977 | 1.039 | 1.1708 | 1.2309 | 1.251 | 1.2481 | 1.2273
 | 0.48176 | 0.48079 | 0.47975 | 0.47906 | 0.47831 | 0.47827 | 0.47624 | 0.44502 | 0.37476 | 0.30465 | 0.23868 | 0.20228 | 0.20966 | 0.21981 | 0.25732 | 0.31433 | 0.37813 | 0.43915 | 0.47187 | 0.48506 | 0.48453 | 0.48422 | 0.48411 | 0.48326

 | 8.1249 | 7.8349 | 7.3416 | 6.854 | 6.3521 | 6.3627 | 6.5641 | 5.7593 | 2.8587 | 2.0589 | 1.9896 | 2.1371 | 2.2863 | 2.3313 | 2.4745 | 3.3702 | 5.1617 | 7.8798 | 10.2708 | 10.4546 | 10.3542 | 10.329 | 10.259 | 10.0024
 | 0.088005 | 0.079073 | 0.051661 | 0.036327 | 0.023021 | 0.056923 | 0.061659 | 0.042947 | 0.01705 | 0.011326 | 0.011326 | 0.011326 | 0.011326 | 0.011326 | 0.011326 | 0.011746 | 0.01655 | 0.044615 | 0.065498 | 0.070259 | 0.063718 | 0.072914 | 0.079551 | 0.077191
 | 8.8573 | 8.9283 | 8.8852 | 8.7822 | 8.6291 | 8.4661 | 8.1831 | 7.3121 | 5.6667 | 3.0887 | 1.9383 | 2.1335 | 2.5325 | 2.3982 | 2.4403 | 3.3268 | 3.9966 | 4.8128 | 5.627 | 6.5956 | 7.4952 | 8.1239 | 8.5009 | 8.7254
 | 0.34862 | 2.0996 | 4.2828 | 4.8706 | 4.5868 | 4.9942 | 5.3749 | 5.7369 | 5.9293 | 6.2965 | 6.523 | 6.4923 | 4.3863 | 2.6467 | 1.2253 | 0.0015098
 | 0.00052794 | 0.30125 | 2.4737 | 7.5872 | 12.3852 | 16.0636 | 17.2468 | 17.2651 | 17.2651 | 16.9856 | 13.9804 | 9.3153 | 3.8713 | 0.57048 | 0.023394
 | 0.0020853 | 0.54922 | 2.1011 | 2.6101 | 2.0216 | 1.4868 | 1.6348 | 1.8055 | 0.97877 | 0.53695 | 0.084936

 | 1.601 | 0.72705 | 0.17405 | 0.03582 | 0.069475 | 0.53824 | 0.76971 | 0.010065 | 0.018173 | 1.2612 | 2.6663 | 2.7229 | 2.5412 | 2.7405 | 2.3234 | 1.4152

Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 7.2853 | 7.411 | 7.3418 | 7.3153 | 7.3184 | 7.5288 | 7.6385 | 7.4916 | 7.1512 | 6.7066 | 6.3563 | 6.0947 | 5.9349 | 5.9437 | 6.2665 | 6.8015 | 7.4545 | 8.1583 | 8.3861 | 8.38 | 8.3268 | 8.1476 | 7.9944 | 7.9222
 | 0.2129 | 0.21422 | 0.21392 | 0.21374 | 0.21361 | 0.21397 | 0.21457 | 0.21475 | 0.21516 | 0.21528 | 0.21524 | 0.21522 | 0.21517 | 0.21514 | 0.21502 | 0.21523 | 0.21539 | 0.21579 | 0.21554 | 0.21529 | 0.21519 | 0.21487 | 0.21466 | 0.21453
 | 0.14759 | 0.1501 | 0.13487 | 0.12973 | 0.13151 | 0.15802 | 0.15963 | 0.15261 | 0.13532 | 0.043916 | 0.029459 | 0.019336 | 0.016736 | 0.015879 | 0.019182 | 0.12387 | 0.17362 | 0.67216 | 0.83865 | 0.71647 | 0.6943 | 0.54509 | 0.49441 | 0.42542
 | 11.881 | 12.0646 | 11.813 | 11.6469 | 11.4854 | 11.6572 | 10.8373 | 7.9752 | 4.6634 | 3.0387 | 2.5841 | 2.5842 | 2.5986 | 2.6733 | 3.0825 | 4.8072 | 9.1032 | 13.2914 | 14.7801 | 14.7442 | 14.5314 | 14.2189 | 13.862 | 13.496
 | 1.2169 | 1.3322 | 1.2444 | 1.1826 | 1.1412 | 1.3999 | 1.5135 | 1.4053 | 1.0686 | 0.81248 | 0.63972 | 0.56379 | 0.5691 | 0.56968 | 0.62682 | 0.76698 | 1.0535 | 1.5037 | 1.6175 | 1.4568 | 1.3827 | 1.3144 | 1.2433 | 1.1831
 | 23.6625 | 23.3482 | 23.0064 | 22.6345 | 22.2435 | 21.8107 | 20.3766 | 17.9047 | 15.6587 | 13.7963 | 13.0198 | 13.2359 | 13.743 | 14.2965 | 15.0299 | 15.9279 | 16.9146 | 18.1064 | 19.6915 | 21.8347 | 23.3827 | 24.0025 | 24.1042 | 23.8973
 | 0.013697 | 0.0026176 | 0.0011134 | 0.0026176 | 0.0011497 | 0.18264 | 1.5325 | 3.4285 | 4.9236 | 5.4995 | 5.1128 | 5.0874 | 5.2449 | 5.6016 | 6.1843 | 6.3522 | 5.8955 | 5.0455 | 3.3054 | 1.8062 | 0.91907 | 0.17986 | 0.062444 | 0.033045
 | 0.0012536 | 0.18236 | 1.8263 | 8.5926 | 17.73 | 24.6459 | 30.2919 | 33.477 | 34.0257 | 33.4043 | 30.07 | 23.2128 | 13.7819 | 4.5894 | 0.78104 | 0.070655 | 0.0002629
 | 0.99032 | 3.0576 | 3.4037 | 2.7351 | 2.6583 | 2.2388 | 1.062 | 0.27307 | 0.022047
 | 0.17782 | 0.23683 | 0.17276 | 0.13957 | 0.16366 | 0.25147 | 0.29534 | 0.15785 | 0.050406 | 0.00057125 | 0.0093965 | 0.075115 | 0.34155 | 0.37795 | 0.40605 | 0.33309 | 0.2274 | 0.1286 | 0.090342
 | 0.63059 | 0.81198 | 0.32974 | 0.2207 | 0.11119 | 0.60206 | 1.8751 | 1.4449 | 0.3625 | 0.031741 | 0.05122 | 0.060743 | 0.034814 | 0.022477 | 0.0083601 | 0.11569 | 1.1023 | 4.8641 | 6.2652 | 5.3958 | 4.0581 | 3.0292 | 2.2255 | 1.3994
 | -0.059685 | -0.036667 | -0.055054 | -0.051325 | -0.048523 | -0.01891 | -0.0099847 | -0.0094666 | -0.10299 | -0.33926 | -0.53134 | -0.5512 | -0.62877 | -0.64375 | -0.61538 | -0.42362 | -0.17722 | -0.0063983 | -0.0054132 | -0.023389 | -0.042078
hour of the day
curtailment battery storage pumped storage solar wind hydroelectric gas combined-cycle natural gas and oil peakers nuclear coal
load

## Slide 13: Figure 17b
Hourly U.S. electricity generation and load by fuel type and region in 2050
AEO2022 Low Renewables Cost case
billion kilowatthours
Northeast PJM Southeast West
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 0.079902 | 0.079898 | 0.077269 | 0.074621 | 0.070655 | 0.069971 | 0.067058 | 0.063763 | 0.062616 | 0.059874 | 0.057466 | 0.055503 | 0.054393 | 0.058836 | 0.063352 | 0.06977 | 0.080585 | 0.086291 | 0.09309 | 0.096168 | 0.096102 | 0.093867 | 0.091815 | 0.090691
 | 1.8165 | 1.817 | 1.8138 | 1.8113 | 1.8085 | 1.8077 | 1.7797 | 1.733 | 1.6527 | 1.5827 | 1.5526 | 1.5424 | 1.5519 | 1.5726 | 1.6034 | 1.6796 | 1.7732 | 1.8141 | 1.8394 | 1.8364 | 1.834 | 1.8286 | 1.8243 | 1.8215
 | 0.074204 | 0.067379 | 0.056593 | 0.025427 | 0.0036003 | 0.0029054 | 0.00064016 | 0.013653 | 0.053797 | 0.076921 | 0.096259 | 0.1044 | 0.10526 | 0.10264 | 0.10031 | 0.09851
 | 2.6101 | 2.5686 | 2.472 | 2.3811 | 2.2745 | 2.2053 | 1.9801 | 1.577 | 1.1792 | 1.107 | 1.1133 | 1.1182 | 1.1526 | 1.2527 | 1.3482 | 1.9105 | 3.0965 | 3.8775 | 4.0961 | 4.0919 | 4.0691 | 3.9702 | 3.8267 | 3.7676
 | 1.8816 | 1.8884 | 1.8333 | 1.7734 | 1.6545 | 1.743 | 1.7192 | 1.5026 | 1.118 | 0.8466 | 0.89691 | 1.0071 | 1.1009 | 1.2557 | 1.3496 | 1.4931 | 1.7191 | 1.7991 | 1.833 | 1.8424 | 1.8599 | 1.8427 | 1.8171 | 1.7081
 | 3.3612 | 3.3113 | 3.2679 | 3.2266 | 3.187 | 3.1332 | 2.993 | 2.7969 | 2.6019 | 2.4702 | 2.4654 | 2.5652 | 2.7084 | 2.8349 | 2.9975 | 3.1096 | 3.2234 | 3.3427 | 3.4856 | 3.5938 | 3.6064 | 3.5626 | 3.5012 | 3.4287
 | 0.0057561 | 0.20911 | 0.92922 | 1.8609 | 2.6279 | 2.9845 | 2.9204 | 2.8791 | 2.8052 | 2.905 | 3.0318 | 2.8985 | 2.4675 | 1.8881 | 1.0381 | 0.47403 | 0.15132 | 0.042701 | 0.042804 | 0.016946
 | 0.0070877 | 0.14445 | 0.79532 | 2.4872 | 4.6162 | 6.3298 | 7.3169 | 7.6412 | 7.5117 | 6.9677 | 5.8281 | 4.06 | 2.0047 | 0.5972 | 0.10826 | 0.0017214
 | 0.00051663 | 0.011353 | 0.060633 | 0.13343 | 0.1733 | 0.16813 | 0.11799 | 0.068451 | 0.054031 | 0.0096993
 | 0.31072 | 0.34944 | 0.27388 | 0.15581 | 0.10547 | 0.12757 | 0.048162 | 0.015364 | 0.13596 | 0.4032 | 0.58383 | 0.53518 | 0.51155 | 0.41461 | 0.33244 | 0.25437
 | 0.56876 | 0.60195 | 0.3201 | 0.23271 | 0.10699 | 0.038513 | 0.1438 | 0.095496 | 0.0068662 | 0.0023783 | 0.0073979 | 0.35381 | 1.0652 | 1.5548 | 1.5074 | 1.3972 | 0.83725 | 0.50381 | 0.37489
 | -0.002968 | -0.0098568 | -0.022218 | -0.035186 | -0.045887 | -0.035865 | -0.16063 | -0.40055 | -0.57764 | -0.67948 | -0.64622 | -0.64354 | -0.6199 | -0.5327 | -0.50551 | -0.36367 | -0.19089 | -0.010291 | -0.008014
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 3.5659 | 3.5503 | 3.4488 | 3.3662 | 3.2776 | 3.3672 | 3.4513 | 3.3938 | 3.1753 | 2.9174 | 2.6833 | 2.5326 | 2.4556 | 2.4681 | 2.6861 | 3.0447 | 3.3938 | 3.8496 | 3.9881 | 3.988 | 3.9836 | 3.9095 | 3.8468 | 3.7712
 | 4.2597 | 4.2594 | 4.2514 | 4.246 | 4.2398 | 4.2437 | 4.2519 | 4.2633 | 4.191 | 4.0646 | 3.9389 | 3.7937 | 3.7735 | 3.8853 | 4.0323 | 4.1519 | 4.2317 | 4.2948 | 4.29 | 4.2852 | 4.2813 | 4.2761 | 4.2721 | 4.2676
 | 0.16146 | 0.14671 | 0.12002 | 0.084732 | 0.063426 | 0.078763 | 0.078763 | 0.044642 | 0.109 | 0.30539 | 0.50284 | 0.50773 | 0.46237 | 0.44882 | 0.3107 | 0.20478
 | 17.5613 | 17.7535 | 17.2112 | 16.7664 | 16.2483 | 16.5473 | 16.9891 | 15.4583 | 12.9067 | 11.2498 | 10.4932 | 10.1618 | 10.0449 | 9.9242 | 10.2081 | 11.8358 | 15.4764 | 19.4291 | 20.4701 | 20.3894 | 20.1159 | 19.4346 | 18.9725 | 18.6196
 | 0.68049 | 0.75857 | 0.63429 | 0.59628 | 0.49871 | 0.63275 | 0.6925 | 0.54569 | 0.39478 | 0.31408 | 0.26499 | 0.25985 | 0.26695 | 0.26704 | 0.2787 | 0.30658 | 0.42367 | 0.6088 | 0.70636 | 0.70062 | 0.71685 | 0.70117 | 0.6598 | 0.55823
 | 10.4779 | 10.2288 | 10.0243 | 9.829 | 9.6319 | 9.459 | 8.9046 | 8.0026 | 7.1627 | 6.501 | 6.3765 | 6.5225 | 6.8374 | 7.1982 | 7.5634 | 7.8591 | 8.1895 | 8.6859 | 9.3443 | 10.0804 | 10.5914 | 10.7578 | 10.7829 | 10.6722
 | 0.00035724 | 0.00035724 | 0.00035724 | 0.00015692 | 0.00048219 | 0.19368 | 1.1466 | 2.8824 | 3.9952 | 4.4881 | 4.3884 | 4.1344 | 4.2446 | 4.9711 | 5.5222 | 5.7201 | 5.2008 | 4.3204 | 2.5557 | 1.0734 | 0.37326 | 0.00761
 | 0.00018084 | 0.14976 | 1.1631 | 5.0639 | 10.9816 | 16.0132 | 19.4056 | 21.1173 | 21.3043 | 20.1625 | 17.4265 | 13.0607 | 7.5673 | 2.52 | 0.45444 | 0.022421
 | 0.033655 | 0.021624 | 0.046395 | 0.035871 | 0.0031992
 | 0.39553 | 0.57878 | 0.25334 | 0.15721 | 0.17166 | 0.24776 | 0.082632 | 0.1313 | 0.00019305 | 0.17913 | 0.90254 | 0.73469 | 0.94777 | 0.81988 | 0.79043 | 0.60427 | 0.4763
 | 0.82867 | 0.70857 | 0.6506 | 0.51645 | 0.31057 | 0.38564 | 0.47866 | 0.18487 | 0.21464 | 1.4699 | 2.2104 | 1.9372 | 1.8417 | 1.5022 | 1.348 | 1.1845
 | -0.0024871 | -0.00070254 | -0.0094846 | -0.027617 | -0.061026 | -0.0080873 | -0.0051318 | -0.21927 | -0.699 | -1.2346 | -1.2613 | -1.2083 | -1.2117 | -1.1343 | -1.0249 | -0.76836 | -0.10655 | -0.0046194 | -0.016572
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 4.1727 | 4.1291 | 4.0665 | 4.0391 | 4.0062 | 3.9914 | 3.5982 | 2.9725 | 2.3228 | 1.8213 | 1.6697 | 1.6446 | 1.7033 | 1.8679 | 2.1261 | 2.6882 | 3.3356 | 4.0093 | 4.5024 | 4.6682 | 4.6386 | 4.4703 | 4.3254 | 4.2521
 | 7.0919 | 7.0855 | 7.0751 | 7.0704 | 7.0654 | 7.0749 | 7.08 | 6.8577 | 6.1189 | 5.2114 | 4.2514 | 3.6502 | 3.7051 | 4.2207 | 5.093 | 5.988 | 6.7121 | 7.143 | 7.1907 | 7.1828 | 7.1685 | 7.1411 | 7.118 | 7.1061
 | 0.037482 | 0.011834 | 0.0076797 | 0.0091518 | 0.079055 | 0.29759 | 0.38417 | 0.38326 | 0.35803 | 0.3442 | 0.20483 | 0.087466
 | 20.9838 | 20.5149 | 19.7605 | 19.2023 | 18.6503 | 18.9573 | 17.8302 | 11.0862 | 4.4877 | 2.4691 | 2.34 | 2.4171 | 2.6691 | 3.1725 | 4.3234 | 7.6301 | 15.6756 | 23.4317 | 25.59 | 25.5039 | 25.2697 | 24.5981 | 23.4515 | 22.5352
 | 1.916 | 2.1588 | 2.108 | 2.0695 | 2.0198 | 2.2657 | 1.9533 | 1.2079 | 0.63211 | 0.44578 | 0.43037 | 0.42425 | 0.44306 | 0.44503 | 0.48738 | 0.5569 | 0.94583 | 1.199 | 1.3142 | 1.4343 | 1.7004 | 2.0316 | 2.1413 | 2.2154
 | 0.65136 | 0.63674 | 0.62614 | 0.62089 | 0.61015 | 0.5971 | 0.55656 | 0.49701 | 0.40633 | 0.29078 | 0.29081 | 0.30236 | 0.31476 | 0.33833 | 0.38997 | 0.42405 | 0.55054 | 0.6082 | 0.65357 | 0.70994 | 0.7254 | 0.71132 | 0.68866 | 0.66843
 | 0.0007458 | 0.00075255 | 0.00075255 | 0.00032547 | 0.089824 | 1.099 | 2.8974 | 4.3259 | 4.4951 | 3.9863 | 3.9337 | 3.9001 | 4.0791 | 4.3795 | 4.7607 | 4.9357 | 3.9949 | 2.7393 | 1.7532 | 0.96394 | 0.16714
 | 0.26922 | 2.9629 | 13.8979 | 29.6888 | 40.8748 | 49.7581 | 54.0308 | 54.541 | 52.1692 | 46.2742 | 35.3654 | 20.9044 | 6.7551 | 0.94682 | 0.016101
 | 0.49421 | 3.017 | 3.1235 | 1.9421 | 1.8633 | 1.3731 | 0.33916 | 0.15035 | 0.017889
 | 0.59386 | 0.61829 | 0.30211 | 0.41028 | 0.32808 | 0.40613 | 0.37634 | 0.27582 | 0.48394 | 1.3436 | 1.5001 | 1.504 | 1.4696 | 1.1517 | 1.4317 | 1.3084
 | 2.2895 | 1.2714 | 0.75688 | 0.60825 | 0.54286 | 0.75421 | 1.1957 | 0.53541 | 0.017386 | 0.0013547 | 1.0686 | 6.7787 | 9.8715 | 10.017 | 8.4207 | 5.5738 | 2.7121 | 1.6707
 | -0.0053562 | -0.016031 | -0.027688 | -0.046064 | -0.066135 | -0.049351 | -0.038427 | -0.48204 | -1.5942 | -2.1425 | -2.1823 | -2.1426 | -2.0187 | -1.893 | -1.8288 | -1.3781 | -0.35842
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 2.4372 | 2.4715 | 2.4489 | 2.4313 | 2.4155 | 2.3781 | 2.2454 | 1.9692 | 1.6523 | 1.4315 | 1.3184 | 1.3058 | 1.3188 | 1.3812 | 1.5562 | 1.8114 | 2.1192 | 2.4364 | 2.599 | 2.6517 | 2.6477 | 2.5766 | 2.5415 | 2.4927
 | 0.80411 | 0.80426 | 0.80359 | 0.80304 | 0.80237 | 0.80317 | 0.80418 | 0.78898 | 0.72444 | 0.6422 | 0.56457 | 0.49149 | 0.48831 | 0.53242 | 0.60101 | 0.67696 | 0.74792 | 0.79929 | 0.81589 | 0.81483 | 0.81876 | 0.81275 | 0.81233 | 0.81179
 | 0.029654 | 0.029654 | 0.027332 | 0.01981 | 0.01938 | 0.01938 | 0.01938 | 0.01938 | 0.01938 | 0.020679 | 0.18585 | 0.3379 | 0.34374 | 0.32305 | 0.30087 | 0.27783 | 0.19338 | 0.13552
 | 5.0275 | 5.0855 | 5.0333 | 5.0053 | 4.9742 | 4.9881 | 4.8971 | 4.2953 | 3.1556 | 2.734 | 2.6787 | 2.6348 | 2.6484 | 2.7686 | 3.1999 | 4.1167 | 5.2682 | 6.1568 | 6.3479 | 6.2708 | 6.2148 | 6.0944 | 5.8865 | 5.589
 | 8.5459 | 8.8403 | 8.5372 | 8.2741 | 7.9976 | 8.4639 | 8.386 | 5.7383 | 4.0278 | 2.9923 | 2.5483 | 2.4126 | 2.5112 | 2.6008 | 2.8189 | 3.5679 | 5.5092 | 7.5967 | 8.5568 | 8.5101 | 8.6682 | 8.7046 | 8.7649 | 8.5776
 | 10.1323 | 10.074 | 10.006 | 9.8963 | 9.817 | 9.6916 | 9.1312 | 8.4917 | 8.005 | 7.5349 | 7.499 | 7.8319 | 8.245 | 8.7049 | 9.0823 | 9.4926 | 9.6652 | 9.7862 | 9.8269 | 10.0113 | 10.1761 | 10.2214 | 10.2092 | 10.1707
 | 0.0055441 | 0.006603 | 0.005776 | 0.0011146 | 0.0072461 | 0.38492 | 1.4238 | 2.6821 | 3.5993 | 3.6482 | 3.5494 | 3.5704 | 3.5365 | 3.2749 | 3.328 | 3.4499 | 3.1389 | 2.4263 | 1.4345 | 0.66815 | 0.30713 | 0.035946 | 0.010752
 | 0.0042879 | 0.16485 | 1.178 | 4.7553 | 9.7831 | 13.9513 | 15.6872 | 16.1398 | 16.111 | 15.6496 | 13.9852 | 10.398 | 5.7977 | 1.8666 | 0.30549 | 0.028678
 | 0.0013788 | 0.087928 | 0.37945 | 0.47535 | 0.34454 | 0.27036 | 0.18949 | 0.15008 | 0.005875
 | 0.1146 | 0.11399 | 0.061312 | 0.042024 | 0.036356 | 0.03099 | 0.030771 | 0.0046568 | 0.029862 | 0.12809 | 0.22674 | 0.25532 | 0.21077 | 0.18547 | 0.1399 | 0.053102 | 0.044933
 | 0.40678 | 0.52934 | 0.31634 | 0.22398 | 0.17668 | 0.31854 | 0.31087 | 0.094021 | 0.00077367 | 0.0031494 | 0.0072207 | 0.16545 | 0.68896 | 1.9366 | 2.4392 | 2.1284 | 1.4905 | 0.55845 | 0.31702 | 0.23266
 | -0.0091831 | -0.0099317 | -0.012168 | -0.012247 | -0.017039 | -0.015199 | -0.01939 | -0.10335 | -0.2091 | -0.27366 | -0.25487 | -0.25569 | -0.24276 | -0.22918 | -0.20173 | -0.13511 | -0.039838 | -0.0067941 | -0.011669
hour of the day
curtailment battery storage pumped storage solar wind hydroelectric natural gas combined-cycle natural gas and oil peakers nuclear coal
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Low Renewables Cost case
Note: Negative generation represents charging of energy storage technologies such as pumped hydro and battery storage. Hourly dispatch estimates are illustrative and are developed to determine curtailment and storage operations; final dispatch estimates are developed separately and may differ from total utilization in Figure 17. Solar includes both utility-scale and end-use photovoltaic electricity generation.

## Slide 14: Figure 18
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Note: Solar includes both utility-scale and end-use photovoltaic power generation capacity.
Chart: 
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.122 | 0 | 0 | 0 | 0 | 0 | 2.228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
coal | 0.3994 | 0.5309 | 1.4189 | 1.4582 | 1.7863 | 5.3443 | 3.8303 | 3.734 | 1.5276 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017 | 0 | 0.000383 | 0.000715 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
oil and gas | 15.5681 | 9.431 | 7.077 | 7.8143 | 9.5344 | 7.5118 | 10.261 | 9.7267 | 7.1602 | 9.0993 | 6.4699 | 8.6817 | 9.6405 | 19.3251 | 7.9735 | 6.403 | 6.2688 | 22.0756 | 19.9109 | 17.223 | 25.1806 | 12.6927 | 21.8542 | 9.4415 | 17.8439 | 8.2922 | 9.005 | 12.8108 | 15.5822 | 15.2909 | 14.323 | 12.1347 | 10.3962 | 13.0986 | 10.7286 | 10.6888 | 13.4847 | 9.2861 | 10.2745 | 16.1238 | 10.4119 | 11.432 | 14.0131 | 11.1684 | 18.9809 | 14.4061
other | 0.115 | 0.3324 | 0.3863 | 0.422 | 0.515 | 0.3971 | 0.6273 | 1.0152 | 1.3316 | 0.4639 | 0.5769 | 0.6966 | 0.5258 | 0.5434 | 0.4273 | 0.7412 | 4.5951 | 2.7011 | 2.2888 | 0.90228 | 1.3047 | 0.92614 | 1.6299 | 2.2692 | 0.88512 | 0.87444 | 0.64646 | 2.0632 | 0.55435 | 0.63529 | 1.4265 | 0.48453 | 0.39161 | 0.4158 | 1.2575 | 0.35611 | 1.1951 | 0.95757 | 2.123 | 0.98032 | 0.50434 | 0.83361 | 0.37858 | 0.4554 | 2.3504 | 0.56571
wind | 2.1622 | 2.6545 | 5.2999 | 8.4848 | 9.9198 | 4.6639 | 6.839 | 13.25 | 0.8644 | 4.9557 | 8.2383 | 8.7498 | 6.0625 | 6.8882 | 9.2672 | 14.6649 | 17.1942 | 6.9366 | 3.5172 | 5.825 | 18.7962 | 3.4401 | 0.78364 | 2.496 | 3.0804 | 7.3865 | 0.30543 | 0.39277 | 0.59832 | 5.8291 | 8.8694 | 1.0962 | 2.5056 | 0.58345 | 0.79306 | 1.9723 | 1.1516 | 2.4888 | 3.3276 | 0.55867 | 1.4351 | 2.6412 | 1.4359 | 1.2134 | 1.746 | 2.9644
solar | 0.60962 | 0.19535 | 0.23726 | 0.3147 | 0.41088 | 0.88195 | 1.7824 | 3.2469 | 5.2139 | 5.9998 | 6.3931 | 12.0883 | 9.6946 | 9.2956 | 10.3405 | 15.5362 | 21.0109 | 22.632 | 32.9815 | 40.4273 | 10.9486 | 11.0388 | 10.3648 | 16.3501 | 27.6543 | 11.2021 | 12.6112 | 11.8441 | 21.7435 | 18.8249 | 13.7244 | 18.1895 | 11.9887 | 10.8283 | 13.893 | 11.2952 | 9.7764 | 11.6592 | 14.1638 | 11.0202 | 14.632 | 14.3889 | 16.428 | 21.6926 | 18.5093 | 15.0783
nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.576 | -0.6124 | 0 | -0.4828 | 0 | -0.6077 | -1.4764 | -1.6129 | -1.0363 | -0.7685 | 0 | 0 | -1.122 | -1.118 | -2.171 | -4.7739 | -0.9845 | -1.168 | 0 | 0 | -5.007 | 0 | 0 | 0 | -0.8333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.225 | 0 | 0
coal | -0.2723 | -0.7538 | -1.241 | -0.7944 | -0.5481 | -1.4845 | -2.7388 | -10.4315 | -6.0615 | -4.2952 | -14.8664 | -7.9059 | -6.3097 | -13.3042 | -12.9026 | -10.4567 | -4.5704 | -9.8133 | -8.991 | -6.9201 | -19.8898 | -6.806 | -6.5148 | -11.1707 | -10.9953 | -4.985 | -0.81701 | -2.516 | -0.762 | -5.27 | -1.616 | -1.004 | -0.713 | -1.067 | -0.339 | -1.765 | -0.34 | 0 | 0 | 0 | -2.514 | 0 | 0 | 0 | 0 | 0
oil and gas | -3.7135 | -2.8338 | -3.5008 | -1.7772 | -5.0687 | -3.6614 | -3.6597 | -5.7842 | -8.1608 | -5.2363 | -7.084 | -9.0083 | -5.4057 | -8.8748 | -4.6119 | -3.8097 | -1.2586 | -3.0217 | -7.9093 | -9.7906 | -7.0144 | -3.52 | -2.7401 | -0.7758 | -1.4693 | -0.6755 | -1.167 | -1.623 | -0.9609 | -0.548 | -1.8915 | -1.4 | -1.294 | -0.003 | 0 | -0.641 | -0.209 | -0.5599 | -0.023099 | -0.6851 | -0.1269 | 0 | -0.0566 | -0.1255 | -1.3886 | -0.398
other | -0.1325 | -0.2333 | -0.1314 | -0.0763 | -0.1673 | -0.3674 | -0.2894 | -0.5848 | -0.342 | -0.3633 | -0.547 | -0.3598 | -0.3011 | -0.387 | -0.9278 | -0.1988 | -0.1848 | -0.0121 | -0.0214 | -0.0198 | -0.0829 | -0.0516 | -0.0629 | -0.2873 | -0.1395 | -0.018 | -0.0112 | 0 | -0.043 | -0.0383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.0914 | -0.05 | -0.0026 | -0.003 | 0 | -0.015 | -0.002
Annual electricity generating capacity additions and retirements
AEO2022 Reference case
gigawatts

## Slide 15: Figure 19
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Note: Solar includes both utility-scale and end-use photovoltaic power generation capacity.
additions
other
diurnal storage
solar
wind
nuclear
oil & gas
coal
retirements
CAISO ERCOT Mid-C Northeast PJM Southeast West
US
Chart: 
 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 9.2678 | 48.0164 | 99.2872 | 21.6964 | 76.8699 | 74.8273 | 70.5538
 | 0 | 0 | 0 | 0 | 0 | 2.228 | 0
 | 0.56247 | 2.8529 | 13.5651 | 17.5204 | 21.1135 | 1.9548 | 36.5783
 | 50.2459 | 60.3148 | 101.4114 | 32.4852 | 57.7163 | 121.7288 | 52.8839
 | 11.0183 | 0.96458 | 3.3616 | 4.076 | 3.1547 | 0.056134 | 1.1102
 | -19.9769 | -10.588 | -17.4514 | -16.8701 | -21.9093 | -15.9477 | -32.8176
Chart: 
 | -1.8 | -6.241 | -33.8329 | -0.6089 | -28.0762 | -24.006 | -10.244
 | -5.7381 | -5.6404 | -14.9381 | -5.4899 | -4.9737 | -9.7567 | -3.4809
 | -2.24 | 0 | -11.0442 | 0 | -5.11 | -0.777 | 0
 | -0.1133 | -0.1078 | -0.2818 | -0.128 | -0.0232 | -0.0021 | -0.0117
 | -0.0056 | 0 | 0 | 0 | -0.0125 | -0.015 | 0
 | 0 | -0.002 | -0.001 | 0 | 0 | 0 | 0
 | -0.0005 | 0 | -0.0916 | 0 | -0.153 | 1e-06 | -0.0059
Chart: 
 | 0
 | 400.5188
 | 2.228
 | 94.1475
 | 476.7864
 | 23.7415
 | 7.6853
Chart: 
 | -104.809
 | -50.0178
 | -19.1712
 | -0.6679
 | -0.0331
 | -0.003
 | -0.25101

## Slide 16: Figure 20
Source: U.S. Energy Information Administration, Annual Energy Outlook 2022 (AEO2022) Reference case
Note: Solar includes both utility-scale and end-use photovoltaic power generation capacity.
other diurnal storage solar wind nuclear oil and natural gas coal
Chart: 
| 2010 | 2020 | 2030 | 2040 | 2050
 | 301.1162 | 215.6721 | 124.4972 | 108.532 | 105.5947
 | 479.6735 | 506.4893 | 629.2366 | 743.7663 | 869.8042
 | 103.7491 | 96.5236 | 86.0359 | 81.0193 | 80.6239
 | 39.8813 | 118.3265 | 187.7809 | 210.634 | 229.4532
 | 2.6498 | 82.2411 | 286.9896 | 432.2074 | 580.0067
 | 0.019 | 1.2123 | 15.0303 | 19.7763 | 27.7065
 | 115.9863 | 117.8966 | 120.4307 | 123.9149 | 126.3292
Chart: 
| 2010 | 2020 | 2030 | 2040 | 2050
 | 301.1162 | 215.6721 | 124.4972 | 108.532 | 105.5947
 | 479.6735 | 506.4893 | 629.2366 | 743.7663 | 869.8042
 | 103.7491 | 96.5236 | 86.0359 | 81.0193 | 80.6239
 | 39.8813 | 118.3265 | 187.7809 | 210.634 | 229.4532
 | 2.6498 | 82.2411 | 286.9896 | 432.2074 | 580.0067
 | 0.019 | 1.2123 | 15.0303 | 19.7763 | 27.7065
 | 115.9863 | 117.8966 | 120.4307 | 123.9149 | 126.3292