| ## U.S. Department of Energy Energy Information Administration Form EIA-906 (2007) |  | POWER PLANT REPORT |  | Form Approval OMB No. 1905-0129 Approval Expires: 11/30/2007 |
| --- | --- | --- | --- | --- |
| ##### PURPOSE | Form EIA-906 collects information from all electric power plants, excluding combined heat and power facilities, in the United States. Data collected on this form include electric power generation, fuel consumption, fuel heat content, and fossil fuel stocks. These data are used to monitor the status and trends of the electric power industry, and appear in many EIA publications, including: Electric Power Monthly and Annual, Monthly and Annual Energy Reviews, Natural Gas Monthly and Annual, Quarterly Coal Report, and the Renewable Energy Annual. Further information can be found at http://www.eia.doe.gov/fuelelectric.html. |  |  |  |
| REQUIRED RESPONDENTS | The Form EIA-906 is a mandatory report for all power plants that meet the following criteria: 1) a generating capacity of 1 megawatt (1,000 kW) or higher, 2) are connected to the electric power grid, and 3) are not combined heat and power plants (cogenerators). To lessen the reporting burden, a sample of plants is collected on a monthly basis. Plants that are not selected to respond monthly must respond annually for the calendar year. |  |  |  |
| RESPONSE DUE DATE | Monthly data are due to the Energy Information Administration (EIA) by the last day of the month following the reporting period. For example, if reporting data for July, survey is due on August 31. Annual data are due to EIA by March 30 following the close of the reporting year. |  |  |  |
| METHODS OF FILING RESPONSE | Submit your data electronically using EIA’s secure Internet Data Collection system (IDC). This system uses security protocols to protect information against unauthorized access during transmission. - If you have not registered with EIA’s Single Sign-On system, send an e-mail requesting assistance to: - Utility Plants: EIA-906R@eia.doe.gov - Non-Utility Plants: EIA-906U@eia.doegov - If you have registered with Single Sign-On, log on at https://signon.eia.doe.gov/ssoserver/login - If you have a technical problem with logging into the IDC or using the IDC contact the IDC Help Desk for further information. Contact the Help Desk at: E-Mail: CNEAFhelpcenter@eia.doe.gov Phone: 202-586-9595 - If you need an alternate means of filing your response, contact the Help Desk. Retain a completed copy of this form for your files. |  |  |  |
| CONTACTS | Internet System Questions: For questions related to the Internet Data Collection system, see the help contact information immediately above. Data Questions: For questions about the data requested on Form EIA-906, contact: |  |  |  |
|  | Ronald Hankey Telephone: (202) 586-2630 FAX: (202) 287-1943 Email: EIA-906U@eia.doe.gov |  |  |  |
| GENERAL INSTRUCTIONS | REVISIONS TO FORM EIA-906 Occasionally it may be necessary to revise or change information provided on form EIA-906. This may involve changes to information preprinted by EIA, or corrections to previously submitted data. When a required change is for a month whose work is in progress, it can be made on-line using the Internet Data Collection system (IDC). Changes to earlier months can not be made on-line and must be submitted by e-mail or fax. Revisions to Preprinted Information: Much of the information on the form EIA-906 is provided by EIA in preprinted form. Please note that the preprinted STATE CODE, PLANT NAME, and PLANT CODE cannot be changed. For these changes to preprinted information you must call the EIA staff. To correct other preprinted information take the following actions: Log on to the IDC system. Revise the preprinted information. Save your changes using the save icon and resubmit them by clicking on the SUBMIT button. Data Revisions: Submit revisions to data previously reported as soon as possible after the error or omission is discovered. Do not wait until the next reporting month’s form is due to submit a revision. To revise or correct previously entered data take the following actions: Log on to the IDC system. Re-key revised data. Save your changes using the save icon and resubmit them by clicking on the SUBMIT button. Revisions to Earlier Months: Please e-mail your revisions to EIA-906@eia.doe.gov, or send them by fax to (202) 287-1943. |  |  |  |
| ITEM-BY-ITEM INSTRUCTIONS | ###### Schedule 1: Identification Survey Contacts Verify contact person and the contact person’s supervisor’s name, title, telephone number, fax number, and e-mail address. Corrections may be made by choosing the “Change Contact” button on Schedule 1, which will take you to a screen where you may delete and re-key the information. If an error is encountered when attempting the change the email address, contact the survey manager for assistance. Report For Verify respondent name and address. State codes are two-letter postal abbreviations. Provide any missing information and make needed corrections. |  |  |  |
| ITEM-BY-ITEM INSTRUCTIONS continued ITEM-BY-ITEM INSTRUCTIONS continued | ###### Schedule 2: Generation, Fuel Use, and Stocks Respondent Name, Respondent ID, Reporting Period #### Verify the information for these three items. Plant Name: column a. Provide an explanation of name changes in the Comments Section (Schedule 4 of the form). Plant ID: column b. Plant ID may not be changed. If you have questions regarding the Plant ID, please call or e-mail the survey manager. State: column c. If the State listed is the incorrect location for the plant, please provide the correct two-letter U.S. postal code to the survey manager. Note that the plant ID code, plant name, and State cannot be changed. Contact the survey manager to correct these fields. Prime Mover Type: column d. - If the prime mover code is incorrect, delete the code and choose the correct prime mover code from the drop down list or the prime mover table on page 10. - If you need to add a prime mover code, choose a code from the drop down list or the prime mover table on page 10. Energy Source: column e - If your plant uses an energy source that is not listed, add the energy source code. - Energy source codes and descriptions are located on pages 8 and 9 of these instructions. - If a listed energy source is never used, please delete the energy source code. - Include start-up and flame stabilization fuels. Gross Generation: column f - Report a single gross generation value for all prime movers of a single type, regardless of the number of energy sources for that prime mover. For example, all generation from your steam turbines with multiple energy sources should be reported as one number under the primary energy source. - Data must be reported in megawatthours (MWh), rounded to whole numbers, no decimals. - Enter zero when a plant has no generation for a prime mover. - Combined Cycle Units: Report generation for the combustion turbine (CT) and the steam turbine (CA) separately. If multiple energy sources are used, report each energy source separately. Report supplemental firing fuels in duct burners and/or auxiliary boilers under steam turbine code (CA). Net Generation: column g. - Report a single net generation value for all prime movers of a single type, regardless of the number of energy sources for that prime mover. For example, all generation from your steam turbines with multiple energy sources should be reported as one number under the primary energy source. - All Plants Other Than Pumped Storage and Compressed Air Storage: When station use electrical demand exceeds the gross electrical output of the plant, a negative number should be reported for net generation. Indicate negative amounts by using a minus sign before the number. - Hydro Pumped Storage and Compressed Air Energy Storage Plants: Report gross generation in column (f) and net generation (gross generation minus station use) in column (g). Report pumping energy in column (h) (energy source consumption). Note that during months when the storage facility is returning power to the grid, none of these values will typically be negative. If you need assistance with these new instructions for storage facilities, contact the survey manager. - Data must be reported in megawatthours (MWh), rounded to whole numbers, no decimals. - Combined Cycle Units: Report generation for the combustion turbine (CT) and the steam turbine (CA) separately. If multiple energy sources are used, report each energy source separately. Report supplemental firing fuels in duct burners and/or auxiliary boilers under steam turbine code (CA). Energy Source Consumption: column h - Include start-up and flame stabilization fuels. - Report actual values. If necessary, report estimated values and state in the Comments Section that the value is an estimate. - ENTER ZERO when an energy source had no consumption for the reporting period. Do not leave a blank. A blank will be interpreted as a non-response and may trigger a follow-up phone call to you from EIA. - If a prime mover uses an energy source that is not pre-printed, write in the additional fuel codes and report all fuel consumed. - Combined Cycle Units: Report consumption for the combustion turbine (CT) and the steam turbine (CA) separately. If multiple energy sources are used, report each energy source separately. Report supplemental firing fuels in duct burners and/or auxiliary boilers under steam turbine code (CA). - Hydro Pumped Storage and Compressed Air Energy Storage Plants: Report in column h the megawatthours used for pumping energy (see special instructions for this category of plants under column g, above). - Fuel consumption must be reported in the following units: - Solids – Tons - Liquids – Barrels (one barrel equals 42 U.S. gallons) - Gases – Thousands of cubic feet |  |  |  |

| ITEM-BY-ITEM INSTRUCTIONS continued | Stocks at End of Reporting Period: column i - Report stocks at the plant level. ENTER ZERO if a plant has no stocks for any pre-printed fuel code (do not leave the cell blank). A blank will be interpreted as a non-response and may trigger a follow-up phone call to you from EIA. - Report fuel stocks ONLY for the following fuels, including stocks of back-up, start-up fuels, and flame stabilization: - Coal - Residual oil (No. 5 and No. 6 fuel oils) - Distillate-type oils (including diesel oil, No. 2 oil, jet fuel and kerosene) - Petroleum coke - Do not report stocks for waste coal, natural gas, or wood waste - Report stocks at the plant level. - ENTER ZERO if a plant has no stocks. Do not leave any cell blank. - Quantities of stocks held off-site that cannot be assigned to an individual plant are to be reported as stocks held at a central storage site. Each central storage site must be reported separately. New sites should be indicated in the Comment Section, located on page 1 of the form. - If a fuel that you stock is not preprinted, add the energy source code from the table on pages 8 and 9. - Report actual values or, if necessary, report estimated values and state in the Comment Section that the value is an estimate. Heat Value per Unit of Fuel: column j - Enter the gross or “higher heating value” per unit of fuel as burned. See the glossary for the definition of Higher (gross) Heating Value (HHV). See the table of typical ranges for heating values for each fuel (pages 8 and 9). - If the reported value falls outside of the range, please provide an explanation in the Comment Section. |
| --- | --- |

| ## U.S. Department of Energy Energy Information Administration Form EIA-906 (2007) | POWER PLANT REPORT | Form Approval OMB No. 1905-0129 Approval Expires: 11/30/2007 |
| --- | --- | --- |

| ITEM-BY-ITEM INSTRUCTIONS continued | Schedule 3. Annual Electricity Sources And Disposition For ###### Non-Utility Power Plants This schedule is filed annually for non-utility power plants only, and includes annual total data (no monthly detail). - If you file the EIA-906 monthly, fill out this schedule only when you submit data for December. - If you file the EIA-906 annually, fill out this schedule when you submit your data for the calendar year. Report all generation in megawatthours rounded to a whole number. - Electricity Sources Gross Generation: - Report the total gross generation of all prime movers in the plant. Other Incoming Electricity: - Report all incoming electricity to the facility, whether from purchases, tolling agreements, transfers, exchanges or other arrangements. Total Sources: - Enter the sum of the total gross electricity generated plus the total incoming electricity. This entry must equal Total Disposition (see below). - Electricity Disposition Station Use: - Report the total station use by the plant. Also include unaccounted for losses in this category. Retail Sales to Ultimate Customers: - Report the amount of electricity sold, or otherwise provided, to retail customers. - Also report unbilled electricity provided to affiliated and non-affiliated entities, excluding power provided as part of a tolling arrangement. Sales for Resale: - Report the amount of electricity sold for resale (wholesale sales). Other Outgoing Electricity - Report all other outgoing electricity from the facility, such as, tolling agreements, transfers, and exchanges. |
| --- | --- |

| U.S. Department of Energy Energy Information Administration Form EIA-906 (2007) |  | POWER PLANT REPORT | Form Approval OMB No. 1905-0129 Approval Expires: 11/30/2007 |
| --- | --- | --- | --- |
| ITEM-BY-ITEM INSTRUCTIONS continued | Total Disposition: - Report the sum of station use, direct use, retail sales, sales for resale, and other outgoing electricity. - This entry must equal Total Sources (see above). Schedule 4. Comments Use this section to provide footnotes or document unusual occurrences affecting the reported data. For example: - A plant began to use new fuels during the month and there are not enough blank lines provided; - Unusual occurrences that significantly altered the operations of the plant (e.g., scheduled and unscheduled outages, weather); - Transfer of stocks or inventory adjustments; and/or - Values that had to be estimated due to equipment failure or other factors. |  |  |

| U.S. Department of Energy Energy Information Administration Form EIA-906 (2007) |  | POWER PLANT REPORT | Form Approval OMB No. 1905-0129 Approval Expires: 11/30/2007 |
| --- | --- | --- | --- |
| ENERGY SOURCE CODES AND HEAT CONTENT ENERGY SOURCE CODES AND HEAT CONTENT Continued PRIME MOVER CODES | “Higher Heating Value” Range (Million Btu per Unit of Fuel). Energy Source Code; Unit Label; Low Value; High Value; Energy Source Description. Fossil Fuels. Coal and Syncoal; BIT; tons; 20; 29; Anthracite Coal and Bituminous Coal. LIG; tons; 10; 14.5; Lignite Coal. SC; tons; 10; 35; Coal-based Synfuel. Including briquettes, pellets, or extrusions, which are formed by binding materials or processes that recycle materials.. SUB; tons; 15; 20; Subbituminous Coal. WC; tons; 6.5; 16; Waste/Other Coal. Including anthracite culm, bituminous gob, fine coal, lignite waste, waste coal.. Petroleum Products; DFO; barrels; 5.5; 6.2; Distillate Fuel Oil. Including Diesel, No. 1, No. 2, and No. 4 Fuel Oils.. JF; barrels; 5; 6; Jet Fuel. KER; barrels; 5.6; 6.1; Kerosene. PC; tons; 24; 30; Petroleum Coke. RFO; barrels; 5.8; 6.8; Residual Fuel Oil. Including No. 5, No. 6 Fuel Oils, and Bunker C Fuel Oil.. WO; barrels; 3.0; 5.8; Waste/Other Oil. Including Crude Oil, Liquid Butane, Liquid Propane, Oil Waste, Re-Refined Motor Oil, Sludge Oil, Tar Oil, or other petroleum-based liquid wastes.. Natural Gas and Other Gases; BFG; Mcf; 0.07; 0.12; Blast Furnace Gas. NG; Mcf; 0.8; 1.1; Natural Gas. OG; Mcf; 0.32; 3.3; Other Gas Specify in Comment Section. PG; Mcf; 2.5; 2.75; Gaseous Propane. Renewable Fuels. Solid Renewable Fuels; AB; tons; 9; 18; Agricultural Crop Byproducts/Straw/Energy Crops. MSW; tons; 9; 12; Municipal Solid Waste. OBS; tons; 8; 25; Other Biomass Solids Specify in Comment Section. TDF; tons; 16; 32; Tire-derived Fuels. WDS; tons; 7; 18; Wood/Wood Waste Solids. Including paper pellets, railroad ties, utility poles, wood chips, bark, & wood waste solids.. “Higher Heating Value” Range (Million Btu per Unit of Fuel). Energy Source Code; Unit Label; Low Value; High Value; Energy Source Description. Renewable Fuels continued. Liquid Renewable (Biomass) Fuels; OBL; barrels; 3.5; 4; Other Biomass Liquids. Specify in Comment Section. SLW; tons; 10; 16; Sludge Waste. BLQ; tons; 10; 14; Black Liquor. WDL; barrels; 8; 14; Wood Waste Liquids excluding Black Liquor. Includes red liquor, sludge wood, spent sulfite liquor, and other wood-based liquids.. Gaseous Renewable (Biomass) Fuels; LFG; Mcf; 0.3; 0.6; Landfill Gas. OBG; Mcf; 0.36; 1.6; Other Biomass Gas. Includes digester gas, methane, and other biomass gasses. Specify in Comment Section.. All Other Renewable Fuels; SUN; N/A; 0; 0; Solar. WND; N/A; 0; 0; Wind. GEO; N/A; 0; 0; Geothermal. WAT; N/A; 0; 0; Water at a Conventional Hydroelectric Turbine. All Other Fuels. All Other Fuels; PUR; N/A; 0; 0; Purchased Steam. WH; N/A; 0; 0; Waste heat not directly attributed to a fuel source. WH should only be reported where the fuel source for the waste heat is undetermined, and for combined cycle steam turbines that do not have supplemental firing.. OTH; N/A; 0; 0; Specify in Comment Section. # Prime Mover Type __ Prime Mover Description BT Turbines Used in a Binary Cycle (such as used for geothermal processes) CA Combined Cycle – Steam Part CE Compressed Air Energy Storage CS Combined Cycle Single Shaft – Combustion turbine and steam turbine share a single generator CT Combined Cycle Combustion – Turbine Part FC Fuel Cell GT Combustion (Gas) Turbine (Including jet engine design) HY Hydraulic Turbine (except pumped storage; see code PS) IC Internal Combustion (diesel, piston) Engine PS Hydraulic Turbine – Reversible (pumped storage) PV Photovoltaic ST Steam Turbine (Including nuclear, geothermal and solar steam, excluding combined cycle) WT Wind Turbine OT Other – Specify in Comment Section. |
| ##### GLOSSARY | The glossary for this form is available online at the following URL: http://www.eia.doe.gov/glossary/index.html |  |  |
| ##### SANCTIONS | The timely submission of Form EIA-906 by those required to report is mandatory under Section 13(b) of the Federal Energy Administration Act of 1974 (FEAA) (Public Law 93-275), as amended. Failure to respond may result in a penalty of not more than $2,750 per day for each civil violation, or a fine of not more than $5,000 per day for each criminal violation. The government may bring a civil action to prohibit reporting violations, which may result in a temporary restraining order or a preliminary or permanent injunction without bond. In such civil action, the court may also issue mandatory injunctions commanding any person to comply with these reporting requirements. Title 18 U.S.C. 1001 makes it a criminal offense for any person knowingly and willingly to make to any Agency or Department of the United States any false, fictitious, or fraudulent statements as to any matter within its jurisdiction. |  |  |
| ##### REPORTING BURDEN | Public reporting burden for this collection of information is estimated to average 1.3 hours per response for monthly respondents and 1.9 hours per response for annual respondents, including the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden, to the Energy Information Administration, Statistics and Methods Group, EI-70, 1000 Independence Avenue S.W., Forrestal Building, Washington, D.C. 20585-0670; and to the Office of Information and Regulatory Affairs, Office of Management and Budget, Washington, D.C. 20503. A person is not required to respond to the collection of information unless the form displays a valid OMB number. |  |  |
| ##### INFORMATION PROTECTION | All information other than “Stocks at End of Reporting Period” information reported on the Form EIA-906 will not be treated as protected and may be publicly released in identifiable form. In addition to the use of the information by EIA for statistical purposes, the information may be used for any nonstatistical purposes such as administrative, regulatory, law enforcement, or adjudicatory purposes. The “Stocks at End of Reporting Period” information reported on the Form EIA-906 will be protected and not disclosed to the public to the extent that it satisfies the criteria for exemption under the Freedom of Information Act (FOIA), 5 U.S.C. §552, the Department of Energy regulations, 10 C.F.R. §1004.11, implementing the FOIA, and the Trade Secrets Act, 18 U.S.C. §1905. The Federal Energy Administration Act requires the EIA to provide company-specific data to other Federal agencies when requested for official use. The information reported on this form may also be made available, upon request, to another component of the Department of Energy (DOE); to any Committee of Congress, the General Accounting Office, or other Federal agencies authorized by law to receive such information. A court of competent jurisdiction may obtain this information in response to an order. Disclosure limitation procedures are applied to the statistical data published from Form EIA-906 protected survey information to ensure that the risk of disclosure of identifiable information is very small. |  |  |

| U.S. Department of Energy Energy Information Administration Form EIA-906 (2007) |  | POWER PLANT REPORT |  |  |  |  | Form Approved OMB No. 1905-0129 Approval Expires: 11/30/2007 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| NOTICE: The timely submission of Form EIA-906 by those required to report is mandatory under Section 13(b) of the Federal Energy Administration Act of 1974 (FEAA) (Public Law 93-275), as amended. Failure to respond may result in a penalty of not more than $2,750 per day for each civil violation, or a fine of not more than $5,000 per day for each criminal violation. The government may bring a civil action to prohibit reporting violations, which may result in a temporary restraining order or a preliminary or permanent injunction without bond. In such civil action, the court may also issue mandatory injunctions commanding any person to comply with these reporting requirements. A person is not required to respond to collection of information unless the form displays a valid OMB number. Data reported on Form EIA-906 is not protected with the exception that data reported in Column i, Stocks at End of Reporting Period, will be protected. For additional information on Sanctions and Protected Information, see Page 11 of the Instructions. Title 18 U.S.C. 1001 makes it a criminal offense for any person knowingly and willingly to make to any Agency or Department of the United States any false, fictitious, or fraudulent statements as to any matter within its jurisdiction. RESPONSE DUE DATE: Monthly data are due to the Energy Information Administration (EIA) by the last day of the month following the reporting period. Annual data are due to EIA by March 30 following the close of the reporting year. |  |  |  |  |  |  |  |
| SCHEDULE 1. IDENTIFICATION |  |  |  |  |  |  |  |
| SURVEY CONTACTS: Persons to contact with questions about this form. Contact Person Title: Telephone: Fax: E-mail: Supervisor of Contact Person Title: Telephone: Fax: E-mail: |  |  |  |  |  |  |  |
| REPORT FOR: |  |  |  |  |  |  |  |
| RESPONDENT NAME: |  |  | RESPONDENT ID: |  |  |  |  |
| ADDRESS LINE 1: |  |  |  |  |  |  |  |
| ADDRESS LINE 2: |  |  |  |  |  |  |  |
| CITY: |  |  | STATE: |  |  | ZIPCODE: |  |
| DO YOU HAVE COMMENTS, QUESTIONS, OR CONCERNS? For questions related to EIA’s Internet Data Collection (IDC) system: - Refer to our Frequently Asked Questions file at http://www.eia.doe.gov/cneaf/electricity/edc/sso_faqs.html - idc - You can contact our IDC Help Center at IDCHELP@EIA.DOE.GOV , or call us at 202-586-9595 For data questions, contact the EIA-906 survey manager: |  |  |  |  |  |  |  |
| Ronald Hankey Telephone: (202) 586-2630 FAX: (202) 287-1943 Email: EIA-906U@eia.doe.gov |  |  |  |  |  |  |  |

| U.S. Department of Energy Energy Information Administration Form EIA-906 (2007) |  |  |  | POWER PLANT REPORT |  |  |  |  |  | Form Approved OMB No. 1905-0129 Approval Expires: 11/30/2007 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RESPONDENT NAME: |  |  |  |  |  | RESPONDENT ID: |  |  |  |  |  | REPORTING PERIOD: |  |  |  |  |  |
| TYPE OF RESPONDENT: | UTILITY GENERATOR ( ) NON-UTILITY GENERATOR ( ) |  |  |  |  |  |  |  |  |  |  | MONTHLY SUBMISSION [ ] ANNUAL SUBMISSION [ ] |  |  |  |  |  |
| SCHEDULE 2. GENERATION, FUEL USE, AND STOCKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PLANT NAME (a) |  | PLANT ID (b) | STATE (c) |  | PRIME MOVER TYPE (d) |  | ENERGY SOURCE (e) | GROSS GENERATION (f) | NET GENERATION (g) |  | ENERGY SOURCE |  |  |  |  | HEAT CONTENT PER UNIT OF FUEL (j) |  |
|  |  |  |  |  |  |  |  |  |  |  | CONSUMED DURING REPORTING PERIOD (h) |  | STOCKS AT END OF REPORTING PERIOD (i) |  |  |  |  |
|  |  |  |  |  |  |  |  | Report in Gross Megawatthours; one (1) value for each category of prime mover | Report in Net Megawatthours; one (1) value for each category of prime mover |  | If a pre-printed fuel was not used, enter a zero (0). Reporting units: Solids = Tons Liquids = Barrels Gases = Thousands of cubic feet |  | Report stocks at the plant level, not at the prime mover level. |  |  | Reporting units: Solids: Million Btu per ton Liquids: Million Btu per barrel Gases: Million Btu per thousand cubic feet |  |
| Page |  |  |  |  |  |  |  |  |  |  |  |  |  |  | of |  |  |

| U.S. Department of Energy Energy Information Administration Form EIA-906 (2007) | POWER PLANT REPORT |  |  | Form Approved OMB No. 1905-0129 Approval Expires: 11/30/2007 |  |
| --- | --- | --- | --- | --- | --- |
| RESPONDENT NAME: |  |  | RESPONDENT ID: |  | REPORTING PERIOD: |
| Plant Name: |  |  | Plant ID: |  | ANNUAL SUBMISSION |
| ### SCHEDULE 3. ANNUAL ELECTRICITY SOURCES AND DISPOSITION FOR NON-UTILITY POWER PLANTS - This schedule is to be completed only by non-utility power plants. - This schedule is to be completed as part of the December filing with annual data for the entire calendar year. |  |  |  |  |  |
| - Electricity Sources |  |  |  |  |  |
| Source of Electricity; ###### Megawatthours. a. Gross Generation. b. Other Incoming Electricity. c. Total Sources (Sum of a and b, above.). |
| - Electricity Disposition |  |  |  |  |  |
| Disposition of Electricity; ###### Megawatthours. a. Station Use. b. Retail Sales to Ultimate Customers. c. Sales for Resale. d. Other Outgoing Electricity. e. Total Disposition (Sum of a through d, above.). |
| ## U.S. Department of Energy Energy Information Administration Form EIA-906 (2007) | POWER PLANT REPORT |  |  | Form Approved OMB No. 1905-0129 Approval Expires: 11/30/2007 |  |
| RESPONDENT NAME: |  | RESPONDENT ID: |  |  | REPORTING PERIOD: |
|  |  |  |  |  | MONTHLY SUBMISSION [ ] ANNUAL SUBMISSION [ ] |
| #### SCHEDULE 4: COMMENTS AND SPECIAL INFORMATION |  |  |  |  |  |
| COMMENTS AND SPECIAL INFORMATION Insert below your comments and information on unusual values and special developments, such as the sale of a facility, or information that will not fit in the data entry areas. |  |  |  |  |  |